## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Providing, Installation and commissioning of automated water supply system for tank filling & sand filters and providing & laying D.I water line i/c making connections with the existing water supply network at Type-III multi-storied Apartment.
Contract No: 42/C/D3/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | [53 empty] | 1 | Carriage of Materials
1.01 | By Mechanical Transport including loading,unloading and stacking | [53 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking
1.02 | Earth Lead - 1 km |  | 5 | cum | 158.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 790.9 | 790.9 | INR Seven Hundred & Ninety and Paise Ninety Only | 1.02 | Earth Lead - 1 km | 5 | cum
2 | EARTH WORK | [53 empty] | 2 | EARTH WORK
2.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 2.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
2.02 | All kinds of soil. |  | 11 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2766.61 | 2766.61 | INR Two Thousand Seven Hundred & Sixty Six and Paise Sixty One Only | 2.2 | All kinds of soil. | 11 | cum
2.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 2.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
2.04 | All kinds of soil | [53 empty] | 2.04 | All kinds of soil
2.05 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia |  | 330 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 120760.2 | 120760.2 | INR One Lakh Twenty Thousand Seven Hundred & Sixty and Paise Twenty Only | 2.05 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | 330 | metre
3 | CEMENT CONCRETE (CAST IN SITU) | [53 empty] | 3 | CEMENT CONCRETE (CAST IN SITU)
3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 1.6 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10332.53 | 10332.53 | INR Ten Thousand Three Hundred & Thirty Two and Paise Fifty Three Only | 3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 1.6 | cum
4 | MASONRY WORK | [53 empty] | 4 | MASONRY WORK
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 1.5 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8757.02 | 8757.02 | INR Eight Thousand Seven Hundred & Fifty Seven and Paise Two Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 1.5 | cum
5 | FINISHING | [53 empty] | 5 | FINISHING
5.01 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | [53 empty] | 5.01 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
5.02 | 1:4 (1 cement: 4 fine sand) |  | 11 | sqm | 316.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3484.69 | 3484.69 | INR Three Thousand Four Hundred & Eighty Four and Paise Sixty Nine Only | 5.02 | 1:4 (1 cement: 4 fine sand) | 11 | sqm
6 | WATER SUPPLY | [53 empty] | 6 | WATER SUPPLY
6.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 6.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
6.02 | 40 mm dia nominal bore |  | 6 | metre | 635.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3814.92 | 3814.92 | INR Three Thousand Eight Hundred & Fourteen and Paise Ninety Two Only | 6.02 | 40 mm dia nominal bore | 6 | metre
6.03 | 50 mm dia nominal bore |  | 30 | metre | 783.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23495.1 | 23495.1 | INR Twenty Three Thousand Four Hundred & Ninety Five and Paise Ten Only | 6.03 | 50 mm dia nominal bore | 30 | metre
6.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | [53 empty] | 6.04 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
6.05 | 20 mm dia nominal bore |  | 6 | metre | 276.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1659 | 1659 | INR One Thousand Six Hundred & Fifty Nine Only | 6.05 | 20 mm dia nominal bore | 6 | metre
6.06 | 50 mm dia nominal bore |  | 36 | metre | 573.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20649.96 | 20649.96 | INR Twenty Thousand Six Hundred & Forty Nine and Paise Ninety Six Only | 6.06 | 50 mm dia nominal bore | 36 | metre
6.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 6.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
6.08 | 50 mm nominal bore |  | 2 | each | 770.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1540.12 | 1540.12 | INR One Thousand Five Hundred & Forty and Paise Twelve Only | 6.08 | 50 mm nominal bore | 2 | each
6.09 | Providing and fixing brass ferrule with C.I. mouth cover including boring and tapping the main : | [53 empty] | 6.09 | Providing and fixing brass ferrule with C.I. mouth cover including boring and tapping the main :
6.1 | 20 mm nominal bore |  | 4 | each | 305.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1220.16 | 1220.16 | INR One Thousand Two Hundred & Twenty and Paise Sixteen Only | 6.1 | 20 mm nominal bore | 4 | each
6.11 | Providing and laying S&S C.I. standard specials such as tees, bends, collars, tapers, caps etc. (Heavy class): | [53 empty] | 6.11 | Providing and laying S&S C.I. standard specials such as tees, bends, collars, tapers, caps etc. (Heavy class):
6.12 | Up to 300 mm dia |  | 0.5 | quintal | 4953.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2476.83 | 2476.83 | INR Two Thousand Four Hundred & Seventy Six and Paise Eighty Three Only | 6.12 | Up to 300 mm dia | 0.5 | quintal
6.13 | Providing and laying flanged C.I. standard specials such as tees, bends, collars, tapers, caps etc., suitable for flanged jointing as per IS : 1538 : | [53 empty] | 6.13 | Providing and laying flanged C.I. standard specials such as tees, bends, collars, tapers, caps etc., suitable for flanged jointing as per IS : 1538 :
6.14 | Up to 300 mm dia |  | 0.5 | quintal | 7182.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3591.3 | 3591.3 | INR Three Thousand Five Hundred & Ninety One and Paise Thirty Only | 6.14 | Up to 300 mm dia | 0.5 | quintal
6.15 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead : | [53 empty] | 6.15 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
6.16 | 100 mm diameter pipe |  | 8 | each | 359.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2877.68 | 2877.68 | INR Two Thousand Eight Hundred & Seventy Seven and Paise Sixty Eight Only | 6.16 | 100 mm diameter pipe | 8 | each
6.17 | Supplying pig lead at site of work. |  | 0.18 | quintal | 24652.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4437.45 | 4437.45 | INR Four Thousand Four Hundred & Thirty Seven and Paise Forty Five Only | 6.17 | Supplying pig lead at site of work. | 0.18 | quintal
6.18 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) : | [53 empty] | 6.18 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) :
6.19 | 100 mm diameter | [53 empty] | 6.19 | 100 mm diameter
6.2 | Class II |  | 1 | each | 3945.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3945.86 | 3945.86 | INR Three Thousand Nine Hundred & Forty Five and Paise Eighty Six Only | 6.2 | Class II | 1 | each
6.21 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 6.21 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
6.22 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 2 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3002.46 | 3002.46 | INR Three Thousand &Two and Paise Forty Six Only | 6.22 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2 | each
6.23 | Constructing masonry Chamber 90x90x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 6.23 | Constructing masonry Chamber 90x90x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design :
6.24 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 1 | each | 15412.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15412.45 | 15412.45 | INR Fifteen Thousand Four Hundred & Twelve and Paise Forty Five Only | 6.24 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 1 | each
6.25 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : | [53 empty] | 6.25 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work :
6.26 | 40 mm diameter pipe |  | 6 | metre | 31.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 189.66 | 189.66 | INR One Hundred & Eighty Nine and Paise Sixty Six Only | 6.26 | 40 mm diameter pipe | 6 | metre
6.27 | 50 mm diameter pipe |  | 30 | metre | 37.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1132.5 | 1132.5 | INR One Thousand One Hundred & Thirty Two and Paise Fifty Only | 6.27 | 50 mm diameter pipe | 30 | metre
6.28 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | [53 empty] | 6.28 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
6.29 | 20 mm diameter pipe |  | 6 | metre | 10.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63.12 | 63.12 | INR Sixty Three and Paise Twelve Only | 6.29 | 20 mm diameter pipe | 6 | metre
6.3 | 50 mm diameter pipe |  | 36 | metre | 22.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 797.04 | 797.04 | INR Seven Hundred & Ninety Seven and Paise Four Only | 6.3 | 50 mm diameter pipe | 36 | metre
6.31 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | [53 empty] | 6.31 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work :
6.32 | 50 mm diameter pipe |  | 36 | metre | 155.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5583.96 | 5583.96 | INR Five Thousand Five Hundred & Eighty Three and Paise Ninety Six Only | 6.32 | 50 mm diameter pipe | 36 | metre
6.33 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 6.33 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
6.34 | 20 mm nominal bore |  | 4 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1013.76 | 1013.76 | INR One Thousand &Thirteen and Paise Seventy Six Only | 6.34 | 20 mm nominal bore | 4 | each
6.35 | 50 mm nominal bore |  | 3 | each | 619.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1858.92 | 1858.92 | INR One Thousand Eight Hundred & Fifty Eight and Paise Ninety Two Only | 6.35 | 50 mm nominal bore | 3 | each
6.36 | Providing and laying D.I. specials of class K-12 suitable for push-on jointing as per IS : 9523 : | [53 empty] | 6.36 | Providing and laying D.I. specials of class K-12 suitable for push-on jointing as per IS : 9523 :
6.37 | Up to 600 mm dia |  | 0.6 | quintal | 15042.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9025.46 | 9025.46 | INR Nine Thousand &Twenty Five and Paise Forty Six Only | 6.37 | Up to 600 mm dia | 0.6 | quintal
6.38 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket : | [53 empty] | 6.38 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket :
6.39 | 100 mm dia pipes |  | 53 | joint | 84.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4468.43 | 4468.43 | INR Four Thousand Four Hundred & Sixty Eight and Paise Forty Three Only | 6.39 | 100 mm dia pipes | 53 | joint
6.4 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329 : | [53 empty] | 6.4 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329 :
6.41 | 100 mm dia Ductile Iron Class K-7 pipes |  | 289 | metre | 982.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 284084.11 | 284084.11 | INR Two Lakh Eighty Four Thousand &Eighty Four and Paise Eleven Only | 6.41 | 100 mm dia Ductile Iron Class K-7 pipes | 289 | metre
7 | DRAINAGE | [53 empty] | 7 | DRAINAGE
7.01 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | [53 empty] | 7.01 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
7.02 | 150 mm dia. R.C.C. pipe |  | 30 | metre | 432.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12970.5 | 12970.5 | INR Twelve Thousand Nine Hundred & Seventy and Paise Fifty Only | 7.02 | 150 mm dia. R.C.C. pipe | 30 | metre
7.03 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | [53 empty] | 7.03 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design :
7.04 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 3 | each | 4900.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14702.64 | 14702.64 | INR Fourteen Thousand Seven Hundred & Two and Paise Sixty Four Only | 7.04 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3 | each
8 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 8 | MINOR CIVIL MAINTENANCE WORK:
8.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 2.7 | Cum | 4985.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13462.01 | 13462.01 | INR Thirteen Thousand Four Hundred & Sixty Two and Paise One Only | 8.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | 2.7 | Cum
8.02 | " P/F C.I. D joints to C.I. pipes i/c cutting the C.I. pipe, rubber gasket etc. with necessary arrangements etc. complete. " | [53 empty] | 8.02 | " P/F C.I. D joints to C.I. pipes i/c cutting the C.I. pipe, rubber gasket etc. with necessary arrangements etc. complete. "
8.03 | 100 mm diameter |  | 3 | Each | 615.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1846.56 | 1846.56 | INR One Thousand Eight Hundred & Forty Six and Paise Fifty Six Only | 8.03 | 100 mm diameter | 3 | Each
8.04 | "P/F gun metal ball valve of Zoloto, Leader or approved equivalent make & quality with necessary arrangements etc. complete. " | [53 empty] | 8.04 | "P/F gun metal ball valve of Zoloto, Leader or approved equivalent make & quality with necessary arrangements etc. complete. "
8.05 | 50 mm nominal bore |  | 7 | Each | 3359.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23513.35 | 23513.35 | INR Twenty Three Thousand Five Hundred & Thirteen and Paise Thirty Five Only | 8.05 | 50 mm nominal bore | 7 | Each
8.06 | "Providing, installing, testing and commissining of fixed speed automated water sypply system for filling overhead tanks comprising of two Nos. clear water open well submersible pumping sets suitable for 400/440 volts, 3 phase, 50 cycles AC supply, dry running Protection, motor control centre, necessary power and control cabling from MCC to pumps including required rating of MCB, one No. 450 litres capacity M.S diaphram tank with interchangeable butyl rubber membrane,complete in all respects. The system includes delivery pipes and delivery header of Schedule 80 CPVC pipes of suitable diameter connecting to the main line of 100 mm dia (CI pipe Class LA) outside pump room with suitable valves, NRVs, pressure switches, pressure gauge etc. complete as per requirement , power box, equipped with fuses/ isolators/circuit breakers as required. For Domestic Water Supply. Set of two pumps (1 Working + 1 Standby) Capacity - 6.25 LPS (Each) at 45 M head, Max. Head & Flow - 52 M & 4 LPS H.P. - 7.50 HP. Suction & Delivery: 65x50 mm,Diaphram tank 1nos, Control panels- 2 Nos." |  | 1 | Set | 236662.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 236662.87 | 236662.87 | INR Two Lakh Thirty Six Thousand Six Hundred & Sixty Two and Paise Eighty Seven Only | 8.06 | "Providing, installing, testing and commissining of fixed speed automated water sypply system for filling overhead tanks comprising of two Nos. clear water open well submersible pumping sets suitable for 400/440 volts, 3 phase, 50 cycles AC supply, dry running Protection, motor control centre, necessary power and control cabling from MCC to pumps including required rating of MCB, one No. 450 litres capacity M.S diaphram tank with interchangeable butyl rubber membrane,complete in all respects. The system includes delivery pipes and delivery header of Schedule 80 CPVC pipes of suitable diameter connecting to the main line of 100 mm dia (CI pipe Class LA) outside pump room with suitable valves, NRVs, pressure switches, pressure gauge etc. complete as per requirement , power box, equipped with fuses/ isolators/circuit breakers as required. For Domestic Water Supply. Set of two pumps (1 Working + 1 Standby) Capacity - 6.25 LPS (Each) at 45 M head, Max. Head & Flow - 52 M & 4 LPS H.P. - 7.50 HP. Suction & Delivery: 65x50 mm,Diaphram tank 1nos, Control panels- 2 Nos." | 1 | Set
8.07 | Providing and installation of multi grade sand filter MGF 800 of Ion Exchange (I) Ltd. or approved equivalent make of 800 mm dia in MS contruction with flow rate of 12000 LPH i/c interconnecting piping & valves etc. complete in all respect as per direction of Engineer- In Charge. |  | 2 | Set | 217281.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 434562.04 | 434562.04 | INR Four Lakh Thirty Four Thousand Five Hundred & Sixty Two and Paise Four Only | 8.07 | Providing and installation of multi grade sand filter MGF 800 of Ion Exchange (I) Ltd. or approved equivalent make of 800 mm dia in MS contruction with flow rate of 12000 LPH i/c interconnecting piping & valves etc. complete in all respect as per direction of Engineer- In Charge. | 2 | Set
8.08 | P/F Motorized valve in tank filling line near the tanks i/c required fittings and making by pass arrangementbut excluding the cost of ball valves etc. complete in all respect of Honey wall, Belimo or approved equivalent make, 50 mm dia |  | 6 | Each | 20294.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 121767.66 | 121767.66 | INR One Lakh Twenty One Thousand Seven Hundred & Sixty Seven and Paise Sixty Six Only | 8.08 | P/F Motorized valve in tank filling line near the tanks i/c required fittings and making by pass arrangementbut excluding the cost of ball valves etc. complete in all respect of Honey wall, Belimo or approved equivalent make, 50 mm dia | 6 | Each
8.09 | P/F level controllers/ float switch with low voltage releys, float type with PVC shroud, with 10 meter minimum cable/wiring from tank top to probes of required length. To open solenoid/Motorized valve on low water level and close when high water level in the OH/UG water tank, Nolta or approved equivalent make. |  | 6 | Each | 3753.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22521.72 | 22521.72 | INR Twenty Two Thousand Five Hundred & Twenty One and Paise Seventy Two Only | 8.09 | P/F level controllers/ float switch with low voltage releys, float type with PVC shroud, with 10 meter minimum cable/wiring from tank top to probes of required length. To open solenoid/Motorized valve on low water level and close when high water level in the OH/UG water tank, Nolta or approved equivalent make. | 6 | Each
Total in Figures | [51 empty] | 1425241.55 | 1425241.55 | INR Fourteen Lakh Twenty Five Thousand Two Hundred & Forty One and Paise Fifty Five Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information