## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Dean of Infrastructure and Planning, IIT Kanpur
Name of Work: Replacement of defective lights for various Residential and Hostel area in IITK
NIT No: Electrical/10/03/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supply, fixing, testing and commissioning LED Sports / flood /bracket type light fitting with accessories complete as required. Make_Cromption or Approved equivalent make. | item no.1 | [52 empty] | 1.01 | Supply, fixing, testing and commissioning LED Sports / flood /bracket type light fitting with accessories complete as required. Make_Cromption or Approved equivalent make. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | LED Flood light 50 watt 240/440 volts, 50Hz, protection_IP 65 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton_CFS-504-50-57-60D-SL-GL-NSG or equivalent approved make) | item no.2 | 1 | Nos. | 4492.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4492 | 4492 | INR Four Thousand Four Hundred & Ninety Two Only | 1.02 | LED Flood light 50 watt 240/440 volts, 50Hz, protection_IP 65 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton_CFS-504-50-57-60D-SL-GL-NSG or equivalent approved make) | item no.2 | 1 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | LED Flood light 150 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton_CFS-501-150-57-60D-SL-GL-NSG or equivalent approved make) | item no.3 | 5 | Nos. | 13486.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 67431 | 67431 | INR Sixty Seven Thousand Four Hundred & Thirty One Only | 1.03 | LED Flood light 150 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton_CFS-501-150-57-60D-SL-GL-NSG or equivalent approved make) | item no.3 | 5 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | LED Flood light 250 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton model_CFS-506-250-57-60D-SL-GL-NSG or equivalent approved make) | item no.4 | 12 | Nos. | 25050.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 300603 | 300603 | INR Three Lakh Six Hundred & Three Only | 1.04 | LED Flood light 250 watt 240/440 volts, 50Hz, protection_IP 66 , lumens>100 Lm/watt, P.F.>.95 , THD<10% with efficient thermal management. (Make_Crompton model_CFS-506-250-57-60D-SL-GL-NSG or equivalent approved make) | item no.4 | 12 | Nos.
1.05 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.5 | [52 empty] | 1.05 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item no.5
1.06 | Single pole | item no.6 | 2 | Nos. | 264.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 530 | 530 | INR Five Hundred & Thirty Only | 1.06 | Single pole | item no.6 | 2 | Nos.
1.07 | Single pole and neutral | item no.7 | 1 | Nos. | 619.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 620 | 620 | INR Six Hundred & Twenty Only | 1.07 | Single pole and neutral | item no.7 | 1 | Nos.
1.08 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.8 | [52 empty] | 1.08 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | 2 X 6 sq. mm (19mm) | item no.9 | 6 | Each | 248.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1490 | 1490 | INR One Thousand Four Hundred & Ninety Only | 1.09 | 2 X 6 sq. mm (19mm) | item no.9 | 6 | Each
1.1 | Supply and drawing PVC insulated copper conductor 3 x1.5 sqmm round cable (Flexible) for connection of lights/ equipments / fan/AC & other work as reqd. | item no.10 | 50 | Mtr. | 112.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5605 | 5605 | INR Five Thousand Six Hundred & Five Only | 1.1 | Supply and drawing PVC insulated copper conductor 3 x1.5 sqmm round cable (Flexible) for connection of lights/ equipments / fan/AC & other work as reqd. | item no.10 | 50 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | Supply, fixing, connecting and commissioning cable end control box (looping type) with MS sheet of 16 SWG of size 200 mm X 200 mm X 125 mm having 1 No. SP MCB 6 Amp to 32 Amp, 230 volts and 2 Nos. Brass neutral link 12.5 mm square rod 6 way approx. 60 mm long and fixed on 6 mm thick bakelite sheet. Box shall have almirah type hinge and panel key type lock front door duly painted with earthing stud etc. complete as required. | item no.11 | 1 | nos. | 1502.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1502 | 1502 | INR One Thousand Five Hundred & Two Only | 1.11 | Supply, fixing, connecting and commissioning cable end control box (looping type) with MS sheet of 16 SWG of size 200 mm X 200 mm X 125 mm having 1 No. SP MCB 6 Amp to 32 Amp, 230 volts and 2 Nos. Brass neutral link 12.5 mm square rod 6 way approx. 60 mm long and fixed on 6 mm thick bakelite sheet. Box shall have almirah type hinge and panel key type lock front door duly painted with earthing stud etc. complete as required. | item no.11 | 1 | nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | Digging cable trench, lifting bricks & cable for locating fault. refilling the trench, ramming & making good the same as reqd. | item no.12 | [52 empty] | 1.12 | Digging cable trench, lifting bricks & cable for locating fault. refilling the trench, ramming & making good the same as reqd. | item no.12
1.13 | up to 35 sqmm cable | item no.13 | 15 | Mtr. | 169.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2549 | 2549 | INR Two Thousand Five Hundred & Forty Nine Only | 1.13 | up to 35 sqmm cable | item no.13 | 15 | Mtr. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | Supply & Laying of HDPE pipe of following size inner dia, 2mm thick on surface I/c cartage, loading & unloading etc. as reqd. (ISI mark) | item no.14 | [52 empty] | 1.14 | Supply & Laying of HDPE pipe of following size inner dia, 2mm thick on surface I/c cartage, loading & unloading etc. as reqd. (ISI mark) | item no.14
1.15 | 25 mm (6Kg / cm²) | item no.15 | 3 | Mtr. | 74.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 223 | 223 | INR Two Hundred & Twenty Three Only | 1.15 | 25 mm (6Kg / cm²) | item no.15 | 3 | Mtr.
1.16 | 32 mm (6Kg / cm²) | item no.16 | 3 | Mtr. | 82.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 248 | 248 | INR Two Hundred & Forty Eight Only | 1.16 | 32 mm (6Kg / cm²) | item no.16 | 3 | Mtr.
1.17 | Providing and fixing MS sheet box of required shape and size includeng hinged door with locking arrangement duly painted complete as required. | item no.17 | 10 | Kgs. | 223.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230 | 2230 | INR Two Thousand Two Hundred & Thirty Only | 1.17 | Providing and fixing MS sheet box of required shape and size includeng hinged door with locking arrangement duly painted complete as required. | item no.17 | 10 | Kgs.
1.18 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | item no.18 | 0.25 | Cum. | 6582.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1646 | 1646 | INR One Thousand Six Hundred & Forty Six Only | 1.18 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | item no.18 | 0.25 | Cum.
1.19 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.19 | 0.5 | sqm | 316.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 158 | 158 | INR One Hundred & Fifty Eight Only | 1.19 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | item no.19 | 0.5 | sqm
1.2 | Supply,Installation,Testing and commissioning LED light fittings integrated connection,nut bolts, washer and screw etc. after removing old complete as requiired. | item no.20 | [52 empty] | 1.2 | Supply,Installation,Testing and commissioning LED light fittings integrated connection,nut bolts, washer and screw etc. after removing old complete as requiired. | item no.20
1.21 | LED Ceiling/down Light 12 watt (surface type). >100 lm/watt {Make_Philiphs (Full glow_CDL) or as approved Make list)} | item no.21 | 370 | Nos. | 1080.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 399926 | 399926 | INR Three Lakh Ninety Nine Thousand Nine Hundred & Twenty Six Only | 1.21 | LED Ceiling/down Light 12 watt (surface type). >100 lm/watt {Make_Philiphs (Full glow_CDL) or as approved Make list)} | item no.21 | 370 | Nos.
1.22 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.22 | [52 empty] | 1.22 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.22
1.23 | 1 x 1.5 Sq.mm.. | item no.23 | 100 | Mtr. | 46.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4656 | 4656 | INR Four Thousand Six Hundred & Fifty Six Only | 1.23 | 1 x 1.5 Sq.mm.. | item no.23 | 100 | Mtr.
1.24 | 3 x 1.5 Sq.mm.. | item no.24 | 90 | Mtr. | 98.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8846 | 8846 | INR Eight Thousand Eight Hundred & Forty Six Only | 1.24 | 3 x 1.5 Sq.mm.. | item no.24 | 90 | Mtr.
1.25 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.25 | [52 empty] | 1.25 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.25
1.26 | 5/6 Amp switch | item no.26 | 50 | Nos. | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5329 | 5329 | INR Five Thousand Three Hundred & Twenty Nine Only | 1.26 | 5/6 Amp switch | item no.26 | 50 | Nos.
1.27 | 2 way 5/6 amps switch | item no.27 | 15 | Nos. | 153.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2297 | 2297 | INR Two Thousand Two Hundred & Ninety Seven Only | 1.27 | 2 way 5/6 amps switch | item no.27 | 15 | Nos.
1.28 | 3 Pin 5/6 Amp. socket outlet | item no.28 | 15 | Nos. | 126.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1893 | 1893 | INR One Thousand Eight Hundred & Ninety Three Only | 1.28 | 3 Pin 5/6 Amp. socket outlet | item no.28 | 15 | Nos.
1.29 | Fan regulator socket type rotary step | item no.29 | 55 | Nos. | 381.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20998 | 20998 | INR Twenty Thousand Nine Hundred & Ninety Eight Only | 1.29 | Fan regulator socket type rotary step | item no.29 | 55 | Nos.
1.3 | Blanking plate | item no.30 | 8 | Nos. | 41.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 331 | 331 | INR Three Hundred & Thirty One Only | 1.3 | Blanking plate | item no.30 | 8 | Nos.
1.31 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item no.31 | [52 empty] | 1.31 | S/F following modular base & cover plate on existing modular metal boxes etc. as reqd. | item no.31
1.32 | 1 or 2 module | item no.32 | 5 | Nos. | 137.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 688 | 688 | INR Six Hundred & Eighty Eight Only | 1.32 | 1 or 2 module | item no.32 | 5 | Nos.
1.33 | 3 module | item no.33 | 20 | Nos. | 156.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3125 | 3125 | INR Three Thousand One Hundred & Twenty Five Only | 1.33 | 3 module | item no.33 | 20 | Nos.
1.34 | 4 module | item no.34 | 12 | Nos. | 163.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1962 | 1962 | INR One Thousand Nine Hundred & Sixty Two Only | 1.34 | 4 module | item no.34 | 12 | Nos.
1.35 | 6 module | item no.35 | 1 | Nos. | 188.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188 | 188 | INR One Hundred & Eighty Eight Only | 1.35 | 6 module | item no.35 | 1 | Nos.
1.36 | 8 module | item no.36 | 3 | Nos. | 218.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 655 | 655 | INR Six Hundred & Fifty Five Only | 1.36 | 8 module | item no.36 | 3 | Nos.
1.37 | 12 module | item no.37 | 2 | Nos. | 281.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 563 | 563 | INR Five Hundred & Sixty Three Only | 1.37 | 12 module | item no.37 | 2 | Nos.
1.38 | Supplying and fixing 3 pin, 5 amp. Ceiling rose on the existing junction box/ wooden block including connection etc. as reqd. | item no.38 | 15 | Nos. | 90.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1350 | 1350 | INR One Thousand Three Hundred & Fifty Only | 1.38 | Supplying and fixing 3 pin, 5 amp. Ceiling rose on the existing junction box/ wooden block including connection etc. as reqd. | item no.38 | 15 | Nos.
1.39 | Supply / fixing , testing & commissioning of 12W LED. Slimmest recess com surface mounted round LED panel al. die cast body with premium diffuser to ensure glare free as required complete LED makeHavells or its equivalent make etc as reqd. including dismentling of old and braekdown light fittings etc complete as required. | item no.39 | 265 | Nos. | 1460.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 387139 | 387139 | INR Three Lakh Eighty Seven Thousand One Hundred & Thirty Nine Only | 1.39 | Supply / fixing , testing & commissioning of 12W LED. Slimmest recess com surface mounted round LED panel al. die cast body with premium diffuser to ensure glare free as required complete LED makeHavells or its equivalent make etc as reqd. including dismentling of old and braekdown light fittings etc complete as required. | item no.39 | 265 | Nos.
1.4 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item no.40 | [52 empty] | 1.4 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item no.40
1.41 | LED tube light fitting (1 X 18 / 20 Watt. LED) surface mounting luminares wipro meke .or its equivalent make etc as reqd | item no.41 | 15 | Nos. | 329.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4935 | 4935 | INR Four Thousand Nine Hundred & Thirty Five Only | 1.41 | LED tube light fitting (1 X 18 / 20 Watt. LED) surface mounting luminares wipro meke .or its equivalent make etc as reqd | item no.41 | 15 | Nos.
1.42 | Dismantling and refixing of switch / socket /regulator I/c cleaning, connecting, commissioning etc as reqd. | item no.42 | 20 | Nos. | 64.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1283 | 1283 | INR One Thousand Two Hundred & Eighty Three Only | 1.42 | Dismantling and refixing of switch / socket /regulator I/c cleaning, connecting, commissioning etc as reqd. | item no.42 | 20 | Nos.
1.43 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.43 | [52 empty] | 1.43 | Providing and fixing following sizes of PVC casing and capping on surface as reqd. | item no.43
1.44 | 20 x 12 mm | item no.44 | 55 | Mtr. | 84.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4666 | 4666 | INR Four Thousand Six Hundred & Sixty Six Only | 1.44 | 20 x 12 mm | item no.44 | 55 | Mtr.
1.45 | 25 x 16 mm | item no.45 | 10 | Mtr. | 93.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 931 | 931 | INR Nine Hundred & Thirty One Only | 1.45 | 25 x 16 mm | item no.45 | 10 | Mtr.
1.46 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.46 | 300 | Sq.cm. | 0.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 258 | 258 | INR Two Hundred & Fifty Eight Only | 1.46 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. | item no.46 | 300 | Sq.cm.
1.47 | Supplying and fixing following size surface mounting plastic box as required.make havells OR equivalent approved make. | item no.47 | [52 empty] | 1.47 | Supplying and fixing following size surface mounting plastic box as required.make havells OR equivalent approved make. | item no.47
1.48 | 1/2 module | item no.48 | 15 | Nos. | 294.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4423 | 4423 | INR Four Thousand Four Hundred & Twenty Three Only | 1.48 | 1/2 module | item no.48 | 15 | Nos.
Total in Figures | [51 empty] | 1245769 | 412166 | Twelve Lakh Forty Five Thousand Seven Hundred & Sixty Nine Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information