## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Renovation of Lab Near Lab 18 at First Floor of BSBE Building.
Contract No: 11/Civil/D2/2021-22/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | REINFORCED CEMENT CONCRETE | item no.1 | [52 empty] | 1 | REINFORCED CEMENT CONCRETE | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.2 | [52 empty] | 1.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.3 | 1.5 | cum | 8159.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12239 | 12239 | INR Twelve Thousand Two Hundred & Thirty Nine Only | 1.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.3 | 1.5 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.4 | [52 empty] | 1.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.4
1.04 | Suspended floors, roofs, landings, balconies and access platform | item no.5 | 20 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12153 | 12153 | INR Twelve Thousand One Hundred & Fifty Three Only | 1.04 | Suspended floors, roofs, landings, balconies and access platform | item no.5 | 20 | sqm
1.05 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.6 | 5.1 | sqm | 484.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2469 | 2469 | INR Two Thousand Four Hundred & Sixty Nine Only | 1.05 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.6 | 5.1 | sqm
1.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.7 | [52 empty] | 1.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.7
1.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.8 | 158 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11567 | 11567 | INR Eleven Thousand Five Hundred & Sixty Seven Only | 1.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.8 | 158 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | MASONRY WORK | item no.9 | [52 empty] | 2 | MASONRY WORK | item no.9
2.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.10 | [52 empty] | 2.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.11 | 6 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39932 | 39932 | INR Thirty Nine Thousand Nine Hundred & Thirty Two Only | 2.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.11 | 6 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.12 | [52 empty] | 2.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.12
2.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.13 | 10 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8173 | 8173 | INR Eight Thousand One Hundred & Seventy Three Only | 2.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.13 | 10 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | CLADDING WORK | item no.14 | [52 empty] | 3 | CLADDING WORK | item no.14
3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.15 | [52 empty] | 3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.15
3.02 | Granite of any colour and shade | item no.16 | [52 empty] | 3.02 | Granite of any colour and shade | item no.16
3.03 | Area of slab over 0.50 sqm | item no.17 | 14 | sqm | 3513.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49195 | 49195 | INR Forty Nine Thousand One Hundred & Ninety Five Only | 3.03 | Area of slab over 0.50 sqm | item no.17 | 14 | sqm
3.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.18 | [52 empty] | 3.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.18
3.05 | Granite work | item no.19 | 30 | metre | 329.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9897 | 9897 | INR Nine Thousand Eight Hundred & Ninety Seven Only | 3.05 | Granite work | item no.19 | 30 | metre
3.06 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.20 | 2 | each | 644.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1288 | 1288 | INR One Thousand Two Hundred & Eighty Eight Only | 3.06 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.20 | 2 | each
3.07 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | item no.21 | 20 | sqm | 322.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6453 | 6453 | INR Six Thousand Four Hundred & Fifty Three Only | 3.07 | Mirror polishing on marble work/Granite work/stone work where ever required to give high gloss finish complete. | item no.21 | 20 | sqm
3.08 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 40 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36135 | 36135 | INR Thirty Six Thousand One Hundred & Thirty Five Only | 3.08 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 40 | sqm
4 | WOOD AND PVC WORK | item no.23 | [52 empty] | 4 | WOOD AND PVC WORK | item no.23
4.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.24 | [52 empty] | 4.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.24
4.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.25 | 7 | sqm | 1654.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11580 | 11580 | INR Eleven Thousand Five Hundred & Eighty Only | 4.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.25 | 7 | sqm
4.03 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.26 | 2 | each | 879.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1760 | 1760 | INR One Thousand Seven Hundred & Sixty Only | 4.03 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.26 | 2 | each
4.04 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.27 | [52 empty] | 4.04 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.27
4.05 | 300x16 mm | item no.28 | 1 | each | 225.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 225 | 225 | INR Two Hundred & Twenty Five Only | 4.05 | 300x16 mm | item no.28 | 1 | each
4.06 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.29 | [52 empty] | 4.06 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.29
4.07 | 250x10 mm | item no.30 | 2 | each | 90.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 182 | 182 | INR One Hundred & Eighty Two Only | 4.07 | 250x10 mm | item no.30 | 2 | each
4.08 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.31 | [52 empty] | 4.08 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.31
4.09 | 100 mm | item no.32 | 2 | each | 46.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93 | 93 | INR Ninety Three Only | 4.09 | 100 mm | item no.32 | 2 | each
4.1 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.33 | [52 empty] | 4.1 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.33
4.11 | Twin rubber stopper | item no.34 | 8 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 435 | 435 | INR Four Hundred & Thirty Five Only | 4.11 | Twin rubber stopper | item no.34 | 8 | each
4.12 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.35 | [52 empty] | 4.12 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.35
4.13 | 1.0 mm thick | item no.36 | 8 | sqm | 629.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5034 | 5034 | INR Five Thousand &Thirty Four Only | 4.13 | 1.0 mm thick | item no.36 | 8 | sqm
4.14 | Providing & fixing Stainless Steel satin finish SS 304 grade Handles with SS screws for wooden doors of approved make and model all complete as per the as direction by Engineer-in-charge. 125 mm | item no.37 | 2 | Each | 1268.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2537 | 2537 | INR Two Thousand Five Hundred & Thirty Seven Only | 4.14 | Providing & fixing Stainless Steel satin finish SS 304 grade Handles with SS screws for wooden doors of approved make and model all complete as per the as direction by Engineer-in-charge. 125 mm | item no.37 | 2 | Each
5 | FLOORING | item no.38 | [52 empty] | 5 | FLOORING | item no.38
5.01 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.39 | [52 empty] | 5.01 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.39
5.02 | 25 mm thick | item no.40 | 19 | sqm | 1343.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25519 | 25519 | INR Twenty Five Thousand Five Hundred & Nineteen Only | 5.02 | 25 mm thick | item no.40 | 19 | sqm
5.03 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.41 | 3 | sqm | 1587.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4761 | 4761 | INR Four Thousand Seven Hundred & Sixty One Only | 5.03 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.41 | 3 | sqm
5.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.42 | [52 empty] | 5.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.42
5.05 | Size of Tile 600x600 mm | item no.43 | 30 | sqm | 1315.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39471 | 39471 | INR Thirty Nine Thousand Four Hundred & Seventy One Only | 5.05 | Size of Tile 600x600 mm | item no.43 | 30 | sqm
5.06 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.44 | [52 empty] | 5.06 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.44
5.07 | Size of Tile 600x600 mm | item no.45 | 25 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33885 | 33885 | INR Thirty Three Thousand Eight Hundred & Eighty Five Only | 5.07 | Size of Tile 600x600 mm | item no.45 | 25 | sqm
5.08 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | item no.46 | [52 empty] | 5.08 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | item no.46
5.09 | Size of Tile 600x600 mm | item no.47 | 5 | sqm | 1411.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7058 | 7058 | INR Seven Thousand &Fifty Eight Only | 5.09 | Size of Tile 600x600 mm | item no.47 | 5 | sqm
6 | ROOFING | item no.48 | [52 empty] | 6 | ROOFING | item no.48
6.01 | Providing fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Fibre glass wool conforming to IS : 8183, density 24kg / m3, 50mm thick, wrapped in 200 G Virgin Polythene bags, fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5 mm x 24 gauge wire mesh, for top most ceiling of building. | item no.49 | 35 | sqm | 508.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17807 | 17807 | INR Seventeen Thousand Eight Hundred & Seven Only | 6.01 | Providing fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Fibre glass wool conforming to IS : 8183, density 24kg / m3, 50mm thick, wrapped in 200 G Virgin Polythene bags, fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5 mm x 24 gauge wire mesh, for top most ceiling of building. | item no.49 | 35 | sqm
6.02 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.50 | [52 empty] | 6.02 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.50
6.03 | 110 mm diameter | item no.51 | 10 | metre | 267.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2675 | 2675 | INR Two Thousand Six Hundred & Seventy Five Only | 6.03 | 110 mm diameter | item no.51 | 10 | metre
6.04 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.52 | [52 empty] | 6.04 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.52
6.05 | Coupler | item no.53 | [52 empty] | 6.05 | Coupler | item no.53
6.06 | 110 mm | item no.54 | 4 | each | 103.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 413 | 413 | INR Four Hundred & Thirteen Only | 6.06 | 110 mm | item no.54 | 4 | each
6.07 | Single tee with door | item no.55 | [52 empty] | 6.07 | Single tee with door | item no.55
6.08 | 110x110x110 mm | item no.56 | 4 | each | 178.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 713 | 713 | INR Seven Hundred & Thirteen Only | 6.08 | 110x110x110 mm | item no.56 | 4 | each
6.09 | Bend 87.5° | item no.57 | [52 empty] | 6.09 | Bend 87.5° | item no.57
6.1 | 110 mm bend | item no.58 | 4 | each | 113.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 455 | 455 | INR Four Hundred & Fifty Five Only | 6.1 | 110 mm bend | item no.58 | 4 | each
6.11 | Shoe (Plain) | item no.59 | [52 empty] | 6.11 | Shoe (Plain) | item no.59
6.12 | 110 mm Shoe | item no.60 | 2 | each | 99.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 200 | 200 | INR Two Hundred Only | 6.12 | 110 mm Shoe | item no.60 | 2 | each
6.13 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.61 | [52 empty] | 6.13 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.61
6.14 | GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | item no.62 | 19 | sqm | 1319.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25063 | 25063 | INR Twenty Five Thousand &Sixty Three Only | 6.14 | GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | item no.62 | 19 | sqm
6.15 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.63 | 54 | sqm | 1649.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89058 | 89058 | INR Eighty Nine Thousand &Fifty Eight Only | 6.15 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.63 | 54 | sqm
7 | FINISHING | item no.64 | [52 empty] | 7 | FINISHING | item no.64
7.01 | 12 mm cement plaster of mix : | item no.65 | [52 empty] | 7.01 | 12 mm cement plaster of mix : | item no.65
7.02 | 1:6 (1 cement: 6 fine sand) | item no.66 | 20 | sqm | 222.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4458 | 4458 | INR Four Thousand Four Hundred & Fifty Eight Only | 7.02 | 1:6 (1 cement: 6 fine sand) | item no.66 | 20 | sqm
7.03 | 15 mm cement plaster on the rough side of single or half brick wall of mix : | item no.67 | [52 empty] | 7.03 | 15 mm cement plaster on the rough side of single or half brick wall of mix : | item no.67
7.04 | 1:6 (1 cement: 6 fine sand) | item no.68 | 20 | sqm | 256.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5135 | 5135 | INR Five Thousand One Hundred & Thirty Five Only | 7.04 | 1:6 (1 cement: 6 fine sand) | item no.68 | 20 | sqm
7.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.69 | [52 empty] | 7.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.69
7.06 | Two or more coats on new work | item no.70 | 110 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8405 | 8405 | INR Eight Thousand Four Hundred & Five Only | 7.06 | Two or more coats on new work | item no.70 | 110 | sqm
7.07 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.71 | [52 empty] | 7.07 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.71
7.08 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.72 | 30 | sqm | 141.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4239 | 4239 | INR Four Thousand Two Hundred & Thirty Nine Only | 7.08 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.72 | 30 | sqm
7.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.73 | 60 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6058 | 6058 | INR Six Thousand &Fifty Eight Only | 7.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.73 | 60 | sqm
8 | DISMANTLING AND DEMOLISHING | item no.74 | [52 empty] | 8 | DISMANTLING AND DEMOLISHING | item no.74
8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.75 | [52 empty] | 8.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.75
8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.76 | 5 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7617 | 7617 | INR Seven Thousand Six Hundred & Seventeen Only | 8.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.76 | 5 | cum
8.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.77 | [52 empty] | 8.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.77
8.04 | In cement mortar | item no.78 | 1.5 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1933 | 1933 | INR One Thousand Nine Hundred & Thirty Three Only | 8.04 | In cement mortar | item no.78 | 1.5 | cum
8.05 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.79 | 25 | sqm | 166.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4171 | 4171 | INR Four Thousand One Hundred & Seventy One Only | 8.05 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.79 | 25 | sqm
8.06 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.80 | 76.202 | sqm | 34.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2605 | 2605 | INR Two Thousand Six Hundred & Five Only | 8.06 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.80 | 76.202 | sqm
8.07 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.81 | 25.035 | sqm | 36.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 922 | 922 | INR Nine Hundred & Twenty Two Only | 8.07 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | item no.81 | 25.035 | sqm
8.08 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.82 | 12 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1461 | 1461 | INR One Thousand Four Hundred & Sixty One Only | 8.08 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.82 | 12 | cum
9 | SANITARY INSTALLATIONS | item no.83 | [52 empty] | 9 | SANITARY INSTALLATIONS | item no.83
9.01 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : | item no.84 | [52 empty] | 9.01 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : | item no.84
9.02 | Kitchen sink with drain board | item no.85 | [52 empty] | 9.02 | Kitchen sink with drain board | item no.85
9.03 | 510x1040 mm bowl depth 200 mm | item no.86 | 2 | each | 4896.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9792 | 9792 | INR Nine Thousand Seven Hundred & Ninety Two Only | 9.03 | 510x1040 mm bowl depth 200 mm | item no.86 | 2 | each
9.04 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.87 | [52 empty] | 9.04 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.87
9.05 | Semi rigid pipe | item no.88 | [52 empty] | 9.05 | Semi rigid pipe | item no.88
9.06 | 40 mm dia | item no.89 | 2 | each | 86.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 173 | 173 | INR One Hundred & Seventy Three Only | 9.06 | 40 mm dia | item no.89 | 2 | each
10 | WATER SUPPLY | item no.90 | [52 empty] | 10 | WATER SUPPLY | item no.90
10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.91 | [52 empty] | 10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.91
10.02 | 15 mm dia nominal bore | item no.92 | 10 | metre | 249.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2498 | 2498 | INR Two Thousand Four Hundred & Ninety Eight Only | 10.02 | 15 mm dia nominal bore | item no.92 | 10 | metre
10.03 | 20 mm dia nominal bore | item no.93 | 30 | metre | 301.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9051 | 9051 | INR Nine Thousand &Fifty One Only | 10.03 | 20 mm dia nominal bore | item no.93 | 30 | metre
10.04 | 50 mm dia nominal bore | item no.94 | 30 | metre | 689.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20695 | 20695 | INR Twenty Thousand Six Hundred & Ninety Five Only | 10.04 | 50 mm dia nominal bore | item no.94 | 30 | metre
10.05 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.95 | [52 empty] | 10.05 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.95
10.06 | 25 to 40 mm nominal bore | item no.96 | 1 | each | 590.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590 | 590 | INR Five Hundred & Ninety Only | 10.06 | 25 to 40 mm nominal bore | item no.96 | 1 | each
10.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.97 | [52 empty] | 10.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.97
10.08 | 25 mm nominal bore | item no.98 | 1 | each | 435.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 436 | 436 | INR Four Hundred & Thirty Six Only | 10.08 | 25 mm nominal bore | item no.98 | 1 | each
10.09 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.99 | [52 empty] | 10.09 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.99
10.1 | 15 mm nominal bore | item no.100 | 2 | each | 484.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 969 | 969 | INR Nine Hundred & Sixty Nine Only | 10.1 | 15 mm nominal bore | item no.100 | 2 | each
10.11 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.101 | [52 empty] | 10.11 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.101
10.12 | 15mm nominal bore | item no.102 | 2 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 933 | 933 | INR Nine Hundred & Thirty Three Only | 10.12 | 15mm nominal bore | item no.102 | 2 | each
10.13 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.103 | [52 empty] | 10.13 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.103
10.14 | With common burnt clay F.P.S. (non modular) bricks | item no.104 | 5 | each | 286.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1435 | 1435 | INR One Thousand Four Hundred & Thirty Five Only | 10.14 | With common burnt clay F.P.S. (non modular) bricks | item no.104 | 5 | each
11 | ALUMINIUM WORK | item no.105 | [52 empty] | 11 | ALUMINIUM WORK | item no.105
11.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.106 | [52 empty] | 11.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.106
11.02 | For fixed portion | item no.107 | [52 empty] | 11.02 | For fixed portion | item no.107
11.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.108 | 131 | kg | 371.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48695 | 48695 | INR Forty Eight Thousand Six Hundred & Ninety Five Only | 11.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.108 | 131 | kg
11.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.109 | [52 empty] | 11.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.109
11.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.110 | 35 | kg | 450.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15755 | 15755 | INR Fifteen Thousand Seven Hundred & Fifty Five Only | 11.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | item no.110 | 35 | kg
11.06 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | item no.111 | [52 empty] | 11.06 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | item no.111
11.07 | Pre-laminated particle board with decorative lamination on both sides | item no.112 | 12 | sqm | 917.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11015 | 11015 | INR Eleven Thousand &Fifteen Only | 11.07 | Pre-laminated particle board with decorative lamination on both sides | item no.112 | 12 | sqm
11.08 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.113 | [52 empty] | 11.08 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.113
11.09 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.114 | 12 | sqm | 1136.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13640 | 13640 | INR Thirteen Thousand Six Hundred & Forty Only | 11.09 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.114 | 12 | sqm
11.1 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | item no.115 | [52 empty] | 11.1 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | item no.115
11.11 | 355 X 19 mm | item no.116 | 8 | each | 251.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2010 | 2010 | INR Two Thousand &Ten Only | 11.11 | 355 X 19 mm | item no.116 | 8 | each
12 | WATER PROOFING | item no.117 | [52 empty] | 12 | WATER PROOFING | item no.117
12.01 | Grading roof for water proofing treatment with | item no.118 | [52 empty] | 12.01 | Grading roof for water proofing treatment with | item no.118
12.02 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.119 | 5 | cum | 6071.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30358 | 30358 | INR Thirty Thousand Three Hundred & Fifty Eight Only | 12.02 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.119 | 5 | cum
13 | MINOR CIVIL MAINTENANCE WORK | item no.120 | [52 empty] | 13 | MINOR CIVIL MAINTENANCE WORK | item no.120
13.01 | Providing and fixing vertical venition blinds vista make dust guard (classic/select) 100 mm wide on windows | item no.121 | 20 | Sqm | 1935.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38720 | 38720 | INR Thirty Eight Thousand Seven Hundred & Twenty Only | 13.01 | Providing and fixing vertical venition blinds vista make dust guard (classic/select) 100 mm wide on windows | item no.121 | 20 | Sqm
13.02 | Removing layer of bitumin felt and clearing the surface for further Hacking surface and dismantling including disposal of rubbish to the dumping ground within 50 metres lead.(based on Actual observation) | item no.122 | 20 | Sqm | 157.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3156 | 3156 | INR Three Thousand One Hundred & Fifty Six Only | 13.02 | Removing layer of bitumin felt and clearing the surface for further Hacking surface and dismantling including disposal of rubbish to the dumping ground within 50 metres lead.(based on Actual observation) | item no.122 | 20 | Sqm
13.03 | Providing fixing Thermal insulation of ceiling (under deck insulation) with AEROLAMLDE Alu. foil sheet single side and wire mesh of 12.5mm x 24 gauge wire mesh, for top most ceiling of Building. 19mm thick of CLASS 'O' | item no.123 | 18 | sqm | 635.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11442 | 11442 | INR Eleven Thousand Four Hundred & Forty Two Only | 13.03 | Providing fixing Thermal insulation of ceiling (under deck insulation) with AEROLAMLDE Alu. foil sheet single side and wire mesh of 12.5mm x 24 gauge wire mesh, for top most ceiling of Building. 19mm thick of CLASS 'O' | item no.123 | 18 | sqm
Total in Figures | [51 empty] | 726792 | 726792 | Seven Lakh Twenty Six Thousand Seven Hundred & Ninety Two Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information