## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Enginer
Name of Work: Supplying and laying input and output cable for 1200 kVA UPS near telephone exchange.
Contract No: 25/Elect/2022/318 Dated: 04.11.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supplying of one no. 3.5 x 400.0 sq.mm. PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete . | item1 | 1100 | Mtr | 1939 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2132900 | 2132900 | INR Twenty One Lakh Thirty Two Thousand Nine Hundred Only | 1 | Supplying of one no. 3.5 x 400.0 sq.mm. PVC insulated, XLPE steel armoured aluminium conductor power cable of grade 1.1 kV as required complete . | item1 | 1100 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item2 |  |  | 0 | [49 empty] | 2 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item2 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Above 185 sq. mm and upto 400 sq. mm | item3 | 20 | Metre | 417 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8340 | 8340 | INR Eight Thousand Three Hundred & Forty Only | 2.1 | Above 185 sq. mm and upto 400 sq. mm | item3 | 20 | Metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item4 |  |  | 0 | [49 empty] | 3 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required. | item4 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.1 | Above 185 sq. mm and upto 400 sq. mm | item5 | 180 | Metre | 312 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56160 | 56160 | INR Fifty Six Thousand One Hundred & Sixty Only | 3.1 | Above 185 sq. mm and upto 400 sq. mm | item5 | 180 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | item6 |  |  | 0 | [49 empty] | 4 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. | item6 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.1 | Above 185 sq. mm and upto 400 sq. mm | item7 | 600 | Metre | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60000 | 60000 | INR Sixty Thousand Only | 4.1 | Above 185 sq. mm and upto 400 sq. mm | item7 | 600 | Metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item8 |  |  | 0 | [49 empty] | 5 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. | item8 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.1 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | item9 | 300 | Metre | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60000 | 60000 | INR Sixty Thousand Only | 5.1 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | item9 | 300 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item10 |  |  | 0 | [49 empty] | 6 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item10 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.1 | 3½ X 400 sq. mm (82mm) | item11 | 14 | No. | 1364.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19102.02 | 19102.02 | INR Nineteen Thousand One Hundred & Two and Paise Two Only | 6.1 | 3½ X 400 sq. mm (82mm) | item11 | 14 | No. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item12 |  |  | 0 | [49 empty] | 7 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item12 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.1 | 3½X400 sq. mm | item13 | 6 | No. | 5789 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34734 | 34734 | INR Thirty Four Thousand Seven Hundred & Thirty Four Only | 7.1 | 3½X400 sq. mm | item13 | 6 | No. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Lifting removing cable of following size from trench/clamps, making roll & depositing the same in store I/c cartage. | item14 |  |  | 0 | [49 empty] | 8 | Lifting removing cable of following size from trench/clamps, making roll & depositing the same in store I/c cartage. | item14 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.1 | above 185 up to 400 Sq.mm | item15 | 150 | Meter | 118 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17700 | 17700 | INR Seventeen Thousand Seven Hundred Only | 8.1 | above 185 up to 400 Sq.mm | item15 | 150 | Meter | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Providing, laying and fixing following dia G.l. pipe (medium class) in ground complete with G.l. fittings including trenching (75 cm deep)and re-filling etc as required | item16 |  |  | 0 | [49 empty] | 9 | Providing, laying and fixing following dia G.l. pipe (medium class) in ground complete with G.l. fittings including trenching (75 cm deep)and re-filling etc as required | item16 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.1 | 100 mm dia | item17 | 20 | Metre | 1584 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31680 | 31680 | INR Thirty One Thousand Six Hundred & Eighty Only | 9.1 | 100 mm dia | item17 | 20 | Metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | item18 |  |  | 0 | [49 empty] | 10 | Supplying and installing following size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | item18 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.1 | 450 mm width X 50 mm depth X 2.0 mm thickness | item19 | 60 | Meter | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60000 | 60000 | INR Sixty Thousand Only | 10.1 | 450 mm width X 50 mm depth X 2.0 mm thickness | item19 | 60 | Meter | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item20 | 225 | Kg. | 98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22050 | 22050 | INR Twenty Two Thousand &Fifty Only | 11 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item20 | 225 | Kg. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 2502666.02 | 2502666.02 | INR Twenty Five Lakh Two Thousand Six Hundred & Sixty Six and Paise Two Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information