## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Construction of two rooms near SEE, P-FAB Building and creating parking space for Media Lab in IIT Kanpur (SH: Civil and Electrical)
NIT No: Composite/06/09/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component |  |  |  | 1 | Component
1.01 | EARTH WORK | item no.1 | [52 empty] | 1.01 | Supply installation testing and commissioning of cubical type LT panel-01 (IEC 61439 ) suitable for 4000Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.1 |  |  | 1.01 | EARTH WORK | item no.1
1.02 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.2 | [52 empty] | 1.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter (on all incomer and outgoing feeders) to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.2 |  |  | 1.02 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.2
1.03 | All kinds of soil | item no.3 | 355 | sqm | 93.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33306 | 33306 | INR Thirty Three Thousand Three Hundred & Six Only | 1.03 | Incoming | item no.3 |  |  | 1.03 | All kinds of soil | item no.3 | 355 | sqm
1.04 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.4 | [52 empty] | 1.04 | 2 No's 4000A, FP, EDO,50KA, ACB with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. suitable to connect with the bus duct and through cables. ABB-Emax2/ Schneider MTZ/Siemens 3VA | item no.4 |  |  | 1.04 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.4
1.05 | All kinds of soil | item no.5 | 50 | cum | 180.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9007 | 9007 | INR Nine Thousand &Seven Only | 1.05 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-4000/5A, Cl1.0, 15KVA cast rasin for metering, protection CTs 4000/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.5 |  |  | 1.05 | All kinds of soil | item no.5 | 50 | cum
1.06 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.6 | [52 empty] | 1.06 | Both Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.6 |  |  | 1.06 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.6
1.07 | All kinds of soil | item no.7 | [52 empty] | 1.07 | Bus bar: 1 No.4000 A, 50HZ, FP, Aliminium Bus Bar | item no.7 |  |  | 1.07 | All kinds of soil | item no.7
1.08 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.8 | 50 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18297 | 18297 | INR Eighteen Thousand Two Hundred & Ninety Seven Only | 1.08 | OutGoing: | item no.8 |  |  | 1.08 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.8 | 50 | metre
1.09 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.9 | 20 | cum | 222.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4453 | 4453 | INR Four Thousand Four Hundred & Fifty Three Only | 1.09 | 2 nos.2500 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.9 |  |  | 1.09 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.9 | 20 | cum
1.1 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.10 | 5.6 | cum | 1894.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10612 | 10612 | INR Ten Thousand Six Hundred & Twelve Only | 1.1 | 2 nos.1600 A, FP, EDO, 50 kA ACB with MPR based release (O/L, S/C & E/F protection) safety shutter, Aux. contacts 4NONC-2Nos, Breaker control switch TNC- 2Nos. 2A SP MCB 10KA for cont. CKT- 2nos. | item no.10 |  |  | 1.1 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.10 | 5.6 | cum
1.11 | CEMENT CONCRETE (CAST IN SITU) | item no.11 | [52 empty] | 1.11 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-3Nos, FP Spreader(8x3=24Nos) for MCCB 800A- 3 Nos | item no.11 |  |  | 1.11 | CEMENT CONCRETE (CAST IN SITU) | item no.11
1.12 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.12 | [52 empty] | 1.12 | 2 nos. 630 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-2Nos, FP Spreader(8x2=16Nos) for MCCB 630A- 2Nos | item no.12 |  |  | 1.12 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.12
1.13 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.13 | 40.5 | cum | 5546.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 224643 | 224643 | INR Two Lakh Twenty Four Thousand Six Hundred & Forty Three Only | 1.13 | 4 nos. 400 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism-4Nos, FP Spreader(8x4=32Nos) for MCCB 400A- 4 Nos | item no.13 |  |  | 1.13 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.13 | 40.5 | cum
1.14 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.14 | [52 empty] | 1.14 | all out goings with ON.OFF, Trip, Spring charge indication.communicable type Digital multifunction energy meter(RS 485).Digital Amp meter with selector switches etc. | item no.14 |  |  | 1.14 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing: | item no.14
1.15 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.15 | 0.4 | cum | 8220.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3288 | 3288 | INR Three Thousand Two Hundred & Eighty Eight Only | 1.15 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired up to terminal block. | item no.15 | 1 | No. | 1.15 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.15 | 0.4 | cum
1.16 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | item no.16 | 7.5 | sqm | 396.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2974 | 2974 | INR Two Thousand Nine Hundred & Seventy Four Only | 1.16 | Supply installation testing and commissioning of cubical type DG set LT panel -2 (IEC 61439), suitable for 1600 Amp 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item no.16 |  |  | 1.16 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20mm nominal size derived from natural sources). | item no.16 | 7.5 | sqm
1.17 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.17 | 7.5 | sqm | 99.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 749 | 749 | INR Seven Hundred & Forty Nine Only | 1.17 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser/meter to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification. | item no.17 |  |  | 1.17 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.17 | 7.5 | sqm
1.18 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.18 | 23 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13747 | 13747 | INR Thirteen Thousand Seven Hundred & Forty Seven Only | 1.18 | Incoming | item no.18 |  |  | 1.18 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.18 | 23 | sqm
1.19 | REINFORCED CEMENT CONCRETE | item no.19 | [52 empty] | 1.19 | 3 No's 1250A, FP, 50KA, 4 pole ACB ( for 3x750 KVA SG sets) with microprocessor release (O/L, S/C & E/F protention) saftey shutter,SCM, CC, 4NO+4NC Aux. Contacts, interlock, shunt Trip contact T&C. etc. with 2 nos. 1250 A bus coupler (DG1 & DG2) (DG2-DG3) with all protections and metering. | item no.19 |  |  | 1.19 | REINFORCED CEMENT CONCRETE | item no.19
1.2 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.20 | 6.5 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61092 | 61092 | INR Sixty One Thousand &Ninety Two Only | 1.2 | breaker control switch TNC, Digital voltmeter/Ammeter Cl-1.0 with selector switch, Electronic KWH meter Cl-1.0, CT-1250/5A, Cl1.0, 15VA cast rasin for metering, protection CTs 1250/5A, Cl-5P10, 15VA cast rasin IDMT relay , Trip circuit supervision relay , Phase indicating Lamp LED Type"Red, Tellow, Blue" Auto / Amnual selector switch Auxiliary contactors with 2NO+2NC , 2A SP MCB 10KA for cont. CKT. | item no.20 |  |  | 1.2 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.20 | 6.5 | cum
1.21 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.21 | [52 empty] | 1.21 | All the Incomer shall have class-b SPD of DEHN make. With 50KA 40A MPCB Protection. | item no.21 |  |  | 1.21 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.21
1.22 | Suspended floors, roofs, landings, balconies and access platform | item no.22 | 46 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30918 | 30918 | INR Thirty Thousand Nine Hundred & Eighteen Only | 1.22 | Bus bar: 1 No.1600 A, 50HZ, FP, Aliminium Bus Bar | item no.22 |  |  | 1.22 | Suspended floors, roofs, landings, balconies and access platform | item no.22 | 46 | sqm
1.23 | Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like | item no.23 | 6 | sqm | 270.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1620 | 1620 | INR One Thousand Six Hundred & Twenty Only | 1.23 | OutGoing: | item no.23 |  |  | 1.23 | Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like | item no.23 | 6 | sqm
1.24 | Edges of slabs and breaks in floors and walls | item no.24 | [52 empty] | 1.24 | 3 nos. 800 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism- 3Nos, 2A SP MCB for cont. CKT.- 3 Nos | item no.24 |  |  | 1.24 | Edges of slabs and breaks in floors and walls | item no.24
1.25 | Under 20 cm wide | item no.25 | 51 | metre | 159.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8134 | 8134 | INR Eight Thousand One Hundred & Thirty Four Only | 1.25 | 8 nos. 400 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection, rotary operated handle mechanism- 8Nos, 2A SP MCB for cont. CKT.- 8 Nos | item no.25 |  |  | 1.25 | Under 20 cm wide | item no.25 | 51 | metre
1.26 | Weather shade, Chajjas, corbels etc., including edges | item no.26 | 8 | sqm | 714.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5716 | 5716 | INR Five Thousand Seven Hundred & Sixteen Only | 1.26 | 4 nos. 250 A, FP, 36 kA,MCCB with thermomagnetic release O/C,S/C protection - 3nos, rotary operated handle mechanism-4Nos, FP Spreader for MCCB 250A- 4 Nos | item no.26 |  |  | 1.26 | Weather shade, Chajjas, corbels etc., including edges | item no.26 | 8 | sqm
1.27 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.27 | [52 empty] | 1.27 | all outgoings with ON,OFF,Trip, spring charge indication. Communicable Digital multifunction energy meter(RS 485) . Digital Amp meter with selector switches etc. | item no.27 |  |  | 1.27 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.27
1.28 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.28 | 600 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47166 | 47166 | INR Forty Seven Thousand One Hundred & Sixty Six Only | 1.28 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired up to terminal block. | item no.28 | 1 | Nos. | 1.28 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.28 | 600 | kg
1.29 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.29 | 80 | metre | 56.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4538 | 4538 | INR Four Thousand Five Hundred & Thirty Eight Only | 1.29 | S&I, testing & commissioning 4000 amp TPN aluminum bus duct with MS enclosure, as pe r enclosed specifications E-02. | item no.29 | 15 | Mtr. | 1.29 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.29 | 80 | metre
1.3 | MASONRY WORK | item no.30 | [52 empty] | 1.3 | S&I, testing & commissioning 4000amp TPN copper flexible links to connect tranformer LT bus duct as per enclosed specifications E-02. | item no.30 | 1 | Set | 1.3 | MASONRY WORK | item no.30
1.31 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.31 | [52 empty] | 1.31 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item no.31 | 5 | Nos. | 1.31 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.31
1.32 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.32 | 15.5 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90489 | 90489 | INR Ninety Thousand Four Hundred & Eighty Nine Only | 1.32 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | item no.32 | 100 | Mtr. | 1.32 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.32 | 15.5 | cum
1.33 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.33 | [52 empty] | 1.33 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.33 |  |  | 1.33 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.33
1.34 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.34 | 25.5 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 185316 | 185316 | INR One Lakh Eighty Five Thousand Three Hundred & Sixteen Only | 1.34 | 3½ X 400 sq. mm (82mm) | item no.34 | 50 | Nos. | 1.34 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.34 | 25.5 | cum
1.35 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.35 | [52 empty] | 1.35 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. | item no.35 |  |  | 1.35 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.35
1.36 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.36 | 1 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 893 | 893 | INR Eight Hundred & Ninety Three Only | 1.36 | 3½ X 300 sq. mm | item no.36 | 4 | Nos. | 1.36 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.36 | 1 | sqm
1.37 | CLADDING WORK | item no.37 | [52 empty] | 1.37 | 3½ X 400 sq. mm | item no.37 | 4 | Nos. | 1.37 | CLADDING WORK | item no.37
1.38 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.38 | 1 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 932 | 932 | INR Nine Hundred & Thirty Two Only | 1.38 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc. as required | item no.38 |  |  | 1.38 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.38 | 1 | sqm
1.39 | WOOD AND P. V. C. WORK | item no.39 | [52 empty] | 1.39 | 100 mm Dia | item no.39 | 50 | Mtr. | 1.39 | WOOD AND P. V. C. WORK | item no.39
1.4 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.40 | [52 empty] | 1.4 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels | item no.40 | 2 | Cum | 1.4 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.40
1.41 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.41 | 4.5 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7953 | 7953 | INR Seven Thousand Nine Hundred & Fifty Three Only | [5 empty] | 1.41 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.41 | 4.5 | sqm
1.42 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.42 | 2 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1799 | 1799 | INR One Thousand Seven Hundred & Ninety Nine Only | [5 empty] | 1.42 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.42 | 2 | each
1.43 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.43 | [57 empty] | 1.43 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.43
1.44 | 250x16 mm | item no.44 | 2 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 412 | 412 | INR Four Hundred & Twelve Only | [5 empty] | 1.44 | 250x16 mm | item no.44 | 2 | each
1.45 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.45 | [57 empty] | 1.45 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.45
1.46 | 200x10 mm | item no.46 | 2 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 159 | 159 | INR One Hundred & Fifty Nine Only | [5 empty] | 1.46 | 200x10 mm | item no.46 | 2 | each
1.47 | 150x10 mm | item no.47 | 2 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132 | 132 | INR One Hundred & Thirty Two Only | [5 empty] | 1.47 | 150x10 mm | item no.47 | 2 | each
1.48 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.48 | [57 empty] | 1.48 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.48
1.49 | 125 mm | item no.49 | 4 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 211 | 211 | INR Two Hundred & Eleven Only | [5 empty] | 1.49 | 125 mm | item no.49 | 4 | each
1.5 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.50 | [57 empty] | 1.5 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.50
1.51 | Twin rubber stopper | item no.51 | 2 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 109 | 109 | INR One Hundred & Nine Only | [5 empty] | 1.51 | Twin rubber stopper | item no.51 | 2 | each
1.52 | Providing and fixing factory made uPVC white colour casement/casement cum fixed glazed windows comprising of uPVC multi-chambered frame, sash and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, stainless steel (SS 304 grade) friction hinges, zinc alloy (white powder coated) casement handles, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. | item no.52 | [57 empty] | 1.52 | Providing and fixing factory made uPVC white colour casement/casement cum fixed glazed windows comprising of uPVC multi-chambered frame, sash and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), uPVC extruded glazing beads of appropriate dimension, EPDM gasket, stainless steel (SS 304 grade) friction hinges, zinc alloy (white powder coated) casement handles, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Variation in profile dimension in higher side shall be accepted but no extra payment on this account shall be made. | item no.52
1.53 | Casement window double panels with S.S. friction hinges (350 x 19 x 1.9 mm) made of (big series)frame 67 x 60 mm & sash / mullion 67 x 80 mm both having wall thickness of 2.3 ± 0.2 mm and single glazing bead/ double glazing bead of appropriate dimension. (Area of window above 1.50 sqm). | item no.53 | 6 | sqm | 9422.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56538 | 56538 | INR Fifty Six Thousand Five Hundred & Thirty Eight Only | [5 empty] | 1.53 | Casement window double panels with S.S. friction hinges (350 x 19 x 1.9 mm) made of (big series)frame 67 x 60 mm & sash / mullion 67 x 80 mm both having wall thickness of 2.3 ± 0.2 mm and single glazing bead/ double glazing bead of appropriate dimension. (Area of window above 1.50 sqm). | item no.53 | 6 | sqm
1.54 | Providing and fixing stainless steel (SS-304 grade) friction hinges to the side/top hung uPVC windows, of approved quality, with necessary stainless steel screws etc. as per direction of Engineer-in-charge. | item no.54 | [57 empty] | 1.54 | Providing and fixing stainless steel (SS-304 grade) friction hinges to the side/top hung uPVC windows, of approved quality, with necessary stainless steel screws etc. as per direction of Engineer-in-charge. | item no.54
1.55 | 200 x 19 x 1.9 mm | item no.55 | 16 | each | 273.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4374 | 4374 | INR Four Thousand Three Hundred & Seventy Four Only | [5 empty] | 1.55 | 200 x 19 x 1.9 mm | item no.55 | 16 | each
1.56 | Providing and fixing casement handle made of zinc alloyed (white powder coated) for uPVC casement window with necessary screws etc. complete. | item no.56 | 16 | each | 165.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2645 | 2645 | INR Two Thousand Six Hundred & Forty Five Only | [5 empty] | 1.56 | Providing and fixing casement handle made of zinc alloyed (white powder coated) for uPVC casement window with necessary screws etc. complete. | item no.56 | 16 | each
1.57 | STEEL WORK | item no.57 | [57 empty] | 1.57 | STEEL WORK | item no.57
1.58 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.58 | 50 | kg | 68.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3429 | 3429 | INR Three Thousand Four Hundred & Twenty Nine Only | [5 empty] | 1.58 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.58 | 50 | kg
1.59 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | item no.59 | [57 empty] | 1.59 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | item no.59
1.6 | Hot finished welded type tubes | item no.60 | 500 | kg | 135.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 67910 | 67910 | INR Sixty Seven Thousand Nine Hundred & Ten Only | [5 empty] | 1.6 | Hot finished welded type tubes | item no.60 | 500 | kg
1.61 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.61 | [57 empty] | 1.61 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.61
1.62 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.62 | 200 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24954 | 24954 | INR Twenty Four Thousand Nine Hundred & Fifty Four Only | [5 empty] | 1.62 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.62 | 200 | kg
1.63 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.63 | [57 empty] | 1.63 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. | item no.63
1.64 | M.S. tube | item no.64 | 20 | kg | 137.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2756 | 2756 | INR Two Thousand Seven Hundred & Fifty Six Only | [5 empty] | 1.64 | M.S. tube | item no.64 | 20 | kg
1.65 | FLOORING | item no.65 | [57 empty] | 1.65 | FLOORING | item no.65
1.66 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.66 | [57 empty] | 1.66 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.66
1.67 | 40 mm thick with 20 mm nominal size stone aggregate | item no.67 | 37 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17681 | 17681 | INR Seventeen Thousand Six Hundred & Eighty One Only | [5 empty] | 1.67 | 40 mm thick with 20 mm nominal size stone aggregate | item no.67 | 37 | sqm
1.68 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.68 | 33 | cum | 6978.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230281 | 230281 | INR Two Lakh Thirty Thousand Two Hundred & Eighty One Only | [5 empty] | 1.68 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.68 | 33 | cum
1.69 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.69 | [57 empty] | 1.69 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.69
1.7 | 25 mm thick | item no.70 | 1 | sqm | 1496.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1496 | 1496 | INR One Thousand Four Hundred & Ninety Six Only | [5 empty] | 1.7 | 25 mm thick | item no.70 | 1 | sqm
1.71 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.71 | 1 | sqm | 1787.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1787 | 1787 | INR One Thousand Seven Hundred & Eighty Seven Only | [5 empty] | 1.71 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.71 | 1 | sqm
1.72 | ROOFING | item no.72 | [57 empty] | 1.72 | ROOFING | item no.72
1.73 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.73 | 2 | each | 233.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 468 | 468 | INR Four Hundred & Sixty Eight Only | [5 empty] | 1.73 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.73 | 2 | each
1.74 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.74 | [57 empty] | 1.74 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.74
1.75 | 110 mm diameter | item no.75 | 10 | metre | 280.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2804 | 2804 | INR Two Thousand Eight Hundred & Four Only | [5 empty] | 1.75 | 110 mm diameter | item no.75 | 10 | metre
1.76 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.76 | [57 empty] | 1.76 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.76
1.77 | Single tee without door | item no.77 | [57 empty] | 1.77 | Single tee without door | item no.77
1.78 | 110x110x110 mm | item no.78 | 2 | each | 167.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 335 | 335 | INR Three Hundred & Thirty Five Only | [5 empty] | 1.78 | 110x110x110 mm | item no.78 | 2 | each
1.79 | Shoe (Plain) | item no.79 | [57 empty] | 1.79 | Shoe (Plain) | item no.79
1.8 | 110 mm Shoe | item no.80 | 2 | each | 101.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203 | 203 | INR Two Hundred & Three Only | [5 empty] | 1.8 | 110 mm Shoe | item no.80 | 2 | each
1.81 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | item no.81 | [57 empty] | 1.81 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | item no.81
1.82 | 110 mm | item no.82 | 4 | each | 271.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1085 | 1085 | INR One Thousand &Eighty Five Only | [5 empty] | 1.82 | 110 mm | item no.82 | 4 | each
1.83 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer- in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.83 | 43 | sqm | 588.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25319 | 25319 | INR Twenty Five Thousand Three Hundred & Nineteen Only | [5 empty] | 1.83 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer- in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.83 | 43 | sqm
1.84 | FINISHING | item no.84 | [57 empty] | 1.84 | FINISHING | item no.84
1.85 | 12 mm cement plaster of mix : | item no.85 | [57 empty] | 1.85 | 12 mm cement plaster of mix : | item no.85
1.86 | 1:6 (1 cement: 6 coarse sand) | item no.86 | 121 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31229 | 31229 | INR Thirty One Thousand Two Hundred & Twenty Nine Only | [5 empty] | 1.86 | 1:6 (1 cement: 6 coarse sand) | item no.86 | 121 | sqm
1.87 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.87 | [57 empty] | 1.87 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.87
1.88 | 1:6 (1 cement: 6 coarse sand) | item no.88 | 190 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56493 | 56493 | INR Fifty Six Thousand Four Hundred & Ninety Three Only | [5 empty] | 1.88 | 1:6 (1 cement: 6 coarse sand) | item no.88 | 190 | sqm
1.89 | 6 mm cement plaster of mix : | item no.89 | [57 empty] | 1.89 | 6 mm cement plaster of mix : | item no.89
1.9 | 1:3 (1 cement : 3 fine sand) | item no.90 | 52 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11538 | 11538 | INR Eleven Thousand Five Hundred & Thirty Eight Only | [5 empty] | 1.9 | 1:3 (1 cement : 3 fine sand) | item no.90 | 52 | sqm
1.91 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.91 | [57 empty] | 1.91 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.91
1.92 | Two or more coats on new work | item no.92 | 160 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13011 | 13011 | INR Thirteen Thousand &Eleven Only | [5 empty] | 1.92 | Two or more coats on new work | item no.92 | 160 | sqm
1.93 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.93 | [57 empty] | 1.93 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.93
1.94 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.94 | 210 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29894 | 29894 | INR Twenty Nine Thousand Eight Hundred & Ninety Four Only | [5 empty] | 1.94 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.94 | 210 | sqm
1.95 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.95 | [57 empty] | 1.95 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.95
1.96 | Two or more coats on new work | item no.96 | 20 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2305 | 2305 | INR Two Thousand Three Hundred & Five Only | [5 empty] | 1.96 | Two or more coats on new work | item no.96 | 20 | sqm
1.97 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.97 | [57 empty] | 1.97 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.97
1.98 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.98 | 11 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1846 | 1846 | INR One Thousand Eight Hundred & Forty Six Only | [5 empty] | 1.98 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.98 | 11 | sqm
1.99 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.99 | 370 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40178 | 40178 | INR Forty Thousand One Hundred & Seventy Eight Only | [5 empty] | 1.99 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.99 | 370 | sqm
2 | Dismantling and Demolishing | item no.100 | [57 empty] | 2 | Dismantling and Demolishing | item no.100
2.01 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.101 | 10 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1923 | 1923 | INR One Thousand Nine Hundred & Twenty Three Only | [5 empty] | 2.01 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.101 | 10 | cum
2.02 | ROAD WORK | item no.102 | [57 empty] | 2.02 | ROAD WORK | item no.102
2.03 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | item no.103 | 235 | sqm | 833.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 195952 | 195952 | INR One Lakh Ninety Five Thousand Nine Hundred & Fifty Two Only | [5 empty] | 2.03 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved size, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | item no.103 | 235 | sqm
2.04 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | item no.104 | 3 | cum | 7552.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22657 | 22657 | INR Twenty Two Thousand Six Hundred & Fifty Seven Only | [5 empty] | 2.04 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | item no.104 | 3 | cum
2.05 | Providing & fixing temporary barricading all round the construction area, made with 24 Gauge G.I. sheet of size 0.90 m ( before corrugation ) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia & height upto 2.00 m from ground level incuding necessary excavation in digging holes and refilling earth complete. And barricade shall be braced with inclined ballies at every 10 m. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer-in-charge. ( Note : One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work ). | item no.105 | 30 | Metre | 1011.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30337 | 30337 | INR Thirty Thousand Three Hundred & Thirty Seven Only | [5 empty] | 2.05 | Providing & fixing temporary barricading all round the construction area, made with 24 Gauge G.I. sheet of size 0.90 m ( before corrugation ) x 3.00 m, with vertical ballies and two no. horizontal ballies of 75 mm to 100 mm dia & height upto 2.00 m from ground level incuding necessary excavation in digging holes and refilling earth complete. And barricade shall be braced with inclined ballies at every 10 m. The barricading provided shall be retained in position at site continuously i/c shifting of barricading from one location to another location as many times as required during the execution of the entire work till its completion. Rate include its maintenance for damages, painting, all incidentals, labour materials, equipments and works required to execute the job. The barricading shall not be removed without prior approval of Engineer-in-charge. ( Note : One time payment shall be made for providing barricading from start of work till completion of work i/c shifting. The barricading provided shall remain to be the property of the contractor on completion of the work ). | item no.105 | 30 | Metre
2.06 | DRAINAGE | item no.106 | [57 empty] | 2.06 | DRAINAGE | item no.106
2.07 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.107 | [57 empty] | 2.07 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.107
2.08 | 150 mm diameter | item no.108 | 50 | metre | 518.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25927 | 25927 | INR Twenty Five Thousand Nine Hundred & Twenty Seven Only | [5 empty] | 2.08 | 150 mm diameter | item no.108 | 50 | metre
2.09 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.109 | [57 empty] | 2.09 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | item no.109
2.1 | 150 mm diameter S.W. pipe | item no.110 | 50 | metre | 960.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48012 | 48012 | INR Forty Eight Thousand &Twelve Only | [5 empty] | 2.1 | 150 mm diameter S.W. pipe | item no.110 | 50 | metre
2.11 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | item no.111 | [57 empty] | 2.11 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | item no.111
2.12 | 150 mm dia. R.C.C. pipe | item no.112 | 15 | metre | 432.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6485 | 6485 | INR Six Thousand Four Hundred & Eighty Five Only | [5 empty] | 2.12 | 150 mm dia. R.C.C. pipe | item no.112 | 15 | metre
2.13 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.113 | [57 empty] | 2.13 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.113
2.14 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.114 | [57 empty] | 2.14 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.114
2.15 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.115 | 2 | each | 10247.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20495 | 20495 | INR Twenty Thousand Four Hundred & Ninety Five Only | [5 empty] | 2.15 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.115 | 2 | each
2.16 | Extra for depth for manholes : | item no.116 | [57 empty] | 2.16 | Extra for depth for manholes : | item no.116
2.17 | Size 90x80 cm | item no.117 | [57 empty] | 2.17 | Size 90x80 cm | item no.117
2.18 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.118 | 0.5 | metre | 7126.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3563 | 3563 | INR Three Thousand Five Hundred & Sixty Three Only | [5 empty] | 2.18 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.118 | 0.5 | metre
2.19 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.119 | [57 empty] | 2.19 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.119
2.2 | For pipes 100 to 250 mm diameter | item no.120 | 2 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1199 | 1199 | INR One Thousand One Hundred & Ninety Nine Only | [5 empty] | 2.2 | For pipes 100 to 250 mm diameter | item no.120 | 2 | each
2.21 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | item no.121 | [57 empty] | 2.21 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | item no.121
2.22 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.122 | 4 | each | 4900.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19604 | 19604 | INR Nineteen Thousand Six Hundred & Four Only | [5 empty] | 2.22 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.122 | 4 | each
2.23 | ALUMINIUM WORK | item no.123 | [57 empty] | 2.23 | ALUMINIUM WORK | item no.123
2.24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.124 | [57 empty] | 2.24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.124
2.25 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.125 | 4 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4649 | 4649 | INR Four Thousand Six Hundred & Forty Nine Only | [5 empty] | 2.25 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.125 | 4 | sqm
2.26 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. | item no.126 | [57 empty] | 2.26 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. | item no.126
2.27 | Upto 5mm depth and 5 mm width | item no.127 | 20 | metre | 74.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1495 | 1495 | INR One Thousand Four Hundred & Ninety Five Only | [5 empty] | 2.27 | Upto 5mm depth and 5 mm width | item no.127 | 20 | metre
2.28 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.128 | 2 | each | 394.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 788 | 788 | INR Seven Hundred & Eighty Eight Only | [5 empty] | 2.28 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | item no.128 | 2 | each
2.29 | WATER PROOFING | item no.129 | [57 empty] | 2.29 | WATER PROOFING | item no.129
2.3 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.130 | [57 empty] | 2.3 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer- in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. “All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.130
2.31 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.131 | 48 | sqm | 1335.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 64096 | 64096 | INR Sixty Four Thousand &Ninety Six Only | [5 empty] | 2.31 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.131 | 48 | sqm
2.32 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item no.132 | [57 empty] | 2.32 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item no.132
2.33 | Group C | item no.133 | 6 | Point | 1617.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9706 | 9706 | INR Nine Thousand Seven Hundred & Six Only | [5 empty] | 2.33 | Group C | item no.133 | 6 | Point
2.34 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. | item no.134 | [57 empty] | 2.34 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. | item no.134
2.35 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | item no.135 | 70 | Mtr. | 286.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20070 | 20070 | INR Twenty Thousand &Seventy Only | [5 empty] | 2.35 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | item no.135 | 70 | Mtr.
2.36 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | item no.136 | 45 | Mtr. | 375.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16887 | 16887 | INR Sixteen Thousand Eight Hundred & Eighty Seven Only | [5 empty] | 2.36 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | item no.136 | 45 | Mtr.
2.37 | Supplying and fixing metal box of 180mm X 100mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 6 pin 5/6 & 15/16 A socket outlet and 15/16 A piano type switch, connections, painting etc. as required. | item no.137 | 2 | Each | 427.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 856 | 856 | INR Eight Hundred & Fifty Six Only | [5 empty] | 2.37 | Supplying and fixing metal box of 180mm X 100mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 6 pin 5/6 & 15/16 A socket outlet and 15/16 A piano type switch, connections, painting etc. as required. | item no.137 | 2 | Each
2.38 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item no.138 | 6 | Each | 76.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 458 | 458 | INR Four Hundred & Fifty Eight Only | [5 empty] | 2.38 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | item no.138 | 6 | Each
2.39 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | item no.139 | 2 | Each | 235.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 472 | 472 | INR Four Hundred & Seventy Two Only | [5 empty] | 2.39 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | item no.139 | 2 | Each
2.4 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | item no.140 | [57 empty] | 2.4 | Supplying and fixing Cable End Box (Loose Wire Box) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 Volts, on surface/ recess, complete with testing and commissioning etc. as required. | item no.140
2.41 | For 8 way, Double door SPN MCBDB | item no.141 | 2 | Each | 729.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1459 | 1459 | INR One Thousand Four Hundred & Fifty Nine Only | [5 empty] | 2.41 | For 8 way, Double door SPN MCBDB | item no.141 | 2 | Each
2.42 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.142 | 2 | Each | 445.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 891 | 891 | INR Eight Hundred & Ninety One Only | [5 empty] | 2.42 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | item no.142 | 2 | Each
2.43 | Supplying and fixing of 32 mm dia X 2.00 metres long G.I. pipe (medium class) bracket for mounting of fluorescent / HPMV / HPSV street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. | item no.143 | 10 | Each | 1295.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12951 | 12951 | INR Twelve Thousand Nine Hundred & Fifty One Only | [5 empty] | 2.43 | Supplying and fixing of 32 mm dia X 2.00 metres long G.I. pipe (medium class) bracket for mounting of fluorescent / HPMV / HPSV street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. | item no.143 | 10 | Each
2.44 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.144 | [57 empty] | 2.44 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit as reqd. | item no.144
2.45 | 3 x 1.5 Sq.mm.. | item no.145 | 10 | Mtr. | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 833 | 833 | INR Eight Hundred & Thirty Three Only | [5 empty] | 2.45 | 3 x 1.5 Sq.mm.. | item no.145 | 10 | Mtr.
2.46 | 3 x 4 Sq.mm.. | item no.146 | 4 | Mtr. | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 722 | 722 | INR Seven Hundred & Twenty Two Only | [5 empty] | 2.46 | 3 x 4 Sq.mm.. | item no.146 | 4 | Mtr.
2.47 | Supply and fixing of following sizes of medium class PVC conduit along with the accessories in surface /recess including cutting the wall and making good the same in case of recessed conduit as reqd. | item no.147 | [57 empty] | 2.47 | Supply and fixing of following sizes of medium class PVC conduit along with the accessories in surface /recess including cutting the wall and making good the same in case of recessed conduit as reqd. | item no.147
2.48 | 20mm | item no.148 | 2 | Mtr | 112.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 224 | 224 | INR Two Hundred & Twenty Four Only | [5 empty] | 2.48 | 20mm | item no.148 | 2 | Mtr
2.49 | 25mm | item no.149 | 2 | Mtr | 127.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 254 | 254 | INR Two Hundred & Fifty Four Only | [5 empty] | 2.49 | 25mm | item no.149 | 2 | Mtr
2.5 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.150 | [57 empty] | 2.5 | Supply, fixing, following modular type switch / socket on existing modular plate & switch box including connectins but excluding modular plate etc. as reqd. | item no.150
2.51 | 5/6 Amp switch | item no.151 | 16 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1445 | 1445 | INR One Thousand Four Hundred & Forty Five Only | [5 empty] | 2.51 | 5/6 Amp switch | item no.151 | 16 | Nos.
2.52 | 15/16 Amp. switch | item no.152 | 4 | Nos. | 136.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 547 | 547 | INR Five Hundred & Forty Seven Only | [5 empty] | 2.52 | 15/16 Amp. switch | item no.152 | 4 | Nos.
2.53 | 3 Pin 5/6 Amp. socket outlet | item no.153 | 8 | Nos. | 106.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 856 | 856 | INR Eight Hundred & Fifty Six Only | [5 empty] | 2.53 | 3 Pin 5/6 Amp. socket outlet | item no.153 | 8 | Nos.
2.54 | 6 Pin 15/16 Amp. socket outlet. | item no.154 | 4 | Nos. | 172.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 691 | 691 | INR Six Hundred & Ninety One Only | [5 empty] | 2.54 | 6 Pin 15/16 Amp. socket outlet. | item no.154 | 4 | Nos.
2.55 | Fan regulator socket type rotary step | item no.155 | 2 | Nos. | 323.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 647 | 647 | INR Six Hundred & Forty Seven Only | [5 empty] | 2.55 | Fan regulator socket type rotary step | item no.155 | 2 | Nos.
2.56 | Blanking plate | item no.156 | 2 | Nos. | 35.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70 | 70 | INR Seventy Only | [5 empty] | 2.56 | Blanking plate | item no.156 | 2 | Nos.
2.57 | S & F following size/modules, GI box along with modular base and cover plate for modular switches in recess etc.as required. | item no.157 | [57 empty] | 2.57 | S & F following size/modules, GI box along with modular base and cover plate for modular switches in recess etc.as required. | item no.157
2.58 | 1 or 2 Module (75mmX75mm) | item no.158 | 2 | Nos. | 261.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 523 | 523 | INR Five Hundred & Twenty Three Only | [5 empty] | 2.58 | 1 or 2 Module (75mmX75mm) | item no.158 | 2 | Nos.
2.59 | 3 module | item no.159 | 4 | Nos. | 286.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1147 | 1147 | INR One Thousand One Hundred & Forty Seven Only | [5 empty] | 2.59 | 3 module | item no.159 | 4 | Nos.
2.6 | 4 module | item no.160 | 1 | Nos. | 300.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 301 | 301 | INR Three Hundred & One Only | [5 empty] | 2.6 | 4 module | item no.160 | 1 | Nos.
2.61 | 6 module | item no.161 | 4 | Nos. | 352.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1410 | 1410 | INR One Thousand Four Hundred & Ten Only | [5 empty] | 2.61 | 6 module | item no.161 | 4 | Nos.
2.62 | 8 module | item no.162 | 2 | Nos. | 398.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 796 | 796 | INR Seven Hundred & Ninety Six Only | [5 empty] | 2.62 | 8 module | item no.162 | 2 | Nos.
2.63 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.163 | [57 empty] | 2.63 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | item no.163
2.64 | 8-way , Double door | item no.164 | 2 | Nos. | 2256.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4512 | 4512 | INR Four Thousand Five Hundred & Twelve Only | [5 empty] | 2.64 | 8-way , Double door | item no.164 | 2 | Nos.
2.65 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.165 | [57 empty] | 2.65 | Supplying and fixing 5 amps to 32 amps rating, 240 volts, 'C' series, MCB suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as reqd. | item no.165
2.66 | Single Pole | item no.166 | 12 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2694 | 2694 | INR Two Thousand Six Hundred & Ninety Four Only | [5 empty] | 2.66 | Single Pole | item no.166 | 12 | Nos.
2.67 | S & F following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 30 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | item no.167 | [57 empty] | 2.67 | S & F following rating double pole (single phase & neutral) 240 volts RCCB (ELCB), having sensivity current up to 30 mA in the existing MCB DB complete with connection,testing & commissioning etc as reqd. | item no.167
2.68 | 40 Amp | item no.168 | 2 | Nos. | 2316.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4633 | 4633 | INR Four Thousand Six Hundred & Thirty Three Only | [5 empty] | 2.68 | 40 Amp | item no.168 | 2 | Nos.
2.69 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | item no.169 | 70 | Mtr. | 61.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4297 | 4297 | INR Four Thousand Two Hundred & Ninety Seven Only | [5 empty] | 2.69 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | item no.169 | 70 | Mtr.
2.7 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.170 | [57 empty] | 2.7 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | item no.170
2.71 | 50 mm | item no.171 | 5 | Mtr. | 538.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2692 | 2692 | INR Two Thousand Six Hundred & Ninety Two Only | [5 empty] | 2.71 | 50 mm | item no.171 | 5 | Mtr.
2.72 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.172 | [57 empty] | 2.72 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.172
2.73 | 2 Pair | item no.173 | 5 | Mtr. | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 167 | 167 | INR One Hundred & Sixty Seven Only | [5 empty] | 2.73 | 2 Pair | item no.173 | 5 | Mtr.
2.74 | 4 Pair | item no.174 | 5 | Mtr. | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 237 | 237 | INR Two Hundred & Thirty Seven Only | [5 empty] | 2.74 | 4 Pair | item no.174 | 5 | Mtr.
2.75 | Supplying & Laying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 2 x 10 sq.mm. 1.1kV grade in following manners. | item no.175 | [57 empty] | 2.75 | Supplying & Laying of one no. XLPE sheathed aluminum conductor steel armoured power cable of size 2 x 10 sq.mm. 1.1kV grade in following manners. | item no.175
2.76 | direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.176 | 55 | Mtr. | 455.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25077 | 25077 | INR Twenty Five Thousand &Seventy Seven Only | [5 empty] | 2.76 | direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.176 | 55 | Mtr.
2.77 | In pipe | item no.177 | 5 | Mtr. | 148.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 741 | 741 | INR Seven Hundred & Forty One Only | [5 empty] | 2.77 | In pipe | item no.177 | 5 | Mtr.
2.78 | In open duct | item no.178 | 5 | Mtr. | 140.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 701 | 701 | INR Seven Hundred & One Only | [5 empty] | 2.78 | In open duct | item no.178 | 5 | Mtr.
2.79 | On surface with MS clamp | item no.179 | 5 | Mtr. | 156.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 780 | 780 | INR Seven Hundred & Eighty Only | [5 empty] | 2.79 | On surface with MS clamp | item no.179 | 5 | Mtr.
2.8 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.180 | [57 empty] | 2.8 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item no.180
2.81 | Mini- trunking | item no.181 | 2 | Mtr. | 227.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 456 | 456 | INR Four Hundred & Fifty Six Only | [5 empty] | 2.81 | Mini- trunking | item no.181 | 2 | Mtr.
2.82 | End cap left or right | item no.182 | 1 | Nos. | 141.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 141 | 141 | INR One Hundred & Forty One Only | [5 empty] | 2.82 | End cap left or right | item no.182 | 1 | Nos.
2.83 | Internal/ external angle | item no.183 | 1 | Nos. | 145.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 146 | 146 | INR One Hundred & Forty Six Only | [5 empty] | 2.83 | Internal/ external angle | item no.183 | 1 | Nos.
2.84 | Flat angle | item no.184 | 1 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124 | 124 | INR One Hundred & Twenty Four Only | [5 empty] | 2.84 | Flat angle | item no.184 | 1 | Nos.
2.85 | Flat junction | item no.185 | 1 | Nos. | 143.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 144 | 144 | INR One Hundred & Forty Four Only | [5 empty] | 2.85 | Flat junction | item no.185 | 1 | Nos.
2.86 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. | item no.186 | [57 empty] | 2.86 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. | item no.186
2.87 | Double pole | item no.187 | 1 | Nos. | 1341.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1342 | 1342 | INR One Thousand Three Hundred & Forty Two Only | [5 empty] | 2.87 | Double pole | item no.187 | 1 | Nos.
2.88 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item no.188 | [57 empty] | 2.88 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item no.188
2.89 | LED tube light fitting (1 X 18 / 20 Watt. LED) surface mounting luminares wipro meke | item no.189 | 4 | Nos. | 453.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1813 | 1813 | INR One Thousand Eight Hundred & Thirteen Only | [5 empty] | 2.89 | LED tube light fitting (1 X 18 / 20 Watt. LED) surface mounting luminares wipro meke | item no.189 | 4 | Nos.
2.9 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. | item no.190 | [57 empty] | 2.9 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweep 220 volts without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. | item no.190
2.91 | 1400 mm | item no.191 | 2 | Nos. | 2461.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4922 | 4922 | INR Four Thousand Nine Hundred & Twenty Two Only | [5 empty] | 2.91 | 1400 mm | item no.191 | 2 | Nos.
2.92 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.192 | 210 | Mtr. | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3866 | 3866 | INR Three Thousand Eight Hundred & Sixty Six Only | [5 empty] | 2.92 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item no.192 | 210 | Mtr.
2.93 | Supply and laying of HDPE pipe ISI mark of 25 mm (8Kg / cm²) size inner dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.193 | [57 empty] | 2.93 | Supply and laying of HDPE pipe ISI mark of 25 mm (8Kg / cm²) size inner dia, 2mm thick I/c cartage loading & unloading etc. as reqd. | item no.193
2.94 | Direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.194 | 50 | Mtr. | 421.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21087 | 21087 | INR Twenty One Thousand &Eighty Seven Only | [5 empty] | 2.94 | Direct in ground I/c excavation, sand cushioning, protective covering and refilling the trench etc. as reqd. | item no.194 | 50 | Mtr.
2.95 | In pipe | item no.195 | 5 | Mtr. | 97.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 487 | 487 | INR Four Hundred & Eighty Seven Only | [5 empty] | 2.95 | In pipe | item no.195 | 5 | Mtr.
2.96 | In open duct | item no.196 | 5 | Mtr. | 112.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 561 | 561 | INR Five Hundred & Sixty One Only | [5 empty] | 2.96 | In open duct | item no.196 | 5 | Mtr.
2.97 | On surface with MS clamp | item no.197 | 2 | Mtr. | 88.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 177 | 177 | INR One Hundred & Seventy Seven Only | [5 empty] | 2.97 | On surface with MS clamp | item no.197 | 2 | Mtr.
2.98 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.198 | 6 | Nos. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 479 | 479 | INR Four Hundred & Seventy Nine Only | [5 empty] | 2.98 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.198 | 6 | Nos.
2.99 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item no.199 | [57 empty] | 2.99 | Supplying, fixing, connecting, commissioning and testing of the following luminaries light fixtures complete with all accessories and with lamp as required complete. | item no.199
3 | Street Light luminaire 48W CAT no ENDURAPEARLNEOSL48WLED757SASYBOPC. Havells make or it's equivalent | item no.200 | 3 | Nos. | 5051.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15154 | 15154 | INR Fifteen Thousand One Hundred & Fifty Four Only | [5 empty] | 3 | Street Light luminaire 48W CAT no ENDURAPEARLNEOSL48WLED757SASYBOPC. Havells make or it's equivalent | item no.200 | 3 | Nos.
Total in Figures | [51 empty] | 2018052 | 1846406 | Twenty Lakh Eighteen Thousand &Fifty Two Only | [5 empty] | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | [5 empty] | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [57 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information