## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work:Renovation of 4 nos common toilet inside Auditorium Hall at IIT Kanpur.
NIT No: Civil/16/02/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Carriage of Materials | item no.1 | [52 empty] | 1.01 | Carriage of Materials | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.02 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 75 | cum | 143.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10731 | 10731 | INR Ten Thousand Seven Hundred & Thirty One Only | 1.03 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 75 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | CEMENT CONCRETE (CAST IN SITU) | item no.4 | [52 empty] | 1.04 | CEMENT CONCRETE (CAST IN SITU) | item no.4
1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 1.05 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
1.06 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 9.75 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62964 | 62964 | INR Sixty Two Thousand Nine Hundred & Sixty Four Only | 1.06 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.6 | 9.75 | cum
1.07 | REINFORCED CEMENT CONCRETE | item no.7 | [52 empty] | 1.07 | REINFORCED CEMENT CONCRETE | item no.7 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : | item no.8 | [52 empty] | 1.08 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : | item no.8
1.09 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natu- ral sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.9 | 0.65 | cum | 8930.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5805 | 5805 | INR Five Thousand Eight Hundred & Five Only | 1.09 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natu- ral sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.9 | 0.65 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 | [52 empty] | 1.1 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.10 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | Shelves (Cast in situ) | item no.11 | 7.75 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5209 | 5209 | INR Five Thousand Two Hundred & Nine Only | 1.11 | Shelves (Cast in situ) | item no.11 | 7.75 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.12 | [52 empty] | 1.12 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.12
1.13 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.13 | 60 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4717 | 4717 | INR Four Thousand Seven Hundred & Seventeen Only | 1.13 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.13 | 60 | kg
1.14 | MASONRY WORK | item no.14 | [52 empty] | 1.14 | MASONRY WORK | item no.14
1.15 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.15 | [52 empty] | 1.15 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.15
1.16 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.16 | 0.2 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1453 | 1453 | INR One Thousand Four Hundred & Fifty Three Only | 1.16 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.16 | 0.2 | cum
1.17 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.17 | [52 empty] | 1.17 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.17
1.18 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.18 | 3.6 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3213 | 3213 | INR Three Thousand Two Hundred & Thirteen Only | 1.18 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.18 | 3.6 | sqm
1.19 | CLADDING WORK | item no.19 | [52 empty] | 1.19 | CLADDING WORK | item no.19
1.2 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | item no.20 | [52 empty] | 1.2 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | item no.20
1.21 | Granite stone slab of colour black, Cherry/Ruby red | item no.21 | [52 empty] | 1.21 | Granite stone slab of colour black, Cherry/Ruby red | item no.21
1.22 | Area of slab over 0.50 sqm | item no.22 | 7.7 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29877 | 29877 | INR Twenty Nine Thousand Eight Hundred & Seventy Seven Only | 1.22 | Area of slab over 0.50 sqm | item no.22 | 7.7 | sqm
1.23 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.23 | 16 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11337 | 11337 | INR Eleven Thousand Three Hundred & Thirty Seven Only | 1.23 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.23 | 16 | each
1.24 | Providing and fixing 75 mm high, 50 mm deep and 18 mm thick stone slab table rubbed, edges rounded and polished, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | item no.24 | [52 empty] | 1.24 | Providing and fixing 75 mm high, 50 mm deep and 18 mm thick stone slab table rubbed, edges rounded and polished, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | item no.24
1.25 | Granite Stone of approved shade | item no.25 | 10 | sqm | 3106.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31064 | 31064 | INR Thirty One Thousand &Sixty Four Only | 1.25 | Granite Stone of approved shade | item no.25 | 10 | sqm
1.26 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.26 | 188 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175299 | 175299 | INR One Lakh Seventy Five Thousand Two Hundred & Ninety Nine Only | 1.26 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.26 | 188 | sqm
1.27 | FLOORING | item no.27 | [52 empty] | 1.27 | FLOORING | item no.27
1.28 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | item no.28 | [52 empty] | 1.28 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | item no.28
1.29 | 1:6 (1cement : 6 coarse sand) | item no.29 | 1.8 | sqm | 787.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1418 | 1418 | INR One Thousand Four Hundred & Eighteen Only | 1.29 | 1:6 (1cement : 6 coarse sand) | item no.29 | 1.8 | sqm
1.3 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.30 | 78 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63987 | 63987 | INR Sixty Three Thousand Nine Hundred & Eighty Seven Only | 1.3 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.30 | 78 | sqm
1.31 | FINISHING | item no.31 | [52 empty] | 1.31 | FINISHING | item no.31
1.32 | 12 mm cement plaster of mix : | item no.32 | [52 empty] | 1.32 | 12 mm cement plaster of mix : | item no.32
1.33 | 1:6 (1 cement: 6 coarse sand) | item no.33 | 5 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1290 | 1290 | INR One Thousand Two Hundred & Ninety Only | 1.33 | 1:6 (1 cement: 6 coarse sand) | item no.33 | 5 | sqm
1.34 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.34 | [52 empty] | 1.34 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.34
1.35 | 1:6 (1 cement: 6 coarse sand) | item no.35 | 5 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1487 | 1487 | INR One Thousand Four Hundred & Eighty Seven Only | 1.35 | 1:6 (1 cement: 6 coarse sand) | item no.35 | 5 | sqm
1.36 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.36 | [52 empty] | 1.36 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.36
1.37 | 1:4 (1 cement: 4 fine sand) | item no.37 | 130 | sqm | 356.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46289 | 46289 | INR Forty Six Thousand Two Hundred & Eighty Nine Only | 1.37 | 1:4 (1 cement: 4 fine sand) | item no.37 | 130 | sqm
1.38 | 6 mm cement plaster of mix : | item no.38 | [52 empty] | 1.38 | 6 mm cement plaster of mix : | item no.38
1.39 | 1:3 (1 cement : 3 fine sand) | item no.39 | 8 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1775 | 1775 | INR One Thousand Seven Hundred & Seventy Five Only | 1.39 | 1:3 (1 cement : 3 fine sand) | item no.39 | 8 | sqm
1.4 | Neat cement punning. | item no.40 | 1 | sqm | 59.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59 | 59 | INR Fifty Nine Only | 1.4 | Neat cement punning. | item no.40 | 1 | sqm
1.41 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.41 | [52 empty] | 1.41 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.41
1.42 | Two or more coats on new work | item no.42 | 277 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22526 | 22526 | INR Twenty Two Thousand Five Hundred & Twenty Six Only | 1.42 | Two or more coats on new work | item no.42 | 277 | sqm
1.43 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.43 | [52 empty] | 1.43 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.43
1.44 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.44 | 65 | sqm | 146.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9510 | 9510 | INR Nine Thousand Five Hundred & Ten Only | 1.44 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.44 | 65 | sqm
1.45 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.45 | 140 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15203 | 15203 | INR Fifteen Thousand Two Hundred & Three Only | 1.45 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.45 | 140 | sqm
1.46 | White washing with lime to give an even shade : | item no.46 | [52 empty] | 1.46 | White washing with lime to give an even shade : | item no.46
1.47 | Old work (two or more coats) | item no.47 | 82 | sqm | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1366 | 1366 | INR One Thousand Three Hundred & Sixty Six Only | 1.47 | Old work (two or more coats) | item no.47 | 82 | sqm
1.48 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.48 | 82 | sqm | 14.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1176 | 1176 | INR One Thousand One Hundred & Seventy Six Only | 1.48 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.48 | 82 | sqm
1.49 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.49 | 140 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2559 | 2559 | INR Two Thousand Five Hundred & Fifty Nine Only | 1.49 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.49 | 140 | sqm
1.5 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.50 | [52 empty] | 1.5 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.50
1.51 | One or more coats on old work | item no.51 | 102 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7741 | 7741 | INR Seven Thousand Seven Hundred & Forty One Only | 1.51 | One or more coats on old work | item no.51 | 102 | sqm
1.52 | REPAIRS TO BUILDING | item no.52 | [52 empty] | 1.52 | REPAIRS TO BUILDING | item no.52
1.53 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.53 | [52 empty] | 1.53 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.53
1.54 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.54 | 1.25 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 524 | 524 | INR Five Hundred & Twenty Four Only | 1.54 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.54 | 1.25 | sqm
1.55 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | item no.55 | 8 | each | 97.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 776 | 776 | INR Seven Hundred & Seventy Six Only | 1.55 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | item no.55 | 8 | each
1.56 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge.(a) Internal Work- Exposed on wall | item no.56 | 133 | metre | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 333 | 333 | INR Three Hundred & Thirty Three Only | 1.56 | Dismantling 15 to 40 mm dia G.I. pipe including stacking of dismantled pipes (within 50 metres lead) as per direction of Engineer- in-Charge.(a) Internal Work- Exposed on wall | item no.56 | 133 | metre
1.57 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.57 | 16 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4573 | 4573 | INR Four Thousand Five Hundred & Seventy Three Only | 1.57 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.57 | 16 | each
1.58 | Dismantling and Demolishing | item no.58 | [52 empty] | 1.58 | Dismantling and Demolishing | item no.58
1.59 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.59 | [52 empty] | 1.59 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.59
1.6 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.60 | 3.85 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6775 | 6775 | INR Six Thousand Seven Hundred & Seventy Five Only | 1.6 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.60 | 3.85 | cum
1.61 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.61 | 7.7 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8369 | 8369 | INR Eight Thousand Three Hundred & Sixty Nine Only | 1.61 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.61 | 7.7 | cum
1.62 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.62 | [52 empty] | 1.62 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.62
1.63 | In cement mortar | item no.63 | 0.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 745 | 745 | INR Seven Hundred & Forty Five Only | 1.63 | In cement mortar | item no.63 | 0.5 | cum
1.64 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | item no.64 | [52 empty] | 1.64 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : | item no.64
1.65 | 15 mm to 40 mm nominal bore | item no.65 | 10 | metre | 108.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1088 | 1088 | INR One Thousand &Eighty Eight Only | 1.65 | 15 mm to 40 mm nominal bore | item no.65 | 10 | metre
1.66 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: | item no.66 | [52 empty] | 1.66 | Dismantling C.I. pipes including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site within 50 metre lead as per direction of Engineer-in-charge: | item no.66
1.67 | Up to 150 mm diameter | item no.67 | 20 | metre | 298.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5975 | 5975 | INR Five Thousand Nine Hundred & Seventy Five Only | 1.67 | Up to 150 mm diameter | item no.67 | 20 | metre
1.68 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.68 | 190 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7505 | 7505 | INR Seven Thousand Five Hundred & Five Only | 1.68 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.68 | 190 | sqm
1.69 | SANITARY INSTALLATIONS | item no.69 | [52 empty] | 1.69 | SANITARY INSTALLATIONS | item no.69
1.7 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlleddevice (handle lever) conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls andfloors wherever required: | item no.70 | [52 empty] | 1.7 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlleddevice (handle lever) conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls andfloors wherever required: | item no.70
1.71 | White Vitreous china Orissa pattern W.C. pan of size580x440 mm with integral type foot rests | item no.71 | 1 | each | 5069.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5069 | 5069 | INR Five Thousand &Sixty Nine Only | 1.71 | White Vitreous china Orissa pattern W.C. pan of size580x440 mm with integral type foot rests | item no.71 | 1 | each
1.72 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlleddevice (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls andfloors wherever required : | item no.72 | [52 empty] | 1.72 | Providing and fixing white vitreous china pedestal type water closet(European type W.C. pan) with seat and lid, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlleddevice (handle lever), conforming to IS : 7231, with all fittings andfixtures complete, including cutting and making good the walls andfloors wherever required : | item no.72
1.73 | W.C. pan with ISI marked white solid plastic seat and lid | item no.73 | 7 | each | 4858 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34006 | 34006 | INR Thirty Four Thousand &Six Only | 1.73 | W.C. pan with ISI marked white solid plastic seat and lid | item no.73 | 7 | each
1.74 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto1 metre long with S.S. triangular plate to Eureopean type W.C. ofquality and make as approved by Engineer - in - charge. | item no.74 | 7 | each | 262.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1837 | 1837 | INR One Thousand Eight Hundred & Thirty Seven Only | 1.74 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto1 metre long with S.S. triangular plate to Eureopean type W.C. ofquality and make as approved by Engineer - in - charge. | item no.74 | 7 | each
1.75 | Providing and fixing CP Brass 32mm size Bottle Trap of approvedquality & make and as per the direction of Engineer-in-charge. | item no.75 | 31 | each | 777.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24089 | 24089 | INR Twenty Four Thousand &Eighty Nine Only | 1.75 | Providing and fixing CP Brass 32mm size Bottle Trap of approvedquality & make and as per the direction of Engineer-in-charge. | item no.75 | 31 | each
1.76 | Providing and fixing toilet paper holder : | item no.76 | [52 empty] | 1.76 | Providing and fixing toilet paper holder : | item no.76
1.77 | C.P. brass | item no.77 | 8 | each | 596.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4775 | 4775 | INR Four Thousand Seven Hundred & Seventy Five Only | 1.77 | C.P. brass | item no.77 | 8 | each
1.78 | Providing and fixing soil, waste and vent pipes : | item no.78 | [52 empty] | 1.78 | Providing and fixing soil, waste and vent pipes : | item no.78
1.79 | 100 mm dia | item no.79 | [52 empty] | 1.79 | 100 mm dia | item no.79
1.8 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 | item no.80 | 97 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91633 | 91633 | INR Ninety One Thousand Six Hundred & Thirty Three Only | 1.8 | Centrifugally cast (spun) iron socket &spigot (S&S) pipe as per IS: 3989 | item no.80 | 97 | metre
1.81 | 75 mm diameter : | item no.81 | [52 empty] | 1.81 | 75 mm diameter : | item no.81
1.82 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 | item no.82 | 19.25 | metre | 913.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17589 | 17589 | INR Seventeen Thousand Five Hundred & Eighty Nine Only | 1.82 | Centrifugally cast (spun) iron socketed pipeas per IS: 3989 | item no.82 | 19.25 | metre
1.83 | Providing and fixing bend of required degree with access door, insertionrubber washer 3 mm thick, bolts and nuts complete. | item no.83 | [52 empty] | 1.83 | Providing and fixing bend of required degree with access door, insertionrubber washer 3 mm thick, bolts and nuts complete. | item no.83
1.84 | 100 mm dia | item no.84 | [52 empty] | 1.84 | 100 mm dia | item no.84
1.85 | Sand cast iron S&S as per IS - 3989 | item no.85 | 4 | each | 523.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2096 | 2096 | INR Two Thousand &Ninety Six Only | 1.85 | Sand cast iron S&S as per IS - 3989 | item no.85 | 4 | each
1.86 | Providing and fixing plain bend of required degree. | item no.86 | [52 empty] | 1.86 | Providing and fixing plain bend of required degree. | item no.86
1.87 | 100 mm dia | item no.87 | [52 empty] | 1.87 | 100 mm dia | item no.87
1.88 | Sand cast iron S&S as per IS : 3989 | item no.88 | 8 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3085 | 3085 | INR Three Thousand &Eighty Five Only | 1.88 | Sand cast iron S&S as per IS : 3989 | item no.88 | 8 | each
1.89 | 75 mm dia | item no.89 | [52 empty] | 1.89 | 75 mm dia | item no.89
1.9 | Sand cast iron S&S as per IS - 3989 | item no.90 | 2 | each | 261.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 523 | 523 | INR Five Hundred & Twenty Three Only | 1.9 | Sand cast iron S&S as per IS - 3989 | item no.90 | 2 | each
1.91 | Providing and fixing single equal plain junction / Y / T of required degree with access door, insertion rubber washer 3 mm thick, bolts andnuts complete. | item no.91 | [52 empty] | 1.91 | Providing and fixing single equal plain junction / Y / T of required degree with access door, insertion rubber washer 3 mm thick, bolts andnuts complete. | item no.91
1.92 | 100x100x100 mm | item no.92 | [52 empty] | 1.92 | 100x100x100 mm | item no.92
1.93 | Sand cast iron S&S as per IS - 3989 | item no.93 | 12 | each | 641.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7696 | 7696 | INR Seven Thousand Six Hundred & Ninety Six Only | 1.93 | Sand cast iron S&S as per IS - 3989 | item no.93 | 12 | each
1.94 | 75x75x75 mm | item no.94 | [52 empty] | 1.94 | 75x75x75 mm | item no.94
1.95 | Sand cast iron S&S as per IS - 3989 | item no.95 | 4 | each | 503.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2012 | 2012 | INR Two Thousand &Twelve Only | 1.95 | Sand cast iron S&S as per IS - 3989 | item no.95 | 4 | each
1.96 | Providing and fixing collar : | item no.96 | [52 empty] | 1.96 | Providing and fixing collar : | item no.96
1.97 | 100 mm | item no.97 | [52 empty] | 1.97 | 100 mm | item no.97
1.98 | Sand cast iron S&S as per IS - 3989 | item no.98 | 32 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12339 | 12339 | INR Twelve Thousand Three Hundred & Thirty Nine Only | 1.98 | Sand cast iron S&S as per IS - 3989 | item no.98 | 32 | each
1.99 | 75 mm | item no.99 | [52 empty] | 1.99 | 75 mm | item no.99
2 | Sand cast iron S&S as per IS - 3989 | item no.100 | 16 | each | 238.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3808 | 3808 | INR Three Thousand Eight Hundred & Eight Only | 2 | Sand cast iron S&S as per IS - 3989 | item no.100 | 16 | each
2.01 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter : | item no.101 | [52 empty] | 2.01 | Providing lead caulked joints to sand cast iron/centrifugally cast(spun) iron pipes and fittings of diameter : | item no.101
2.02 | 100 mm | item no.102 | 98 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47230 | 47230 | INR Forty Seven Thousand Two Hundred & Thirty Only | 2.02 | 100 mm | item no.102 | 98 | each
2.03 | 75 mm | item no.103 | 24 | each | 408.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9815 | 9815 | INR Nine Thousand Eight Hundred & Fifteen Only | 2.03 | 75 mm | item no.103 | 24 | each
2.04 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter : | item no.104 | [52 empty] | 2.04 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter : | item no.104
2.05 | 100 mm | item no.105 | 64 | each | 112.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7219 | 7219 | INR Seven Thousand Two Hundred & Nineteen Only | 2.05 | 100 mm | item no.105 | 64 | each
2.06 | Providing and fixing trap of self cleansing design with screwed downor hinged grating with or without vent arm complete, including cost ofcutting and making good the walls and floors : | item no.106 | [52 empty] | 2.06 | Providing and fixing trap of self cleansing design with screwed downor hinged grating with or without vent arm complete, including cost ofcutting and making good the walls and floors : | item no.106
2.07 | 100 mm inlet and 100 mm outlet | item no.107 | [52 empty] | 2.07 | 100 mm inlet and 100 mm outlet | item no.107
2.08 | Sand cast iron S&S as per IS: 3989 | item no.108 | 8 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11252 | 11252 | INR Eleven Thousand Two Hundred & Fifty Two Only | 2.08 | Sand cast iron S&S as per IS: 3989 | item no.108 | 8 | each
2.09 | 100 mm inlet and 75 mm outlet | item no.109 | [52 empty] | 2.09 | 100 mm inlet and 75 mm outlet | item no.109
2.1 | Sand cast iron S&S as per IS - 3989 | item no.110 | 12 | each | 1465.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17582 | 17582 | INR Seventeen Thousand Five Hundred & Eighty Two Only | 2.1 | Sand cast iron S&S as per IS - 3989 | item no.110 | 12 | each
2.11 | WATER SUPPLY | item no.111 | [52 empty] | 2.11 | WATER SUPPLY | item no.111
2.12 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.112 | [52 empty] | 2.12 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | item no.112
2.13 | 32 mm nominal dia Pipes | item no.113 | 2 | metre | 439.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 878 | 878 | INR Eight Hundred & Seventy Eight Only | 2.13 | 32 mm nominal dia Pipes | item no.113 | 2 | metre
2.14 | 40 mm nominal dia Pipes | item no.114 | 72 | metre | 591.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42572 | 42572 | INR Forty Two Thousand Five Hundred & Seventy Two Only | 2.14 | 40 mm nominal dia Pipes | item no.114 | 72 | metre
2.15 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls | item no.115 | [52 empty] | 2.15 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls | item no.115
2.16 | 20 mm nominal dia Pipes | item no.116 | 58 | metre | 450.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26127 | 26127 | INR Twenty Six Thousand One Hundred & Twenty Seven Only | 2.16 | 20 mm nominal dia Pipes | item no.116 | 58 | metre
2.17 | 25 mm nominal dia Pipes | item no.117 | 71 | metre | 548.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38974 | 38974 | INR Thirty Eight Thousand Nine Hundred & Seventy Four Only | 2.17 | 25 mm nominal dia Pipes | item no.117 | 71 | metre
2.18 | 32 mm nominal dia Pipes | item no.118 | 53 | metre | 624.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33122 | 33122 | INR Thirty Three Thousand One Hundred & Twenty Two Only | 2.18 | 32 mm nominal dia Pipes | item no.118 | 53 | metre
2.19 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work | item no.119 | [52 empty] | 2.19 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work | item no.119
2.2 | 20 mm nominal dia Pipes | item no.120 | 1 | metre | 241.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 241 | 241 | INR Two Hundred & Forty One Only | 2.2 | 20 mm nominal dia Pipes | item no.120 | 1 | metre
2.21 | 25 mm nominal dia Pipes | item no.121 | 1 | metre | 324.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 325 | 325 | INR Three Hundred & Twenty Five Only | 2.21 | 25 mm nominal dia Pipes | item no.121 | 1 | metre
2.22 | 32 mm nominal dia Pipes | item no.122 | 5 | metre | 381.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1907 | 1907 | INR One Thousand Nine Hundred & Seven Only | 2.22 | 32 mm nominal dia Pipes | item no.122 | 5 | metre
2.23 | 40 mm nominal dia Pipes | item no.123 | 80 | metre | 490.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39225 | 39225 | INR Thirty Nine Thousand Two Hundred & Twenty Five Only | 2.23 | 40 mm nominal dia Pipes | item no.123 | 80 | metre
2.24 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.124 | [52 empty] | 2.24 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | item no.124
2.25 | 40 mm dia nominal bore | item no.125 | 1 | metre | 489.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 490 | 490 | INR Four Hundred & Ninety Only | 2.25 | 40 mm dia nominal bore | item no.125 | 1 | metre
2.26 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.126 | [52 empty] | 2.26 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.126
2.27 | 25 to 40 mm nominal bore | item no.127 | 1 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 664 | 664 | INR Six Hundred & Sixty Four Only | 2.27 | 25 to 40 mm nominal bore | item no.127 | 1 | each
2.28 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.128 | [52 empty] | 2.28 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.128
2.29 | 40 mm nominal bore | item no.129 | 1 | each | 620.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 620 | 620 | INR Six Hundred & Twenty Only | 2.29 | 40 mm nominal bore | item no.129 | 1 | each
2.3 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.130 | [52 empty] | 2.3 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.130
2.31 | 45 cm length | item no.131 | [52 empty] | 2.31 | 45 cm length | item no.131
2.32 | 15 mm nominal bore | item no.132 | 8 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 598 | 598 | INR Five Hundred & Ninety Eight Only | 2.32 | 15 mm nominal bore | item no.132 | 8 | each
2.33 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.133 | [52 empty] | 2.33 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.133
2.34 | 40 mm nominal bore | item no.134 | 1 | each | 827.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 828 | 828 | INR Eight Hundred & Twenty Eight Only | 2.34 | 40 mm nominal bore | item no.134 | 1 | each
2.35 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.135 | [52 empty] | 2.35 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.135
2.36 | 15 mm nominal bore | item no.136 | 4 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1523 | 1523 | INR One Thousand Five Hundred & Twenty Three Only | 2.36 | 15 mm nominal bore | item no.136 | 4 | each
2.37 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.137 | [52 empty] | 2.37 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.137
2.38 | 15 mm nominal bore | item no.138 | 8 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4969 | 4969 | INR Four Thousand Nine Hundred & Sixty Nine Only | 2.38 | 15 mm nominal bore | item no.138 | 8 | each
2.39 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.139 | [52 empty] | 2.39 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.139
2.4 | 15 mm nominal bore | item no.140 | 1 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 521 | 521 | INR Five Hundred & Twenty One Only | 2.4 | 15 mm nominal bore | item no.140 | 1 | each
2.41 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.141 | [52 empty] | 2.41 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.141
2.42 | 15mm nominal bore | item no.142 | 24 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10529 | 10529 | INR Ten Thousand Five Hundred & Twenty Nine Only | 2.42 | 15mm nominal bore | item no.142 | 24 | each
2.43 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.143 | 10 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 541 | 541 | INR Five Hundred & Forty One Only | 2.43 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | item no.143 | 10 | each
2.44 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.144 | 2 | each | 330.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 661 | 661 | INR Six Hundred & Sixty One Only | 2.44 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | item no.144 | 2 | each
2.45 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.145 | 15.25 | metre | 150.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2297 | 2297 | INR Two Thousand Two Hundred & Ninety Seven Only | 2.45 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.145 | 15.25 | metre
2.46 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | item no.146 | 16 | metre | 173.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2783 | 2783 | INR Two Thousand Seven Hundred & Eighty Three Only | 2.46 | Making hole up to 20x20 cm and embedding pipes up to 150 mm diameter in masonry and filling with cement concrete 1:3:6 (1 cement : 3 coarse sand: 6 graded stone aggregate 20 mm nominal size) including disposal of malba. | item no.146 | 16 | metre
2.47 | WATER PROOFING | item no.147 | [52 empty] | 2.47 | WATER PROOFING | item no.147
2.48 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | item no.148 | 130 | sqm | 452.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 58885 | 58885 | INR Fifty Eight Thousand Eight Hundred & Eighty Five Only | 2.48 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | item no.148 | 130 | sqm
2.49 | MINOR CIVIL MAINTENANCE WORK: | item no.149 | [52 empty] | 2.49 | MINOR CIVIL MAINTENANCE WORK: | item no.149
2.5 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.150 | 7.7 | Cum | 5045.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38851 | 38851 | INR Thirty Eight Thousand Eight Hundred & Fifty One Only | 2.5 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.150 | 7.7 | Cum
2.51 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.151 | 8 | Each | 345.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2761 | 2761 | INR Two Thousand Seven Hundred & Sixty One Only | 2.51 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.151 | 8 | Each
2.52 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.152 | 24 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1408 | 1408 | INR One Thousand Four Hundred & Eight Only | 2.52 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.152 | 24 | Each
2.53 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.153 | 32 | Each | 15.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 506 | 506 | INR Five Hundred & Six Only | 2.53 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.153 | 32 | Each
2.54 | "Providing and fixing C.P soap dish etc. complete. | item no.154 | 8 | Each | 356.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2855 | 2855 | INR Two Thousand Eight Hundred & Fifty Five Only | 2.54 | "Providing and fixing C.P soap dish etc. complete. | item no.154 | 8 | Each
2.55 | Providing & fixing C.P Coat Pin hanger of approved make with necessary screws etc. complete | item no.155 | 8 | Each | 182.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1460 | 1460 | INR One Thousand Four Hundred & Sixty Only | 2.55 | Providing & fixing C.P Coat Pin hanger of approved make with necessary screws etc. complete | item no.155 | 8 | Each
2.56 | "Providing and fixing C.P connection for gyser (15 x 450) mm with nut and washer. | item no.156 | 16 | Each | 196.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3150 | 3150 | INR Three Thousand One Hundred & Fifty Only | 2.56 | "Providing and fixing C.P connection for gyser (15 x 450) mm with nut and washer. | item no.156 | 16 | Each
2.57 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | item no.157 | 8 | Each | 651.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5209 | 5209 | INR Five Thousand Two Hundred & Nine Only | 2.57 | Providind and fixing C.P. hand spray (heath faucet) jaquar make or equivalant with push button control and flexible hose connection with C.P hook complete in all respects. | item no.157 | 8 | Each
2.58 | Providing and fixing 15 mm nominal bore two way angle valve of make L&K or approved equivalent make. | item no.158 | 7 | Each | 941.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6594 | 6594 | INR Six Thousand Five Hundred & Ninety Four Only | 2.58 | Providing and fixing 15 mm nominal bore two way angle valve of make L&K or approved equivalent make. | item no.158 | 7 | Each
2.59 | Providing and fixing CPVC ball valve 32 mm dia i/c all fittings complete of Approved make. For one piece only | item no.159 | 12 | Each | 645.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7743 | 7743 | INR Seven Thousand Seven Hundred & Forty Three Only | 2.59 | Providing and fixing CPVC ball valve 32 mm dia i/c all fittings complete of Approved make. For one piece only | item no.159 | 12 | Each
2.6 | Providing and Fixing CPVC ball valve 25 mm dia i/c all fitting of Approved make. For one Piece only. | item no.160 | 4 | Each | 295.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1183 | 1183 | INR One Thousand One Hundred & Eighty Three Only | 2.6 | Providing and Fixing CPVC ball valve 25 mm dia i/c all fitting of Approved make. For one Piece only. | item no.160 | 4 | Each
2.61 | P/F ABS body finish fully automatic "HK-1600EA or equivalent model" hand drier suitable to operate on 220 volts, single phase 50 Hz A.C power supply and directly plugged to power point size of 240mm * 220 mm 220 mm, wtih heater wattage 1800 and 2.80 kg weight all complete as per direction of Engineer-in-charge. | item no.161 | 4 | Each | 7214.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28859 | 28859 | INR Twenty Eight Thousand Eight Hundred & Fifty Nine Only | 2.61 | P/F ABS body finish fully automatic "HK-1600EA or equivalent model" hand drier suitable to operate on 220 volts, single phase 50 Hz A.C power supply and directly plugged to power point size of 240mm * 220 mm 220 mm, wtih heater wattage 1800 and 2.80 kg weight all complete as per direction of Engineer-in-charge. | item no.161 | 4 | Each
2.62 | P/F S.S. body finish "A-605 or equivalent model" Vertical Liquid Soap Dispenser, size of 206 mm * 121 mm 72 mm, and 1200 ml quanty with fixing on wall all complete as per direction of Engineer-in-charge. | item no.162 | 8 | Each | 3900.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31205 | 31205 | INR Thirty One Thousand Two Hundred & Five Only | 2.62 | P/F S.S. body finish "A-605 or equivalent model" Vertical Liquid Soap Dispenser, size of 206 mm * 121 mm 72 mm, and 1200 ml quanty with fixing on wall all complete as per direction of Engineer-in-charge. | item no.162 | 8 | Each
2.63 | Providing and fixing white vitreous china oval shape wash basin with 15 mm nominal bore C.P. Auto Close Tap ""T-58 or approved equivalent make"" all complete as per direction of Engineer-in-charge. | item no.163 | 16 | Each | 4098.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65571 | 65571 | INR Sixty Five Thousand Five Hundred & Seventy One Only | 2.63 | Providing and fixing white vitreous china oval shape wash basin with 15 mm nominal bore C.P. Auto Close Tap ""T-58 or approved equivalent make"" all complete as per direction of Engineer-in-charge. | item no.163 | 16 | Each
2.64 | Providing and Fixing white vitreous china flat back half stall urinal of ""size 580 x 380 x 350 mm or size 610 x 390 x 370 mm"" with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreaders 15 mm , C.P. Connection pipe with Brass union, clamp and Sensor Circuit for Urinal Flushers Electricity operated of ""EF-01 or approved equivalent make"" all complete as per direction of Engineer-in-charge. | item no.164 | 15 | Each | 9711 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145665 | 145665 | INR One Lakh Forty Five Thousand Six Hundred & Sixty Five Only | 2.64 | Providing and Fixing white vitreous china flat back half stall urinal of ""size 580 x 380 x 350 mm or size 610 x 390 x 370 mm"" with fittings standard size, C.P. Brass domical waste 32 mm , C.P. Brass spreaders 15 mm , C.P. Connection pipe with Brass union, clamp and Sensor Circuit for Urinal Flushers Electricity operated of ""EF-01 or approved equivalent make"" all complete as per direction of Engineer-in-charge. | item no.164 | 15 | Each
2.65 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing. | item no.165 | 9.5 | Sqm | 2360.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22425 | 22425 | INR Twenty Two Thousand Four Hundred & Twenty Five Only | 2.65 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing. | item no.165 | 9.5 | Sqm
Total in Figures | [51 empty] | 1493098 | 1493098 | Fourteen Lakh Ninety Three Thousand &Ninety Eight Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information