EMC IITK

EMI/EMC and Electrical Safety Test Facility

Indian Institute of Technology Kanpur

Test Request Form

ISO/IEC 17025:2017

| EMI/EMC and Electrical Safety Test Facility, IIT Kanpur |  |  |
| --- | --- | --- |
| Doc. No.: FRM-5-01 | Test Request Form |  |
| Rev. No.: 3 | Rev. Date: 09 May 2025 | Page No.: 1 of 13 |

# Revision Sheet

| Rev. No. | Rev. Date | Section No. and Page No. | Details of the Revision | Reasons | Signature of the preparing authority | Signature of the approving authority |
| --- | --- | --- | --- | --- | --- | --- |
| 0 | 04 Apr 2023 | - | Initial Release | - | QM | FC |
| 1 | 05 June 2024 |  | Form modified | New test and DUT receipt and dispatch details added | QM | FC |
| 2 | 09 Jan 2025 |  | Form Modified | Reformatted, NABL scope added | QM | FC |
| 3 | 09 May 2025 |  | Form Modified | DUT Name, Size and Class of the DUT, performance monitoring of DUT Added | QM | FC |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |

Contents

Revision Sheet	2

1	Scope	5

2	Responsibility	5

3	References	5

4	Test Request Form	5

# Scope

This document includes the form to be filled in by the customer or by the Lab personnel on behalf of the customer.

# Responsibility

The Quality Manager is responsible for maintaining this document.

# References

- Clause 7.1 (Review of requests, tenders, and contracts) ISO 17025:2017

- LQM- 1: Laboratory Quality Manual

- LMP -5: Review Test Request Form

# Test Request Form

The form for the Test Request is given on the following page.

EMC IITK

EMI/EMC and Electrical Safety Test Facility

Indian Institute of Technology Kanpur

Test Request Form

Doc. No. FRM-5-01 Rev. No. 1

| Date: |  |  |  |  | Tracking ID: (To be filled by the Lab) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (TO BE FILLED BY CUSTOMER) |  |  |  |  |  |  |  |  |  |
| - Name of the Customer & Address |  |  |  |  | Represented by |  |  |  |  |
| M/s. |  |  |  |  | Contact Person: |  |  |  |  |
|  |  |  |  |  | Designation: |  |  |  |  |
|  |  |  |  |  | Telephone: |  |  |  |  |
|  |  |  |  |  | Mobile: |  |  |  |  |
|  |  |  |  |  | Email: |  |  |  |  |
| - Report in the name of ------------------------------ |  |  |  |  |  |  |  |  |  |
| - DUT details | DUT Name: DUT Type: AC/ DC/Battery operated Phase: 1 phase / 3 Phase Frequency: Power, Voltage and current rating: Manufacturer: Model Number: Serial Number: Classification of DUT (Class I/Class II/ Internally Powered Device, 1 MOPP, 2 MOPP): Size of DUT (L x W xH) in cm: Accessories details, if any: Clock frequency of Microcontroller or control circuit of DUT, if any: Wi-Fi, Bluetooth, or any intentional radiator used: Any other Information for DUT: DUT Quantity: |  |  |  |  |  |  |  |  |
| - Auxiliary Instruments connected to DUT | e.g., Laptop, Measuring Instruments, Load, Control circuits etc., for operation or monitoring of the DUT / Other (Specify) |  |  |  |  |  |  |  |  |
| - Data /signal line | Type of data Cable |  | Connector type |  |  | No. of data lines to be excited | Max Line Voltage |  | Type of data Cable |
|  | Unshielded, Shielded, Twisted Pair, Coaxial, Other (if any) |  | CAT 5, RJ 45, RS 232, USB, D-type, Other (if any) |  |  |  |  |  |  |
| - Cable length of data/ Signal line | e. g. specify length of each cable in meter. |  |  |  |  |  |  |  |  |
| - DUT Configuration | Brief description of the DUT (power supply/auxiliary instruments connectivity & its operation) |  |  |  |  |  |  |  |  |
| - DUT Mode during test | e. g. Normal, stand by, other (specify) |  |  |  |  |  |  |  |  |
| - Performance monitoring | e. g. Display reading, Data fluctuation, etc. (define normal behavior of DUT during operation) |  |  |  |  |  |  |  |  |
| - Is Statement of Conformity required? |  |  |  | ☐ Yes |  |  |  | ☐ No |  |
| - Customer’s Confidentiality option | ☐ | The products being tested in the EMCIITK Lab are the exclusive property of our company. Any data generated during the test in the EMCIITK Lab becomes an exclusive property of our company and may be treated as confidential. In view of the above it is requested that no part of the test results be divulged to any other individual/organization without our explicit written consent except in cases when the EMCIITK Lab is legally obliged to do so. |  |  |  |  |  |  |  |
|  | ☐ | The test results are not confidential in nature, and we have no objection if the same are made available / known to others. |  |  |  |  |  |  |  |
| - Services - Please tick the box and write any specific details for the remark.. EMI/EMC Test. Nam of TEST (As per NABL Scope); Standards; Severity/ Class/Level/Limit; Remark. 1; Radiation Emission (CISPR 11, IEC 60601-1-2, CISPR 14-1, CISPR 15, CISPR 32, IEC 61000-6-3, IEC 61000-6-4, IEC 62040-2, IEC 60255-26, IEC 61326-1, IEC 62052-11, IEC 61851-21-2); ☐ CISPR11; ☐ CLASS A ☐ CLASS B ☐ Group-1 ☐ Group-2,. ☐ CISPR14-1. ☐ CISPR15. ☐ CISPR 32; ☐ CLASS A ☐ CLASS B. ☐ IEC 61000-6-3. ☐ IEC 61000-6-4. 2; Conducted Emission (CISPR 11, IEC 60601-1-2, CISPR 14-1, CISPR 15, CISPR 32, IEC 61000-6-3, IEC 61000-6-4, IEC 62040-2, IEC 60255-26, IEC 61326-1, IEC 62052-11, IEC 61851-21-2); ☐ CISPR11; ☐ CLASS A ☐ CLASS B ☐ Group-1 ☐ Group-2,. ☐ CISPR14-1. ☐ CISPR15. ☐ CISPR 32; ☐ CLASS A ☐ CLASS B. ☐ IEC 61000-6-3. ☐ IEC 61000-6-4. 3; Harmonic Current Emission Test (IEC 61000-3-2, IEC 60601-1-2, IEC 62040-2, IEC 61000-6-3, IEC 61851-21-2); ☐ IEC 61000 - 3-2. 4; Voltage Fluctuation and Flicker Test (IEC 61000-3-3, IEC 60601-1-2, IEC 61000-6-3, IEC 61851-21-2); ☐ IEC 61000 - 3-3. 5; Electrostatic Discharge Immunity Test (ESD) (IEC 61000-4-2, IEC 60601-1-2, IEC 62040-2, IEC 61000-6-1, IEC 61000-6-2, IEC 61000-6-5, IEC 60255-26, IEC 62052-11, IEC 61326-1, IEC 61851-21-2, CISPR 35); ☐ IEC 61000 - 4-2; Level ☐ 1 ☐ 2 ☐ 3 ☐ 4 ☐ x. 6; Electrical Fast Transient (EFT)/Burst Immunity Test (IEC 61000-4-4, IE 60601-1-2, IEC 62040-2, IEC 61000-6-1, IEC 61000-6-2, IEC 61000-6-5, IEC 60255-26, IEC 62052-11, IEC 61326-1, IEC 61851-21-2, CISPR 35); ☐ IEC 61000 - 4-4 ☐ power line ☐ signal/ data line; Level ☐ 1 ☐ 2 ☐ 3 ☐ 4 ☐ x. 7; Surge Immunity Test (IEC 61000-4-5, IEC 60601-1-2, IEC62040-2, IEC 61000-6-1, IEC 61000-6-2, IEC 61000-6-5, IEC60255-26, IEC 61326-1, IEC 61851-21-2, CISPR 35); ☐ IEC 61000 - 4-5 ☐ power line ☐ signal/ data line; Level ☐ 1 ☐ 2 ☐ 3 ☐ 4 ☐ x. 8; Power Frequency Magnetic Field (PFMF) Immunity Test (IEC 61000-4-8, IEC 60601-1-2, IEC62040-2,IEC 61000-6-1, IEC 61000-6-2, IEC 61000-6-5, IEC 61326-1, IEC 61851-21-2, CISPR 35); ☐ IEC 61000 - 4-8; Level ☐ 1 ☐ 2 ☐ 3 ☐ 4 ☐ x. 9; Voltage Dips, Short Interruption and Voltage Variations Immunity Test (IEC 61000-4-11, IEC 60601-1-2, IEC 61000-6-1, IEC 61000-6-2, IEC 61000-6-5, IEC 61326-1, IEC 61851-21-2, CISPR 35); ☐ IEC 61000 - 4-11; Level ☐ 1 ☐ 2 ☐ 3 ☐ 4 ☐ x. 10; Conducted RF Susceptibility Test (CS) (IEC 61000-4-6, IEC 60601-1-2, IEC 62040-2, IEC 60255-26, IEC 61000-6-1, CISPR 14-2, CISPR 35, IEC 61851-21-2, IEC 61000-6-2, IEC 61326-1, IEC 61000-6-5, IEC 62052-11); ☐ IEC 61000 - 4-6 ☐ power line ☐ signal/ data line; Level ☐ 1 ☐ 2 ☐ 3 ☐ 4 ☐ x. 11; Radiated Susceptibility (IEC61000-4-3, IEC 60601-1-2, IEC 61000-6-1, IEC 61000-6-2, IEC 61000-6-5, IEC 62040-2, IEC 60255-26, IEC 61326-1, IEC 62052-11, IEC 61851-21-2, CISPR 14-2, CISPR 35); Frequency Range (IEC 61000-4-3) ☐ 80 MHz -1 GHz ☐ 1 GHz -3 GHz ☐ 80 MHz -3 GHz ☐ 80 MHz -6 GHz; ☐ Level: 1 V/m ☐ Level: 3 V/m ☐ Level: 10 V/m ☐ Level: 30 V/m. Safety Tests. 12; AC Dielectric Strength Test (IEC 60601-1, IEC 61010-1, IEC61347-1, IEC 60950-1, IEC 60335-1, IEC 60065, IEC 62196-1); Standard:. 13; DC Dielectric Strength Test (IEC 60601-1, IEC 61010-1, IEC61347-1, IEC 60950-1, IEC 60335-1, IEC 60065, IEC 62196-1); Standard:. 14; Ground Bond (GB) Test (IEC 60601-1, IEC 61010-1, IEC 61347-1, IEC 60950-1, IEC 60335-1, IEC 60065, IEC 62196-1); Standard:. 15; Earth Leakage Current Test (IEC 60601-1, IEC 61010-1,IE 60990, IEC 60950-1, IEC 60335-1, IEC 60065); Standard:. 16; Touch Current Test (IEC 60601-1, IEC 61010-1, IEC61347-1, IEC 60990, IEC 60950-1, IEC 60335-1, IEC 60065)); Standard:. 17; Patient Leakage Current Test (IEC 60601-1); Standard:. 18; Patient Auxiliary Current Test (IEC 60601-1); Standard:. 19; Insulation Resistance Test (IEC 61010-1, IEC 61347-1, IEC 60950-1, IEC 60335-1,IEC 60065, IEC 62196-1); Standard:. 20; Instability Hazards Test (IEC 60601-1, IEC 61010-1, IEC 6065, IEC 60335-1); Standard:. 21; Ball Pressure Test (IEC 60601-1, IEC 61010-1,IEC 62196-1, IEC 60695-10-2, IEC 60335-1); Standard:. 22; Clearances and Creepage Distances Test (IEC 60601-1, IEC 61010-1, IEC 62196-1, IEC 60335-1, IEC 60950-1, IEC 60065); Standard:. 23; Cord Guards Test (IEC 60601-1, IEC 61010-1, IEC 62196-1, IEC 60335-1, IEC 60950-1, IEC 60065); Standard:. 24; Heating Preconditioning Treatment (IEC 60601-1, IEC 61010-1, IEC 62196-1, IEC 60335-1,IEC 61347-1, IEC 60065); Standard:. 25; Humidity Preconditioning Treatment (IEC 60601-1, IEC 61010-1, IEC 60335-1, IEC61347-1, IEC 60950-1, IEC 60065); Standard:. 26; Impact Test (IEC 60601-1, IEC 61010-1, IEC 62196-1, IEC 60950-1, IEC 60335-1, IEC 60065); Standard:. 27; Legibility and Durability of Markings Test (IEC 60601-1, IEC 61010-1, IEC 62196-1, IEC61347-1, IEC 60950-1, IEC 60335-1, IEC 60065); Standard:. 28; Sharp Edges and CornersTest (IEC 60601-1, IEC 61010-1, IEC 62196-1, IEC 60335-1, IEC 61347-1, IEC 60950-1, IEC 60065); Standard:. 29; Sound Pressure Level Test (IEC 60601-1, IEC 61010-1); Standard:. 30; Ultraviolet Radiation Test (IEC 60601-1, IEC 61010-1, IEC 60335-1, IEC 60950-1, IEC 62471-7, IEC 60065); Standard:. |
| - Special request If any: Customer's Signature: _______________________ |  |  |  |  |  |  |  |  |  |
| FOR EMI/EMC USE ONLY |  |  |  |  |  |  |  |  |  |
| - Date of receipt of the Item: |  |  |  |  |  |  |  |  |  |
| - Item received from: |  |  |  |  |  |  |  |  |  |
| - Condition of the Item on Receipt: |  |  |  |  |  |  |  |  |  |
| - Probable Date of Completion: |  |  |  |  |  |  |  |  |  |
| - Actual Date of Completion: |  |  |  |  |  |  |  |  |  |
| - Date of dispatch of the item: |  |  |  |  |  |  |  |  |  |
| - Mode of dispatch: - Courier (dispatch documents to be attached with this form): - In person (Name, contact details and ID proof of the company representative to be attached with this form): |  |  |  |  |  |  |  |  |  |

| Amendment/Deviation (if any) |  |  |
| --- | --- | --- |
| Request No.: |  | Date: |
| Amendment/Deviation Details: |  | Approved and communicated to the affected parties: |
| (Name & signature of Customer representative) |  | Approved By (Facility Coordinator) |
| Terms & Conditions - The DUT including all its components submitted for testing must be in good condition. - All possible care will be taken in the handling of DUT received for testing, but risk of damage in transit or due to natural calamity shall be borne by the customer. - The DUT accepted for test may be returned without actual test being carried out under circumstances beyond the control of EMCIITK Lab. - The customer is responsible for all information provided by them in the Test Request Form. - Test charges payable to EMCIITK Lab may attract additional GST and other taxes which have to be paid by the customer as per the rate notified by the Government of India. - The Report issued refers only to the items submitted for testing. - In case of any dispute the decision of the Facility Coordinator, EMCIITK Lab, is final and binding. - The DUT including all its component submitted for testing shall be clearly identified with ID No. / Drawing No. / Serial No. marked or engraved on the items. |  |  |

END OF DOCUMENT