## Sheet1
Schedule of Qty
N/W | Providing staircase with parapet railing i/c water proofing treatment of terrace and internal as well as external painting of house no. 421
SLNo | Description | Qty | Unit | Rate | Amount | Rate without GST | Amount
1 | EARTH WORK
1.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.1.1 | All kinds of soil. | 3.5 | cum | 252.3 | 883 | 221.2188 | 774.2657
1.2 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.2.1 | All kinds of soil
1.2.1.1 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 8 | metre | 364.2 | 2914 | 319.3336 | 2554.669
2 | CONCRETE WORK
2.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.1.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 1 | cum | 6788.6 | 6789 | 5952.3016 | 5952.3016
2.2 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing :
2.2.1 | 1:2:4 (1 Cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 3 | cum | 8554.5 | 25664 | 7500.6576 | 22501.9728
2.3 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 8 | sqm | 614.05 | 4912 | 538.4042 | 4307.2337
3 | REINFORCED CEMENT CONCRETE
3.1 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement
3.1.1 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.45 | cum | 9306 | 4188 | 8159.5791 | 3671.8106
3.2 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 2.25 | cum | 9763.8 | 21969 | 8560.982 | 19262.2096
3.3 | Centering and shuttering including strutting, propping etc. and removal of form for
3.3.1 | Foundations, footings, bases of columns, etc. for mass concrete | 1 | sqm | 284.85 | 285 | 249.7589 | 249.7589
3.3.2 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1.2 | sqm | 609.3 | 731 | 534.2394 | 641.0872
3.3.3 | Suspended floors, roofs, landings, balconies and access platform | 2 | sqm | 693.05 | 1386 | 607.6721 | 1215.3441
3.3.4 | Stairs, (excluding landings) except spiral-staircases | 15 | sqm | 622.35 | 9335 | 545.6817 | 8185.2258
3.3.5 | Edges of slabs and breaks in floors and walls |  |  |  |  | 0 | 0
3.3.5.1 | Under 20 cm wide | 20 | metre | 173.25 | 3465 | 151.9071 | 3038.1412
3.4 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
3.4.1 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 450 | kg | 83.5 | 37575 | 73.2135 | 32946.0763
4 | MASONRY WORK
4.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
4.1.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 2 | cum | 6157.45 | 12315 | 5398.904 | 10797.808
4.2 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
4.2.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 16.3 | cum | 7590.45 | 123724 | 6655.3705 | 108482.5384
4.3 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
4.3.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 1 | sqm | 932.1 | 932 | 817.2731 | 817.2731
4.4 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 8 | metre | 52 | 416 | 45.594 | 364.7523
5 | WOOD AND PVC WORK
5.1 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
5.1.1 | 250x16 mm | 2 | each | 170 | 340 | 149.0574 | 298.1149
5.2 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
5.2.1 | 125 mm | 2 | each | 34.85 | 70 | 30.5568 | 61.1135
6 | STEEL WORK
6.1 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 25 | kg | 101.75 | 2544 | 89.2153 | 2230.3814
6.2 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
6.2.1 | Using M.S. angels 40x40x6 mm for diagonal braces | 2 | sqm | 4428.15 | 8856 | 3882.6392 | 7765.2784
6.3 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
6.3.1 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 430 | kg | 131 | 56330 | 114.8619 | 49390.6181
6.4 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.
6.4.1 | M.S. tube | 225 | kg | 145.65 | 32771 | 127.7071 | 28734.1078
7 | FLOORING
7.1 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
7.1.1 | 40 mm thick with 20 mm nominal size stone aggregate | 40 | sqm | 498.35 | 19934 | 436.9575 | 17478.299
7.2 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
7.2.1 | 18 mm thick | 5 | sqm | 521.15 | 2606 | 456.9487 | 2284.7435
7.3 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors.
7.3.1 | 40 mm wide and 4 mm thick | 50 | metre | 75.15 | 3758 | 65.8922 | 3294.6076
8 | ROOFING
8.1 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required.
8.1.1 | 0.63 mm thick with zinc coating not less than 275 gm/ m² | 15 | sqm | 915 | 13725 | 802.2797 | 12034.1955
8.2 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section. | 12.3 | metre | 151.1 | 1859 | 132.4858 | 1629.5747
8.3 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 5 | each | 244.05 | 1220 | 213.9851 | 1069.9255
8.4 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
8.4.1 | 110 mm diameter | 4 | metre | 305.05 | 1220 | 267.4704 | 1069.8816
9 | FINISHING
9.1 | 12 mm cement plaster of mix :
9.1.1 | 1:6 (1 cement: 6 coarse sand) | 85 | sqm | 263.55 | 22402 | 231.0829 | 19642.043
9.2 | 15 mm cement plaster on rough side of single or half brick wall of mix:
9.2.1 | 1:6 (1 cement: 6 coarse sand) | 80 | sqm | 303.9 | 24312 | 266.4621 | 21316.9662
9.3 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix :
9.3.1 | 1:4 (1 cement: 4 fine sand) | 15 | sqm | 369.3 | 5540 | 323.8053 | 4857.0802
9.4 | 6 mm cement plaster of mix :
9.4.1 | 1:3 (1 cement : 3 fine sand) | 5 | sqm | 227.35 | 1137 | 199.3424 | 996.712
9.5 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
9.5.1 | Two or more coats on new work | 368 | sqm | 87.15 | 32071 | 76.4139 | 28120.2981
9.6 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
9.6.1 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 205 | sqm | 161.15 | 33036 | 141.2977 | 28966.0237
9.7 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
9.7.1 | Two or more coats on new work | 50 | sqm | 121.55 | 6078 | 106.5761 | 5328.8032
9.8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 150 | sqm | 115.15 | 17273 | 100.9645 | 15144.6734
9.9 | White washing with lime to give an even shade :
9.9.1 | Old work (two or more coats) | 310 | sqm | 16.75 | 5193 | 14.6865 | 4552.8277
9.1 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 170 | sqm | 18.25 | 3103 | 16.0018 | 2720.2981
9.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
9.11.1 | One or more coats on old work | 185 | sqm | 79.95 | 14791 | 70.1008 | 12968.6541
9.12 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
9.12.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 300 | sqm | 97.75 | 29325 | 85.708 | 25712.4068
10 | REPAIRS TO BUILDING
10.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 15 | sqm | 429.6 | 6444 | 376.6769 | 5650.1534
11 | DISMANTLING AND DEMOLISHING
11.1 | Demolishing lime concrete manually/ by mechanical means and disposal of material within 50 metres lead as per direction of Engineer- in-charge. | 20 | cum | 607.5 | 12150 | 532.6611 | 10653.2223
11.2 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
11.2.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 7 | cum | 1737.45 | 12162 | 1523.4108 | 10663.8755
11.2.2 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 4 | cum | 1072.8 | 4291 | 940.6401 | 3762.5603
11.3 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
11.3.1 | In cement mortar | 15 | cum | 1469.9 | 22049 | 1288.8207 | 19332.3104
11.4 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
11.4.1 | Of area 3 sq. metres and below | 1 | each | 274.5 | 275 | 240.6839 | 240.6839
11.5 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 65 | sqm | 39 | 2535 | 34.1955 | 2222.7093
11.6 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 30 | cum | 138.85 | 4166 | 121.7448 | 3652.3455
12 | ROAD WORK
12.1 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used.
12.1.1 | With G.I. barbed wire | 200 | metre | 19.05 | 3810 | 16.7032 | 3340.6401
12.2 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for 10 cm length and drilling holes upto 10 mm dia. etc. complete. | 75 | kg | 92.4 | 6930 | 81.0171 | 6076.2823
13 | SANITARY INSTALLATIONS
13.1 | Providing and fixing soil, waste and vent pipes :
13.1.1 | 100 mm dia
13.1.1.1 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 6 | metre | 1092.2 | 6553 | 957.6502 | 5745.9009
13.1.2 | 75 mm diameter :
13.1.2.1 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | 2.5 | metre | 992.05 | 2480 | 869.8378 | 2174.5945
13.2 | Providing and fixing plain bend of required degree.
13.2.1 | 100 mm dia
13.2.1.1 | Sand cast iron S&S as per IS : 3989 | 2 | each | 390.75 | 782 | 342.6129 | 685.2258
13.3 | Providing and fixing collar :
13.3.1 | 100 mm
13.3.1.1 | Sand cast iron S&S as per IS - 3989 | 4 | each | 409.45 | 1638 | 359.0092 | 1436.0368
13.4 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
13.4.1 | 100 mm | 10 | each | 481.45 | 4815 | 422.1394 | 4221.3941
13.4.2 | 75 mm | 6 | each | 407.9 | 2447 | 357.6502 | 2145.9009
13.5 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
13.5.1 | 100 mm inlet and 100 mm outlet
13.5.1.1 | Sand cast iron S&S as per IS: 3989 | 1 | each | 1512.55 | 1513 | 1326.2166 | 1326.2166
13.5.2 | 100 mm inlet and 75 mm outlet
13.5.2.1 | Sand cast iron S&S as per IS - 3989 | 1 | each | 1579.45 | 1579 | 1384.8751 | 1384.8751
14 | WATER SUPPLY
14.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
14.1.1 | 15 mm dia nominal bore | 10 | metre | 284.9 | 2849 | 249.8027 | 2498.0272
14.1.2 | 20 mm dia nominal bore | 8 | metre | 344.1 | 2753 | 301.7098 | 2413.6782
14.2 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
14.2.1 | 20 mm dia nominal bore | 10 | metre | 283.8 | 2838 | 248.8382 | 2488.3823
14.2.2 | 25 mm dia nominal bore | 10 | metre | 364.55 | 3646 | 319.6405 | 3196.4051
14.3 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
14.3.1 | 25 to 40 mm nominal bore | 1 | each | 673.45 | 673 | 590.4866 | 590.4866
14.4 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
14.4.1 | 20 mm nominal bore | 2 | each | 460.2 | 920 | 403.5072 | 807.0145
14.5 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
14.5.1 | 20 mm nominal bore | 1 | each | 386.4 | 386 | 338.7988 | 338.7988
14.6 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
14.6.1 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2 | each | 1582.45 | 3165 | 1387.5055 | 2775.011
14.7 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
14.7.1 | 15 mm diameter pipe | 10 | metre | 9.3 | 93 | 8.1543 | 81.5432
14.7.2 | 20 mm diameter pipe | 18 | metre | 11.1 | 200 | 9.7326 | 175.1863
14.7.3 | 25 mm diameter pipe | 10 | metre | 14.15 | 142 | 12.4068 | 124.0684
14.8 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work :
14.8.1 | 20 mm diameter pipe | 10 | metre | 144.55 | 1446 | 126.7427 | 1267.4266
14.8.2 | 25 mm diameter pipe | 10 | metre | 148.4 | 1484 | 130.1184 | 1301.1837
14.9 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
14.9.1 | 15 mm nominal bore | 2 | each | 235.75 | 472 | 206.7076 | 413.4152
14.9.2 | 20 mm nominal bore | 4 | each | 261.15 | 1045 | 228.9785 | 915.9141
14.9.3 | 25 mm nominal bore | 1 | each | 340.1 | 340 | 298.2025 | 298.2025
14.1 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 750 | per litre | 8.8 | 6600 | 7.7159 | 5786.9356
14.11 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
14.11.1 | 15 mm nominal bore | 2 | each | 418.95 | 838 | 367.3389 | 734.6778
14.12 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 2 | each | 61.25 | 123 | 53.7045 | 107.409
14.13 | Cutting holes up to 30x30 cm in walls including making good the same:
14.13.1 | With common burnt clay F.P.S. (non modular) bricks | 4 | each | 327.25 | 1309 | 286.9356 | 1147.7422
15 | DRAINAGE
15.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
15.1.1 | 100 mm diameter | 4 | metre | 317.05 | 1268 | 277.9921 | 1111.9684
15.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
15.2.1 | 100 mm diameter S.W. pipe | 4 | metre | 817 | 3268 | 716.3525 | 2865.4099
15.3 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
15.3.1 | 100x100 mm size P type
15.3.1.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each | 2307 | 2307 | 2022.797 | 2022.797
15.4 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
15.4.1 | For pipes 100 to 250 mm diameter | 1 | each | 623.5 | 624 | 546.69 | 546.69
16 | WATER PROOFING
16.1 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
16.1.1 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 150 | sqm | 1398.5 | 209775 | 1226.2166 | 183932.4858
17 | NEW TECHNOLOGIES AND MATERIALS
17.1 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
17.1.1 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 0.75 | sqm | 388.5 | 291 | 340.6401 | 255.4801
18 | MINOR CIVIL MAINTENANCE WORK
18.1 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). | 4 | Cum | 5124 | 20496 | 4492.7663 | 17971.0653
18.2 | Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 2 | Each | 33.45 | 67 | 29.3292 | 58.6585
| Total |  |  |  | 963014 |  | 844371.0872