## Annexure-A
INDIAN INSTITUTE OF TECHNOLOGY KANPUR
NIT No. 09/Civil/D2/2020-21/04
Name of Work:- Painting and repairing of plaster work in 2nd floor Desing Programme of Helicopter Building. .
SCHEDULE OF QUANTITY
Item.No | Description of Items | Qty | Unit | Rate in Figures without GST in Rupees | Amount
1 | REINFORCED CEMENT CONCRETE
1.1 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | 100 | metre | 51.64 | 5164
2 | WOOD AND PVC WORK
2.1 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters:
2.1.1 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 3 | sqm | 1654.27 | 4963
2.2 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
2.2.1 | 250x16 mm | 1 | each | 203.15 | 203
2.3 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
2.3.1 | 250x10 mm | 1 | each | 90.79 | 91
2.3.2 | 200x10 mm | 1 | each | 78.91 | 79
2.4 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
2.4.1 | 125 mm | 2 | each | 52.3 | 105
2.5 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
2.5.1 | Twin rubber stopper | 1 | each | 54.4 | 54
2.6 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality.
2.6.1 | 1.0 mm thick | 6 | sqm | 629.24 | 3775
3 | FINISHING
3.1 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
3.1.1 | Two or more coats on new work | 3200 | sqm | 76.41 | 244512
3.2 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
3.2.1 | Two or more coats on new work | 50 | sqm | 106.57 | 5329
3.3 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 2000 | sqm | 100.96 | 201920
3.4 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 2000 | sqm | 16 | 32000
4 | REPAIRS TO BUILDING
4.1 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
4.1.1 | With cement mortar 1:4 (1cement: 4 coarse sand) | 50 | sqm | 376.67 | 18834
4.2 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 30 | sqm | 226.17 | 6785
5 | DISMANTLING AND DEMOLISHING
5.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
5.1.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 5 | cum | 1523.41 | 7617
5.2 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
5.2.1 | For thickness of tiles 10 mm to 25 mm | 25 | sqm | 48.09 | 1202
5.3 | Demolishing brick tile covering in terracing including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 25 | sqm | 69.79 | 1745
5.4 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 5 | cum | 121.74 | 609
6 | WATER PROOFING
6.1 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
6.1.1 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 25 | sqm | 1226.21 | 30655
7 | NEW TECHNOLOGIES AND MATERIALS
7.1 | Water proofing treatment of Vertical joints (of external side and internal side) between door frame, window & ventilator frames (on all four sides) of outer wall over the Zycosil/equivalent & Zycoprime/equivalent solution already applied (before the installation of door / window / ventilator frames in position) and fine finish with Grout RW/equivalent. | 350 | metre | 35.42 | 12397
| Total Estimated Cost without GST |  |  |  | 578039