## Sheet1
Bill of Qty
N/W | Making of aluminium enclosure for covid 19 related arrangement at Health centre.
SLNo | Description | Qty | Unit | Rate | Amount | Rate without GST | Amount
1 | EARTH WORK
1.1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.1.1 | All kinds of soil. | 4 | cum | 252.3 | 1009 | 221.2188 | 884.8751
1.2 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.2.1 | All kinds of soil
1.2.1.1 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 45 | metre | 364.2 | 16389 | 319.3336 | 14370.0132
1.3 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m.
1.3.1 | All kinds of soil | 20 | sqm | 24.35 | 487 | 21.3503 | 427.0057
2 | CONCRETE WORK
2.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.1.1 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.86 | cum | 6788.6 | 5838 | 5952.3016 | 5118.9794
3 | MASONRY WORK
3.1 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
3.1.1 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 1.5 | cum | 6157.45 | 9236 | 5398.904 | 8098.356
3.2 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
3.2.1 | Cement mortar 1:4 (1 cement :4 coarse sand) | 2 | sqm | 932.1 | 1864 | 817.2731 | 1634.5463
4 | WOOD AND PVC WORK
4.1 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 4 | each | 1003.5 | 4014 | 879.8772 | 3519.509
4.2 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
4.2.1 | 250x16 mm | 4 | each | 231.7 | 927 | 203.1565 | 812.626
4.3 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
4.3.1 | 250x10 mm | 4 | each | 103.55 | 414 | 90.7935 | 363.174
4.3.2 | 200x10 mm | 4 | each | 90 | 360 | 78.9128 | 315.651
5 | STEEL WORK
5.1 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 37 | kg | 86.05 | 3184 | 75.4494 | 2791.6265
6 | FLOORING
6.1 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks:
6.1.1 | 1:6 (1cement : 6 coarse sand) | 2 | sqm | 829.45 | 1659 | 727.2687 | 1454.5375
6.2 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
6.2.1 | 40 mm thick with 20 mm nominal size stone aggregate | 2.31 | sqm | 498.35 | 1151 | 436.9575 | 1009.3718
7 | FINISHING
7.1 | 12 mm cement plaster of mix :
7.1.1 | 1:6 (1 cement: 6 coarse sand) | 14 | sqm | 263.55 | 3690 | 231.0829 | 3235.16
7.2 | 15 mm cement plaster on rough side of single or half brick wall of mix:
7.2.1 | 1:6 (1 cement: 6 coarse sand) | 9 | sqm | 303.9 | 2735 | 266.4621 | 2398.1587
7.3 | Finishing walls with Acrylic Smooth exterior paint of required shade :
7.3.1 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 25 | sqm | 164.7 | 4118 | 144.4103 | 3610.2587
7.4 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
7.4.1 | One or more coats on old work | 5 | sqm | 79.95 | 400 | 70.1008 | 350.5042
8 | DISMANTLING AND DEMOLISHING
8.1 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
8.1.1 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.86 | cum | 1737.45 | 1494 | 1523.4108 | 1310.1333
8.2 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
8.2.1 | In cement mortar | 0.3 | cum | 1469.9 | 441 | 1288.8207 | 386.6462
9 | SANITARY INSTALLATIONS
9.1 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
9.1.1 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1 | each | 2510.45 | 2510 | 2201.1837 | 2201.1837
9.2 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
9.2.1 | Flexible pipe
9.2.1.1 | 32 mm dia | 1 | each | 101.1 | 101 | 88.6453 | 88.6453
9.3 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing :
9.3.1 | Rectangular shape 453x357 mm | 1 | each | 1120.25 | 1120 | 982.2446 | 982.2446
9.4 | Providing and fixing soil, waste and vent pipes :
9.4.1 | 100 mm dia
9.4.1.1 | Sand cast iron S&S pipe as per IS: 1729 | 4 | metre | 1008.2 | 4033 | 883.9982 | 3535.993
9.5 | Providing and fixing plain bend of required degree.
9.5.1 | 100 mm dia
9.5.1.1 | Sand cast iron S&S as per IS - 1729 | 1 | each | 381.35 | 381 | 334.3709 | 334.3709
9.6 | Providing and fixing collar :
9.6.1 | 100 mm
9.6.1.1 | Sand cast iron S&S as per IS - 1729 | 1 | each | 365.3 | 365 | 320.2981 | 320.2981
9.7 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
9.7.1 | 100 mm | 6 | each | 481.45 | 2889 | 422.1394 | 2532.8365
9.8 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
9.8.1 | 100 mm inlet and 100 mm outlet
9.8.1.1 | Sand Cast Iron S&S as per IS: 1729 | 2 | each | 1273.05 | 2546 | 1116.221 | 2232.4419
10 | WATER SUPPLY
10.1 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
10.1.1 | 15 mm dia nominal bore | 4 | metre | 284.9 | 1140 | 249.8027 | 999.2109
10.1.2 | 20 mm dia nominal bore | 2 | metre | 344.1 | 688 | 301.7098 | 603.4196
10.2 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
10.2.1 | 20 mm dia nominal bore | 50 | metre | 283.8 | 14190 | 248.8382 | 12441.9114
10.3 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
10.3.1 | 25 to 40 mm nominal bore | 1 | each | 673.45 | 673 | 590.4866 | 590.4866
10.4 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
10.4.1 | 20 mm nominal bore | 1 | each | 460.2 | 460 | 403.5072 | 403.5072
10.5 | Providing and fixing uplasticised PVC connection pipe with brass unions :
10.5.1 | 30 cm length
10.5.1.1 | 15 mm nominal bore | 1 | each | 72.85 | 73 | 63.8755 | 63.8755
10.6 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
10.6.1 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 1 | each | 1582.45 | 1582 | 1387.5055 | 1387.5055
10.7 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
10.7.1 | 15 mm nominal bore | 1 | each | 552.35 | 552 | 484.3051 | 484.3051
10.8 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
10.8.1 | 15 mm nominal bore | 1 | each | 606.25 | 606 | 531.5651 | 531.5651
10.9 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
10.9.1 | 15mm nominal bore | 1 | each | 532 | 532 | 466.4621 | 466.4621
11 | DRAINAGE
11.1 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
11.1.1 | 100 mm diameter | 48 | metre | 317.05 | 15218 | 277.9921 | 13343.6212
11.2 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
11.2.1 | 100 mm diameter S.W. pipe | 48 | metre | 817 | 39216 | 716.3525 | 34384.9189
11.3 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
11.3.1 | 100x100 mm size P type
11.3.1.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each | 2307 | 2307 | 2022.797 | 2022.797
11.4 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (Zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
11.4.1 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :
11.4.1.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3 | each | 10905.05 | 32715 | 9561.6396 | 28684.9189
11.5 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
11.5.1 | For pipes 100 to 250 mm diameter | 1 | each | 623.5 | 624 | 546.69 | 546.69
12 | ALUMINIUM WORK
12.1 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
12.1.1 | For fixed portion
12.1.1.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 353 | kg | 423.95 | 149654 | 371.7229 | 131218.1938
12.1.2 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
12.1.2.1 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 15 | kg | 513.4 | 7701 | 450.1534 | 6752.3016
12.2 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
12.2.1 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 2 | sqm | 1296.4 | 2593 | 1136.6944 | 2273.3889
12.3 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 3 | each | 458.55 | 1376 | 402.0605 | 1206.1815
12.4 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-in-charge
12.4.1 | Anodized (AC 15 ) aluminium | 8 | each | 79.6 | 637 | 69.794 | 558.3516
13 | MINOR CIVIL MAINTENANCE WORK.
13.1 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). | 0.6 | Each | 5516.15 | 3310 | 4836.6068 | 2901.9641
13.2 | P/F C. P. brass shower rose with 15 mm or 20 inlet 75 mm dia fancy type. | 1 | Each | 575.31 | 575 | 504.4367 | 504.4367
13.3 | "Providing and fixing A.C.P.sheet. " | 89 | sqm | 1115 | 99235 | 977.6414 | 87010.0833
| Total |  |  |  | 449012 |  | 393699.2429