## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house nos. 279 and 2043
Contract No: 26/C/D3/2019-20/02
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CONCRETE WORK | [53 empty] | 1 | CONCRETE WORK
1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 1.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
1.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.35 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2083.31 | 2083.31 | INR Two Thousand &Eighty Three and Paise Thirty One Only | 1.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.35 | cum
1.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 5 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2692 | 2692 | INR Two Thousand Six Hundred & Ninety Two Only | 1.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 5 | sqm
2 | REINFORCED CEMENT CONCRETE | [53 empty] | 2 | REINFORCED CEMENT CONCRETE
2.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.25 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2140.25 | 2140.25 | INR Two Thousand One Hundred & Forty and Paise Twenty Five Only | 2.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.25 | cum
2.02 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 2.02 | Centering and shuttering including strutting, propping etc. and removal of form for
2.03 | Shelves (Cast in situ) |  | 5 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3038.35 | 3038.35 | INR Three Thousand &Thirty Eight and Paise Thirty Five Only | 2.03 | Shelves (Cast in situ) | 5 | sqm
2.04 | Edges of slabs and breaks in floors and walls | [53 empty] | 2.04 | Edges of slabs and breaks in floors and walls
2.05 | Under 20 cm wide |  | 6 | metre | 151.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 911.46 | 911.46 | INR Nine Hundred & Eleven and Paise Forty Six Only | 2.05 | Under 20 cm wide | 6 | metre
2.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 2.06 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
2.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 25 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1830.25 | 1830.25 | INR One Thousand Eight Hundred & Thirty and Paise Twenty Five Only | 2.07 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 25 | kg
3 | MASONRY WORK | [53 empty] | 3 | MASONRY WORK
3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 1.25 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8319.21 | 8319.21 | INR Eight Thousand Three Hundred & Nineteen and Paise Twenty One Only | 3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 1.25 | cum
3.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 3.03 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
3.04 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 3 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2451.81 | 2451.81 | INR Two Thousand Four Hundred & Fifty One and Paise Eighty One Only | 3.04 | Cement mortar 1:4 (1 cement :4 coarse sand) | 3 | sqm
3.05 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 8 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 364.72 | 364.72 | INR Three Hundred & Sixty Four and Paise Seventy Two Only | 3.05 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 8 | metre
4 | CLADDING WORK | [53 empty] | 4 | CLADDING WORK
4.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | [53 empty] | 4.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
4.02 | Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble | [53 empty] | 4.02 | Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble
4.03 | Area of slab over 0.50 sqm |  | 2 | sqm | 2238.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4476.38 | 4476.38 | INR Four Thousand Four Hundred & Seventy Six and Paise Thirty Eight Only | 4.03 | Area of slab over 0.50 sqm | 2 | sqm
4.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | [53 empty] | 4.04 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge.
4.05 | Marble work |  | 1.8 | metre | 193.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 347.76 | 347.76 | INR Three Hundred & Forty Seven and Paise Seventy Six Only | 4.05 | Marble work | 1.8 | metre
4.06 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 30 | sqm | 903.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27101.4 | 27101.4 | INR Twenty Seven Thousand One Hundred & One and Paise Forty Only | 4.06 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 30 | sqm
5 | WOOD AND PVC WORK | [53 empty] | 5 | WOOD AND PVC WORK
5.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | [53 empty] | 5.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately).
5.02 | Sal wood |  | 0.21 | cum | 92351.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19393.87 | 19393.87 | INR Nineteen Thousand Three Hundred & Ninety Three and Paise Eighty Seven Only | 5.02 | Sal wood | 0.21 | cum
5.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | [53 empty] | 5.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws.
5.04 | Second class teak wood | [53 empty] | 5.04 | Second class teak wood
5.05 | 35 mm thick |  | 6 | sqm | 3817.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22904.4 | 22904.4 | INR Twenty Two Thousand Nine Hundred & Four and Paise Forty Only | 5.05 | 35 mm thick | 6 | sqm
5.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | [53 empty] | 5.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
5.07 | 250x16 mm |  | 4 | each | 149.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 596.24 | 596.24 | INR Five Hundred & Ninety Six and Paise Twenty Four Only | 5.07 | 250x16 mm | 4 | each
5.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | [53 empty] | 5.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete :
5.09 | 200x10 mm |  | 4 | each | 53.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 212.36 | 212.36 | INR Two Hundred & Twelve and Paise Thirty Six Only | 5.09 | 200x10 mm | 4 | each
5.1 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | [53 empty] | 5.1 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
5.11 | 125 mm |  | 8 | each | 30.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 244.48 | 244.48 | INR Two Hundred & Forty Four and Paise Forty Eight Only | 5.11 | 125 mm | 8 | each
5.12 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | [53 empty] | 5.12 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete :
5.13 | 250x16 mm |  | 4 | each | 203.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 812.64 | 812.64 | INR Eight Hundred & Twelve and Paise Sixty Four Only | 5.13 | 250x16 mm | 4 | each
5.14 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 5.14 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.15 | 200x10 mm |  | 8 | each | 78.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 631.28 | 631.28 | INR Six Hundred & Thirty One and Paise Twenty Eight Only | 5.15 | 200x10 mm | 8 | each
5.16 | 150x10 mm |  | 42 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2761.92 | 2761.92 | INR Two Thousand Seven Hundred & Sixty One and Paise Ninety Two Only | 5.16 | 150x10 mm | 42 | each
5.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 5.17 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
5.18 | 125 mm |  | 8 | each | 52.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 418.4 | 418.4 | INR Four Hundred & Eighteen and Paise Forty Only | 5.18 | 125 mm | 8 | each
5.19 | 100 mm |  | 26 | each | 46.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1204.84 | 1204.84 | INR One Thousand Two Hundred & Four and Paise Eighty Four Only | 5.19 | 100 mm | 26 | each
5.2 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | [53 empty] | 5.2 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
5.21 | Twin rubber stopper |  | 12 | each | 54.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 652.92 | 652.92 | INR Six Hundred & Fifty Two and Paise Ninety Two Only | 5.21 | Twin rubber stopper | 12 | each
5.22 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | [53 empty] | 5.22 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge
5.23 | Extruded section profile size 48x40 mm |  | 20 | metre | 194.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3886.8 | 3886.8 | INR Three Thousand Eight Hundred & Eighty Six and Paise Eighty Only | 5.23 | Extruded section profile size 48x40 mm | 20 | metre
5.24 | Providing and fixing to existing door frames. | [53 empty] | 5.24 | Providing and fixing to existing door frames.
5.25 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). |  | 6 | sqm | 1543.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9262.8 | 9262.8 | INR Nine Thousand Two Hundred & Sixty Two and Paise Eighty Only | 5.25 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 6 | sqm
5.26 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | [53 empty] | 5.26 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws :
5.27 | 35 mm thick shutters | [53 empty] | 5.27 | 35 mm thick shutters
5.28 | with ISI marked M.S. pressed butt hinges bright finished of required size | [53 empty] | 5.28 | with ISI marked M.S. pressed butt hinges bright finished of required size
5.29 | Second class teak wood |  | 16 | sqm | 3816.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61056.8 | 61056.8 | INR Sixty One Thousand &Fifty Six and Paise Eighty Only | 5.29 | Second class teak wood | 16 | sqm
6 | STEEL WORK | [53 empty] | 6 | STEEL WORK
6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 15 | kg | 89.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1338.3 | 1338.3 | INR One Thousand Three Hundred & Thirty Eight and Paise Thirty Only | 6.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 15 | kg
6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | [53 empty] | 6.02 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
6.03 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 3 | sqm | 3882.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11647.92 | 11647.92 | INR Eleven Thousand Six Hundred & Forty Seven and Paise Ninety Two Only | 6.03 | Using M.S. angels 40x40x6 mm for diagonal braces | 3 | sqm
7 | FLOORING | [53 empty] | 7 | FLOORING
7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | [53 empty] | 7.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
7.02 | 40 mm thick with 20 mm nominal size stone aggregate |  | 50 | sqm | 436.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21848 | 21848 | INR Twenty One Thousand Eight Hundred & Forty Eight Only | 7.02 | 40 mm thick with 20 mm nominal size stone aggregate | 50 | sqm
7.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | [53 empty] | 7.03 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
7.04 | 18 mm thick |  | 5 | sqm | 456.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2284.75 | 2284.75 | INR Two Thousand Two Hundred & Eighty Four and Paise Seventy Five Only | 7.04 | 18 mm thick | 5 | sqm
7.05 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | [53 empty] | 7.05 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors.
7.06 | 40 mm wide and 4 mm thick |  | 60 | metre | 65.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3953.4 | 3953.4 | INR Three Thousand Nine Hundred & Fifty Three and Paise Forty Only | 7.06 | 40 mm wide and 4 mm thick | 60 | metre
7.07 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. |  | 10 | sqm | 812.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8127.1 | 8127.1 | INR Eight Thousand One Hundred & Twenty Seven and Paise Ten Only | 7.07 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 10 | sqm
7.08 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | [53 empty] | 7.08 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
7.09 | Size of Tile 600x600 mm |  | 10 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13554.1 | 13554.1 | INR Thirteen Thousand Five Hundred & Fifty Four and Paise Ten Only | 7.09 | Size of Tile 600x600 mm | 10 | sqm
7.1 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). | [53 empty] | 7.1 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately).
7.11 | Size of Tile 600x600 mm |  | 80 | sqm | 1411.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 112929.6 | 112929.6 | INR One Lakh Twelve Thousand Nine Hundred & Twenty Nine and Paise Sixty Only | 7.11 | Size of Tile 600x600 mm | 80 | sqm
7.12 | Extra for providing and fixing of 8 mm to 9 mm thick ceramic glazed wall tiles instead of 5 mm thick ceramic glazed wall tiles |  | 40 | Sqm | 155.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6232.4 | 6232.4 | INR Six Thousand Two Hundred & Thirty Two and Paise Forty Only | 7.12 | Extra for providing and fixing of 8 mm to 9 mm thick ceramic glazed wall tiles instead of 5 mm thick ceramic glazed wall tiles | 40 | Sqm
8 | FINISHING | [53 empty] | 8 | FINISHING
8.01 | 12 mm cement plaster of mix : | [53 empty] | 8.01 | 12 mm cement plaster of mix :
8.02 | 1:6 (1 cement: 6 coarse sand) |  | 50 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11554 | 11554 | INR Eleven Thousand Five Hundred & Fifty Four Only | 8.02 | 1:6 (1 cement: 6 coarse sand) | 50 | sqm
8.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 8.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
8.04 | 1:6 (1 cement: 6 coarse sand) |  | 20 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5329.2 | 5329.2 | INR Five Thousand Three Hundred & Twenty Nine and Paise Twenty Only | 8.04 | 1:6 (1 cement: 6 coarse sand) | 20 | sqm
8.05 | 6 mm cement plaster of mix : | [53 empty] | 8.05 | 6 mm cement plaster of mix :
8.06 | 1:3 (1 cement : 3 fine sand) |  | 10 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1993.4 | 1993.4 | INR One Thousand Nine Hundred & Ninety Three and Paise Forty Only | 8.06 | 1:3 (1 cement : 3 fine sand) | 10 | sqm
8.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 8.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
8.08 | Two or more coats on new work |  | 480 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36676.8 | 36676.8 | INR Thirty Six Thousand Six Hundred & Seventy Six and Paise Eighty Only | 8.08 | Two or more coats on new work | 480 | sqm
8.09 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 8.09 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
8.1 | Two or more coats on new work |  | 6 | sqm | 106.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 639.48 | 639.48 | INR Six Hundred & Thirty Nine and Paise Forty Eight Only | 8.1 | Two or more coats on new work | 6 | sqm
8.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 8.11 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
8.12 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture |  | 60 | sqm | 155.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9319.8 | 9319.8 | INR Nine Thousand Three Hundred & Nineteen and Paise Eighty Only | 8.12 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 60 | sqm
8.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 250 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25240 | 25240 | INR Twenty Five Thousand Two Hundred & Forty Only | 8.13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 250 | sqm
8.14 | White washing with lime to give an even shade : | [53 empty] | 8.14 | White washing with lime to give an even shade :
8.15 | Old work (two or more coats) |  | 120 | sqm | 14.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1762.8 | 1762.8 | INR One Thousand Seven Hundred & Sixty Two and Paise Eighty Only | 8.15 | Old work (two or more coats) | 120 | sqm
8.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 250 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4000 | 4000 | INR Four Thousand Only | 8.16 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 250 | sqm
8.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 8.17 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
8.18 | One or more coats on old work |  | 142 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9954.2 | 9954.2 | INR Nine Thousand Nine Hundred & Fifty Four and Paise Twenty Only | 8.18 | One or more coats on old work | 142 | sqm
8.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 8.19 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
8.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 80 | sqm | 85.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6856.8 | 6856.8 | INR Six Thousand Eight Hundred & Fifty Six and Paise Eighty Only | 8.2 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 80 | sqm
9 | REPAIRS TO BUILDING | [53 empty] | 9 | REPAIRS TO BUILDING
9.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 9.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
9.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 10 | sqm | 376.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3766.8 | 3766.8 | INR Three Thousand Seven Hundred & Sixty Six and Paise Eighty Only | 9.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 10 | sqm
9.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 80 | sqm | 2.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175.2 | 175.2 | INR One Hundred & Seventy Five and Paise Twenty Only | 9.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | 80 | sqm
9.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 10 | each | 261.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2611.6 | 2611.6 | INR Two Thousand Six Hundred & Eleven and Paise Sixty Only | 9.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 10 | each
10 | DISMANTLING AND DEMOLISHING | [53 empty] | 10 | DISMANTLING AND DEMOLISHING
10.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 10.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
10.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 4 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6093.64 | 6093.64 | INR Six Thousand &Ninety Three and Paise Sixty Four Only | 10.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 4 | cum
10.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 7 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6584.48 | 6584.48 | INR Six Thousand Five Hundred & Eighty Four and Paise Forty Eight Only | 10.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 7 | cum
10.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 10.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
10.05 | In cement mortar |  | 2 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2577.64 | 2577.64 | INR Two Thousand Five Hundred & Seventy Seven and Paise Sixty Four Only | 10.05 | In cement mortar | 2 | cum
10.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 10.06 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
10.07 | Of area 3 sq. metres and below |  | 6 | each | 240.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1444.08 | 1444.08 | INR One Thousand Four Hundred & Forty Four and Paise Eight Only | 10.07 | Of area 3 sq. metres and below | 6 | each
10.08 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | [53 empty] | 10.08 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
10.09 | Of area 3 sq. metres and below |  | 4 | each | 93.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 373.68 | 373.68 | INR Three Hundred & Seventy Three and Paise Sixty Eight Only | 10.09 | Of area 3 sq. metres and below | 4 | each
10.1 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 70 | sqm | 34.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2394 | 2394 | INR Two Thousand Three Hundred & Ninety Four Only | 10.1 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 70 | sqm
10.11 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 15 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1826.1 | 1826.1 | INR One Thousand Eight Hundred & Twenty Six and Paise Ten Only | 10.11 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 15 | cum
11 | ROAD WORK | [53 empty] | 11 | ROAD WORK
11.01 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used. | [53 empty] | 11.01 | Fencing with angle iron post placed at required distance embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post on one side only and provided with horizontal lines and two diagonals interwoven with horizontal wires, of barbed wire weighing 9.38 kg per 100 m (minimum), between the two posts fitted and fixed with G.I. staples, turn buckles etc. complete. (Cost of posts, struts, earth work and concrete work to be paid for separately). Payment to be made per metre cost of total length of barbed wire used.
11.02 | With G.I. barbed wire |  | 400 | metre | 16.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6680 | 6680 | INR Six Thousand Six Hundred & Eighty Only | 11.02 | With G.I. barbed wire | 400 | metre
11.03 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for 10 cm length and drilling holes upto 10 mm dia. etc. complete. |  | 90 | kg | 81.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7291.8 | 7291.8 | INR Seven Thousand Two Hundred & Ninety One and Paise Eighty Only | 11.03 | Supplying at site Angle iron post & strut of required size including bottom to be split and bent at right angle in opposite direction for 10 cm length and drilling holes upto 10 mm dia. etc. complete. | 90 | kg
12 | SANITARY INSTALLATIONS | [53 empty] | 12 | SANITARY INSTALLATIONS
12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | [53 empty] | 12.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:
12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests |  | 2 | each | 4753.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9507.24 | 9507.24 | INR Nine Thousand Five Hundred & Seven and Paise Twenty Four Only | 12.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 2 | each
12.03 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | [53 empty] | 12.03 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:
12.04 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap |  | 2 | each | 2201.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4402.36 | 4402.36 | INR Four Thousand Four Hundred & Two and Paise Thirty Six Only | 12.04 | White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 2 | each
12.05 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 12.05 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.
12.06 | Flexible pipe | [53 empty] | 12.06 | Flexible pipe
12.07 | 32 mm dia |  | 4 | each | 88.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 354.6 | 354.6 | INR Three Hundred & Fifty Four and Paise Sixty Only | 12.07 | 32 mm dia | 4 | each
12.08 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 2 | each | 1124.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2249.98 | 2249.98 | INR Two Thousand Two Hundred & Forty Nine and Paise Ninety Eight Only | 12.08 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 2 | each
12.09 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 12.09 | Providing and fixing soil, waste and vent pipes :
12.1 | 100 mm dia | [53 empty] | 12.1 | 100 mm dia
12.11 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 24 | metre | 957.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22983.6 | 22983.6 | INR Twenty Two Thousand Nine Hundred & Eighty Three and Paise Sixty Only | 12.11 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 24 | metre
12.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 12.12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
12.13 | 100 mm dia | [53 empty] | 12.13 | 100 mm dia
12.14 | Sand cast iron S&S as per IS - 3989 |  | 4 | each | 404.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1619.12 | 1619.12 | INR One Thousand Six Hundred & Nineteen and Paise Twelve Only | 12.14 | Sand cast iron S&S as per IS - 3989 | 4 | each
12.15 | Providing and fixing plain bend of required degree. | [53 empty] | 12.15 | Providing and fixing plain bend of required degree.
12.16 | 100 mm dia | [53 empty] | 12.16 | 100 mm dia
12.17 | Sand cast iron S&S as per IS : 3989 |  | 4 | each | 342.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1370.44 | 1370.44 | INR One Thousand Three Hundred & Seventy and Paise Forty Four Only | 12.17 | Sand cast iron S&S as per IS : 3989 | 4 | each
12.18 | Providing and fixing collar : | [53 empty] | 12.18 | Providing and fixing collar :
12.19 | 100 mm | [53 empty] | 12.19 | 100 mm
12.2 | Sand cast iron S&S as per IS - 3989 |  | 12 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4308.12 | 4308.12 | INR Four Thousand Three Hundred & Eight and Paise Twelve Only | 12.2 | Sand cast iron S&S as per IS - 3989 | 12 | each
12.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 12.21 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
12.22 | 100 mm |  | 30 | each | 422.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12664.2 | 12664.2 | INR Twelve Thousand Six Hundred & Sixty Four and Paise Twenty Only | 12.22 | 100 mm | 30 | each
12.23 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 12.23 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
12.24 | 100 mm inlet and 100 mm outlet | [53 empty] | 12.24 | 100 mm inlet and 100 mm outlet
12.25 | Sand cast iron S&S as per IS: 3989 |  | 6 | each | 1326.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7957.32 | 7957.32 | INR Seven Thousand Nine Hundred & Fifty Seven and Paise Thirty Two Only | 12.25 | Sand cast iron S&S as per IS: 3989 | 6 | each
13 | WATER SUPPLY | [53 empty] | 13 | WATER SUPPLY
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
13.02 | 20 mm dia nominal bore |  | 20 | metre | 301.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6034.2 | 6034.2 | INR Six Thousand &Thirty Four and Paise Twenty Only | 13.02 | 20 mm dia nominal bore | 20 | metre
13.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | [53 empty] | 13.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall :
13.04 | 15 mm dia nominal bore |  | 20 | metre | 392.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7849.2 | 7849.2 | INR Seven Thousand Eight Hundred & Forty Nine and Paise Twenty Only | 13.04 | 15 mm dia nominal bore | 20 | metre
13.05 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 13.05 | Providing and fixing uplasticised PVC connection pipe with brass unions :
13.06 | 45 cm length | [53 empty] | 13.06 | 45 cm length
13.07 | 15 mm nominal bore |  | 8 | each | 72.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 582.24 | 582.24 | INR Five Hundred & Eighty Two and Paise Twenty Four Only | 13.07 | 15 mm nominal bore | 8 | each
13.08 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 13.08 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
13.09 | 15 mm nominal bore |  | 4 | each | 367.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1469.36 | 1469.36 | INR One Thousand Four Hundred & Sixty Nine and Paise Thirty Six Only | 13.09 | 15 mm nominal bore | 4 | each
13.1 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 13.1 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
13.11 | 15 mm nominal bore |  | 6 | each | 484.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2905.86 | 2905.86 | INR Two Thousand Nine Hundred & Five and Paise Eighty Six Only | 13.11 | 15 mm nominal bore | 6 | each
13.12 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | [53 empty] | 13.12 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
13.13 | 15 mm nominal bore |  | 4 | each | 531.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2126.28 | 2126.28 | INR Two Thousand One Hundred & Twenty Six and Paise Twenty Eight Only | 13.13 | 15 mm nominal bore | 4 | each
13.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | [53 empty] | 13.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
13.15 | 15mm nominal bore |  | 14 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6530.44 | 6530.44 | INR Six Thousand Five Hundred & Thirty and Paise Forty Four Only | 13.15 | 15mm nominal bore | 14 | each
13.16 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 20 | each | 53.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1074 | 1074 | INR One Thousand &Seventy Four Only | 13.16 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 20 | each
13.17 | Cutting holes up to 30x30 cm in walls including making good the same: | [53 empty] | 13.17 | Cutting holes up to 30x30 cm in walls including making good the same:
13.18 | With common burnt clay F.P.S. (non modular) bricks |  | 4 | each | 286.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1147.76 | 1147.76 | INR One Thousand One Hundred & Forty Seven and Paise Seventy Six Only | 13.18 | With common burnt clay F.P.S. (non modular) bricks | 4 | each
13.19 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. |  | 16 | metre | 135.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2162.56 | 2162.56 | INR Two Thousand One Hundred & Sixty Two and Paise Fifty Six Only | 13.19 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | 16 | metre
14 | DRAINAGE | [53 empty] | 14 | DRAINAGE
14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | [53 empty] | 14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
14.02 | 100 mm diameter |  | 4 | metre | 277.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1111.96 | 1111.96 | INR One Thousand One Hundred & Eleven and Paise Ninety Six Only | 14.02 | 100 mm diameter | 4 | metre
14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | [53 empty] | 14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
14.04 | 100 mm diameter S.W. pipe |  | 4 | metre | 716.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2865.4 | 2865.4 | INR Two Thousand Eight Hundred & Sixty Five and Paise Forty Only | 14.04 | 100 mm diameter S.W. pipe | 4 | metre
14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
14.06 | 100x100 mm size P type | [53 empty] | 14.06 | 100x100 mm size P type
14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 2 | each | 2022.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4045.6 | 4045.6 | INR Four Thousand &Forty Five and Paise Sixty Only | 14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 2 | each
14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
14.09 | For pipes 100 to 250 mm diameter |  | 2 | each | 546.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1093.38 | 1093.38 | INR One Thousand &Ninety Three and Paise Thirty Eight Only | 14.09 | For pipes 100 to 250 mm diameter | 2 | each
15 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 15 | NEW TECHNOLOGIES AND MATERIALS
15.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 15.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
15.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make |  | 2.5 | sqm | 340.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 851.6 | 851.6 | INR Eight Hundred & Fifty One and Paise Sixty Only | 15.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | 2.5 | sqm
16 | MINOR CIVIL MAINTENANCE WORK | [53 empty] | 16 | MINOR CIVIL MAINTENANCE WORK
16.01 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). |  | 6 | Cum | 4455.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26733.3 | 26733.3 | INR Twenty Six Thousand Seven Hundred & Thirty Three and Paise Thirty Only | 16.01 | Providing and laying cement concrete of specified grade i/c the cost of centring and shuttering, All work upto plinth level. (1 cement :5 coarse sand : 10 graded brick aggregate 40 mm nominal size). | 6 | Cum
16.02 | P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. |  | 2 | Each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 844.64 | 844.64 | INR Eight Hundred & Forty Four and Paise Sixty Four Only | 16.02 | P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | 2 | Each
16.03 | Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 8 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 469.28 | 469.28 | INR Four Hundred & Sixty Nine and Paise Twenty Eight Only | 16.03 | Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | 8 | Each
16.04 | Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 20 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 586.6 | 586.6 | INR Five Hundred & Eighty Six and Paise Sixty Only | 16.04 | Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 20 | Each
16.05 | Providing and fixing C.P Brass shower rose with 15 mm or 20 mm inlet (a) 75 mm dia fancy type. |  | 2 | Each | 504.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1008.88 | 1008.88 | INR One Thousand &Eight and Paise Eighty Eight Only | 16.05 | Providing and fixing C.P Brass shower rose with 15 mm or 20 mm inlet (a) 75 mm dia fancy type. | 2 | Each
16.06 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." |  | 7.5 | Sqm | 2019.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15144.38 | 15144.38 | INR Fifteen Thousand One Hundred & Forty Four and Paise Thirty Eight Only | 16.06 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete." | 7.5 | Sqm
Total in Figures | [51 empty] | 670911.62 | 670911.62 | INR Six Lakh Seventy Thousand Nine Hundred & Eleven and Paise Sixty Two Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K185: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K188: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K190: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K192: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K162: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information