## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer, IWD, IIT, Kanpur
Name of Work: Construction of Platform & Panel room for newly drilled tube well near Type III and making connection to the existing water line i/c misc. civil works
Contract No: 03/C/D3/2021-22/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CARRIAGE OF MATERIALS | [53 empty] | 1 | CARRIAGE OF MATERIALS
1.01 | By Mechanical Transport including loading,unloading and stacking | [53 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking
1.02 | Lime, moorum, building rubbish Lead - 2 km |  | 10 | cum | 104.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1048.1 | 1048.1 | INR One Thousand &Forty Eight and Paise Ten Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | 10 | cum
1.03 | Earth Lead - 2 km |  | 40 | cum | 131.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5240.8 | 5240.8 | INR Five Thousand Two Hundred & Forty and Paise Eighty Only | 1.03 | Earth Lead - 2 km | 40 | cum
2 | EARTH WORK | [53 empty] | 2 | EARTH WORK
2.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | [53 empty] | 2.01 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.
2.02 | All kinds of soil |  | 30 | cum | 159.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4783.5 | 4783.5 | INR Four Thousand Seven Hundred & Eighty Three and Paise Fifty Only | 2.02 | All kinds of soil | 30 | cum
2.03 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 2.03 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
2.04 | All kinds of soil. |  | 30 | cum | 221.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6636.6 | 6636.6 | INR Six Thousand Six Hundred & Thirty Six and Paise Sixty Only | 2.04 | All kinds of soil. | 30 | cum
2.05 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 2.05 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
2.06 | All kinds of soil | [53 empty] | 2.06 | All kinds of soil
2.07 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia |  | 215 | metre | 319.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 68655.95 | 68655.95 | INR Sixty Eight Thousand Six Hundred & Fifty Five and Paise Ninety Five Only | 2.07 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 215 | metre
2.08 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. |  | 15 | cum | 192.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2888.85 | 2888.85 | INR Two Thousand Eight Hundred & Eighty Eight and Paise Eighty Five Only | 2.08 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 15 | cum
2.09 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. |  | 3.5 | cum | 1712.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5993.58 | 5993.58 | INR Five Thousand Nine Hundred & Ninety Three and Paise Fifty Eight Only | 2.09 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 3.5 | cum
2.1 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | [53 empty] | 2.1 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m.
2.11 | All kinds of soil |  | 200 | sqm | 21.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4270 | 4270 | INR Four Thousand Two Hundred & Seventy Only | 2.11 | All kinds of soil | 200 | sqm
2.12 | Extra for levelling & neatly dressing of disposed soil completely as directed by Engineer-in-charge. |  | 40 | cum | 58.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2327.2 | 2327.2 | INR Two Thousand Three Hundred & Twenty Seven and Paise Twenty Only | 2.12 | Extra for levelling & neatly dressing of disposed soil completely as directed by Engineer-in-charge. | 40 | cum
3 | CONCRETE WORK | [53 empty] | 3 | CONCRETE WORK
3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 3.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 3.5 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20833.05 | 20833.05 | INR Twenty Thousand Eight Hundred & Thirty Three and Paise Five Only | 3.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | 3.5 | cum
3.03 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand derived from natural sources): 4 graded stone aggregate 12.5mm nominal size derived from natural sources) |  | 2.1 | sqm | 305.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 640.58 | 640.58 | INR Six Hundred & Forty and Paise Fifty Eight Only | 3.03 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand derived from natural sources): 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | 2.1 | sqm
3.04 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. |  | 1 | per 50kg cement | 49.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49.58 | 49.58 | INR Forty Nine and Paise Fifty Eight Only | 3.04 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | 1 | per 50kg cement
3.05 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. |  | 2.1 | sqm | 96.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 202.55 | 202.55 | INR Two Hundred & Two and Paise Fifty Five Only | 3.05 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | 2.1 | sqm
3.06 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 10 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5384 | 5384 | INR Five Thousand Three Hundred & Eighty Four Only | 3.06 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 10 | sqm
4 | REINFORCED CEMENT CONCRETE | [53 empty] | 4 | REINFORCED CEMENT CONCRETE
4.01 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, ifnishing and reinforcement- All work up to plinth level : | [53 empty] | 4.01 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, ifnishing and reinforcement- All work up to plinth level :
4.02 | 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 1.1 | cum | 6767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7444.17 | 7444.17 | INR Seven Thousand Four Hundred & Forty Four and Paise Seventeen Only | 4.02 | 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III) derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.1 | cum
4.03 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | [53 empty] | 4.03 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement
4.04 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 1.2 | cum | 8159.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9791.5 | 9791.5 | INR Nine Thousand Seven Hundred & Ninety One and Paise Fifty Only | 4.04 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.2 | cum
4.05 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 1 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8560.98 | 8560.98 | INR Eight Thousand Five Hundred & Sixty and Paise Ninety Eight Only | 4.05 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1 | cum
4.06 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 4.06 | Centering and shuttering including strutting, propping etc. and removal of form for
4.07 | Foundations, footings, bases of columns, etc. for mass concrete |  | 2.5 | sqm | 249.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 624.4 | 624.4 | INR Six Hundred & Twenty Four and Paise Forty Only | 4.07 | Foundations, footings, bases of columns, etc. for mass concrete | 2.5 | sqm
4.08 | Suspended floors, roofs, landings, balconies and access platform |  | 4 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2430.68 | 2430.68 | INR Two Thousand Four Hundred & Thirty and Paise Sixty Eight Only | 4.08 | Suspended floors, roofs, landings, balconies and access platform | 4 | sqm
4.09 | Columns, Pillars, Piers, Abutments, Posts and Struts |  | 20 | sqm | 643.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12866.2 | 12866.2 | INR Twelve Thousand Eight Hundred & Sixty Six and Paise Twenty Only | 4.09 | Columns, Pillars, Piers, Abutments, Posts and Struts | 20 | sqm
4.1 | Edges of slabs and breaks in floors and walls | [53 empty] | 4.1 | Edges of slabs and breaks in floors and walls
4.11 | Under 20 cm wide |  | 17 | metre | 151.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2582.47 | 2582.47 | INR Two Thousand Five Hundred & Eighty Two and Paise Forty Seven Only | 4.11 | Under 20 cm wide | 17 | metre
4.12 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 4.12 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
4.13 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 320 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23427.2 | 23427.2 | INR Twenty Three Thousand Four Hundred & Twenty Seven and Paise Twenty Only | 4.13 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 320 | kg
5 | MASONRY WORK | [53 empty] | 5 | MASONRY WORK
5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 5.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:
5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 12.5 | cum | 5398.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 67486.25 | 67486.25 | INR Sixty Seven Thousand Four Hundred & Eighty Six and Paise Twenty Five Only | 5.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 12.5 | cum
5.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 5.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
5.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 4.5 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29949.17 | 29949.17 | INR Twenty Nine Thousand Nine Hundred & Forty Nine and Paise Seventeen Only | 5.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 4.5 | cum
5.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | [53 empty] | 5.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :
5.06 | cement mortar 1:4 (1 cement : 4 coarse sand) |  | 6 | sqm | 678.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4070.58 | 4070.58 | INR Four Thousand &Seventy and Paise Fifty Eight Only | 5.06 | cement mortar 1:4 (1 cement : 4 coarse sand) | 6 | sqm
5.07 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 5.07 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
5.08 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 3 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2451.81 | 2451.81 | INR Two Thousand Four Hundred & Fifty One and Paise Eighty One Only | 5.08 | Cement mortar 1:4 (1 cement :4 coarse sand) | 3 | sqm
5.09 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). |  | 15 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 683.85 | 683.85 | INR Six Hundred & Eighty Three and Paise Eighty Five Only | 5.09 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | 15 | metre
6 | WOOD AND PVC WORK | [53 empty] | 6 | WOOD AND PVC WORK
6.01 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | [53 empty] | 6.01 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.
6.02 | Fixed to steel windows by welding |  | 15 | kg | 144.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2174.1 | 2174.1 | INR Two Thousand One Hundred & Seventy Four and Paise Ten Only | 6.02 | Fixed to steel windows by welding | 15 | kg
6.03 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). |  | 10 | each | 157.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1571.2 | 1571.2 | INR One Thousand Five Hundred & Seventy One and Paise Twenty Only | 6.03 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 10 | each
6.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | [53 empty] | 6.04 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete :
6.05 | 250x16 mm |  | 2 | each | 149.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298.12 | 298.12 | INR Two Hundred & Ninety Eight and Paise Twelve Only | 6.05 | 250x16 mm | 2 | each
6.06 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete. | [53 empty] | 6.06 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete.
6.07 | 250 mm weighing not less than 150 gms |  | 6 | each | 45.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 270.42 | 270.42 | INR Two Hundred & Seventy and Paise Forty Two Only | 6.07 | 250 mm weighing not less than 150 gms | 6 | each
7 | STEEL WORK | [53 empty] | 7 | STEEL WORK
7.01 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 140 | kg | 75.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10563 | 10563 | INR Ten Thousand Five Hundred & Sixty Three Only | 7.01 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 140 | kg
7.02 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. |  | 25 | kg | 89.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230.5 | 2230.5 | INR Two Thousand Two Hundred & Thirty and Paise Fifty Only | 7.02 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 25 | kg
7.03 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | [53 empty] | 7.03 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
7.04 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 2.5 | sqm | 3882.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9706.6 | 9706.6 | INR Nine Thousand Seven Hundred & Six and Paise Sixty Only | 7.04 | Using M.S. angels 40x40x6 mm for diagonal braces | 2.5 | sqm
7.05 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | [53 empty] | 7.05 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment).
7.06 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) |  | 30 | kg | 145.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4379.7 | 4379.7 | INR Four Thousand Three Hundred & Seventy Nine and Paise Seventy Only | 7.06 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 30 | kg
7.07 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with : | [53 empty] | 7.07 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with :
7.08 | 4.0 mm thick glass panes |  | 2 | sqm | 789.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1579.22 | 1579.22 | INR One Thousand Five Hundred & Seventy Nine and Paise Twenty Two Only | 7.08 | 4.0 mm thick glass panes | 2 | sqm
8 | FLOORING | [53 empty] | 8 | FLOORING
8.01 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks: | [53 empty] | 8.01 | Brick on edge flooring with bricks of class designation 7.5 on a bed of 12 mm cement mortar, including filling the joints with same mortar, with common burnt clay non modular bricks:
8.02 | 1:6 (1cement : 6 coarse sand) |  | 5 | sqm | 727.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3636.35 | 3636.35 | INR Three Thousand Six Hundred & Thirty Six and Paise Thirty Five Only | 8.02 | 1:6 (1cement : 6 coarse sand) | 5 | sqm
8.03 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | [53 empty] | 8.03 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
8.04 | 40 mm thick with 20 mm nominal size stone aggregate |  | 5 | sqm | 436.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2184.8 | 2184.8 | INR Two Thousand One Hundred & Eighty Four and Paise Eighty Only | 8.04 | 40 mm thick with 20 mm nominal size stone aggregate | 5 | sqm
8.05 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | [53 empty] | 8.05 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
8.06 | 18 mm thick |  | 1.5 | sqm | 456.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 685.43 | 685.43 | INR Six Hundred & Eighty Five and Paise Forty Three Only | 8.06 | 18 mm thick | 1.5 | sqm
8.07 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | [53 empty] | 8.07 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors.
8.08 | 40 mm wide and 4 mm thick |  | 11 | metre | 65.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 724.79 | 724.79 | INR Seven Hundred & Twenty Four and Paise Seventy Nine Only | 8.08 | 40 mm wide and 4 mm thick | 11 | metre
9 | ROOFING | [53 empty] | 9 | ROOFING
9.01 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | [53 empty] | 9.01 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
9.02 | 110 mm diameter |  | 0.5 | metre | 267.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 133.74 | 133.74 | INR One Hundred & Thirty Three and Paise Seventy Four Only | 9.02 | 110 mm diameter | 0.5 | metre
10 | FINISHING | [53 empty] | 10 | FINISHING
10.01 | 12 mm cement plaster of mix : | [53 empty] | 10.01 | 12 mm cement plaster of mix :
10.02 | 1:6 (1 cement: 6 coarse sand) |  | 50 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11554 | 11554 | INR Eleven Thousand Five Hundred & Fifty Four Only | 10.02 | 1:6 (1 cement: 6 coarse sand) | 50 | sqm
10.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 10.03 | 15 mm cement plaster on rough side of single or half brick wall of mix:
10.04 | 1:6 (1 cement: 6 coarse sand) |  | 21 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5595.66 | 5595.66 | INR Five Thousand Five Hundred & Ninety Five and Paise Sixty Six Only | 10.04 | 1:6 (1 cement: 6 coarse sand) | 21 | sqm
10.05 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | [53 empty] | 10.05 | 12 mm cement plaster finished with a floating coat of neat cement of mix :
10.06 | 1:4 (1 cement: 4 fine sand) |  | 81 | sqm | 287.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23312.61 | 23312.61 | INR Twenty Three Thousand Three Hundred & Twelve and Paise Sixty One Only | 10.06 | 1:4 (1 cement: 4 fine sand) | 81 | sqm
10.07 | 6 mm cement plaster of mix : | [53 empty] | 10.07 | 6 mm cement plaster of mix :
10.08 | 1:3 (1 cement : 3 fine sand) |  | 6 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1196.04 | 1196.04 | INR One Thousand One Hundred & Ninety Six and Paise Four Only | 10.08 | 1:3 (1 cement : 3 fine sand) | 6 | sqm
10.09 | White washing with lime to give an even shade : | [53 empty] | 10.09 | White washing with lime to give an even shade :
10.1 | New work (three or more coats) |  | 20 | sqm | 25.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 500.6 | 500.6 | INR Five Hundred and Paise Sixty Only | 10.1 | New work (three or more coats) | 20 | sqm
10.11 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | [53 empty] | 10.11 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
10.12 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 60 | sqm | 141.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8478 | 8478 | INR Eight Thousand Four Hundred & Seventy Eight Only | 10.12 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 60 | sqm
10.13 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 10.13 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
10.14 | Two or more coats on new work |  | 11 | sqm | 106.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1172.38 | 1172.38 | INR One Thousand One Hundred & Seventy Two and Paise Thirty Eight Only | 10.14 | Two or more coats on new work | 11 | sqm
11 | DISMANTLING AND DEMOLISHING | [53 empty] | 11 | DISMANTLING AND DEMOLISHING
11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 11.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 0.5 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 761.71 | 761.71 | INR Seven Hundred & Sixty One and Paise Seventy One Only | 11.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 0.5 | cum
11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 0.5 | cum | 940.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 470.32 | 470.32 | INR Four Hundred & Seventy and Paise Thirty Two Only | 11.03 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 0.5 | cum
11.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 11.04 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
11.05 | In cement mortar |  | 1 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1288.82 | 1288.82 | INR One Thousand Two Hundred & Eighty Eight and Paise Eighty Two Only | 11.05 | In cement mortar | 1 | cum
12 | WATER SUPPLY | [53 empty] | 12 | WATER SUPPLY
12.01 | Providing and laying flanged C.I. standard specials such as tees, bends, collars, tapers, caps etc., suitable for flanged jointing as per IS : 1538 : | [53 empty] | 12.01 | Providing and laying flanged C.I. standard specials such as tees, bends, collars, tapers, caps etc., suitable for flanged jointing as per IS : 1538 :
12.02 | Up to 300 mm dia |  | 2.5 | quintal | 6893.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17234.78 | 17234.78 | INR Seventeen Thousand Two Hundred & Thirty Four and Paise Seventy Eight Only | 12.02 | Up to 300 mm dia | 2.5 | quintal
12.03 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 : | [53 empty] | 12.03 | Providing and laying S&S centrifugally cast (spun) iron pipes (Class LA) conforming to IS - 1536 :
12.04 | 150 mm dia pipe |  | 15 | metre | 1587.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23815.2 | 23815.2 | INR Twenty Three Thousand Eight Hundred & Fifteen and Paise Twenty Only | 12.04 | 150 mm dia pipe | 15 | metre
12.05 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead : | [53 empty] | 12.05 | Providing lead caulked joints to spun iron or C.I. pipes and specials, including testing of joints but excluding the cost of pig lead :
12.06 | 150 mm diameter pipe |  | 4 | each | 493.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1973.52 | 1973.52 | INR One Thousand Nine Hundred & Seventy Three and Paise Fifty Two Only | 12.06 | 150 mm diameter pipe | 4 | each
12.07 | Supplying pig lead at site of work. |  | 0.15 | quintal | 20657.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3098.65 | 3098.65 | INR Three Thousand &Ninety Eight and Paise Sixty Five Only | 12.07 | Supplying pig lead at site of work. | 0.15 | quintal
12.08 | Providing flanged joints to double flanged C.I./ D.I. pipes and specials, including testing of joints : | [53 empty] | 12.08 | Providing flanged joints to double flanged C.I./ D.I. pipes and specials, including testing of joints :
12.09 | 150 mm diameter pipe |  | 2 | each | 287.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 574.14 | 574.14 | INR Five Hundred & Seventy Four and Paise Fourteen Only | 12.09 | 150 mm diameter pipe | 2 | each
12.1 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) : | [53 empty] | 12.1 | Providing and fixing C.I. sluice valves (with cap) complete with bolts, nuts, rubber insertions etc. (the tail pieces if required will be paid separately) :
12.11 | 150 mm diameter | [53 empty] | 12.11 | 150 mm diameter
12.12 | Class II |  | 4 | each | 5648.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22594.84 | 22594.84 | INR Twenty Two Thousand Five Hundred & Ninety Four and Paise Eighty Four Only | 12.12 | Class II | 4 | each
12.13 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 12.13 | Constructing masonry Chamber 120x120x100 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design :
12.14 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 2 | each | 19608.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39216.48 | 39216.48 | INR Thirty Nine Thousand Two Hundred & Sixteen and Paise Forty Eight Only | 12.14 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2 | each
12.15 | Providing and fixing enclosed type water meter (bulk type) conforming to IS : 2373 and tested by Municipal Board complete with bolts, nuts, rubber insertions etc. (The tail pieces if required will be paid separately) : | [53 empty] | 12.15 | Providing and fixing enclosed type water meter (bulk type) conforming to IS : 2373 and tested by Municipal Board complete with bolts, nuts, rubber insertions etc. (The tail pieces if required will be paid separately) :
12.16 | 150 mm dia nominal bore |  | 1 | each | 6774.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6774.05 | 6774.05 | INR Six Thousand Seven Hundred & Seventy Four and Paise Five Only | 12.16 | 150 mm dia nominal bore | 1 | each
12.17 | Providing and laying D.I. specials of class K-12 suitable for push-on jointing as per IS : 9523 : | [53 empty] | 12.17 | Providing and laying D.I. specials of class K-12 suitable for push-on jointing as per IS : 9523 :
12.18 | Up to 600 mm dia |  | 1.6 | quintal | 14988.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23981.41 | 23981.41 | INR Twenty Three Thousand Nine Hundred & Eighty One and Paise Forty One Only | 12.18 | Up to 600 mm dia | 1.6 | quintal
12.19 | Providing and laying D.I. Specials of Class K - 12 suitable for mechanical jointing as per IS : 9523 : | [53 empty] | 12.19 | Providing and laying D.I. Specials of Class K - 12 suitable for mechanical jointing as per IS : 9523 :
12.2 | Up to 600 mm dia |  | 1.1 | quintal | 15750.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17326.03 | 17326.03 | INR Seventeen Thousand Three Hundred & Twenty Six and Paise Three Only | 12.2 | Up to 600 mm dia | 1.1 | quintal
12.21 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket : | [53 empty] | 12.21 | Providing push-on-joints to Centrifugally (Spun) Cast Iron Pipes or Ductile Iron Pipes including testing of joints and the cost of rubber gasket :
12.22 | 150 mm dia pipes |  | 24 | joint | 131.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3153.36 | 3153.36 | INR Three Thousand One Hundred & Fifty Three and Paise Thirty Six Only | 12.22 | 150 mm dia pipes | 24 | joint
12.23 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329 : | [53 empty] | 12.23 | Providing and laying S&S Centrifugally Cast (Spun) / Ductile Iron Pipes conforming to IS : 8329 :
12.24 | 150 mm dia Ductile Iron Class K-7 pipes |  | 135 | metre | 1394.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188272.35 | 188272.35 | INR One Lakh Eighty Eight Thousand Two Hundred & Seventy Two and Paise Thirty Five Only | 12.24 | 150 mm dia Ductile Iron Class K-7 pipes | 135 | metre
13 | DRAINAGE | [53 empty] | 13 | DRAINAGE
13.01 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : | [53 empty] | 13.01 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete :
13.02 | 150 mm dia. R.C.C. pipe |  | 6 | metre | 405.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2433.66 | 2433.66 | INR Two Thousand Four Hundred & Thirty Three and Paise Sixty Six Only | 13.02 | 150 mm dia. R.C.C. pipe | 6 | metre
13.03 | 250 mm dia. R.C.C. pipe |  | 70 | metre | 661.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46305.7 | 46305.7 | INR Forty Six Thousand Three Hundred & Five and Paise Seventy Only | 13.03 | 250 mm dia. R.C.C. pipe | 70 | metre
13.04 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (Zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 13.04 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (Zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
13.05 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | [53 empty] | 13.05 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :
13.06 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 5 | each | 9561.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47808.2 | 47808.2 | INR Forty Seven Thousand Eight Hundred & Eight and Paise Twenty Only | 13.06 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 5 | each
13.07 | Extra for depth for manholes : | [53 empty] | 13.07 | Extra for depth for manholes :
13.08 | Size 90x80 cm | [53 empty] | 13.08 | Size 90x80 cm
13.09 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1.5 | metre | 6578.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9868.04 | 9868.04 | INR Nine Thousand Eight Hundred & Sixty Eight and Paise Four Only | 13.09 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.5 | metre
13.1 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | [53 empty] | 13.1 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design :
13.11 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each | 4567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4567.38 | 4567.38 | INR Four Thousand Five Hundred & Sixty Seven and Paise Thirty Eight Only | 13.11 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1 | each
14 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 14 | MINOR CIVIL MAINTENANCE WORK:
14.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 7.5 | Cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37065.3 | 37065.3 | INR Thirty Seven Thousand &Sixty Five and Paise Thirty Only | 14.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | 7.5 | Cum
14.02 | "Providing and fixing cast iron double flanged horizontal type non return valve including 2 nos. matching flanges, nuts, bolts, 3.0 mm thick compressed gasket complete. " | [53 empty] | 14.02 | "Providing and fixing cast iron double flanged horizontal type non return valve including 2 nos. matching flanges, nuts, bolts, 3.0 mm thick compressed gasket complete. "
14.03 | 150 mm diameter |  | 1 | Each | 12000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12000 | 12000 | INR Twelve Thousand Only | 14.03 | 150 mm diameter | 1 | Each
14.04 | P/F C.I. flange (Heavy Class) on connecting pipe 150 mm dia i/c threading on flange & pipe, adhesive, cartage etc. with all necessary arrangements Complete. |  | 10 | Each | 1552.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15528.3 | 15528.3 | INR Fifteen Thousand Five Hundred & Twenty Eight and Paise Thirty Only | 14.04 | P/F C.I. flange (Heavy Class) on connecting pipe 150 mm dia i/c threading on flange & pipe, adhesive, cartage etc. with all necessary arrangements Complete. | 10 | Each
Total in Figures | [51 empty] | 919383.1 | 919383.1 | INR Nine Lakh Nineteen Thousand Three Hundred & Eighty Three and Paise Ten Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K151: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K135: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K138: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K145: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information