## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Civil work for renovation of WL-214.
Contract No: 07/Civil/Div-2/2021-22/01
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | REINFORCED CEMENT CONCRETE | item no.1 | [52 empty] | 1 | REINFORCED CEMENT CONCRETE | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.2 | 0.22 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1883 | 1883 | INR One Thousand Eight Hundred & Eighty Three Only | 1.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.2 | 0.22 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.3 | [52 empty] | 1.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Shelves (Cast in situ) | item no.4 | 3.5 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2127 | 2127 | INR Two Thousand One Hundred & Twenty Seven Only | 1.03 | Shelves (Cast in situ) | item no.4 | 3.5 | sqm
1.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.5 | [52 empty] | 1.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.5
1.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.6 | 26 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1903 | 1903 | INR One Thousand Nine Hundred & Three Only | 1.05 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.6 | 26 | kg
2.01 | MASONRY WORK | item no.7 | [52 empty] | 2.01 | MASONRY WORK | item no.7
2.02 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.8 | [52 empty] | 2.02 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.03 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.9 | 1.6 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1308 | 1308 | INR One Thousand Three Hundred & Eight Only | 2.03 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.9 | 1.6 | sqm
3 | CLADDING WORK | item no.10 | [52 empty] | 3 | CLADDING WORK | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.11 | [52 empty] | 3.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.02 | Granite of any colour and shade | item no.12 | [52 empty] | 3.02 | Granite of any colour and shade | item no.12
3.03 | Area of slab over 0.50 sqm | item no.13 | 3.2 | sqm | 3513.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11245 | 11245 | INR Eleven Thousand Two Hundred & Forty Five Only | 3.03 | Area of slab over 0.50 sqm | item no.13 | 3.2 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.14 | 3 | each | 644.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1932 | 1932 | INR One Thousand Nine Hundred & Thirty Two Only | 3.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.14 | 3 | each
3.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.15 | 9 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8130 | 8130 | INR Eight Thousand One Hundred & Thirty Only | 3.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.15 | 9 | sqm
4 | WOOD AND PVC WORK | item no.16 | [52 empty] | 4 | WOOD AND PVC WORK | item no.16
4.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.17 | [52 empty] | 4.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.17
4.02 | Sal wood | item no.18 | 0.012 | cum | 92351.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1108 | 1108 | INR One Thousand One Hundred & Eight Only | 4.02 | Sal wood | item no.18 | 0.012 | cum
4.03 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.19 | [52 empty] | 4.03 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.19
4.04 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.20 | 4.4 | sqm | 1654.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7279 | 7279 | INR Seven Thousand Two Hundred & Seventy Nine Only | 4.04 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.20 | 4.4 | sqm
4.05 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.21 | 4.4 | sqm | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 361 | 361 | INR Three Hundred & Sixty One Only | 4.05 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.21 | 4.4 | sqm
4.06 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete. | item no.22 | [52 empty] | 4.06 | Providing and fixing oxidised M.S. casement stays (straight peg type) with necessary screws etc. complete. | item no.22
4.07 | 250 mm weighing not less than 150 gms | item no.23 | 12 | each | 45.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 541 | 541 | INR Five Hundred & Forty One Only | 4.07 | 250 mm weighing not less than 150 gms | item no.23 | 12 | each
4.08 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.24 | 3 | each | 879.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2640 | 2640 | INR Two Thousand Six Hundred & Forty Only | 4.08 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.24 | 3 | each
4.09 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.25 | [52 empty] | 4.09 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.25
4.1 | 300x16 mm | item no.26 | 3 | each | 225.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 676 | 676 | INR Six Hundred & Seventy Six Only | 4.1 | 300x16 mm | item no.26 | 3 | each
4.11 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.27 | [52 empty] | 4.11 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.27
4.12 | 250x10 mm | item no.28 | 4 | each | 90.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 363 | 363 | INR Three Hundred & Sixty Three Only | 4.12 | 250x10 mm | item no.28 | 4 | each
4.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.29 | [52 empty] | 4.13 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.29
4.14 | 125 mm | item no.30 | 8 | each | 52.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 418 | 418 | INR Four Hundred & Eighteen Only | 4.14 | 125 mm | item no.30 | 8 | each
4.15 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.31 | [52 empty] | 4.15 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.31
4.16 | Twin rubber stopper | item no.32 | 3 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 163 | 163 | INR One Hundred & Sixty Three Only | 4.16 | Twin rubber stopper | item no.32 | 3 | each
4.17 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.33 | 3 | each | 656.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1969 | 1969 | INR One Thousand Nine Hundred & Sixty Nine Only | 4.17 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.33 | 3 | each
5 | ROOFING | item no.34 | [52 empty] | 5 | ROOFING | item no.34
5.01 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.35 | [52 empty] | 5.01 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.35
5.02 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.36 | 84 | sqm | 1649.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 138535 | 138535 | INR One Lakh Thirty Eight Thousand Five Hundred & Thirty Five Only | 5.02 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.36 | 84 | sqm
6 | FINISHING | item no.37 | [52 empty] | 6 | FINISHING | item no.37
6.01 | 6 mm cement plaster of mix : | item no.38 | [52 empty] | 6.01 | 6 mm cement plaster of mix : | item no.38
6.02 | 1:3 (1 cement : 3 fine sand) | item no.39 | 3.15 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 628 | 628 | INR Six Hundred & Twenty Eight Only | 6.02 | 1:3 (1 cement : 3 fine sand) | item no.39 | 3.15 | sqm
6.03 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.40 | [52 empty] | 6.03 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.40
6.04 | Two or more coats on new work | item no.41 | 210 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16046 | 16046 | INR Sixteen Thousand &Forty Six Only | 6.04 | Two or more coats on new work | item no.41 | 210 | sqm
6.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.42 | [52 empty] | 6.05 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.42
6.06 | Two or more coats on new work | item no.43 | 35 | sqm | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3730 | 3730 | INR Three Thousand Seven Hundred & Thirty Only | 6.06 | Two or more coats on new work | item no.43 | 35 | sqm
6.07 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.44 | [52 empty] | 6.07 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.44
6.08 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.45 | 11 | sqm | 155.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1709 | 1709 | INR One Thousand Seven Hundred & Nine Only | 6.08 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.45 | 11 | sqm
6.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.46 | 210 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21202 | 21202 | INR Twenty One Thousand Two Hundred & Two Only | 6.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.46 | 210 | sqm
6.1 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.47 | 210 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3360 | 3360 | INR Three Thousand Three Hundred & Sixty Only | 6.1 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.47 | 210 | sqm
6.11 | Distempering with 1st quality acrylic distemper (ready made) having VOC content less than 50 gm per ltr. of approved manufacturer and of required shade and colour complete. as per manufacturer's specification. | item no.48 | [52 empty] | 6.11 | Distempering with 1st quality acrylic distemper (ready made) having VOC content less than 50 gm per ltr. of approved manufacturer and of required shade and colour complete. as per manufacturer's specification. | item no.48
6.12 | One or more coats on old work | item no.49 | 84 | sqm | 42.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3539 | 3539 | INR Three Thousand Five Hundred & Thirty Nine Only | 6.12 | One or more coats on old work | item no.49 | 84 | sqm
7 | REPAIRS TO BUILDING | item no.50 | [52 empty] | 7 | REPAIRS TO BUILDING | item no.50
7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.51 | [52 empty] | 7.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.51
7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.52 | 5 | sqm | 376.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1883 | 1883 | INR One Thousand Eight Hundred & Eighty Three Only | 7.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.52 | 5 | sqm
7.03 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.53 | [52 empty] | 7.03 | Renewing glass panes, with putty and nails wherever necessary including racking out the old putty: | item no.53
7.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.54 | 6 | sqm | 780.79 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4685 | 4685 | INR Four Thousand Six Hundred & Eighty Five Only | 7.04 | Float glass panes of nominal thickness 4 mm (weight not less than 10kg/sqm) | item no.54 | 6 | sqm
8 | DISMANTLING AND DEMOLISHING | item no.55 | [52 empty] | 8 | DISMANTLING AND DEMOLISHING | item no.55
8.01 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.56 | [52 empty] | 8.01 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | item no.56
8.02 | Of area beyond 3 sq. metres | item no.57 | 1 | each | 329.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 329 | 329 | INR Three Hundred & Twenty Nine Only | 8.02 | Of area beyond 3 sq. metres | item no.57 | 1 | each
9 | SANITARY INSTALLATIONS | item no.58 | [52 empty] | 9 | SANITARY INSTALLATIONS | item no.58
9.01 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.59 | [52 empty] | 9.01 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.59
9.02 | Size 600x450x200 mm | item no.60 | 3 | each | 3052.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9159 | 9159 | INR Nine Thousand One Hundred & Fifty Nine Only | 9.02 | Size 600x450x200 mm | item no.60 | 3 | each
9.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.61 | [52 empty] | 9.03 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.61
9.04 | Flexible pipe | item no.62 | [52 empty] | 9.04 | Flexible pipe | item no.62
9.05 | 32 mm dia | item no.63 | 3 | each | 88.64 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 266 | 266 | INR Two Hundred & Sixty Six Only | 9.05 | 32 mm dia | item no.63 | 3 | each
9.06 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.64 | 2 | each | 1124.98 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2250 | 2250 | INR Two Thousand Two Hundred & Fifty Only | 9.06 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.64 | 2 | each
10 | WATER SUPPLY | item no.65 | [52 empty] | 10 | WATER SUPPLY | item no.65
10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.66 | [52 empty] | 10.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.66
10.02 | 15 mm dia nominal bore | item no.67 | 8 | metre | 249.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1998 | 1998 | INR One Thousand Nine Hundred & Ninety Eight Only | 10.02 | 15 mm dia nominal bore | item no.67 | 8 | metre
10.03 | 20 mm dia nominal bore | item no.68 | 4 | metre | 301.7 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1207 | 1207 | INR One Thousand Two Hundred & Seven Only | 10.03 | 20 mm dia nominal bore | item no.68 | 4 | metre
10.04 | 40 mm dia nominal bore | item no.69 | 25 | metre | 560.8 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14020 | 14020 | INR Fourteen Thousand &Twenty Only | 10.04 | 40 mm dia nominal bore | item no.69 | 25 | metre
10.05 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.70 | [52 empty] | 10.05 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.70
10.06 | 25 to 40 mm nominal bore | item no.71 | 1 | each | 590.48 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590 | 590 | INR Five Hundred & Ninety Only | 10.06 | 25 to 40 mm nominal bore | item no.71 | 1 | each
10.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.72 | [52 empty] | 10.07 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.72
10.08 | 20 mm nominal bore | item no.73 | 2 | each | 403.5 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 807 | 807 | INR Eight Hundred & Seven Only | 10.08 | 20 mm nominal bore | item no.73 | 2 | each
10.09 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.74 | [52 empty] | 10.09 | Providing and fixing G.I. Union in existing G.I. pipe line, cutting and threading the pipe and making long screws, including excavation, refilling the earth or cutting of wall and making good the same complete wherever required : | item no.74
10.1 | 15 mm nominal bore | item no.75 | 3 | each | 541.16 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1623 | 1623 | INR One Thousand Six Hundred & Twenty Three Only | 10.1 | 15 mm nominal bore | item no.75 | 3 | each
10.11 | 20 mm nominal bore | item no.76 | 3 | each | 563.48 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1690 | 1690 | INR One Thousand Six Hundred & Ninety Only | 10.11 | 20 mm nominal bore | item no.76 | 3 | each
10.12 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.77 | [52 empty] | 10.12 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.77
10.13 | 15 mm nominal bore | item no.78 | 3 | each | 484.3 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1453 | 1453 | INR One Thousand Four Hundred & Fifty Three Only | 10.13 | 15 mm nominal bore | item no.78 | 3 | each
10.14 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.79 | [52 empty] | 10.14 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.79
10.15 | 15 mm nominal bore | item no.80 | 3 | each | 531.56 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1595 | 1595 | INR One Thousand Five Hundred & Ninety Five Only | 10.15 | 15 mm nominal bore | item no.80 | 3 | each
11 | MINOR CIVIL MAINTENANCE WORK: | item no.81 | [52 empty] | 11 | MINOR CIVIL MAINTENANCE WORK: | item no.81
11.01 | "P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | item no.82 | 41 | Sqm | 542.74 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22252 | 22252 | INR Twenty Two Thousand Two Hundred & Fifty Two Only | 11.01 | "P/F 1.50mm thick homogeneous polyvinyl chloride sheet/tile in flooring and skirting in approved pattern on a smooth and damp proof base using rubber base adhesive of approved quality and manufacturer like Dualpo S-758 , Fevicol SR 998 or equivalent including rolling with light wooden roller weight about 5 kg. All complete as directed by Engineer -in -charge in approved colour and shade. | item no.82 | 41 | Sqm
11.02 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.83 | 41 | Sqm | 42.26 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1733 | 1733 | INR One Thousand Seven Hundred & Thirty Three Only | 11.02 | Removal of old PVC floor and proper scrapping, cleaning etc to prepare surface for reflooring as per direction incharge. | item no.83 | 41 | Sqm
Total in Figures | [51 empty] | 300335 | 300335 | Three Lakh Three Hundred & Thirty Five Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information