## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Setting right of vacant house no 3040.
Contract No: 17/Civil/D2/2021-22/02
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CARRIAGE OF MATERIALS | item no.1 | [52 empty] | 1 | CARRIAGE OF MATERIALS | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 1.01 | By Mechanical Transport including loading,unloading and stacking | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2.26 | cum | 104.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 237 | 237 | INR Two Hundred & Thirty Seven Only | 1.02 | Lime, moorum, building rubbish Lead - 2 km | item no.3 | 2.26 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | CONCRETE WORK | item no.4 | [52 empty] | 2 | CONCRETE WORK | item no.4
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5 | [52 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.5
2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 0.51 | cum | 5952.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3036 | 3036 | INR Three Thousand &Thirty Six Only | 2.02 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources: 4 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.6 | 0.51 | cum
2.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.7 | [52 empty] | 2.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.7
2.04 | Foundations, footings, bases for columns | item no.8 | 0.94 | sqm | 249.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 235 | 235 | INR Two Hundred & Thirty Five Only | 2.04 | Foundations, footings, bases for columns | item no.8 | 0.94 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | REINFORCED CEMENT CONCRETE | item no.9 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.9
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.10 | 0.2 | cum | 8560.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1712 | 1712 | INR One Thousand Seven Hundred & Twelve Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement: 1.5 coarse sand (zone-III)derived from natural sources: 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.10 | 0.2 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.11 | [52 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.11 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.03 | Shelves (Cast in situ) | item no.12 | 4.13 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2510 | 2510 | INR Two Thousand Five Hundred & Ten Only | 3.03 | Shelves (Cast in situ) | item no.12 | 4.13 | sqm
3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.13 | [52 empty] | 3.04 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.13 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.05 | Cold twisted bars | item no.14 | 32.49 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2379 | 2379 | INR Two Thousand Three Hundred & Seventy Nine Only | 3.05 | Cold twisted bars | item no.14 | 32.49 | kg
4 | MASONRY WORK | item no.15 | [52 empty] | 4 | MASONRY WORK | item no.15
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.16 | [52 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.16
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.17 | 0.25 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1664 | 1664 | INR One Thousand Six Hundred & Sixty Four Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.17 | 0.25 | cum
5 | CLADDING WORK | item no.18 | [52 empty] | 5 | CLADDING WORK | item no.18
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19 | [52 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.19
5.02 | Granite of any colour and shade | item no.20 | [52 empty] | 5.02 | Granite of any colour and shade | item no.20
5.03 | Area of slab over 0.50 sqm | item no.21 | 2.95 | sqm | 3513.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10366 | 10366 | INR Ten Thousand Three Hundred & Sixty Six Only | 5.03 | Area of slab over 0.50 sqm | item no.21 | 2.95 | sqm
5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 25.58 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23108 | 23108 | INR Twenty Three Thousand One Hundred & Eight Only | 5.04 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.22 | 25.58 | sqm
6 | WOOD AND PVC WORK | item no.23 | [52 empty] | 6 | WOOD AND PVC WORK | item no.23
6.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.24 | [52 empty] | 6.01 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). | item no.24
6.02 | Sal wood | item no.25 | 0.22 | cum | 92351.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20317 | 20317 | INR Twenty Thousand Three Hundred & Seventeen Only | 6.02 | Sal wood | item no.25 | 0.22 | cum
6.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.26 | [52 empty] | 6.03 | Providing and fixing glazed shutters for doors, windows and clerestory windows using 4 mm thick float glass panes, including ISI marked M.S. pressed butt hinges bright finished of required size with necessary screws. | item no.26
6.04 | Second class teak wood | item no.27 | [52 empty] | 6.04 | Second class teak wood | item no.27
6.05 | 35 mm thick | item no.28 | 4.16 | sqm | 3817.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15880 | 15880 | INR Fifteen Thousand Eight Hundred & Eighty Only | 6.05 | 35 mm thick | item no.28 | 4.16 | sqm
6.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.29 | [52 empty] | 6.06 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : | item no.29
6.07 | 250x16 mm | item no.30 | 2 | each | 149.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 298 | 298 | INR Two Hundred & Ninety Eight Only | 6.07 | 250x16 mm | item no.30 | 2 | each
6.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.31 | [52 empty] | 6.08 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | item no.31
6.09 | 200x10 mm | item no.32 | 1 | each | 53.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53 | 53 | INR Fifty Three Only | 6.09 | 200x10 mm | item no.32 | 1 | each
6.1 | 150x10 mm | item no.33 | 1 | each | 46.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46 | 46 | INR Forty Six Only | 6.1 | 150x10 mm | item no.33 | 1 | each
6.11 | 100x10 mm | item no.34 | 12 | each | 33.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 407 | 407 | INR Four Hundred & Seven Only | 6.11 | 100x10 mm | item no.34 | 12 | each
6.12 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.35 | [52 empty] | 6.12 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.35
6.13 | 125 mm | item no.36 | 2 | each | 30.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61 | 61 | INR Sixty One Only | 6.13 | 125 mm | item no.36 | 2 | each
6.14 | 100 mm | item no.37 | 9 | each | 24.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 221 | 221 | INR Two Hundred & Twenty One Only | 6.14 | 100 mm | item no.37 | 9 | each
6.15 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.38 | [52 empty] | 6.15 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.38
6.16 | 250x16 mm | item no.39 | 1 | each | 203.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203 | 203 | INR Two Hundred & Three Only | 6.16 | 250x16 mm | item no.39 | 1 | each
6.17 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.40 | [52 empty] | 6.17 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.40
6.18 | 200x10 mm | item no.41 | 1 | each | 78.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79 | 79 | INR Seventy Nine Only | 6.18 | 200x10 mm | item no.41 | 1 | each
6.19 | 150x10 mm | item no.42 | 21 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1381 | 1381 | INR One Thousand Three Hundred & Eighty One Only | 6.19 | 150x10 mm | item no.42 | 21 | each
6.2 | 100x10 mm | item no.43 | 29 | each | 50.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1478 | 1478 | INR One Thousand Four Hundred & Seventy Eight Only | 6.2 | 100x10 mm | item no.43 | 29 | each
6.21 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.44 | [52 empty] | 6.21 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.44
6.22 | 125 mm | item no.45 | 2 | each | 52.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 105 | 105 | INR One Hundred & Five Only | 6.22 | 125 mm | item no.45 | 2 | each
6.23 | 100 mm | item no.46 | 25 | each | 46.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1158 | 1158 | INR One Thousand One Hundred & Fifty Eight Only | 6.23 | 100 mm | item no.46 | 25 | each
6.24 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.47 | [52 empty] | 6.24 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.47
6.25 | Twin rubber stopper | item no.48 | 7 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 381 | 381 | INR Three Hundred & Eighty One Only | 6.25 | Twin rubber stopper | item no.48 | 7 | each
6.26 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | item no.49 | [52 empty] | 6.26 | Providing and fixing wire gauge shutters using stainless steel grade 304 wire gauge with wire of dia 0.5 mm and average width of aperture 1.4 mm in both directions for doors, windows and clerestory windows with necessary screws : | item no.49
6.27 | 35 mm thick shutters | item no.50 | [52 empty] | 6.27 | 35 mm thick shutters | item no.50
6.28 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.51 | [52 empty] | 6.28 | with ISI marked M.S. pressed butt hinges bright finished of required size | item no.51
6.29 | Second class teak wood | item no.52 | 13 | sqm | 3816.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49609 | 49609 | INR Forty Nine Thousand Six Hundred & Nine Only | 6.29 | Second class teak wood | item no.52 | 13 | sqm
7 | STEEL WORK | item no.53 | [52 empty] | 7 | STEEL WORK | item no.53
7.01 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.54 | 7 | kg | 75.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 528 | 528 | INR Five Hundred & Twenty Eight Only | 7.01 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.54 | 7 | kg
8 | FLOORING | item no.55 | [52 empty] | 8 | FLOORING | item no.55
8.01 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.56 | 10.7 | sqm | 954.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10211 | 10211 | INR Ten Thousand Two Hundred & Eleven Only | 8.01 | Providing and laying rectified Glazed Ceramic floor tiles of size 300x300 mm or more (thickness to be specified by the manufacturer), of 1st quality conforming to IS : 15622, of approved make, in colours White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement: 4 Coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.56 | 10.7 | sqm
8.02 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.57 | [52 empty] | 8.02 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.57
8.03 | Size of Tile 600x600 mm | item no.58 | 87.5 | sqm | 1315.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 115123 | 115123 | INR One Lakh Fifteen Thousand One Hundred & Twenty Three Only | 8.03 | Size of Tile 600x600 mm | item no.58 | 87.5 | sqm
8.04 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.59 | [52 empty] | 8.04 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.59
8.05 | Size of Tile 600x600 mm | item no.60 | 8.2 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11114 | 11114 | INR Eleven Thousand One Hundred & Fourteen Only | 8.05 | Size of Tile 600x600 mm | item no.60 | 8.2 | sqm
9 | FINISHING | item no.61 | [52 empty] | 9 | FINISHING | item no.61
9.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.62 | [52 empty] | 9.01 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.62
9.02 | 1:6 (1 cement: 6 coarse sand) | item no.63 | 5 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1332 | 1332 | INR One Thousand Three Hundred & Thirty Two Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | item no.63 | 5 | sqm
9.03 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.64 | [52 empty] | 9.03 | 15 mm cement plaster on rough side of single or half brick wall finished with a floating coat of neat cement of mix : | item no.64
9.04 | 1:4 (1 cement: 4 fine sand) | item no.65 | 13.2 | sqm | 323.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4274 | 4274 | INR Four Thousand Two Hundred & Seventy Four Only | 9.04 | 1:4 (1 cement: 4 fine sand) | item no.65 | 13.2 | sqm
9.05 | 6 mm cement plaster of mix : | item no.66 | [52 empty] | 9.05 | 6 mm cement plaster of mix : | item no.66
9.06 | 1:3 (1 cement : 3 fine sand) | item no.67 | 3 | sqm | 199.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 598 | 598 | INR Five Hundred & Ninety Eight Only | 9.06 | 1:3 (1 cement : 3 fine sand) | item no.67 | 3 | sqm
9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.68 | [52 empty] | 9.07 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.68
9.08 | Two or more coats on new work | item no.69 | 47 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3591 | 3591 | INR Three Thousand Five Hundred & Ninety One Only | 9.08 | Two or more coats on new work | item no.69 | 47 | sqm
9.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.70 | [52 empty] | 9.09 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.70
9.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.71 | 30 | sqm | 155.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4660 | 4660 | INR Four Thousand Six Hundred & Sixty Only | 9.1 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | item no.71 | 30 | sqm
9.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.72 | 47 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4745 | 4745 | INR Four Thousand Seven Hundred & Forty Five Only | 9.11 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.72 | 47 | sqm
9.12 | White washing with lime to give an even shade : | item no.73 | [52 empty] | 9.12 | White washing with lime to give an even shade : | item no.73
9.13 | Old work (two or more coats) | item no.74 | 97 | sqm | 14.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1424 | 1424 | INR One Thousand Four Hundred & Twenty Four Only | 9.13 | Old work (two or more coats) | item no.74 | 97 | sqm
9.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.75 | 97 | sqm | 12.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1208 | 1208 | INR One Thousand Two Hundred & Eight Only | 9.14 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | item no.75 | 97 | sqm
9.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.76 | [52 empty] | 9.15 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.76
9.16 | Old work (one or more coats) | item no.77 | 234 | sqm | 47.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11141 | 11141 | INR Eleven Thousand One Hundred & Forty One Only | 9.16 | Old work (one or more coats) | item no.77 | 234 | sqm
9.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.78 | 47 | sqm | 16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 752 | 752 | INR Seven Hundred & Fifty Two Only | 9.17 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.78 | 47 | sqm
9.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.79 | [52 empty] | 9.18 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | item no.79
9.19 | One or more coats on old work | item no.80 | 69 | sqm | 70.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4837 | 4837 | INR Four Thousand Eight Hundred & Thirty Seven Only | 9.19 | One or more coats on old work | item no.80 | 69 | sqm
10 | REPAIRS TO BUILDING | item no.81 | [52 empty] | 10 | REPAIRS TO BUILDING | item no.81
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.82 | [52 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.82
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.83 | 8.2 | sqm | 376.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3089 | 3089 | INR Three Thousand &Eighty Nine Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.83 | 8.2 | sqm
10.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.84 | 87 | sqm | 2.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 191 | 191 | INR One Hundred & Ninety One Only | 10.03 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.84 | 87 | sqm
10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.85 | 7 | each | 261.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1828 | 1828 | INR One Thousand Eight Hundred & Twenty Eight Only | 10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.85 | 7 | each
11 | SANITARY INSTALLATIONS | item no.86 | [52 empty] | 11 | SANITARY INSTALLATIONS | item no.86
11.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.87 | [52 empty] | 11.01 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | item no.87
11.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.88 | 1 | each | 4753.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4754 | 4754 | INR Four Thousand Seven Hundred & Fifty Four Only | 11.02 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | item no.88 | 1 | each
11.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.89 | [52 empty] | 11.03 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.89
11.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.90 | 1 | each | 4612.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4613 | 4613 | INR Four Thousand Six Hundred & Thirteen Only | 11.04 | W.C. pan with ISI marked white solid plastic seat and lid | item no.90 | 1 | each
11.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.91 | 2 | each | 774.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1549 | 1549 | INR One Thousand Five Hundred & Forty Nine Only | 11.05 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.91 | 2 | each
11.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.92 | 2 | each | 5360.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10721 | 10721 | INR Ten Thousand Seven Hundred & Twenty One Only | 11.06 | Providing and fixing CP Brass Single lever telephonic wall mixer of quality & make as approved by Engineer in charge. (a) 15 mm nominal dia | item no.92 | 2 | each
11.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.93 | [52 empty] | 11.07 | Providing and fixing white vitreous china wash basin including making all connections but excluding the cost of fittings : | item no.93
11.08 | Flat back wash basin of size 550x400 mm | item no.94 | 2 | each | 787.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1576 | 1576 | INR One Thousand Five Hundred & Seventy Six Only | 11.08 | Flat back wash basin of size 550x400 mm | item no.94 | 2 | each
11.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.95 | 2 | each | 1124.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2250 | 2250 | INR Two Thousand Two Hundred & Fifty Only | 11.09 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | item no.95 | 2 | each
11.1 | Providing and fixing soil, waste and vent pipes : | item no.96 | [52 empty] | 11.1 | Providing and fixing soil, waste and vent pipes : | item no.96
11.11 | 100 mm dia | item no.97 | [52 empty] | 11.11 | 100 mm dia | item no.97
11.12 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.98 | 13.6 | metre | 957.65 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13024 | 13024 | INR Thirteen Thousand &Twenty Four Only | 11.12 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | item no.98 | 13.6 | metre
11.13 | 75 mm diameter : | item no.99 | [52 empty] | 11.13 | 75 mm diameter : | item no.99
11.14 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.100 | 3.05 | metre | 869.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2653 | 2653 | INR Two Thousand Six Hundred & Fifty Three Only | 11.14 | Centrifugally cast (spun) iron socketed pipe as per IS: 3989 | item no.100 | 3.05 | metre
11.15 | Providing and fixing plain bend of required degree. | item no.101 | [52 empty] | 11.15 | Providing and fixing plain bend of required degree. | item no.101
11.16 | 100 mm dia | item no.102 | [52 empty] | 11.16 | 100 mm dia | item no.102
11.17 | Sand cast iron S&S as per IS : 3989 | item no.103 | 3 | each | 342.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1028 | 1028 | INR One Thousand &Twenty Eight Only | 11.17 | Sand cast iron S&S as per IS : 3989 | item no.103 | 3 | each
11.18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.104 | [52 empty] | 11.18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | item no.104
11.19 | 100x100x100 mm | item no.105 | [52 empty] | 11.19 | 100x100x100 mm | item no.105
11.2 | Sand cast iron S&S as per IS - 3989 | item no.106 | 2 | each | 633.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1267 | 1267 | INR One Thousand Two Hundred & Sixty Seven Only | 11.2 | Sand cast iron S&S as per IS - 3989 | item no.106 | 2 | each
11.21 | Providing and fixing terminal guard : | item no.107 | [52 empty] | 11.21 | Providing and fixing terminal guard : | item no.107
11.22 | 100 mm | item no.108 | [52 empty] | 11.22 | 100 mm | item no.108
11.23 | Sand cast iron S&S as per IS - 3989 | item no.109 | 2 | each | 341.42 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 683 | 683 | INR Six Hundred & Eighty Three Only | 11.23 | Sand cast iron S&S as per IS - 3989 | item no.109 | 2 | each
11.24 | Providing and fixing collar : | item no.110 | [52 empty] | 11.24 | Providing and fixing collar : | item no.110
11.25 | 100 mm | item no.111 | [52 empty] | 11.25 | 100 mm | item no.111
11.26 | Sand cast iron S&S as per IS - 3989 | item no.112 | 2 | each | 359 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 718 | 718 | INR Seven Hundred & Eighteen Only | 11.26 | Sand cast iron S&S as per IS - 3989 | item no.112 | 2 | each
11.27 | 75 mm | item no.113 | [52 empty] | 11.27 | 75 mm | item no.113
11.28 | Sand cast iron S&S as per IS - 3989 | item no.114 | 1 | each | 224.72 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 225 | 225 | INR Two Hundred & Twenty Five Only | 11.28 | Sand cast iron S&S as per IS - 3989 | item no.114 | 1 | each
11.29 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.115 | [52 empty] | 11.29 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.115
11.3 | 100 mm | item no.116 | 15 | each | 422.13 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6332 | 6332 | INR Six Thousand Three Hundred & Thirty Two Only | 11.3 | 100 mm | item no.116 | 15 | each
11.31 | 75 mm | item no.117 | 3 | each | 357.65 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1073 | 1073 | INR One Thousand &Seventy Three Only | 11.31 | 75 mm | item no.117 | 3 | each
11.32 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : | item no.118 | [52 empty] | 11.32 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : | item no.118
11.33 | 100 mm | item no.119 | 6 | each | 110.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 665 | 665 | INR Six Hundred & Sixty Five Only | 11.33 | 100 mm | item no.119 | 6 | each
11.34 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.120 | [52 empty] | 11.34 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.120
11.35 | 100 mm inlet and 100 mm outlet | item no.121 | [52 empty] | 11.35 | 100 mm inlet and 100 mm outlet | item no.121
11.36 | Sand cast iron S&S as per IS: 3989 | item no.122 | 1 | each | 1326.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1326 | 1326 | INR One Thousand Three Hundred & Twenty Six Only | 11.36 | Sand cast iron S&S as per IS: 3989 | item no.122 | 1 | each
11.37 | 100 mm inlet and 75 mm outlet | item no.123 | [52 empty] | 11.37 | 100 mm inlet and 75 mm outlet | item no.123
11.38 | Sand cast iron S&S as per IS - 3989 | item no.124 | 1 | each | 1384.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1385 | 1385 | INR One Thousand Three Hundred & Eighty Five Only | 11.38 | Sand cast iron S&S as per IS - 3989 | item no.124 | 1 | each
12 | WATER SUPPLY | item no.125 | [52 empty] | 12 | WATER SUPPLY | item no.125
12.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.126 | [52 empty] | 12.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.126
12.02 | 32 mm dia nominal bore | item no.127 | 1.6 | metre | 464.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 743 | 743 | INR Seven Hundred & Forty Three Only | 12.02 | 32 mm dia nominal bore | item no.127 | 1.6 | metre
12.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.128 | [52 empty] | 12.03 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.128
12.04 | 15 mm dia nominal bore | item no.129 | 17.04 | metre | 392.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6687 | 6687 | INR Six Thousand Six Hundred & Eighty Seven Only | 12.04 | 15 mm dia nominal bore | item no.129 | 17.04 | metre
12.05 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.130 | [52 empty] | 12.05 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.130
12.06 | 45 cm length | item no.131 | [52 empty] | 12.06 | 45 cm length | item no.131
12.07 | 15 mm nominal bore | item no.132 | 8 | each | 72.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 582 | 582 | INR Five Hundred & Eighty Two Only | 12.07 | 15 mm nominal bore | item no.132 | 8 | each
12.08 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.133 | [52 empty] | 12.08 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | item no.133
12.09 | 15 mm nominal bore | item no.134 | 3 | each | 367.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1102 | 1102 | INR One Thousand One Hundred & Two Only | 12.09 | 15 mm nominal bore | item no.134 | 3 | each
12.1 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.135 | [52 empty] | 12.1 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.135
12.11 | 15 mm nominal bore | item no.136 | 1 | each | 484.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 484 | 484 | INR Four Hundred & Eighty Four Only | 12.11 | 15 mm nominal bore | item no.136 | 1 | each
12.12 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.137 | [52 empty] | 12.12 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | item no.137
12.13 | 15 mm nominal bore | item no.138 | 2 | each | 531.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1063 | 1063 | INR One Thousand &Sixty Three Only | 12.13 | 15 mm nominal bore | item no.138 | 2 | each
12.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.139 | [52 empty] | 12.14 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.139
12.15 | 15mm nominal bore | item no.140 | 12 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5598 | 5598 | INR Five Thousand Five Hundred & Ninety Eight Only | 12.15 | 15mm nominal bore | item no.140 | 12 | each
12.16 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.141 | [52 empty] | 12.16 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.141
12.17 | With common burnt clay F.P.S. (non modular) bricks | item no.142 | 2 | each | 286.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 574 | 574 | INR Five Hundred & Seventy Four Only | 12.17 | With common burnt clay F.P.S. (non modular) bricks | item no.142 | 2 | each
12.18 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.143 | 10 | metre | 135.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1352 | 1352 | INR One Thousand Three Hundred & Fifty Two Only | 12.18 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.143 | 10 | metre
13 | DRAINAGE | item no.144 | [52 empty] | 13 | DRAINAGE | item no.144
13.01 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.145 | [52 empty] | 13.01 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.145
13.02 | For pipes 100 to 250 mm diameter | item no.146 | 1 | each | 546.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 547 | 547 | INR Five Hundred & Forty Seven Only | 13.02 | For pipes 100 to 250 mm diameter | item no.146 | 1 | each
14 | WATER PROOFING | item no.147 | [52 empty] | 14 | WATER PROOFING | item no.147
14.01 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | item no.148 | 13.18 | sqm | 408.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5381 | 5381 | INR Five Thousand Three Hundred & Eighty One Only | 14.01 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | item no.148 | 13.18 | sqm
15 | NEW TECHNOLOGIES AND MATERIALS | item no.149 | [52 empty] | 15 | NEW TECHNOLOGIES AND MATERIALS | item no.149
15.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.150 | [52 empty] | 15.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.150
15.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.151 | 13.05 | sqm | 340.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4445 | 4445 | INR Four Thousand Four Hundred & Forty Five Only | 15.02 | Epoxy bonding adhesive having coverage 2.20 sqm/kg of approved make | item no.151 | 13.05 | sqm
16 | MINOR CIVIL MAINTENANCE WORK: | item no.152 | [52 empty] | 16 | MINOR CIVIL MAINTENANCE WORK: | item no.152
16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.153 | 0.58 | Cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2866 | 2866 | INR Two Thousand Eight Hundred & Sixty Six Only | 16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.153 | 0.58 | Cum
16.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.154 | 2 | Each | 422.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 845 | 845 | INR Eight Hundred & Forty Five Only | 16.02 | "P/F C.P brass towel rod complete with two C.P.brass brackets fixed to wooden cleats with C.P. brass screws of approved quality size of 600 x 20 mm. | item no.154 | 2 | Each
16.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.155 | 6 | Each | 58.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 352 | 352 | INR Three Hundred & Fifty Two Only | 16.03 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. | item no.155 | 6 | Each
16.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.156 | 17 | Each | 29.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 498 | 498 | INR Four Hundred & Ninety Eight Only | 16.04 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | item no.156 | 17 | Each
16.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.157 | 2 | Each | 504.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1009 | 1009 | INR One Thousand &Nine Only | 16.05 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | item no.157 | 2 | Each
16.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | item no.158 | 2 | Each | 281.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 563 | 563 | INR Five Hundred & Sixty Three Only | 16.06 | "Providing and fixing C.P. waste 32 mm dia of make L&K for wash basin / sink. | item no.158 | 2 | Each
16.07 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | item no.159 | 2.02 | Sqm | 1945.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3930 | 3930 | INR Three Thousand Nine Hundred & Thirty Only | 16.07 | "Providing and fixing ISI marked flush door shutter non decorative type, core of block board construction with frame of first class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked M.S butt hinges with necessary screw complete. | item no.159 | 2.02 | Sqm
16.08 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.160 | 26 | sqm | 155.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4051 | 4051 | INR Four Thousand &Fifty One Only | 16.08 | Extra for providing and fixing of 8mm to 9mm thick ceramic glazed wall tiles instead of 5mm thick ceramic glazed wall tiles. | item no.160 | 26 | sqm
16.09 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.161 | 2 | Each | 2053.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4106 | 4106 | INR Four Thousand One Hundred & Six Only | 16.09 | Providing and fixing C.P basin mixer of 15 mm nominal bore (L&K) make for one piece only | item no.161 | 2 | Each
16.1 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.162 | 2 | Each | 815.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1632 | 1632 | INR One Thousand Six Hundred & Thirty Two Only | 16.1 | Providind and fixing C.P. hand spray (heath faucet) with push button control and flexible hose connection with C.P hook of L&K make or approved equivalent complete in all respects. | item no.162 | 2 | Each
16.11 | "Providing and fixing C.P waste 40 mm nominal bore for kitchen sink . " | item no.163 | 1 | each | 293.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293 | 293 | INR Two Hundred & Ninety Three Only | 16.11 | "Providing and fixing C.P waste 40 mm nominal bore for kitchen sink . " | item no.163 | 1 | each
16.12 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.164 | 1 | metre | 181.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 182 | 182 | INR One Hundred & Eighty Two Only | 16.12 | Providing and fixing aluminum door seal in door i/c necessary screw etc complete. | item no.164 | 1 | metre
16.13 | Providing and fixing of "I hook" of with ISI marked M.S. pressed butt hinges bright finished of required size. | item no.165 | 10 | each | 26.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 260 | 260 | INR Two Hundred & Sixty Only | 16.13 | Providing and fixing of "I hook" of with ISI marked M.S. pressed butt hinges bright finished of required size. | item no.165 | 10 | each
16.14 | Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. | item no.166 | 1 | One JOb | 99931.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 99932 | 99932 | INR Ninety Nine Thousand Nine Hundred & Thirty Two Only | 16.14 | Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. | item no.166 | 1 | One JOb
Total in Figures | [51 empty] | 522489 | 522489 | Five Lakh Twenty Two Thousand Four Hundred & Eighty Nine Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K175: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K170: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K155: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K172: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K177: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K178: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K166: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K169: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K173: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information