## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Installation of sink near water cooler, making shed encloser, providing one sink with all connection at out side and providing 10 nos wiremesh shutter in block A pre-Engineered building near Flight lab.
Contract No: 30/Civil/D2/2021-22/03
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | item no.1 | [52 empty] | 1 | EARTH WORK | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2 | [52 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | All kinds of soil. | item no.3 | 2.7 | cum | 221.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 597 | 597 | INR Five Hundred & Ninety Seven Only | 1.02 | All kinds of soil. | item no.3 | 2.7 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.4 | [52 empty] | 1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.4
1.04 | All kinds of soil | item no.5 | [52 empty] | 1.04 | All kinds of soil | item no.5
1.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | item no.6 | 10 | metre | 319.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3193 | 3193 | INR Three Thousand One Hundred & Ninety Three Only | 1.05 | Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | item no.6 | 10 | metre
1.06 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.7 | 2.7 | cum | 192.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 520 | 520 | INR Five Hundred & Twenty Only | 1.06 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.7 | 2.7 | cum
2 | CONCRETE WORK | item no.8 | [52 empty] | 2 | CONCRETE WORK | item no.8 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.01 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | item no.9 | [52 empty] | 2.01 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | item no.9
2.02 | 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.10 | 0.23 | cum | 7870.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1810 | 1810 | INR One Thousand Eight Hundred & Ten Only | 2.02 | 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.10 | 0.23 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand derived from natural sources): 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.11 | 2.07 | sqm | 305.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 631 | 631 | INR Six Hundred & Thirty One Only | 2.03 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand derived from natural sources): 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.11 | 2.07 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.04 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.12 | 1 | per 50kg cement | 49.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50 | 50 | INR Fifty Only | 2.04 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.12 | 1 | per 50kg cement
2.05 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.13 | 2.07 | sqm | 96.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 200 | 200 | INR Two Hundred Only | 2.05 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.13 | 2.07 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.14 | 19 | sqm | 538.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10230 | 10230 | INR Ten Thousand Two Hundred & Thirty Only | 2.06 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | item no.14 | 19 | sqm
3 | REINFORCED CEMENT CONCRETE | item no.15 | [52 empty] | 3 | REINFORCED CEMENT CONCRETE | item no.15
3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.16 | [52 empty] | 3.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.16
3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.17 | 0.13 | cum | 8159.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1061 | 1061 | INR One Thousand &Sixty One Only | 3.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.17 | 0.13 | cum
3.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.18 | [52 empty] | 3.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.18
3.04 | Shelves (Cast in situ) | item no.19 | 1.86 | sqm | 607.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1130 | 1130 | INR One Thousand One Hundred & Thirty Only | 3.04 | Shelves (Cast in situ) | item no.19 | 1.86 | sqm
3.05 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.20 | [52 empty] | 3.05 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.20
3.06 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.21 | 16 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1171 | 1171 | INR One Thousand One Hundred & Seventy One Only | 3.06 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.21 | 16 | kg
4 | MASONRY WORK | item no.22 | [52 empty] | 4 | MASONRY WORK | item no.22
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.23 | [52 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.23
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.24 | 1.82 | cum | 5398.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9826 | 9826 | INR Nine Thousand Eight Hundred & Twenty Six Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.24 | 1.82 | cum
4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.25 | [52 empty] | 4.03 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.25
4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.26 | 1.8 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11980 | 11980 | INR Eleven Thousand Nine Hundred & Eighty Only | 4.04 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.26 | 1.8 | cum
4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.27 | [52 empty] | 4.05 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.27
4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.28 | 1.2 | sqm | 817.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 981 | 981 | INR Nine Hundred & Eighty One Only | 4.06 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.28 | 1.2 | sqm
4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.29 | 34 | metre | 45.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1550 | 1550 | INR One Thousand Five Hundred & Fifty Only | 4.07 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.29 | 34 | metre
5 | CLADDING WORK | item no.30 | [52 empty] | 5 | CLADDING WORK | item no.30
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.31 | [52 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.31
5.02 | Granite of any colour and shade | item no.32 | [52 empty] | 5.02 | Granite of any colour and shade | item no.32
5.03 | Area of slab over 0.50 sqm | item no.33 | 1.57 | sqm | 3513.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5517 | 5517 | INR Five Thousand Five Hundred & Seventeen Only | 5.03 | Area of slab over 0.50 sqm | item no.33 | 1.57 | sqm
5.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.34 | 3 | each | 644.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1932 | 1932 | INR One Thousand Nine Hundred & Thirty Two Only | 5.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | item no.34 | 3 | each
5.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.35 | 7.45 | sqm | 903.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6730 | 6730 | INR Six Thousand Seven Hundred & Thirty Only | 5.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.35 | 7.45 | sqm
6 | WOOD AND PVC WORK | item no.36 | [52 empty] | 6 | WOOD AND PVC WORK | item no.36
6.01 | Providing and fixing 50 mm bright finished brass cup board or wardrobe knob of approved quality with necessary screws. | item no.37 | 10 | each | 54.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 550 | 550 | INR Five Hundred & Fifty Only | 6.01 | Providing and fixing 50 mm bright finished brass cup board or wardrobe knob of approved quality with necessary screws. | item no.37 | 10 | each
6.02 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter by with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | item no.38 | 20 | each | 12.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 259 | 259 | INR Two Hundred & Fifty Nine Only | 6.02 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter by with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | item no.38 | 20 | each
6.03 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.39 | [52 empty] | 6.03 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | item no.39
6.04 | With 12 mm mild steel U beading | item no.40 | 7.5 | sqm | 878.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6586 | 6586 | INR Six Thousand Five Hundred & Eighty Six Only | 6.04 | With 12 mm mild steel U beading | item no.40 | 7.5 | sqm
7 | STEEL WORK | item no.41 | [52 empty] | 7 | STEEL WORK | item no.41
7.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.42 | [52 empty] | 7.01 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.42
7.02 | In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | item no.43 | 61 | kg | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5009 | 5009 | INR Five Thousand &Nine Only | 7.02 | In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | item no.43 | 61 | kg
7.03 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.44 | 303 | kg | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34803 | 34803 | INR Thirty Four Thousand Eight Hundred & Three Only | 7.03 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.44 | 303 | kg
8 | FLOORING | item no.45 | [52 empty] | 8 | FLOORING | item no.45
8.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.46 | [52 empty] | 8.01 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.46
8.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.47 | 10.5 | sqm | 436.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4588 | 4588 | INR Four Thousand Five Hundred & Eighty Eight Only | 8.02 | 40 mm thick with 20 mm nominal size stone aggregate | item no.47 | 10.5 | sqm
8.03 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.48 | [52 empty] | 8.03 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.48
8.04 | 40 mm wide and 4 mm thick | item no.49 | 25.62 | metre | 65.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1688 | 1688 | INR One Thousand Six Hundred & Eighty Eight Only | 8.04 | 40 mm wide and 4 mm thick | item no.49 | 25.62 | metre
8.05 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.50 | [52 empty] | 8.05 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.50
8.06 | 25 mm thick | item no.51 | 1.32 | sqm | 1343.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1773 | 1773 | INR One Thousand Seven Hundred & Seventy Three Only | 8.06 | 25 mm thick | item no.51 | 1.32 | sqm
9 | ROOFING | item no.52 | [52 empty] | 9 | ROOFING | item no.52
9.01 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. | item no.53 | [52 empty] | 9.01 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated 'J' or 'L' hooks, bolts & nuts 8mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets and shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. | item no.53
9.02 | 2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | item no.54 | 18.4 | sqm | 960.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17669 | 17669 | INR Seventeen Thousand Six Hundred & Sixty Nine Only | 9.02 | 2 mm thick corrugated (2.5" or 4.2" or 6") or step-down (2" or 3" or 6" ) as specified | item no.54 | 18.4 | sqm
10 | FINISHING | item no.55 | [52 empty] | 10 | FINISHING | item no.55
10.01 | 12 mm cement plaster of mix : | item no.56 | [52 empty] | 10.01 | 12 mm cement plaster of mix : | item no.56
10.02 | 1:6 (1 cement: 6 coarse sand) | item no.57 | 21 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4853 | 4853 | INR Four Thousand Eight Hundred & Fifty Three Only | 10.02 | 1:6 (1 cement: 6 coarse sand) | item no.57 | 21 | sqm
10.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.58 | [52 empty] | 10.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.58
10.04 | 1:6 (1 cement: 6 coarse sand) | item no.59 | 18.5 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4930 | 4930 | INR Four Thousand Nine Hundred & Thirty Only | 10.04 | 1:6 (1 cement: 6 coarse sand) | item no.59 | 18.5 | sqm
10.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.60 | [52 empty] | 10.05 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.60
10.06 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.61 | 39.5 | sqm | 141.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5581 | 5581 | INR Five Thousand Five Hundred & Eighty One Only | 10.06 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.61 | 39.5 | sqm
10.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.62 | [52 empty] | 10.07 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.62
10.08 | Two or more coats on new work | item no.63 | 16 | sqm | 106.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1705 | 1705 | INR One Thousand Seven Hundred & Five Only | 10.08 | Two or more coats on new work | item no.63 | 16 | sqm
10.09 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.64 | [52 empty] | 10.09 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | item no.64
10.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | item no.65 | 70 | sqm | 85.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5999 | 5999 | INR Five Thousand Nine Hundred & Ninety Nine Only | 10.1 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | item no.65 | 70 | sqm
11 | DISMANTLING AND DEMOLISHING | item no.66 | [52 empty] | 11 | DISMANTLING AND DEMOLISHING | item no.66
11.01 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.67 | [52 empty] | 11.01 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | item no.67
11.02 | For thickness of tiles 10 mm to 25 mm | item no.68 | 3.18 | sqm | 48.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 153 | 153 | INR One Hundred & Fifty Three Only | 11.02 | For thickness of tiles 10 mm to 25 mm | item no.68 | 3.18 | sqm
11.03 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.69 | 11.5 | sqm | 34.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 393 | 393 | INR Three Hundred & Ninety Three Only | 11.03 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.69 | 11.5 | sqm
12 | SANITARY INSTALLATIONS | item no.70 | [52 empty] | 12 | SANITARY INSTALLATIONS | item no.70
12.01 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | item no.71 | [52 empty] | 12.01 | Providing and fixing white vitreous china laboratory sink with C.I. brackets, C.P. brass chain with rubber plug, 40 mm C.P brass waste and 40mm C.P. brass trap with necessary C.P. brass unions complete, including painting of fittings and brackets, cutting and making good the wall wherever required : | item no.71
12.02 | Size 600x450x200 mm | item no.72 | 1 | each | 4787.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4788 | 4788 | INR Four Thousand Seven Hundred & Eighty Eight Only | 12.02 | Size 600x450x200 mm | item no.72 | 1 | each
12.03 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.73 | 3 | each | 774.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2323 | 2323 | INR Two Thousand Three Hundred & Twenty Three Only | 12.03 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | item no.73 | 3 | each
12.04 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.74 | [52 empty] | 12.04 | Providing and fixing white vitreous china laboratory sink including making all connections excluding cost of fittings : | item no.74
12.05 | Size 600x450x200 mm | item no.75 | 3 | each | 3052.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9159 | 9159 | INR Nine Thousand One Hundred & Fifty Nine Only | 12.05 | Size 600x450x200 mm | item no.75 | 3 | each
12.06 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.76 | [52 empty] | 12.06 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.76
12.07 | Flexible pipe | item no.77 | [52 empty] | 12.07 | Flexible pipe | item no.77
12.08 | 32 mm dia | item no.78 | 1 | each | 88.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89 | 89 | INR Eighty Nine Only | 12.08 | 32 mm dia | item no.78 | 1 | each
12.09 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour. | item no.79 | [52 empty] | 12.09 | Providing and fixing PTMT Waste Coupling for wash basin and sink, of approved quality and colour. | item no.79
12.1 | Waste coupling 38 mm dia of 83 mm length and 77mm breadth, weighing not less than 60 gms | item no.80 | 3 | each | 103.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 312 | 312 | INR Three Hundred & Twelve Only | 12.1 | Waste coupling 38 mm dia of 83 mm length and 77mm breadth, weighing not less than 60 gms | item no.80 | 3 | each
13 | WATER SUPPLY | item no.81 | [52 empty] | 13 | WATER SUPPLY | item no.81
13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.82 | [52 empty] | 13.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | item no.82
13.02 | 15 mm dia nominal bore | item no.83 | 1 | metre | 249.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 250 | 250 | INR Two Hundred & Fifty Only | 13.02 | 15 mm dia nominal bore | item no.83 | 1 | metre
13.03 | 20 mm dia nominal bore | item no.84 | 13 | metre | 301.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3922 | 3922 | INR Three Thousand Nine Hundred & Twenty Two Only | 13.03 | 20 mm dia nominal bore | item no.84 | 13 | metre
13.04 | 40 mm dia nominal bore | item no.85 | 4.8 | metre | 560.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2692 | 2692 | INR Two Thousand Six Hundred & Ninety Two Only | 13.04 | 40 mm dia nominal bore | item no.85 | 4.8 | metre
13.05 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.86 | [52 empty] | 13.05 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.86
13.06 | 15 mm dia nominal bore | item no.87 | 4.2 | metre | 392.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1648 | 1648 | INR One Thousand Six Hundred & Forty Eight Only | 13.06 | 15 mm dia nominal bore | item no.87 | 4.2 | metre
13.07 | 20 mm dia nominal bore | item no.88 | 6.7 | metre | 433.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2903 | 2903 | INR Two Thousand Nine Hundred & Three Only | 13.07 | 20 mm dia nominal bore | item no.88 | 6.7 | metre
13.08 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.89 | [52 empty] | 13.08 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.89
13.09 | 25 to 40 mm nominal bore | item no.90 | 1 | each | 590.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 590 | 590 | INR Five Hundred & Ninety Only | 13.09 | 25 to 40 mm nominal bore | item no.90 | 1 | each
13.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.91 | [52 empty] | 13.1 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.91
13.11 | 20 mm nominal bore | item no.92 | 1 | each | 403.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 404 | 404 | INR Four Hundred & Four Only | 13.11 | 20 mm nominal bore | item no.92 | 1 | each
13.12 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.93 | [52 empty] | 13.12 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | item no.93
13.13 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.94 | 1 | each | 1387.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1388 | 1388 | INR One Thousand Three Hundred & Eighty Eight Only | 13.13 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | item no.94 | 1 | each
13.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.95 | [52 empty] | 13.14 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.95
13.15 | 15 mm nominal bore | item no.96 | 7 | each | 484.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3390 | 3390 | INR Three Thousand Three Hundred & Ninety Only | 13.15 | 15 mm nominal bore | item no.96 | 7 | each
13.16 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.97 | [52 empty] | 13.16 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.97
13.17 | 15mm nominal bore | item no.98 | 4 | each | 466.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1866 | 1866 | INR One Thousand Eight Hundred & Sixty Six Only | 13.17 | 15mm nominal bore | item no.98 | 4 | each
13.18 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.99 | 3.6 | metre | 135.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 487 | 487 | INR Four Hundred & Eighty Seven Only | 13.18 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.99 | 3.6 | metre
14 | DRAINAGE | item no.100 | [52 empty] | 14 | DRAINAGE | item no.100
14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.101 | [52 empty] | 14.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | item no.101
14.02 | 150 mm diameter | item no.102 | 10 | metre | 438.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4386 | 4386 | INR Four Thousand Three Hundred & Eighty Six Only | 14.02 | 150 mm diameter | item no.102 | 10 | metre
14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : | item no.103 | [52 empty] | 14.03 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : | item no.103
14.04 | 150 mm diameter S.W. pipe | item no.104 | 10 | metre | 551.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5518 | 5518 | INR Five Thousand Five Hundred & Eighteen Only | 14.04 | 150 mm diameter S.W. pipe | item no.104 | 10 | metre
14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.105 | [52 empty] | 14.05 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.105
14.06 | 150 x 100 mm size P type | item no.106 | [52 empty] | 14.06 | 150 x 100 mm size P type | item no.106
14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.107 | 1 | each | 2031.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2032 | 2032 | INR Two Thousand &Thirty Two Only | 14.07 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.107 | 1 | each
14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.108 | [52 empty] | 14.08 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.108
14.09 | For pipes 100 to 250 mm diameter | item no.109 | 1 | each | 546.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 547 | 547 | INR Five Hundred & Forty Seven Only | 14.09 | For pipes 100 to 250 mm diameter | item no.109 | 1 | each
15 | ALUMINIUM WORK | item no.110 | [52 empty] | 15 | ALUMINIUM WORK | item no.110
15.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.111 | [52 empty] | 15.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.111
15.02 | For fixed portion | item no.112 | [52 empty] | 15.02 | For fixed portion | item no.112
15.03 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.113 | 85 | kg | 407.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34633 | 34633 | INR Thirty Four Thousand Six Hundred & Thirty Three Only | 15.03 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.113 | 85 | kg
15.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.114 | [52 empty] | 15.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.114
15.05 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.115 | 16.2 | kg | 486.58 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7883 | 7883 | INR Seven Thousand Eight Hundred & Eighty Three Only | 15.05 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.115 | 16.2 | kg
16 | MINOR CIVIL MAINTENANCE WORK: | item no.116 | [52 empty] | 16 | MINOR CIVIL MAINTENANCE WORK: | item no.116
16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.117 | 1.51 | Cum | 4942.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7462 | 7462 | INR Seven Thousand Four Hundred & Sixty Two Only | 16.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | item no.117 | 1.51 | Cum
Total in Figures | [51 empty] | 254320 | 254320 | Two Lakh Fifty Four Thousand Three Hundred & Twenty Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information