## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Construction for creating lab space on terrace between Lab no-13 and 14 in BSBE Building.
Contract No: 39/C/D2/2021-22/02
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | CONCRETE WORK | item no.1 | [52 empty] | 1 | CONCRETE WORK | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | item no.2 | [52 empty] | 1.01 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.3 | 0.35 | cum | 7870.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2755 | 2755 | INR Two Thousand Seven Hundred & Fifty Five Only | 1.02 | 1:1½:3 (1 cement : 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.3 | 0.35 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.4 | [52 empty] | 1.03 | Centering and shuttering including strutting, propping etc. and removal of form work for : | item no.4
1.04 | Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | item no.5 | 2.65 | sqm | 534.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1416 | 1416 | INR One Thousand Four Hundred & Sixteen Only | 1.04 | Retaining walls, return walls, walls (any thickness) including attached pilasters, buttresses, plinth and string courses fillets, kerbs and steps etc. | item no.5 | 2.65 | sqm
2 | REINFORCED CEMENT CONCRETE | item no.6 | [52 empty] | 2 | REINFORCED CEMENT CONCRETE | item no.6
2.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.7 | [52 empty] | 2.01 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement | item no.7
2.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.8 | 1.4 | cum | 8159.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11423 | 11423 | INR Eleven Thousand Four Hundred & Twenty Three Only | 2.02 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.8 | 1.4 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.9 | [52 empty] | 2.03 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.9
2.04 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.10 | 8.5 | sqm | 484.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4114 | 4114 | INR Four Thousand One Hundred & Fourteen Only | 2.04 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.10 | 8.5 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | Weather shade, Chajjas, corbels etc., including edges | item no.11 | 6.8 | sqm | 672.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4572 | 4572 | INR Four Thousand Five Hundred & Seventy Two Only | 2.05 | Weather shade, Chajjas, corbels etc., including edges | item no.11 | 6.8 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.06 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). | item no.12 | [52 empty] | 2.06 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). | item no.12
2.07 | Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | item no.13 | 45 | sqm | 252.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11344 | 11344 | INR Eleven Thousand Three Hundred & Forty Four Only | 2.07 | Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | item no.13 | 45 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.14 | [52 empty] | 2.08 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.14
2.09 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.15 | 114 | kg | 73.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8346 | 8346 | INR Eight Thousand Three Hundred & Forty Six Only | 2.09 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.15 | 114 | kg
2.1 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.16 | 31 | metre | 51.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1601 | 1601 | INR One Thousand Six Hundred & One Only | 2.1 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. | item no.16 | 31 | metre
3 | MASONRY WORK | item no.17 | [52 empty] | 3 | MASONRY WORK | item no.17
3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.18 | [52 empty] | 3.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.18
3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.19 | 10 | cum | 6655.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66554 | 66554 | INR Sixty Six Thousand Five Hundred & Fifty Four Only | 3.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.19 | 10 | cum
4 | WOOD AND PVC WORK | item no.20 | [52 empty] | 4 | WOOD AND PVC WORK | item no.20
4.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.21 | [52 empty] | 4.01 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.21
4.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.22 | 8 | sqm | 1654.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13234 | 13234 | INR Thirteen Thousand Two Hundred & Thirty Four Only | 4.02 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.22 | 8 | sqm
4.03 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.23 | 8 | sqm | 351.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2816 | 2816 | INR Two Thousand Eight Hundred & Sixteen Only | 4.03 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | item no.23 | 8 | sqm
4.04 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.24 | 8 | sqm | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 657 | 657 | INR Six Hundred & Fifty Seven Only | 4.04 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.24 | 8 | sqm
4.05 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.25 | 2 | each | 879.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1760 | 1760 | INR One Thousand Seven Hundred & Sixty Only | 4.05 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.25 | 2 | each
4.06 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.26 | [52 empty] | 4.06 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.26
4.07 | 300x16 mm | item no.27 | 2 | each | 225.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 451 | 451 | INR Four Hundred & Fifty One Only | 4.07 | 300x16 mm | item no.27 | 2 | each
4.08 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.28 | [52 empty] | 4.08 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.28
4.09 | 300x10 mm | item no.29 | 4 | each | 102.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 410 | 410 | INR Four Hundred & Ten Only | 4.09 | 300x10 mm | item no.29 | 4 | each
4.1 | 150x10 mm | item no.30 | 16 | each | 65.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1052 | 1052 | INR One Thousand &Fifty Two Only | 4.1 | 150x10 mm | item no.30 | 16 | each
4.11 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.31 | [52 empty] | 4.11 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.31
4.12 | Twin rubber stopper | item no.32 | 2 | each | 54.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 109 | 109 | INR One Hundred & Nine Only | 4.12 | Twin rubber stopper | item no.32 | 2 | each
4.13 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.33 | 2 | each | 656.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1313 | 1313 | INR One Thousand Three Hundred & Thirteen Only | 4.13 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | item no.33 | 2 | each
4.14 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.34 | [52 empty] | 4.14 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | item no.34
4.15 | 1.0 mm thick | item no.35 | 16 | sqm | 629.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10068 | 10068 | INR Ten Thousand &Sixty Eight Only | 4.15 | 1.0 mm thick | item no.35 | 16 | sqm
4.16 | Providing and fixing satin stainless steel grade 304 pull handle of approved quality Make, Dorma : TGDI-D 150, Hafle:- 903.01.601, GEZE 98163089 or approved equivalent including necessary stainless steel screws and other incidental charges complete. | item no.36 | [52 empty] | 4.16 | Providing and fixing satin stainless steel grade 304 pull handle of approved quality Make, Dorma : TGDI-D 150, Hafle:- 903.01.601, GEZE 98163089 or approved equivalent including necessary stainless steel screws and other incidental charges complete. | item no.36
4.17 | 19 mm dia x 200 mm long. | item no.37 | 4 | Pair | 972.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3890 | 3890 | INR Three Thousand Eight Hundred & Ninety Only | 4.17 | 19 mm dia x 200 mm long. | item no.37 | 4 | Pair
5 | STEEL WORK | item no.38 | [52 empty] | 5 | STEEL WORK | item no.38
5.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.39 | 2000 | kg | 89.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 178420 | 178420 | INR One Lakh Seventy Eight Thousand Four Hundred & Twenty Only | 5.01 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.39 | 2000 | kg
6 | FLOORING | item no.40 | [52 empty] | 6 | FLOORING | item no.40
6.01 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.41 | [52 empty] | 6.01 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.41
6.02 | 25 mm thick | item no.42 | 1.75 | sqm | 1343.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2350 | 2350 | INR Two Thousand Three Hundred & Fifty Only | 6.02 | 25 mm thick | item no.42 | 1.75 | sqm
6.03 | Extra for pre finished nosing in treads of steps of Kota stone/ sand stone slab. | item no.43 | 9.6 | metre | 129.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1247 | 1247 | INR One Thousand Two Hundred & Forty Seven Only | 6.03 | Extra for pre finished nosing in treads of steps of Kota stone/ sand stone slab. | item no.43 | 9.6 | metre
6.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.44 | [52 empty] | 6.04 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. | item no.44
6.05 | Size of Tile 600x600 mm | item no.45 | 71 | sqm | 1315.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93414 | 93414 | INR Ninety Three Thousand Four Hundred & Fourteen Only | 6.05 | Size of Tile 600x600 mm | item no.45 | 71 | sqm
6.06 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.46 | [52 empty] | 6.06 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | item no.46
6.07 | Size of Tile 600x600 mm | item no.47 | 3.75 | sqm | 1355.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5083 | 5083 | INR Five Thousand &Eighty Three Only | 6.07 | Size of Tile 600x600 mm | item no.47 | 3.75 | sqm
7 | ROOFING | item no.48 | [52 empty] | 7 | ROOFING | item no.48
7.01 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : | item no.49 | [52 empty] | 7.01 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : | item no.49
7.02 | In 75x75 mm deep chase | item no.50 | 24 | metre | 208.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4992 | 4992 | INR Four Thousand Nine Hundred & Ninety Two Only | 7.02 | In 75x75 mm deep chase | item no.50 | 24 | metre
7.03 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.51 | [52 empty] | 7.03 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | item no.51
7.04 | 110 mm diameter | item no.52 | 37.5 | metre | 267.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10030 | 10030 | INR Ten Thousand &Thirty Only | 7.04 | 110 mm diameter | item no.52 | 37.5 | metre
7.05 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.53 | [52 empty] | 7.05 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | item no.53
7.06 | Coupler | item no.54 | [52 empty] | 7.06 | Coupler | item no.54
7.07 | 110 mm | item no.55 | 6 | each | 103.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 620 | 620 | INR Six Hundred & Twenty Only | 7.07 | 110 mm | item no.55 | 6 | each
7.08 | Shoe (Plain) | item no.56 | [52 empty] | 7.08 | Shoe (Plain) | item no.56
7.09 | 110 mm Shoe | item no.57 | 3 | each | 99.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 299 | 299 | INR Two Hundred & Ninety Nine Only | 7.09 | 110 mm Shoe | item no.57 | 3 | each
7.1 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | item no.58 | [52 empty] | 7.1 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | item no.58
7.11 | 110 mm | item no.59 | 12 | each | 253.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3039 | 3039 | INR Three Thousand &Thirty Nine Only | 7.11 | 110 mm | item no.59 | 12 | each
7.12 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.60 | [52 empty] | 7.12 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | item no.60
7.13 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.61 | 71 | sqm | 1649.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 117095 | 117095 | INR One Lakh Seventeen Thousand &Ninety Five Only | 7.13 | 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | item no.61 | 71 | sqm
8 | FINISHING | item no.62 | [52 empty] | 8 | FINISHING | item no.62
8.01 | 12 mm cement plaster of mix : | item no.63 | [52 empty] | 8.01 | 12 mm cement plaster of mix : | item no.63
8.02 | 1:6 (1 cement: 6 coarse sand) | item no.64 | 50 | sqm | 231.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11554 | 11554 | INR Eleven Thousand Five Hundred & Fifty Four Only | 8.02 | 1:6 (1 cement: 6 coarse sand) | item no.64 | 50 | sqm
8.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.65 | [52 empty] | 8.03 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.65
8.04 | 1:6 (1 cement: 6 coarse sand) | item no.66 | 150 | sqm | 266.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39969 | 39969 | INR Thirty Nine Thousand Nine Hundred & Sixty Nine Only | 8.04 | 1:6 (1 cement: 6 coarse sand) | item no.66 | 150 | sqm
8.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.67 | [52 empty] | 8.05 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.67
8.06 | Two or more coats on new work | item no.68 | 135 | sqm | 76.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10315 | 10315 | INR Ten Thousand Three Hundred & Fifteen Only | 8.06 | Two or more coats on new work | item no.68 | 135 | sqm
8.07 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.69 | [52 empty] | 8.07 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | item no.69
8.08 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.70 | 65 | sqm | 141.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9184 | 9184 | INR Nine Thousand One Hundred & Eighty Four Only | 8.08 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.70 | 65 | sqm
8.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.71 | 150 | sqm | 100.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15144 | 15144 | INR Fifteen Thousand One Hundred & Forty Four Only | 8.09 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.71 | 150 | sqm
9 | REPAIRS TO BUILDING | item no.72 | [52 empty] | 9 | REPAIRS TO BUILDING | item no.72
9.01 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.73 | 76 | sqm | 2.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 166 | 166 | INR One Hundred & Sixty Six Only | 9.01 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. | item no.73 | 76 | sqm
10 | DISMANTLING AND DEMOLISHING | item no.74 | [52 empty] | 10 | DISMANTLING AND DEMOLISHING | item no.74
10.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.75 | [52 empty] | 10.01 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.75
10.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.76 | 15.5 | cum | 1523.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23613 | 23613 | INR Twenty Three Thousand Six Hundred & Thirteen Only | 10.02 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | item no.76 | 15.5 | cum
10.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.77 | [52 empty] | 10.03 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.77
10.04 | In cement mortar | item no.78 | 1 | cum | 1288.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1289 | 1289 | INR One Thousand Two Hundred & Eighty Nine Only | 10.04 | In cement mortar | item no.78 | 1 | cum
10.05 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.79 | [52 empty] | 10.05 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.79
10.06 | Of area beyond 3 sq. metres | item no.80 | 2 | each | 123.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 247 | 247 | INR Two Hundred & Forty Seven Only | 10.06 | Of area beyond 3 sq. metres | item no.80 | 2 | each
10.07 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.81 | 80 | sqm | 166.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13348 | 13348 | INR Thirteen Thousand Three Hundred & Forty Eight Only | 10.07 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.81 | 80 | sqm
10.08 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.82 | 105 | sqm | 34.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3590 | 3590 | INR Three Thousand Five Hundred & Ninety Only | 10.08 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | item no.82 | 105 | sqm
10.09 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.83 | 20 | cum | 121.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2435 | 2435 | INR Two Thousand Four Hundred & Thirty Five Only | 10.09 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.83 | 20 | cum
11 | WATER SUPPLY | item no.84 | [52 empty] | 11 | WATER SUPPLY | item no.84
11.01 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.85 | [52 empty] | 11.01 | Cutting holes up to 30x30 cm in walls including making good the same: | item no.85
11.02 | With common burnt clay F.P.S. (non modular) bricks | item no.86 | 16 | each | 286.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4591 | 4591 | INR Four Thousand Five Hundred & Ninety One Only | 11.02 | With common burnt clay F.P.S. (non modular) bricks | item no.86 | 16 | each
11.03 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.87 | 12.5 | metre | 135.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1690 | 1690 | INR One Thousand Six Hundred & Ninety Only | 11.03 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. | item no.87 | 12.5 | metre
12 | ALUMINIUM WORK | item no.88 | [52 empty] | 12 | ALUMINIUM WORK | item no.88
12.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.89 | [52 empty] | 12.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | item no.89
12.02 | For fixed portion | item no.90 | [52 empty] | 12.02 | For fixed portion | item no.90
12.03 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.91 | 45 | kg | 407.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18335 | 18335 | INR Eighteen Thousand Three Hundred & Thirty Five Only | 12.03 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.91 | 45 | kg
12.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.92 | [52 empty] | 12.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | item no.92
12.05 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.93 | 21 | kg | 486.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10218 | 10218 | INR Ten Thousand Two Hundred & Eighteen Only | 12.05 | Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | item no.93 | 21 | kg
12.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.94 | [52 empty] | 12.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.94
12.07 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.95 | 5.75 | sqm | 1136.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6536 | 6536 | INR Six Thousand Five Hundred & Thirty Six Only | 12.07 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.95 | 5.75 | sqm
12.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | item no.96 | [52 empty] | 12.08 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer-in-charge complete. | item no.96
12.09 | 355 X 19 mm | item no.97 | 16 | each | 251.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4019 | 4019 | INR Four Thousand &Nineteen Only | 12.09 | 355 X 19 mm | item no.97 | 16 | each
12.1 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. | item no.98 | [52 empty] | 12.1 | Providing and fixing aluminium casement windows fastener of required length for aluminium windows with necessary screws etc. complete. | item no.98
12.11 | Powder coated minimum thickness 50 micron aluminium | item no.99 | 8 | each | 62.73 | 20610 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 502 | 502 | INR Five Hundred & Two Only | 12.11 | Powder coated minimum thickness 50 micron aluminium | item no.99 | 8 | each
13 | WATER PROOFING | item no.100 | [52 empty] | 13 | WATER PROOFING | item no.100
13.01 | Grading roof for water proofing treatment with | item no.101 | [52 empty] | 13.01 | Grading roof for water proofing treatment with | item no.101
13.02 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.102 | 3.8 | cum | 6071.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23072 | 23072 | INR Twenty Three Thousand &Seventy Two Only | 13.02 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | item no.102 | 3.8 | cum
14 | NEW TECHNOLOGIES AND MATERIALS | item no.103 | [52 empty] | 14 | NEW TECHNOLOGIES AND MATERIALS | item no.103
14.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.104 | [52 empty] | 14.01 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | item no.104
14.02 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.105 | 76 | sqm | 102.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7816 | 7816 | INR Seven Thousand Eight Hundred & Sixteen Only | 14.02 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | item no.105 | 76 | sqm
15 | MINOR CIVIL MAINTENANCE WORK: | item no.106 | [52 empty] | 15 | MINOR CIVIL MAINTENANCE WORK: | item no.106
15.01 | Supplying and fixing double skin insulated Roofing system comprising of Hi- Rib profiled external sheets manufactured out of 0.5mm TCT SMP coated galvalume steel ( 150 GSM Zinc aluminum alloy coating mass total of both side, AZ-150 as per as 1397 ) having 550 Mpa yield strength . The sheets shall have 1000.1020 mm cover width, 28-30mm high crests at 200-250 mm wide pan with special male / female using 3 small ribs. The inner sheets shall be 0.5mm Hi-Rib smp coated Galvalume hi- tensile steel in similar dimensions / size and fixed to the to the structure by means of corrosion protected self drilling, self tapping fasteners. The subgrits of size 50mm x 50mm x 50mm manufactured out of 1.6mm G.I. “z” shape would be fixed to inner sheeting face side at purlin location by means of Galvanized polymer coated self drilling, self tapping fasteners thru the crest. The outer sheets shall be fixed glass wool insulation of (24 kg – density) wrapped in black polythene shall be fixed in the cavity between two sheets. The sheets shall be supplied in custom lengths. | item no.107 | 82 | Sqm | 3343.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 274155 | 274155 | INR Two Lakh Seventy Four Thousand One Hundred & Fifty Five Only | 15.01 | Supplying and fixing double skin insulated Roofing system comprising of Hi- Rib profiled external sheets manufactured out of 0.5mm TCT SMP coated galvalume steel ( 150 GSM Zinc aluminum alloy coating mass total of both side, AZ-150 as per as 1397 ) having 550 Mpa yield strength . The sheets shall have 1000.1020 mm cover width, 28-30mm high crests at 200-250 mm wide pan with special male / female using 3 small ribs. The inner sheets shall be 0.5mm Hi-Rib smp coated Galvalume hi- tensile steel in similar dimensions / size and fixed to the to the structure by means of corrosion protected self drilling, self tapping fasteners. The subgrits of size 50mm x 50mm x 50mm manufactured out of 1.6mm G.I. “z” shape would be fixed to inner sheeting face side at purlin location by means of Galvanized polymer coated self drilling, self tapping fasteners thru the crest. The outer sheets shall be fixed glass wool insulation of (24 kg – density) wrapped in black polythene shall be fixed in the cavity between two sheets. The sheets shall be supplied in custom lengths. | item no.107 | 82 | Sqm
15.02 | Supplying and fixing Eave Gutter of HI-Rib profiled external sheets manufactured out of 0.50 mm TCT SMP coated Galvalume steel (150 GSM Zinc aluminum alloy coating mass total of both sides,AZ-150 as per as 1397) having 550 Mpa yield strength. This shall be fixed by means of self- drilling, self- stitching screws (12-14x20) with EPDM nylon washer etc. | item no.108 | 12 | mt | 1358.48 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16302 | 16302 | INR Sixteen Thousand Three Hundred & Two Only | 15.02 | Supplying and fixing Eave Gutter of HI-Rib profiled external sheets manufactured out of 0.50 mm TCT SMP coated Galvalume steel (150 GSM Zinc aluminum alloy coating mass total of both sides,AZ-150 as per as 1397) having 550 Mpa yield strength. This shall be fixed by means of self- drilling, self- stitching screws (12-14x20) with EPDM nylon washer etc. | item no.108 | 12 | mt
15.03 | Supplying and fixing U flashing of HI-Rib profiled external sheets manufactured out of 0.50 mm TCT SMP coated Galvalume steel (150 GSM Zinc aluminum alloy coating mass total of both sides,AZ-150 as per as 1397) having 550 Mpa yield strength. This shall be fixed by means of self- drilling, self- stitching screws (12-14x20) with EPDM nylon washer etc. | item no.109 | 30 | Sqm | 689.78 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20693 | 20693 | INR Twenty Thousand Six Hundred & Ninety Three Only | 15.03 | Supplying and fixing U flashing of HI-Rib profiled external sheets manufactured out of 0.50 mm TCT SMP coated Galvalume steel (150 GSM Zinc aluminum alloy coating mass total of both sides,AZ-150 as per as 1397) having 550 Mpa yield strength. This shall be fixed by means of self- drilling, self- stitching screws (12-14x20) with EPDM nylon washer etc. | item no.109 | 30 | Sqm
15.04 | Supplying and fixing Gutter cap of HI-Rib profiled external sheets manufactured out of 0.50 mm TCT SMP coated Galvalume steel (150 GSM Zinc aluminum alloy coating mass total of both sides,AZ-150 as per as 1397) having 550 Mpa yield strength. This shall be fixed by means of self- drilling, self- stitching screws (12-14x20) with EPDM nylon washer etc. | item no.110 | 2 | Each | 724.98 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1450 | 1450 | INR One Thousand Four Hundred & Fifty Only | 15.04 | Supplying and fixing Gutter cap of HI-Rib profiled external sheets manufactured out of 0.50 mm TCT SMP coated Galvalume steel (150 GSM Zinc aluminum alloy coating mass total of both sides,AZ-150 as per as 1397) having 550 Mpa yield strength. This shall be fixed by means of self- drilling, self- stitching screws (12-14x20) with EPDM nylon washer etc. | item no.110 | 2 | Each
15.05 | Removing layer of bitumin felt and cleaning the surface for further hacking surface dismantling incl. disposal of rubbish to the dumping ground within 50m lead. | item no.111 | 76 | Sqm | 157.82 | 37800 |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11994 | 11994 | INR Eleven Thousand Nine Hundred & Ninety Four Only | 15.05 | Removing layer of bitumin felt and cleaning the surface for further hacking surface dismantling incl. disposal of rubbish to the dumping ground within 50m lead. | item no.111 | 76 | Sqm
Total in Figures | [51 empty] | 1096701 | 1096701 | Ten Lakh Ninety Six Thousand Seven Hundred & One Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information