## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superintending Engineer, IWD, IIT, Kanpur
Name of Work: Conversion of one room loacted infront of washroom into bathroom to meet out the daily requirements at block- C, D, E & E' of hall-4
Contract No: 39/C/D3/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | EARTH WORK | [53 empty] | 1 | EARTH WORK
1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 1.01 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
1.02 | All kinds of soil. |  | 15 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3772.65 | 3772.65 | INR Three Thousand Seven Hundred & Seventy Two and Paise Sixty Five Only | 1.02 | All kinds of soil. | 15 | cum
1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | [53 empty] | 1.03 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m :
1.04 | All kinds of soil | [53 empty] | 1.04 | All kinds of soil
1.05 | Pipes, cables etc. exceeding 300 mm dia but not exceeding 600 mm |  | 80 | metre | 571.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45702.4 | 45702.4 | INR Forty Five Thousand Seven Hundred & Two and Paise Forty Only | 1.05 | Pipes, cables etc. exceeding 300 mm dia but not exceeding 600 mm | 80 | metre
2 | CEMENT CONCRETE (CAST IN SITU) | [53 empty] | 2 | CEMENT CONCRETE (CAST IN SITU)
2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 2.01 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
2.02 | 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.8 | cum | 6824.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5459.82 | 5459.82 | INR Five Thousand Four Hundred & Fifty Nine and Paise Eighty Two Only | 2.02 | 1:1½:3 (1 Cement: 1½ coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 0.8 | cum
2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. |  | 20 | sqm | 597.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11953.6 | 11953.6 | INR Eleven Thousand Nine Hundred & Fifty Three and Paise Sixty Only | 2.03 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 20 | sqm
3 | REINFORCED CEMENT CONCRETE | [53 empty] | 3 | REINFORCED CEMENT CONCRETE
3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 1.2 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11278.52 | 11278.52 | INR Eleven Thousand Two Hundred & Seventy Eight and Paise Fifty Two Only | 3.01 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 1.2 | cum
3.02 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 3.02 | Centering and shuttering including strutting, propping etc. and removal of form for
3.03 | Shelves (Cast in situ) |  | 12 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8065.44 | 8065.44 | INR Eight Thousand &Sixty Five and Paise Forty Four Only | 3.03 | Shelves (Cast in situ) | 12 | sqm
3.04 | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete work in string courses, bands, copings, bed plates, anchor blocks, plain window sills and the like, including the cost of required centering, shuttering but , excluding cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 0.59 | cum | 8481.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5004.27 | 5004.27 | INR Five Thousand &Four and Paise Twenty Seven Only | 3.04 | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete work in string courses, bands, copings, bed plates, anchor blocks, plain window sills and the like, including the cost of required centering, shuttering but , excluding cost of reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 0.59 | cum
3.05 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | [53 empty] | 3.05 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
3.06 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 200 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15722 | 15722 | INR Fifteen Thousand Seven Hundred & Twenty Two Only | 3.06 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | 200 | kg
4 | MASONRY WORK | [53 empty] | 4 | MASONRY WORK
4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 4.01 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 22 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 159880.6 | 159880.6 | INR One Lakh Fifty Nine Thousand Eight Hundred & Eighty and Paise Sixty Only | 4.02 | Cement mortar 1:6 (1 cement : 6 coarse sand) | 22 | cum
4.03 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. |  | 20 | sqm | 718.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14364.8 | 14364.8 | INR Fourteen Thousand Three Hundred & Sixty Four and Paise Eighty Only | 4.03 | Brick work 7 cm thick with common burnt clay F.P.S. (non modular) brick of class designation 7.5 in cement mortar 1:3 (1 cement : 3 coarse sand) in superstructure above plinth level and upto floor five level. | 20 | sqm
4.04 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 4.04 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
4.05 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 80 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71410.4 | 71410.4 | INR Seventy One Thousand Four Hundred & Ten and Paise Forty Only | 4.05 | Cement mortar 1:4 (1 cement :4 coarse sand) | 80 | sqm
5 | CLADDING WORK | [53 empty] | 5 | CLADDING WORK
5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | [53 empty] | 5.01 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
5.02 | Granite stone slab colour black, Cherry/Ruby red | [53 empty] | 5.02 | Granite stone slab colour black, Cherry/Ruby red
5.03 | Area of slab over 0.50 sqm |  | 10 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 38801.8 | 38801.8 | INR Thirty Eight Thousand Eight Hundred & One and Paise Eighty Only | 5.03 | Area of slab over 0.50 sqm | 10 | sqm
5.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. |  | 12 | each | 708.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8503.08 | 8503.08 | INR Eight Thousand Five Hundred & Three and Paise Eight Only | 5.04 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 12 | each
5.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 480 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 447571.2 | 447571.2 | INR Four Lakh Forty Seven Thousand Five Hundred & Seventy One and Paise Twenty Only | 5.05 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 480 | sqm
6 | WOOD AND P. V. C. WORK | [53 empty] | 6 | WOOD AND P. V. C. WORK
6.01 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 6.01 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
6.02 | 200x10 mm |  | 48 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3821.28 | 3821.28 | INR Three Thousand Eight Hundred & Twenty One and Paise Twenty Eight Only | 6.02 | 200x10 mm | 48 | each
6.03 | 100x10 mm |  | 96 | each | 51.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4936.32 | 4936.32 | INR Four Thousand Nine Hundred & Thirty Six and Paise Thirty Two Only | 6.03 | 100x10 mm | 96 | each
6.04 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 6.04 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
6.05 | 125 mm |  | 48 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2527.2 | 2527.2 | INR Two Thousand Five Hundred & Twenty Seven and Paise Twenty Only | 6.05 | 125 mm | 48 | each
6.06 | 100 mm |  | 48 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2241.12 | 2241.12 | INR Two Thousand Two Hundred & Forty One and Paise Twelve Only | 6.06 | 100 mm | 48 | each
6.07 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge | [53 empty] | 6.07 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineer- in-charge
6.08 | Extruded section profile size 48x40 mm |  | 120 | metre | 203.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24468 | 24468 | INR Twenty Four Thousand Four Hundred & Sixty Eight Only | 6.08 | Extruded section profile size 48x40 mm | 120 | metre
6.09 | Providing and fixing to existing door frames. | [53 empty] | 6.09 | Providing and fixing to existing door frames.
6.1 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). |  | 36 | sqm | 1570.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56522.16 | 56522.16 | INR Fifty Six Thousand Five Hundred & Twenty Two and Paise Sixteen Only | 6.1 | 24 mm thick factory made PVC door shutters made of styles and rails of a uPVC hollow section of size 59x24 mm and wall thickness 2 mm (± 0.2 mm) with inbuilt edging on both sides. The styles and rails mitred and joint at the corners by means of M.S. galvanised/ plastic brackets of size 75x220 mm having wall thickness 1.0 mm and stainless steel screws. The styles of the shutter reinforced by inserting galvanised M.S. tube of size 20x20 mm and 1 mm (± 0.1 mm) wall thickness. The lock rail made up of 'H' section, a uPVC hollow section of size 100x24 mm and 2 mm (± 0.2 mm) wall thickness, fixed to the shutter styles by means of plastic/galvanised M.S. 'U' cleats. The shutter frame filled with a uPVC multi-chambered single panel of size not less than 620 mm, having over all thickness of 20 mm and 1 mm (± 0.1 mm) wall thickness. The panels filled vertically and tie bar at two places by inserting horizontally 6 mm galvanised M.S. rod and fastened with nuts and washers, complete as per manufacturer's specification and direction of Engineer-in-charge. (For W.C. and bathroom door shutter). | 36 | sqm
6.11 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | [53 empty] | 6.11 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.
6.12 | With 12 mm mild steel U beading |  | 6 | sqm | 922.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5533.08 | 5533.08 | INR Five Thousand Five Hundred & Thirty Three and Paise Eight Only | 6.12 | With 12 mm mild steel U beading | 6 | sqm
7 | FLOORING | [53 empty] | 7 | FLOORING
7.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. |  | 124 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 101722.16 | 101722.16 | INR One Lakh One Thousand Seven Hundred & Twenty Two and Paise Sixteen Only | 7.01 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 124 | sqm
7.02 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. |  | 5 | sqm | 644.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3223.6 | 3223.6 | INR Three Thousand Two Hundred & Twenty Three and Paise Sixty Only | 7.02 | Deduct for not using 20 mm thick cement mortar 1:4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm. | 5 | sqm
7.03 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. |  | 5 | sqm | 555.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2777.75 | 2777.75 | INR Two Thousand Seven Hundred & Seventy Seven and Paise Seventy Five Only | 7.03 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quick-set tile adhesive (Water based) conforming to IS: 15477, in average 3mm thickness. | 5 | sqm
8 | ROOFING | [53 empty] | 8 | ROOFING
8.01 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. | [53 empty] | 8.01 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.
8.02 | GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. |  | 120 | sqm | 1531.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 183735.6 | 183735.6 | INR One Lakh Eighty Three Thousand Seven Hundred & Thirty Five and Paise Sixty Only | 8.02 | GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 120 | sqm
9 | FINISHING | [53 empty] | 9 | FINISHING
9.01 | 12 mm cement plaster of mix : | [53 empty] | 9.01 | 12 mm cement plaster of mix :
9.02 | 1:6 (1 cement: 6 coarse sand) |  | 100 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25809 | 25809 | INR Twenty Five Thousand Eight Hundred & Nine Only | 9.02 | 1:6 (1 cement: 6 coarse sand) | 100 | sqm
9.03 | 6 mm cement plaster 1:3 (1 cement : 3 fine sand) finished with a floating coat of neat cement and thick coat of Lime wash on top of walls when dry for bearing of R.C.C. slabs and beams. |  | 10 | sqm | 293.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2930.3 | 2930.3 | INR Two Thousand Nine Hundred & Thirty and Paise Thirty Only | 9.03 | 6 mm cement plaster 1:3 (1 cement : 3 fine sand) finished with a floating coat of neat cement and thick coat of Lime wash on top of walls when dry for bearing of R.C.C. slabs and beams. | 10 | sqm
9.04 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 9.04 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
9.05 | Two or more coats on new work |  | 220 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17890.4 | 17890.4 | INR Seventeen Thousand Eight Hundred & Ninety and Paise Forty Only | 9.05 | Two or more coats on new work | 220 | sqm
9.06 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 320 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34748.8 | 34748.8 | INR Thirty Four Thousand Seven Hundred & Forty Eight and Paise Eighty Only | 9.06 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 320 | sqm
9.07 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | [53 empty] | 9.07 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :
9.08 | Old work (one or more coats) |  | 100 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4980 | 4980 | INR Four Thousand Nine Hundred & Eighty Only | 9.08 | Old work (one or more coats) | 100 | sqm
9.09 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 320 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5849.6 | 5849.6 | INR Five Thousand Eight Hundred & Forty Nine and Paise Sixty Only | 9.09 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 320 | sqm
9.1 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 9.1 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
9.11 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface |  | 280 | sqm | 95.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26661.6 | 26661.6 | INR Twenty Six Thousand Six Hundred & Sixty One and Paise Sixty Only | 9.11 | Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 280 | sqm
10 | REPAIRS TO BUILDING | [53 empty] | 10 | REPAIRS TO BUILDING
10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 10.01 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 20 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8382.2 | 8382.2 | INR Eight Thousand Three Hundred & Eighty Two and Paise Twenty Only | 10.02 | With cement mortar 1:4 (1cement: 4 coarse sand) | 20 | sqm
10.03 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. |  | 150 | sqm | 249.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37483.5 | 37483.5 | INR Thirty Seven Thousand Four Hundred & Eighty Three and Paise Fifty Only | 10.03 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer- in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 150 | sqm
10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 12 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3429.6 | 3429.6 | INR Three Thousand Four Hundred & Twenty Nine and Paise Sixty Only | 10.04 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | 12 | each
10.05 | Dismantling and Demolishing | [53 empty] | 10.05 | Dismantling and Demolishing
10.06 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 10.06 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
10.07 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 1.5 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2639.76 | 2639.76 | INR Two Thousand Six Hundred & Thirty Nine and Paise Seventy Six Only | 10.07 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.5 | cum
10.08 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 4 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4347.56 | 4347.56 | INR Four Thousand Three Hundred & Forty Seven and Paise Fifty Six Only | 10.08 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | 4 | cum
10.09 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 4 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10269.52 | 10269.52 | INR Ten Thousand Two Hundred & Sixty Nine and Paise Fifty Two Only | 10.09 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 4 | cum
10.1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 10.1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
10.11 | In cement mortar |  | 20 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29784.4 | 29784.4 | INR Twenty Nine Thousand Seven Hundred & Eighty Four and Paise Forty Only | 10.11 | In cement mortar | 20 | cum
10.12 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 10.12 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
10.13 | Of area 3 sq. metres and below |  | 24 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6369.84 | 6369.84 | INR Six Thousand Three Hundred & Sixty Nine and Paise Eighty Four Only | 10.13 | Of area 3 sq. metres and below | 24 | each
10.14 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 2 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 79 | 79 | INR Seventy Nine Only | 10.14 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 2 | sqm
10.15 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 12 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2307.96 | 2307.96 | INR Two Thousand Three Hundred & Seven and Paise Ninety Six Only | 10.15 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 12 | cum
11 | SANITARY INSTALLATIONS | [53 empty] | 11 | SANITARY INSTALLATIONS
11.01 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. |  | 12 | each | 1237.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14847.72 | 14847.72 | INR Fourteen Thousand Eight Hundred & Forty Seven and Paise Seventy Two Only | 11.01 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 12 | each
11.02 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | [53 empty] | 11.02 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing :
11.03 | Rectangular shape 1500x450 mm |  | 12 | each | 1593.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19120.08 | 19120.08 | INR Nineteen Thousand One Hundred & Twenty and Paise Eight Only | 11.03 | Rectangular shape 1500x450 mm | 12 | each
11.04 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 11.04 | Providing and fixing soil, waste and vent pipes :
11.05 | 100 mm dia | [53 empty] | 11.05 | 100 mm dia
11.06 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 |  | 120 | metre | 944.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 113360.4 | 113360.4 | INR One Lakh Thirteen Thousand Three Hundred & Sixty and Paise Forty Only | 11.06 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 120 | metre
11.07 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. : | [53 empty] | 11.07 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :
11.08 | For 100 mm dia pipe |  | 32 | each | 270.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8654.4 | 8654.4 | INR Eight Thousand Six Hundred & Fifty Four and Paise Forty Only | 11.08 | For 100 mm dia pipe | 32 | each
11.09 | Providing and fixing plain bend of required degree. | [53 empty] | 11.09 | Providing and fixing plain bend of required degree.
11.1 | 100 mm dia | [53 empty] | 11.1 | 100 mm dia
11.11 | Sand cast iron S&S as per IS : 3989 |  | 20 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7711.6 | 7711.6 | INR Seven Thousand Seven Hundred & Eleven and Paise Sixty Only | 11.11 | Sand cast iron S&S as per IS : 3989 | 20 | each
11.12 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 11.12 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.
11.13 | 100x100x100 mm | [53 empty] | 11.13 | 100x100x100 mm
11.14 | Sand cast iron S&S as per IS - 1729 |  | 16 | each | 588.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9416.16 | 9416.16 | INR Nine Thousand Four Hundred & Sixteen and Paise Sixteen Only | 11.14 | Sand cast iron S&S as per IS - 1729 | 16 | each
11.15 | Sand cast iron S&S as per IS - 3989 |  | 12 | each | 641.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7695.6 | 7695.6 | INR Seven Thousand Six Hundred & Ninety Five and Paise Sixty Only | 11.15 | Sand cast iron S&S as per IS - 3989 | 12 | each
11.16 | Providing and fixing terminal guard : | [53 empty] | 11.16 | Providing and fixing terminal guard :
11.17 | 100 mm | [53 empty] | 11.17 | 100 mm
11.18 | Sand cast iron S&S as per IS - 3989 |  | 8 | each | 385.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3084.64 | 3084.64 | INR Three Thousand &Eighty Four and Paise Sixty Four Only | 11.18 | Sand cast iron S&S as per IS - 3989 | 8 | each
11.19 | Providing and fixing collar : | [53 empty] | 11.19 | Providing and fixing collar :
11.2 | 100 mm | [53 empty] | 11.2 | 100 mm
11.21 | Sand cast iron S&S as per IS - 1729 |  | 24 | each | 350.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8408.88 | 8408.88 | INR Eight Thousand Four Hundred & Eight and Paise Eighty Eight Only | 11.21 | Sand cast iron S&S as per IS - 1729 | 24 | each
11.22 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 11.22 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
11.23 | 100 mm |  | 160 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77110.4 | 77110.4 | INR Seventy Seven Thousand One Hundred & Ten and Paise Forty Only | 11.23 | 100 mm | 160 | each
11.24 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 11.24 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
11.25 | 100 mm inlet and 100 mm outlet | [53 empty] | 11.25 | 100 mm inlet and 100 mm outlet
11.26 | Sand cast iron S&S as per IS: 3989 |  | 24 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33755.76 | 33755.76 | INR Thirty Three Thousand Seven Hundred & Fifty Five and Paise Seventy Six Only | 11.26 | Sand cast iron S&S as per IS: 3989 | 24 | each
12 | WATER SUPPLY | [53 empty] | 12 | WATER SUPPLY
12.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall | [53 empty] | 12.01 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall
12.02 | 20 mm dia nominal bore |  | 72 | metre | 327.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23569.92 | 23569.92 | INR Twenty Three Thousand Five Hundred & Sixty Nine and Paise Ninety Two Only | 12.02 | 20 mm dia nominal bore | 72 | metre
12.03 | 25 mm dia nominal bore |  | 44 | metre | 430.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18950.36 | 18950.36 | INR Eighteen Thousand Nine Hundred & Fifty and Paise Thirty Six Only | 12.03 | 25 mm dia nominal bore | 44 | metre
12.04 | 32 mm dia nominal bore |  | 95 | metre | 494.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46946.15 | 46946.15 | INR Forty Six Thousand Nine Hundred & Forty Six and Paise Fifteen Only | 12.04 | 32 mm dia nominal bore | 95 | metre
12.05 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | [53 empty] | 12.05 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall :
12.06 | 15 mm dia nominal bore |  | 224 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 95296.32 | 95296.32 | INR Ninety Five Thousand Two Hundred & Ninety Six and Paise Thirty Two Only | 12.06 | 15 mm dia nominal bore | 224 | metre
12.07 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work | [53 empty] | 12.07 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work
12.08 | 25 mm dia nominal bore |  | 180 | metre | 366.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65962.8 | 65962.8 | INR Sixty Five Thousand Nine Hundred & Sixty Two and Paise Eighty Only | 12.08 | 25 mm dia nominal bore | 180 | metre
12.09 | 32 mm dia nominal bore |  | 10 | metre | 401.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4013.2 | 4013.2 | INR Four Thousand &Thirteen and Paise Twenty Only | 12.09 | 32 mm dia nominal bore | 10 | metre
12.1 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 12.1 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :
12.11 | 25 to 40 mm nominal bore |  | 12 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7965.96 | 7965.96 | INR Seven Thousand Nine Hundred & Sixty Five and Paise Ninety Six Only | 12.11 | 25 to 40 mm nominal bore | 12 | each
12.12 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | [53 empty] | 12.12 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :
12.13 | 25 mm nominal bore |  | 12 | each | 466.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5601.24 | 5601.24 | INR Five Thousand Six Hundred & One and Paise Twenty Four Only | 12.13 | 25 mm nominal bore | 12 | each
12.14 | 20 mm nominal bore |  | 12 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4858.44 | 4858.44 | INR Four Thousand Eight Hundred & Fifty Eight and Paise Forty Four Only | 12.14 | 20 mm nominal bore | 12 | each
12.15 | 32 mm nominal bore. |  | 12 | each | 517.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6206.76 | 6206.76 | INR Six Thousand Two Hundred & Six and Paise Seventy Six Only | 12.15 | 32 mm nominal bore. | 12 | each
12.16 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : | [53 empty] | 12.16 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :
12.17 | 20 mm nominal bore |  | 4 | each | 348.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1393.96 | 1393.96 | INR One Thousand Three Hundred & Ninety Three and Paise Ninety Six Only | 12.17 | 20 mm nominal bore | 4 | each
12.18 | Providing and fixing uplasticised PVC connection pipe with brass unions : | [53 empty] | 12.18 | Providing and fixing uplasticised PVC connection pipe with brass unions :
12.19 | 45 cm length | [53 empty] | 12.19 | 45 cm length
12.2 | 15 mm nominal bore |  | 12 | each | 74.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 896.4 | 896.4 | INR Eight Hundred & Ninety Six and Paise Forty Only | 12.2 | 15 mm nominal bore | 12 | each
12.21 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 12.21 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design :
12.22 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 |  | 12 | each | 1501.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18014.76 | 18014.76 | INR Eighteen Thousand &Fourteen and Paise Seventy Six Only | 12.22 | With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 12 | each
12.23 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality : | [53 empty] | 12.23 | Painting G.I. pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality :
12.24 | 25 mm diameter pipe |  | 180 | metre | 13.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2406.6 | 2406.6 | INR Two Thousand Four Hundred & Six and Paise Sixty Only | 12.24 | 25 mm diameter pipe | 180 | metre
12.25 | 32 mm diameter pipe |  | 105 | metre | 16.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1693.65 | 1693.65 | INR One Thousand Six Hundred & Ninety Three and Paise Sixty Five Only | 12.25 | 32 mm diameter pipe | 105 | metre
12.26 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work : | [53 empty] | 12.26 | Providing and filling sand of grading zone V or coarser grade, allround the G.I. pipes in external work :
12.27 | 25 mm diameter pipe |  | 180 | metre | 143.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25898.4 | 25898.4 | INR Twenty Five Thousand Eight Hundred & Ninety Eight and Paise Forty Only | 12.27 | 25 mm diameter pipe | 180 | metre
12.28 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | [53 empty] | 12.28 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :
12.29 | 15 mm nominal bore |  | 12 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2759.88 | 2759.88 | INR Two Thousand Seven Hundred & Fifty Nine and Paise Eighty Eight Only | 12.29 | 15 mm nominal bore | 12 | each
12.3 | 20 mm nominal bore |  | 24 | each | 253.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6082.56 | 6082.56 | INR Six Thousand &Eighty Two and Paise Fifty Six Only | 12.3 | 20 mm nominal bore | 24 | each
12.31 | 25 mm nominal bore |  | 24 | each | 323.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7772.4 | 7772.4 | INR Seven Thousand Seven Hundred & Seventy Two and Paise Forty Only | 12.31 | 25 mm nominal bore | 24 | each
12.32 | 32 mm nominal bore |  | 16 | each | 359.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5744.16 | 5744.16 | INR Five Thousand Seven Hundred & Forty Four and Paise Sixteen Only | 12.32 | 32 mm nominal bore | 16 | each
12.33 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. |  | 3000 | per litre | 8.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25530 | 25530 | INR Twenty Five Thousand Five Hundred & Thirty Only | 12.33 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 3000 | per litre
12.34 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 12.34 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :
12.35 | 15 mm nominal bore |  | 12 | each | 380.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4568.52 | 4568.52 | INR Four Thousand Five Hundred & Sixty Eight and Paise Fifty Two Only | 12.35 | 15 mm nominal bore | 12 | each
12.36 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 12.36 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
12.37 | 15 mm nominal bore |  | 24 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14907.12 | 14907.12 | INR Fourteen Thousand Nine Hundred & Seven and Paise Twelve Only | 12.37 | 15 mm nominal bore | 24 | each
12.38 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | [53 empty] | 12.38 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.
12.39 | 15 mm nominal bore |  | 24 | each | 521.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12515.52 | 12515.52 | INR Twelve Thousand Five Hundred & Fifteen and Paise Fifty Two Only | 12.39 | 15 mm nominal bore | 24 | each
12.4 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | [53 empty] | 12.4 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931
12.41 | 15mm nominal bore |  | 48 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21058.08 | 21058.08 | INR Twenty One Thousand &Fifty Eight and Paise Eight Only | 12.41 | 15mm nominal bore | 48 | each
12.42 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. |  | 96 | each | 54.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5193.6 | 5193.6 | INR Five Thousand One Hundred & Ninety Three and Paise Sixty Only | 12.42 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 96 | each
12.43 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. |  | 16 | each | 330.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5290.24 | 5290.24 | INR Five Thousand Two Hundred & Ninety and Paise Twenty Four Only | 12.43 | Cutting holes up to 15x15 cm in R.C.C. floors and roofs for passing drain pipe etc. and repairing the hole after insertion of drain pipe etc. with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete so as to make it leak proof. | 16 | each
13 | DRAINAGE | [53 empty] | 13 | DRAINAGE
13.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : | [53 empty] | 13.01 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :
13.02 | 100 mm diameter |  | 24 | metre | 329.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7907.04 | 7907.04 | INR Seven Thousand Nine Hundred & Seven and Paise Four Only | 13.02 | 100 mm diameter | 24 | metre
13.03 | 150 mm diameter |  | 24 | metre | 518.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12444.96 | 12444.96 | INR Twelve Thousand Four Hundred & Forty Four and Paise Ninety Six Only | 13.03 | 150 mm diameter | 24 | metre
13.04 | 200 mm diameter |  | 60 | metre | 728.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 43686 | 43686 | INR Forty Three Thousand Six Hundred & Eighty Six Only | 13.04 | 200 mm diameter | 60 | metre
13.05 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : | [53 empty] | 13.05 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :
13.06 | 100 mm diameter S.W. pipe |  | 24 | metre | 785.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18844.32 | 18844.32 | INR Eighteen Thousand Eight Hundred & Forty Four and Paise Thirty Two Only | 13.06 | 100 mm diameter S.W. pipe | 24 | metre
13.07 | 200 mm diameter S.W. pipe |  | 60 | metre | 1119.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 67165.2 | 67165.2 | INR Sixty Seven Thousand One Hundred & Sixty Five and Paise Twenty Only | 13.07 | 200 mm diameter S.W. pipe | 60 | metre
13.08 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | [53 empty] | 13.08 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design:
13.09 | 150 x 100 mm size P type | [53 empty] | 13.09 | 150 x 100 mm size P type
13.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 12 | each | 2169.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26034.84 | 26034.84 | INR Twenty Six Thousand &Thirty Four and Paise Eighty Four Only | 13.1 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 12 | each
13.11 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | [53 empty] | 13.11 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :
13.12 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | [53 empty] | 13.12 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) :
13.13 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 12 | each | 10247.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 122968.2 | 122968.2 | INR One Lakh Twenty Two Thousand Nine Hundred & Sixty Eight and Paise Twenty Only | 13.13 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 12 | each
13.14 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 13.14 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete :
13.15 | For pipes 100 to 250 mm diameter |  | 4 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2397.88 | 2397.88 | INR Two Thousand Three Hundred & Ninety Seven and Paise Eighty Eight Only | 13.15 | For pipes 100 to 250 mm diameter | 4 | each
14 | ALUMINIUM WORK | [53 empty] | 14 | ALUMINIUM WORK
14.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | [53 empty] | 14.01 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
14.02 | For fixed portion | [53 empty] | 14.02 | For fixed portion
14.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) |  | 120 | kg | 380.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45658.8 | 45658.8 | INR Forty Five Thousand Six Hundred & Fifty Eight and Paise Eighty Only | 14.03 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 120 | kg
14.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | [53 empty] | 14.04 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
14.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) |  | 120 | kg | 466.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55954.8 | 55954.8 | INR Fifty Five Thousand Nine Hundred & Fifty Four and Paise Eighty Only | 14.05 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 120 | kg
14.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | [53 empty] | 14.06 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
14.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) |  | 6 | sqm | 894.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5365.02 | 5365.02 | INR Five Thousand Three Hundred & Sixty Five and Paise Two Only | 14.07 | With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 6 | sqm
14.08 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 14.08 | NEW TECHNOLOGIES AND MATERIALS
14.09 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 14.09 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
14.1 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer |  | 12 | sqm | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1238.88 | 1238.88 | INR One Thousand Two Hundred & Thirty Eight and Paise Eighty Eight Only | 14.1 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer | 12 | sqm
14.11 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge. | [53 empty] | 14.11 | Providing, mixing and applying SBR polymer (of approved make) modified Cement mortar in proportion of 1:4 (1 cement: 4 graded coarse sand with polymer minimum 2% by wt. of cement used) as per specifications and directions of Engineer-in-charge.
14.12 | 25 mm average thickness in 2 layers. |  | 12 | sqm | 447.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5371.32 | 5371.32 | INR Five Thousand Three Hundred & Seventy One and Paise Thirty Two Only | 14.12 | 25 mm average thickness in 2 layers. | 12 | sqm
14.13 | Providing, erecting, maintaining and removing temporary protective screens made out of specified fabric with all necessary fixing arrangement to ensure that it remains in position for the work duration as required by the Engineer-in-charge. | [53 empty] | 14.13 | Providing, erecting, maintaining and removing temporary protective screens made out of specified fabric with all necessary fixing arrangement to ensure that it remains in position for the work duration as required by the Engineer-in-charge.
14.14 | Wooven PVC cloth |  | 100 | sqm | 40.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4007 | 4007 | INR Four Thousand &Seven Only | 14.14 | Wooven PVC cloth | 100 | sqm
15 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 15 | MINOR CIVIL MAINTENANCE WORK:
15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 5 | Cum | 4985.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24929.65 | 24929.65 | INR Twenty Four Thousand Nine Hundred & Twenty Nine and Paise Sixty Five Only | 15.01 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) | 5 | Cum
15.02 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 96 | Each | 29.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2815.68 | 2815.68 | INR Two Thousand Eight Hundred & Fifteen and Paise Sixty Eight Only | 15.02 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. | 96 | Each
15.03 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. |  | 12 | Each | 586.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7038.72 | 7038.72 | INR Seven Thousand &Thirty Eight and Paise Seventy Two Only | 15.03 | "Providing and fixing C.P Brass shower rose 15 mm or 20 mm inlet with shower arm (a) 75 mm dia fancy type. | 12 | Each
15.04 | "Providing and fixing white vitreous china oval type wash basin of size 550 x 480 with 15mm C.P brass pillar tap, 32mm C.P brass waste of standard pattern. |  | 12 | Each | 4461.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53536.2 | 53536.2 | INR Fifty Three Thousand Five Hundred & Thirty Six and Paise Twenty Only | 15.04 | "Providing and fixing white vitreous china oval type wash basin of size 550 x 480 with 15mm C.P brass pillar tap, 32mm C.P brass waste of standard pattern. | 12 | Each
15.05 | Providing and fixing white vitreous china extended wall mounting water closet/wall hung seat of size 780x370x690 mm of approved shape including providing & fixing flush valve with dual flush including seat cover, fittings, nuts, bolts and gasket etc complete. |  | 12 | each | 13356.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 160273.92 | 160273.92 | INR One Lakh Sixty Thousand Two Hundred & Seventy Three and Paise Ninety Two Only | 15.05 | Providing and fixing white vitreous china extended wall mounting water closet/wall hung seat of size 780x370x690 mm of approved shape including providing & fixing flush valve with dual flush including seat cover, fittings, nuts, bolts and gasket etc complete. | 12 | each
Total in Figures | [51 empty] | 2874862.96 | 2874862.96 | INR Twenty Eight Lakh Seventy Four Thousand Eight Hundred & Sixty Two and Paise Ninety Six Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K137: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K139: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K141: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K142: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K144: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K146: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K147: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K149: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K150: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K152: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K154: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K156: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K158: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K159: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K160: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K163: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K164: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K167: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K168: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K171: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K174: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K176: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K180: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K182: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K184: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K187: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K191: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K193: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K194: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K195: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K196: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K197: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K189: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information