## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer
Name of Work: Providing power points and chemical earthing with other associated work at Low temperature extension First floor.
Contract No: 109 /IWD/ED/851 Dated: 21.03.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item1 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | 2 x 1.5 sq. mm | item2 | 40 | Metre | 35.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1438 | 1438 | INR One Thousand Four Hundred & Thirty Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | 3 x 1.5 sq. mm | item3 | 15 | Metre | 47.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 710.25 | 710.25 | INR Seven Hundred & Ten and Paise Twenty Five Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.3 | 3 x 4 sq. mm | item4 | 136 | Metre | 102.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13952.24 | 13952.24 | INR Thirteen Thousand Nine Hundred & Fifty Two and Paise Twenty Four Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.4 | 3 x 16 sq.mm. | item5 | 22 | Meter | 596.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13117.06 | 13117.06 | INR Thirteen Thousand One Hundred & Seventeen and Paise Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item6 | 12 | Meter | 184.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2209.56 | 2209.56 | INR Two Thousand Two Hundred & Nine and Paise Fifty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item7 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.1 | End cap | item8 | 4 | Nos | 121.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 487.52 | 487.52 | INR Four Hundred & Eighty Seven and Paise Fifty Two Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partion etc. as required complete. | item9 | 28 | Meter | 798.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22365.56 | 22365.56 | INR Twenty Two Thousand Three Hundred & Sixty Five and Paise Fifty Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item10 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.1 | 85 mm flexible cover | item11 | 25 | Meter | 352.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8812 | 8812 | INR Eight Thousand Eight Hundred & Twelve Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.2 | End cap | item12 | 4 | Nos | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 634.8 | 634.8 | INR Six Hundred & Thirty Four and Paise Eighty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.3 | Internal angles- adjustable from 80°-100° | item13 | 10 | Nos | 435.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4357.7 | 4357.7 | INR Four Thousand Three Hundred & Fifty Seven and Paise Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.4 | external angles- adjustable from 60°-120° | item14 | 9 | Nos | 446.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4016.7 | 4016.7 | INR Four Thousand &Sixteen and Paise Seventy Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.5 | flat junction | item15 | 2 | Nos | 752.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1504.6 | 1504.6 | INR One Thousand Five Hundred & Four and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.6 | flat angles | item16 | 2 | Nos | 611.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1222.26 | 1222.26 | INR One Thousand Two Hundred & Twenty Two and Paise Twenty Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.7 | separation partitions | item17 | 15 | Meter | 211.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3169.65 | 3169.65 | INR Three Thousand One Hundred & Sixty Nine and Paise Sixty Five Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.8 | Joints for 85mm width cover | item18 | 10 | Nos | 181.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1815 | 1815 | INR One Thousand Eight Hundred & Fifteen Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.9 | base joints | item19 | 20 | Nos | 74.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1490.6 | 1490.6 | INR One Thousand Four Hundred & Ninety and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/lsolator) | item20 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.1 | 12 way, Double door | item21 | 1 | No | 1800.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1800.09 | 1800.09 | INR One Thousand Eight Hundred and Paise Nine Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item22 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.1 | Single pole 5 A to 32 A | item23 | 12 | No | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2093.76 | 2093.76 | INR Two Thousand &Ninety Three and Paise Seventy Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.2 | Double Pole (40A-63A) | item24 | 3 | Nos | 1277.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3832.53 | 3832.53 | INR Three Thousand Eight Hundred & Thirty Two and Paise Fifty Three Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. | item25 | 2 | Nos | 733.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1467.78 | 1467.78 | INR One Thousand Four Hundred & Sixty Seven and Paise Seventy Eight Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | S&F, Copper tube / reducer/ lug terminals suitable for following size of conductor. | item26 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9.1 | 6 /10/16 Sq.mm. | item27 | 18 | Nos | 26.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 473.4 | 473.4 | INR Four Hundred & Seventy Three and Paise Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10 | Supply and fixing of following LED light fixture with efficiency >100 lumen/ watt, P.F. >0.95, THD<10%, Electronic driver, LED lamp, reflector, diffusser, MS body/housing holder etc. complete with all fixing accessories and lamp as required complete. | item28 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10.1 | 2 X 20W Box type LED tube with fitting | item29 | 4 | Nos | 1133.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4534.84 | 4534.84 | INR Four Thousand Five Hundred & Thirty Four and Paise Eighty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Supplying and fixing following modular switch/ socket on the existing Clip-on frame of plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item30 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11.1 | 5/6 A switch | item31 | 4 | No | 215.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 862.76 | 862.76 | INR Eight Hundred & Sixty Two and Paise Seventy Six Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.2 | 15/20 A switch | item32 | 34 | No | 373.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12699.68 | 12699.68 | INR Twelve Thousand Six Hundred & Ninety Nine and Paise Sixty Eight Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.3 | 6 pin 15/20 A socket outlet | item33 | 34 | No | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16247.24 | 16247.24 | INR Sixteen Thousand Two Hundred & Forty Seven and Paise Twenty Four Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | item34 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12.1 | 4 Module | item35 | 1 | No | 121 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 121 | 121 | INR One Hundred & Twenty One Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | item36 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13.1 | 4 Module | item37 | 1 | Nos | 296.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 296.36 | 296.36 | INR Two Hundred & Ninety Six and Paise Thirty Six Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | item38 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.1 | 6 module | item39 | 17 | Nos | 326.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5544.72 | 5544.72 | INR Five Thousand Five Hundred & Forty Four and Paise Seventy Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | item40 | 2 | No | 1080.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2160.4 | 2160.4 | INR Two Thousand One Hundred & Sixty and Paise Forty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Chemical Earthing with GI earth electrode 50mm dia x 3 mtr length including earth enhancing compound (Jam Fill quality product) and PIT cover for earthing pit etc as reqd. | item41 | 2 | No | 8355.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16711.96 | 16711.96 | INR Sixteen Thousand Seven Hundred & Eleven and Paise Ninety Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Dismantling, disconnecting old damaged unserviceable fl fitting/ exhaust fan/ ceiling fan/ bulkhead fitting with bracket etc. as reqd. and depositing in sectional store. | item42 | 8 | No | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 666.4 | 666.4 | INR Six Hundred & Sixty Six and Paise Forty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | item43 | 30 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5418.6 | 5418.6 | INR Five Thousand Four Hundred & Eighteen and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 156235.02 | 156235.02 | INR One Lakh Fifty Six Thousand Two Hundred & Thirty Five and Paise Two Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information