## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Executive Engineer (Elect.)
Name of Work: Laying of Uplink wire from fiber rack to UTP rack as requested by computer centre at New IME, Old Core Lab and NWTF building IIT Kanpur.
Contract No: 87 /Elect/2021-22/787 Dated: 23.02.2022
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required. | item1 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | 180 mm X 100 mm X 60 mm deep | item2 | 6 | Each. | 160.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 962.76 | 962.76 | INR Nine Hundred & Sixty Two and Paise Seventy Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Fixing internet rack on steel fashtner including cartage from store to site as reqd complete. | item3 | 3 | Each. | 217.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 652.35 | 652.35 | INR Six Hundred & Fifty Two and Paise Thirty Five Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Providing and fixing DLP plastic trunking of size 105 mm x 50 mm and accessories on surface as reqd. | item4 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.1 | DLP Trunking | item5 | 400 | Mtr. | 877.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 351076 | 351076 | INR Three Lakh Fifty One Thousand &Seventy Six Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.2 | Flexible cover 85 mm | item6 | 400 | Mtr. | 386.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 154668 | 154668 | INR One Lakh Fifty Four Thousand Six Hundred & Sixty Eight Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.3 | End cap | item7 | 20 | Each. | 174.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3489.6 | 3489.6 | INR Three Thousand Four Hundred & Eighty Nine and Paise Sixty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.4 | Internal angle. | item8 | 30 | Each. | 476.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14309.4 | 14309.4 | INR Fourteen Thousand Three Hundred & Nine and Paise Forty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.5 | External angle | item9 | 30 | Each. | 487.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14625.3 | 14625.3 | INR Fourteen Thousand Six Hundred & Twenty Five and Paise Thirty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.6 | Flat angle | item10 | 30 | Each. | 672.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20175.3 | 20175.3 | INR Twenty Thousand One Hundred & Seventy Five and Paise Thirty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.7 | cover joint | item11 | 40 | Each. | 198.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7926.8 | 7926.8 | INR Seven Thousand Nine Hundred & Twenty Six and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.8 | Base joint | item12 | 40 | Each. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3191.6 | 3191.6 | INR Three Thousand One Hundred & Ninety One and Paise Sixty Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supplying, installation DLP mini- trunking 32mm x 20mm and accessories white-system with independent cover- without central partion etc. as reqd. | item13 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.1 | Mini- trunking | item14 | 250 | Mtr. | 200.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50195 | 50195 | INR Fifty Thousand One Hundred & Ninety Five Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.2 | End cap left or right | item15 | 20 | Each. | 134.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2683.8 | 2683.8 | INR Two Thousand Six Hundred & Eighty Three and Paise Eighty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.3 | Internal/ external angle | item16 | 20 | Each. | 128.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2577.8 | 2577.8 | INR Two Thousand Five Hundred & Seventy Seven and Paise Eighty Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.4 | Flat angle | item17 | 20 | Each. | 109.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2192 | 2192 | INR Two Thousand One Hundred & Ninety Two Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.5 | Flat junction | item18 | 20 | Each. | 127.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2542.8 | 2542.8 | INR Two Thousand Five Hundred & Forty Two and Paise Eighty Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe/hdpe pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) | item19 | 1186 | Mtr. | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19758.76 | 19758.76 | INR Nineteen Thousand Seven Hundred & Fifty Eight and Paise Seventy Six Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 651027.27 | 651027.27 | INR Six Lakh Fifty One Thousand &Twenty Seven and Paise Twenty Seven Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information