## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT, Kanpur
Name of Work: SITC of Air conditioning work at advance Imaging lab (Cryo Lab)
NIT No: HVAC/03/06/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | PRECISION PACKAGED UNITS | item no.1 | [52 empty] | 1.01 | PRECISION PACKAGED UNITS | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Design and Supply, Installation , Testing and Commissioning of air cooled precision type packaged air conditioning units, self contained, Top discharge type complete with Invertor scroll compressors, fan section with dynamically balanced backward curved plug fan with EC motor, multirows deep cooling coil of copper tubes & aluminum fins, thermostatic expansion valve, remote air-cooled condenser/s with copper tubes & aluminum fins. Enclosure shall be fabricated out of 1.6mm thick MS sheets supported on a fabricated steel structure. The unit shall be equipped with synthetic fiber filters, insulated drain pan, micro-processor based programmable logic controller, humidifier, heater bank in at least 2 stages, thermostat all complete in a unit as per the specifications. | item no.2 | [52 empty] | 1.02 | Design and Supply, Installation , Testing and Commissioning of air cooled precision type packaged air conditioning units, self contained, Top discharge type complete with Invertor scroll compressors, fan section with dynamically balanced backward curved plug fan with EC motor, multirows deep cooling coil of copper tubes & aluminum fins, thermostatic expansion valve, remote air-cooled condenser/s with copper tubes & aluminum fins. Enclosure shall be fabricated out of 1.6mm thick MS sheets supported on a fabricated steel structure. The unit shall be equipped with synthetic fiber filters, insulated drain pan, micro-processor based programmable logic controller, humidifier, heater bank in at least 2 stages, thermostat all complete in a unit as per the specifications. | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | The enclosure shall be factory painted to a smooth finish. The precision units shall also be complete with electrical panel comprising of indication lights, Star-delta/DOL starter, over load protection, necessary relay to be hooked up with fire & smoke detection system to facilitate auto trip of PAC and copper control wiring. The packaged units shall be complete with auto sequencing arrangement as required and shipped out of factory with full refrigerant charge. Each unit shall be BMS compatible. | item no.3 | [52 empty] | 1.03 | The enclosure shall be factory painted to a smooth finish. The precision units shall also be complete with electrical panel comprising of indication lights, Star-delta/DOL starter, over load protection, necessary relay to be hooked up with fire & smoke detection system to facilitate auto trip of PAC and copper control wiring. The packaged units shall be complete with auto sequencing arrangement as required and shipped out of factory with full refrigerant charge. Each unit shall be BMS compatible. | item no.3 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | The PAC units shall be suitable for operation on 415 ±10% volts, 50 Hz three phase AC power supply. Fan outlet velocity shall not exceed 600 MPM. Quoted price shall be inclusive of MS base frame duly painted with black enamel paint for mounting of remote air cooled condensers and adjustable type MS frame duly painted for indoor units. | item no.4 | [52 empty] | 1.04 | The PAC units shall be suitable for operation on 415 ±10% volts, 50 Hz three phase AC power supply. Fan outlet velocity shall not exceed 600 MPM. Quoted price shall be inclusive of MS base frame duly painted with black enamel paint for mounting of remote air cooled condensers and adjustable type MS frame duly painted for indoor units. | item no.4
1.05 | Precision packaged units for Krios lab as described above, to suit following duty conditions and as per specification. Actual Tons of refrigeration : 12 TR Air quantity : 7000 Cfm Year round Temperature : 21 + /- 0.4C Relative Humidity : 50 + /- 5% C (during monsoon) Noise level less then 48 dB | item no.5 | 2 | Nos | 1265250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2530500 | 2530500 | INR Twenty Five Lakh Thirty Thousand Five Hundred Only | 1.05 | Precision packaged units for Krios lab as described above, to suit following duty conditions and as per specification. Actual Tons of refrigeration : 12 TR Air quantity : 7000 Cfm Year round Temperature : 21 + /- 0.4C Relative Humidity : 50 + /- 5% C (during monsoon) Noise level less then 48 dB | item no.5 | 2 | Nos
1.06 | REFRIGERANT PIPING | item no.6 | [52 empty] | 1.06 | REFRIGERANT PIPING | item no.6
1.07 | Supply, Installation, Testing and Commissioning of hard drawn copper refrigerant piping complete with fittings between indoor units and remote condensers. Refrigerant piping within the Physical Labs and above celling shall be insulated with closed cell elastomeric insulation in tubing form. Quoted price shall be inclusive of power cabling as required between indoor and outdoor unit. Piping shall be supported properly in a neat & clean manner using GI slotted angle trays. | item no.7 | [52 empty] | 1.07 | Supply, Installation, Testing and Commissioning of hard drawn copper refrigerant piping complete with fittings between indoor units and remote condensers. Refrigerant piping within the Physical Labs and above celling shall be insulated with closed cell elastomeric insulation in tubing form. Quoted price shall be inclusive of power cabling as required between indoor and outdoor unit. Piping shall be supported properly in a neat & clean manner using GI slotted angle trays. | item no.7
1.08 | Pair of hard drawn copper refrigerant piping not less than 16 gauge thick for 2 x 12 TR Precision Packaged Units. | item no.8 | 40 | RM | 7000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 280000 | 280000 | INR Two Lakh Eighty Thousand Only | 1.08 | Pair of hard drawn copper refrigerant piping not less than 16 gauge thick for 2 x 12 TR Precision Packaged Units. | item no.8 | 40 | RM | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | VRF OUTDOOR UNITS | item no.9 | [52 empty] | 1.09 | VRF OUTDOOR UNITS | item no.9
1.1 | Supply, Installation, Testing and Commissioning of air cooled variable refrigerant flow modular type condensing units, each comprising of multiple scroll compressors all inverter driven, full charge of refrigerant gas (R-410a), lubricating oil and all accessories as per the specifications. The condensing units shall be suitable to work on heating/ cooling mode. The minimum Energy Efficiency Ratio shall be as per ASHRAE STANDARDS 90.1 -2001 table 6.2.1B. The COP of the system shall be greater than 3.75 under ARI conditions for 100% load. The condensing units shall be suitable for operation on 415 ± 10% volts, 50Hz, 3 phase AC power supply and the condensing units shall be of following capacities: | item no.10 | [52 empty] | 1.1 | Supply, Installation, Testing and Commissioning of air cooled variable refrigerant flow modular type condensing units, each comprising of multiple scroll compressors all inverter driven, full charge of refrigerant gas (R-410a), lubricating oil and all accessories as per the specifications. The condensing units shall be suitable to work on heating/ cooling mode. The minimum Energy Efficiency Ratio shall be as per ASHRAE STANDARDS 90.1 -2001 table 6.2.1B. The COP of the system shall be greater than 3.75 under ARI conditions for 100% load. The condensing units shall be suitable for operation on 415 ± 10% volts, 50Hz, 3 phase AC power supply and the condensing units shall be of following capacities: | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | 20 HP (16 TR) nominal or higher capacity | item no.11 | 1 | Nos | 293125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 293125 | 293125 | INR Two Lakh Ninety Three Thousand One Hundred & Twenty Five Only | 1.11 | 20 HP (16 TR) nominal or higher capacity | item no.11 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | Notes : The above mentioned outdoor units shall be provided with anti corrosion treatment (preferably from factory). The quoted price shall be inclusive of same. | item no.12 | [52 empty] | 1.12 | Notes : The above mentioned outdoor units shall be provided with anti corrosion treatment (preferably from factory). The quoted price shall be inclusive of same. | item no.12 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.13 | VRF INDOOR UNITS | item no.13 | [52 empty] | 1.13 | VRF INDOOR UNITS | item no.13
1.14 | VERTICAL FLOOR MOUNTED AHU | item no.14 | [52 empty] | 1.14 | VERTICAL FLOOR MOUNTED AHU | item no.14
1.15 | Supply, Installation, Testing & Commissioning of sheet metal sectionalized construction double skin air handling units with 25 mm thick injected PUF of density not less than 40 Kg/CuM with thermal break profile. The air handling units shall be complete with pre-filter section with synthetic fibre filters, coil section with multirows deep DX heating/ cooling coil of copper tube & aluminum fin construction, fan section complete with DIDW centrifugal fan, suitable for total static pressure as detailed below, IE-02 squirrel cage induction motor, belt drive package, insulated stainless steel drain pan and vibration isolation arrangement all complete as per specifications. AHUs shall be selected for a maximum face velocity of 500 FPM. The units shall be compatible with VRF outdoor units. | item no.15 | [52 empty] | 1.15 | Supply, Installation, Testing & Commissioning of sheet metal sectionalized construction double skin air handling units with 25 mm thick injected PUF of density not less than 40 Kg/CuM with thermal break profile. The air handling units shall be complete with pre-filter section with synthetic fibre filters, coil section with multirows deep DX heating/ cooling coil of copper tube & aluminum fin construction, fan section complete with DIDW centrifugal fan, suitable for total static pressure as detailed below, IE-02 squirrel cage induction motor, belt drive package, insulated stainless steel drain pan and vibration isolation arrangement all complete as per specifications. AHUs shall be selected for a maximum face velocity of 500 FPM. The units shall be compatible with VRF outdoor units. | item no.15
1.16 | The unit shall be supplied with electronic expansion valve/s (Dx), thermostat/s, control wiring & all accessories as required for completing the installation. Fan outlet velocity shall not exceed 2000 FPM (10.2 MPS). AHUs shall be of following design parameters: | item no.16 | [52 empty] | 1.16 | The unit shall be supplied with electronic expansion valve/s (Dx), thermostat/s, control wiring & all accessories as required for completing the installation. Fan outlet velocity shall not exceed 2000 FPM (10.2 MPS). AHUs shall be of following design parameters: | item no.16
1.17 | AHU Ref. Load Capacity SP No. of Motor | item no.17 | [52 empty] | 1.17 | AHU Ref. Load Capacity SP No. of Motor | item no.17
1.18 | No. Nom. (Cfm) (mm WG) Rows Rating | item no.18 | [52 empty] | 1.18 | No. Nom. (Cfm) (mm WG) Rows Rating | item no.18
1.19 | (TR) (HP) | item no.19 | [52 empty] | 1.19 | (TR) (HP) | item no.19
1.2 | AHU-1 16 5000 42 6 | item no.20 | 1 | Nos | 124000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 124000 | 124000 | INR One Lakh Twenty Four Thousand Only | 1.2 | AHU-1 16 5000 42 6 | item no.20 | 1 | Nos
1.21 | COPPER PIPING (REFRIGERANT PIPING) | item no.21 | [52 empty] | 1.21 | COPPER PIPING (REFRIGERANT PIPING) | item no.21
1.22 | Supply, Installation, Testing & Commissioning of high pressure copper refrigerant piping suitable for R 410a refrigerant of suitable size as required and duly insulated with 19mm/13mm thick closed cell elastomeric insulation in tubing form inclusive of glass cloth and UV treatment. External Refrigerant piping shall be laid on GI covered cable trays. Piping inside occupied spaces shall be supported using GI ladder type cable trays. Entire refrigerant piping work be carried out in accordance with the specifications. Piping shall be of following sizes: | item no.22 | [52 empty] | 1.22 | Supply, Installation, Testing & Commissioning of high pressure copper refrigerant piping suitable for R 410a refrigerant of suitable size as required and duly insulated with 19mm/13mm thick closed cell elastomeric insulation in tubing form inclusive of glass cloth and UV treatment. External Refrigerant piping shall be laid on GI covered cable trays. Piping inside occupied spaces shall be supported using GI ladder type cable trays. Entire refrigerant piping work be carried out in accordance with the specifications. Piping shall be of following sizes: | item no.22
1.23 | Pipe Size Min. Wall Insulation | item no.23 | [52 empty] | 1.23 | Pipe Size Min. Wall Insulation | item no.23
1.24 | Size (O.D.) Thickness Thickness | item no.24 | [52 empty] | 1.24 | Size (O.D.) Thickness Thickness | item no.24
1.25 | 34.9 mm 1.21 mm 19 mm | item no.25 | 2 | RM | 1098.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2196 | 2196 | INR Two Thousand One Hundred & Ninety Six Only | 1.25 | 34.9 mm 1.21 mm 19 mm | item no.25 | 2 | RM
1.26 | 28.6 mm 1.00 mm 19 mm | item no.26 | 25 | RM | 989.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24732 | 24732 | INR Twenty Four Thousand Seven Hundred & Thirty Two Only | 1.26 | 28.6 mm 1.00 mm 19 mm | item no.26 | 25 | RM
1.27 | 19.1 mm 1.00 mm 13 mm | item no.27 | 25 | RM | 631.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15781 | 15781 | INR Fifteen Thousand Seven Hundred & Eighty One Only | 1.27 | 19.1 mm 1.00 mm 13 mm | item no.27 | 25 | RM
1.28 | 15.9 mm 1.00 mm 13 mm | item no.28 | 2 | RM | 525 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1050 | 1050 | INR One Thousand &Fifty Only | 1.28 | 15.9 mm 1.00 mm 13 mm | item no.28 | 2 | RM
1.29 | Drain Piping (CPVC) | item no.29 | [52 empty] | 1.29 | Drain Piping (CPVC) | item no.29
1.3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | item no.30 | [52 empty] | 1.3 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | item no.30
1.31 | 25 mm | item no.31 | 3 | Mtr | 375 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1125 | 1125 | INR One Thousand One Hundred & Twenty Five Only | 1.31 | 25 mm | item no.31 | 3 | Mtr
1.32 | 32 mm | item no.32 | 2 | Mtr | 459 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 918 | 918 | INR Nine Hundred & Eighteen Only | 1.32 | 32 mm | item no.32 | 2 | Mtr
1.33 | AIR DISTRIBUTION | item no.33 | [52 empty] | 1.33 | AIR DISTRIBUTION | item no.33
1.34 | Duct work | item no.34 | [52 empty] | 1.34 | Duct work | item no.34
1.35 | Conventional site fabricated ducts | item no.35 | [52 empty] | 1.35 | Conventional site fabricated ducts | item no.35
1.36 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. | item no.36 | [52 empty] | 1.36 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. | item no.36
1.37 | 0.63 mm (24 g) | item no.37 | 60 | Sqm | 958 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57480 | 57480 | INR Fifty Seven Thousand Four Hundred & Eighty Only | 1.37 | 0.63 mm (24 g) | item no.37 | 60 | Sqm
1.38 | 0.80 mm (22 g) | item no.38 | 80 | Sqm | 1107 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 88560 | 88560 | INR Eighty Eight Thousand Five Hundred & Sixty Only | 1.38 | 0.80 mm (22 g) | item no.38 | 80 | Sqm
1.39 | 1.00 mm (20 g) | item no.39 | 10 | Sqm | 1471 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14710 | 14710 | INR Fourteen Thousand Seven Hundred & Ten Only | 1.39 | 1.00 mm (20 g) | item no.39 | 10 | Sqm
1.4 | Supply & fixing of fire retardant single layer canvass made (up to 300 mm vide) with heavy clothes and suitable frame with G.I washer, nuts & bolts in suitable size. i/c jointing both sides with suitable gaskets complete as reqd. | item no.40 | 3.5 | Sqm | 2347 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8215 | 8215 | INR Eight Thousand Two Hundred & Fifteen Only | 1.4 | Supply & fixing of fire retardant single layer canvass made (up to 300 mm vide) with heavy clothes and suitable frame with G.I washer, nuts & bolts in suitable size. i/c jointing both sides with suitable gaskets complete as reqd. | item no.40 | 3.5 | Sqm
1.41 | Supply, installation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications complete as required. | item no.41 | [52 empty] | 1.41 | Supply, installation, testing and commissioning of GI volume control duct damper complete with neoprene rubber gaskets, nuts, bolts, screws linkages, flanges etc, as per specifications complete as required. | item no.41
1.42 | GI volume control duct damper | item no.42 | 2 | Sqm | 6240 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12480 | 12480 | INR Twelve Thousand Four Hundred & Eighty Only | 1.42 | GI volume control duct damper | item no.42 | 2 | Sqm
1.43 | Supply, installation, testing and commissioning of smoke cum fire dampers of at least 90-120 minutes fire rating as per the approved shop drawings and specifications. Interlocking of Motorized (ON-OFF Type) GI volume control damper with Actuator, enthalpy sensor and necessary copper control wire (minimum 1.5 sqmm) for integration within AHU room complete as required. | item no.43 | [52 empty] | 1.43 | Supply, installation, testing and commissioning of smoke cum fire dampers of at least 90-120 minutes fire rating as per the approved shop drawings and specifications. Interlocking of Motorized (ON-OFF Type) GI volume control damper with Actuator, enthalpy sensor and necessary copper control wire (minimum 1.5 sqmm) for integration within AHU room complete as required. | item no.43
1.44 | Bare fire dampers | item no.44 | 2 | SqM | 7876 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15752 | 15752 | INR Fifteen Thousand Seven Hundred & Fifty Two Only | 1.44 | Bare fire dampers | item no.44 | 2 | SqM
1.45 | Actuator with control panel, temperature sensor & spring return action and suitable for 10-12 NM Torque. | item no.45 | 2 | Nos | 7885 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15770 | 15770 | INR Fifteen Thousand Seven Hundred & Seventy Only | 1.45 | Actuator with control panel, temperature sensor & spring return action and suitable for 10-12 NM Torque. | item no.45 | 2 | Nos
1.46 | Supplying, fixing testing commissioning of supply air Diffusers of powder coated aluminum with aluminum volume control dampers with anti smudge ring & removable core. | item no.46 | 2.5 | SqM | 10714 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26785 | 26785 | INR Twenty Six Thousand Seven Hundred & Eighty Five Only | 1.46 | Supplying, fixing testing commissioning of supply air Diffusers of powder coated aluminum with aluminum volume control dampers with anti smudge ring & removable core. | item no.46 | 2.5 | SqM
1.47 | Supplying, fixing testing commissioning of Return air Diffusers of powder coated aluminum without volume control dampers with anti smudge ring & removable core. | item no.47 | 2.5 | SqM | 7152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17880 | 17880 | INR Seventeen Thousand Eight Hundred & Eighty Only | 1.47 | Supplying, fixing testing commissioning of Return air Diffusers of powder coated aluminum without volume control dampers with anti smudge ring & removable core. | item no.47 | 2.5 | SqM
1.48 | Supplying & fixing of powder coated extruded aluminum Supply Air Grills with aluminum volume control dampers as per specifications. | item no.48 | 2 | SqM | 8014 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16028 | 16028 | INR Sixteen Thousand &Twenty Eight Only | 1.48 | Supplying & fixing of powder coated extruded aluminum Supply Air Grills with aluminum volume control dampers as per specifications. | item no.48 | 2 | SqM
1.49 | Supplying & fixing of powder coated extruded aluminum Return Air Grills with lowers but without aluminum volume control dampers as reqd | item no.49 | 2 | SqM | 5213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10426 | 10426 | INR Ten Thousand Four Hundred & Twenty Six Only | 1.49 | Supplying & fixing of powder coated extruded aluminum Return Air Grills with lowers but without aluminum volume control dampers as reqd | item no.49 | 2 | SqM
1.5 | Supply, Installation and Testing of fresh air grilles of powder coated/ anodized extruded aluminum with filters, inlet louvers dampers and bird screen, as per approved shop drawings and specifications. | item no.50 | 1 | SqM | 7500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7500 | 7500 | INR Seven Thousand Five Hundred Only | 1.5 | Supply, Installation and Testing of fresh air grilles of powder coated/ anodized extruded aluminum with filters, inlet louvers dampers and bird screen, as per approved shop drawings and specifications. | item no.50 | 1 | SqM
1.51 | INSULATION | item no.51 | [52 empty] | 1.51 | INSULATION | item no.51
1.52 | P & F of acoustic insulation with open cell Nitrile rubber sheet(Accosound) super silence of following thickness, on existing surface with adhesive i/c nut, bolt washer as req on duct./AHU room etc. complete as required. | item no.52 | [52 empty] | 1.52 | P & F of acoustic insulation with open cell Nitrile rubber sheet(Accosound) super silence of following thickness, on existing surface with adhesive i/c nut, bolt washer as req on duct./AHU room etc. complete as required. | item no.52
1.53 | 10 mm | item no.53 | 10 | SqM | 979 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9790 | 9790 | INR Nine Thousand Seven Hundred & Ninety Only | 1.53 | 10 mm | item no.53 | 10 | SqM
1.54 | 15 mm | item no.54 | 40 | SqM | 1443 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 57720 | 57720 | INR Fifty Seven Thousand Seven Hundred & Twenty Only | 1.54 | 15 mm | item no.54 | 40 | SqM
1.55 | 20 mm | item no.55 | 70 | SqM | 1893 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132510 | 132510 | INR One Lakh Thirty Two Thousand Five Hundred & Ten Only | 1.55 | 20 mm | item no.55 | 70 | SqM
1.56 | Providing & fixing of thermal insulation with aluminium foil faced XLPE Class 'O' insulation sheet of following thickness on existing surface of pipe/duct with dentrite/adhesive etc.The joints shall be sealed with 50 mm wide and self adhesive PVC/Aluminum tape complete as required. | item no.56 | [52 empty] | 1.56 | Providing & fixing of thermal insulation with aluminium foil faced XLPE Class 'O' insulation sheet of following thickness on existing surface of pipe/duct with dentrite/adhesive etc.The joints shall be sealed with 50 mm wide and self adhesive PVC/Aluminum tape complete as required. | item no.56
1.57 | 9 mm | item no.57 | 40 | SqM | 228 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9120 | 9120 | INR Nine Thousand One Hundred & Twenty Only | 1.57 | 9 mm | item no.57 | 40 | SqM
1.58 | 13 mm | item no.58 | 20 | SqM | 305 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6100 | 6100 | INR Six Thousand One Hundred Only | 1.58 | 13 mm | item no.58 | 20 | SqM
1.59 | 16 mm | item no.59 | 80 | SqM | 419 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33520 | 33520 | INR Thirty Three Thousand Five Hundred & Twenty Only | 1.59 | 16 mm | item no.59 | 80 | SqM
1.6 | 19 mm | item no.60 | 10 | SqM | 534 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5340 | 5340 | INR Five Thousand Three Hundred & Forty Only | 1.6 | 19 mm | item no.60 | 10 | SqM
1.61 | ELECTRICAL STARTER PANELS FOR AHU. | item no.61 | [52 empty] | 1.61 | ELECTRICAL STARTER PANELS FOR AHU. | item no.61
1.62 | Supply, Installation, Testing & Commissioning of wall/floor mounted cubicle type electrical panels including system control wiring with incoming, outgoing feeders as described below and as per specifications. | item no.62 | [52 empty] | 1.62 | Supply, Installation, Testing & Commissioning of wall/floor mounted cubicle type electrical panels including system control wiring with incoming, outgoing feeders as described below and as per specifications. | item no.62
1.63 | PANEL-'C' (IP-65) | item no.63 | [52 empty] | 1.63 | PANEL-'C' (IP-65) | item no.63
1.64 | Location : Close to Units | item no.64 | [52 empty] | 1.64 | Location : Close to Units | item no.64
1.65 | a. 32A 4P MCB for 7.5/5 HP or 5000 CFM AHU motor - 01 Set. | item no.65 | [52 empty] | 1.65 | a. 32A 4P MCB for 7.5/5 HP or 5000 CFM AHU motor - 01 Set. | item no.65
1.66 | b. RYB LED type indication lights --- 01 Set. | item no.66 | [52 empty] | 1.66 | b. RYB LED type indication lights --- 01 Set. | item no.66
1.67 | c. Fully automatic DOL starter with built-in single phasing preventor, over load relay for 7.5/5 HP or 5000 CFM AHU motor --- 01 Set. | item no.67 | [52 empty] | 1.67 | c. Fully automatic DOL starter with built-in single phasing preventor, over load relay for 7.5/5 HP or 5000 CFM AHU motor --- 01 Set. | item no.67
1.68 | d. Auto-Manual type selector switch to facilitate auto start of fans after restoration of power -- 01 Set. | item no.68 | [52 empty] | 1.68 | d. Auto-Manual type selector switch to facilitate auto start of fans after restoration of power -- 01 Set. | item no.68
1.69 | e. Control wiring & safety circuit as required with Start-Stop PB's and LED type 'ON' 'OFF' indication lights. | item no.69 | [52 empty] | 1.69 | e. Control wiring & safety circuit as required with Start-Stop PB's and LED type 'ON' 'OFF' indication lights. | item no.69
1.7 | Electrical panels as described above. | item no.70 | 1 | No | 14800 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14800 | 14800 | INR Fourteen Thousand Eight Hundred Only | 1.7 | Electrical panels as described above. | item no.70 | 1 | No
1.71 | Supply, laying, affecting connections and Testing of the following sizes of 1.1 KV armoured PVC insulated aluminium/ copper conductor cables. Cables shall be inclusive of all clamps,saddles,screws,cable identification tags, cable terminal joints including terminal lugs, insulating tapes, affecting terminal connections to the equipment as per the specifications and as required. Quoted price shall be inclusive of GI perforated cable tray, support. | item no.71 | [52 empty] | 1.71 | Supply, laying, affecting connections and Testing of the following sizes of 1.1 KV armoured PVC insulated aluminium/ copper conductor cables. Cables shall be inclusive of all clamps,saddles,screws,cable identification tags, cable terminal joints including terminal lugs, insulating tapes, affecting terminal connections to the equipment as per the specifications and as required. Quoted price shall be inclusive of GI perforated cable tray, support. | item no.71
1.72 | 4 Core x 2.5 Sq mm | item no.72 | 10 | Mtr | 139 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1390 | 1390 | INR One Thousand Three Hundred & Ninety Only | 1.72 | 4 Core x 2.5 Sq mm | item no.72 | 10 | Mtr
1.73 | 4 Core x 4.0 Sq mm | item no.73 | 15 | Mtr | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3000 | 3000 | INR Three Thousand Only | 1.73 | 4 Core x 4.0 Sq mm | item no.73 | 15 | Mtr
1.74 | 4 Core x 6.0 Sq mm | item no.74 | 15 | Mtr | 290 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4350 | 4350 | INR Four Thousand Three Hundred & Fifty Only | 1.74 | 4 Core x 6.0 Sq mm | item no.74 | 15 | Mtr
1.75 | 4 Core x 10.0 Sq mm | item no.75 | 20 | Mtr | 454 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9080 | 9080 | INR Nine Thousand &Eighty Only | 1.75 | 4 Core x 10.0 Sq mm | item no.75 | 20 | Mtr
1.76 | CONTROL WIRING | item no.76 | [52 empty] | 1.76 | CONTROL WIRING | item no.76
1.77 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required | item no.77 | [52 empty] | 1.77 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required | item no.77
1.78 | 2C x1.5 Sqmm copper wiring | item no.78 | 20 | RM | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2600 | 2600 | INR Two Thousand Six Hundred Only | 1.78 | 2C x1.5 Sqmm copper wiring | item no.78 | 20 | RM
1.79 | EARTHING | item no.79 | [52 empty] | 1.79 | EARTHING | item no.79
1.8 | Providing & fixing in position the following bare GI tape/ Cu wire including providing all fixing accessories & effecting proper connections. | item no.80 | [52 empty] | 1.8 | Providing & fixing in position the following bare GI tape/ Cu wire including providing all fixing accessories & effecting proper connections. | item no.80
1.81 | a. 8 SWG Cu Wire | item no.81 | 20 | RM | 125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2500 | 2500 | INR Two Thousand Five Hundred Only | 1.81 | a. 8 SWG Cu Wire | item no.81 | 20 | RM
1.82 | b. 12 SWG Cu Wire | item no.82 | 10 | RM | 95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 950 | 950 | INR Nine Hundred & Fifty Only | 1.82 | b. 12 SWG Cu Wire | item no.82 | 10 | RM
1.83 | Making opening in the wall for duct entry and finishing the same with brick, cement & sand etc. complete as reqd | item no.83 | 10 | Nos | 500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5000 | 5000 | INR Five Thousand Only | 1.83 | Making opening in the wall for duct entry and finishing the same with brick, cement & sand etc. complete as reqd | item no.83 | 10 | Nos
1.84 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.84 | 120 | Kg | 98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11760 | 11760 | INR Eleven Thousand Seven Hundred & Sixty Only | 1.84 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.84 | 120 | Kg
1.85 | Supply, Installation , Testing and Balancing of condensation free, washable type, quick installation, multiple colour, noise free, cable hanging track hanging, fire retardant round shape(dia 700mm ) imported fabric ducting in accordance with with the approved shop drawings complete as required with necessary support hanger | item no.85 | 50 | SqM | 1513 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 75650 | 75650 | INR Seventy Five Thousand Six Hundred & Fifty Only | 1.85 | Supply, Installation , Testing and Balancing of condensation free, washable type, quick installation, multiple colour, noise free, cable hanging track hanging, fire retardant round shape(dia 700mm ) imported fabric ducting in accordance with with the approved shop drawings complete as required with necessary support hanger | item no.85 | 50 | SqM
1.86 | Supply, installation, testing & commissioning of portable type dehumidifier of 60 ltrs/day (humidity setting 45 +-5% RH) capacity with rotary compressor refrigerant R410including Washable filter,Automatic humidistat Control ,water tank etc. make white westing house model no- WDE - 602 or equivalent etc. complete as reqd. | item no.86 | 2 | Nos | 46867 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93734 | 93734 | INR Ninety Three Thousand Seven Hundred & Thirty Four Only | 1.86 | Supply, installation, testing & commissioning of portable type dehumidifier of 60 ltrs/day (humidity setting 45 +-5% RH) capacity with rotary compressor refrigerant R410including Washable filter,Automatic humidistat Control ,water tank etc. make white westing house model no- WDE - 602 or equivalent etc. complete as reqd. | item no.86 | 2 | Nos
1.87 | SECTION - 'B' | item no.87 | [52 empty] | 1.87 | SECTION - 'B' | item no.87
1.88 | ANNUAL COMPREHENSIVE MAINTENANCE OF THE INSTALLED VRF SYSTEM FOR 01 YEARS | item no.88 | [52 empty] | 1.88 | ANNUAL COMPREHENSIVE MAINTENANCE OF THE INSTALLED VRF SYSTEM FOR 01 YEARS | item no.88
1.89 | Annual Comprehensive Maintenance Contract for period for 01 years (after 1 year of DLP). The contract shall include all spares, cosumables & replacement of defective/damaged parts as required to run the completely installed VRF system of capacity 20 HP through OEM. | item no.89 | [52 empty] | 1.89 | Annual Comprehensive Maintenance Contract for period for 01 years (after 1 year of DLP). The contract shall include all spares, cosumables & replacement of defective/damaged parts as required to run the completely installed VRF system of capacity 20 HP through OEM. | item no.89
1.9 | For 1st year (0-12 Months) | item no.90 | 12 | month | 3330 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39960 | 39960 | INR Thirty Nine Thousand Nine Hundred & Sixty Only | 1.9 | For 1st year (0-12 Months) | item no.90 | 12 | month
1.91 | Annual Comprehensive Maintenance Contract for period for 01 years (after 1 year of DLP). The contract shall include all spares, cosumables & replacement of defective/damaged parts as required to run the completely installed 2 x 12 TR precision Air Conditioning (PAC) through OEM. | item no.91 | [52 empty] | 1.91 | Annual Comprehensive Maintenance Contract for period for 01 years (after 1 year of DLP). The contract shall include all spares, cosumables & replacement of defective/damaged parts as required to run the completely installed 2 x 12 TR precision Air Conditioning (PAC) through OEM. | item no.91
1.92 | For 1st year (0-12 Months) | item no.93 | 12 | month | 8000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96000 | 96000 | INR Ninety Six Thousand Only | 1.92 | For 1st year (0-12 Months) | item no.93 | 12 | month
Total in Figures | [51 empty] | 4179887 | 4179887 | Forty One Lakh Seventy Nine Thousand Eight Hundred & Eighty Seven Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information