## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Providing and making network points in various rooms of FB and NWTF hall, IIT Kanpur
NIT No: Electrical/04/08/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 | [52 empty] | 1.01 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | 3 x 1.5 sq. mm | item no.2 | 45 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3749 | 3749 | INR Three Thousand Seven Hundred & Forty Nine Only | 1.02 | 3 x 1.5 sq. mm | item no.2 | 45 | Metre | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.3 | 312 | Meter | 227.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 71127 | 71127 | INR Seventy One Thousand One Hundred & Twenty Seven Only | 1.03 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. | item no.3 | 312 | Meter | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.4 | [52 empty] | 1.04 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | item no.4
1.05 | End cap | item no.5 | 12 | Nos. | 150.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1810 | 1810 | INR One Thousand Eight Hundred & Ten Only | 1.05 | End cap | item no.5 | 12 | Nos.
1.06 | internal / external angle | item no.6 | 35 | Nos. | 145.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5095 | 5095 | INR Five Thousand &Ninety Five Only | 1.06 | internal / external angle | item no.6 | 35 | Nos.
1.07 | changeable flat angle | item no.7 | 28 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3462 | 3462 | INR Three Thousand Four Hundred & Sixty Two Only | 1.07 | changeable flat angle | item no.7 | 28 | Nos.
1.08 | flat junction | item no.8 | 8 | Nos. | 143.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1150 | 1150 | INR One Thousand One Hundred & Fifty Only | 1.08 | flat junction | item no.8 | 8 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.9 | 40 | Meter | 979.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 39176 | 39176 | INR Thirty Nine Thousand One Hundred & Seventy Six Only | 1.09 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. | item no.9 | 40 | Meter
1.1 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.10 | [52 empty] | 1.1 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | item no.10 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | 85 mm flexible cover | item no.11 | 40 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17291 | 17291 | INR Seventeen Thousand Two Hundred & Ninety One Only | 1.11 | 85 mm flexible cover | item no.11 | 40 | Meter | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.12 | End cap | item no.12 | 8 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1557 | 1557 | INR One Thousand Five Hundred & Fifty Seven Only | 1.12 | End cap | item no.12 | 8 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.13 | Internal angles- adjustable from 80°-100° | item no.13 | 4 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2157 | 2157 | INR Two Thousand One Hundred & Fifty Seven Only | 1.13 | Internal angles- adjustable from 80°-100° | item no.13 | 4 | Nos.
1.14 | external angles- adjustable from 60°-120° | item no.14 | 3 | Nos. | 550.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1652 | 1652 | INR One Thousand Six Hundred & Fifty Two Only | 1.14 | external angles- adjustable from 60°-120° | item no.14 | 3 | Nos.
1.15 | flat junction | item no.15 | 2 | Nos. | 938.19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1876 | 1876 | INR One Thousand Eight Hundred & Seventy Six Only | 1.15 | flat junction | item no.15 | 2 | Nos.
1.16 | flat angles | item no.16 | 4 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3051 | 3051 | INR Three Thousand &Fifty One Only | 1.16 | flat angles | item no.16 | 4 | Nos.
1.17 | separation partitions | item no.17 | 40 | Meter | 260.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10417 | 10417 | INR Ten Thousand Four Hundred & Seventeen Only | 1.17 | separation partitions | item no.17 | 40 | Meter
1.18 | Joints for 85mm width cover | item no.18 | 14 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3142 | 3142 | INR Three Thousand One Hundred & Forty Two Only | 1.18 | Joints for 85mm width cover | item no.18 | 14 | Nos.
1.19 | base joints | item no.19 | 20 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1806 | 1806 | INR One Thousand Eight Hundred & Six Only | 1.19 | base joints | item no.19 | 20 | Nos.
1.2 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. | [53 empty] | 1.2 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
1.21 | 25 mm |  | 5 | Metre | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1122 | 1122 | INR One Thousand One Hundred & Twenty Two Only | 1.21 | 25 mm |  | 5 | Metre
1.22 | S & F following size of steel flexible pipe along with the accessories on surface etc as required | [53 empty] | 1.22 | S & F following size of steel flexible pipe along with the accessories on surface etc as required
1.23 | 20 mm |  | 2 | Meter | 49.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100 | 100 | INR One Hundred Only | 1.23 | 20 mm |  | 2 | Meter
1.24 | 25 mm |  | 7 | Meter | 71.02 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 497 | 497 | INR Four Hundred & Ninety Seven Only | 1.24 | 25 mm |  | 7 | Meter
1.25 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) |  | 60 | Nos. | 79.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4787 | 4787 | INR Four Thousand Seven Hundred & Eighty Seven Only | 1.25 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) |  | 60 | Nos.
1.26 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) |  | 3020 | Meter | 18.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55598 | 55598 | INR Fifty Five Thousand Five Hundred & Ninety Eight Only | 1.26 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) |  | 3020 | Meter
1.27 | Dismantling the old conduit pipe/wood batten of all sizes from surface/recessed & making good the damages I/c filling the holes of the surface etc as reqd. and depositing it in sectional store. |  | 150 | Meter | 30.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4604 | 4604 | INR Four Thousand Six Hundred & Four Only | 1.27 | Dismantling the old conduit pipe/wood batten of all sizes from surface/recessed & making good the damages I/c filling the holes of the surface etc as reqd. and depositing it in sectional store. |  | 150 | Meter
1.28 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. |  | 2 | Nos. | 256.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 514 | 514 | INR Five Hundred & Fourteen Only | 1.28 | Fixing of Network rack on steel fastener including cartage from store to site as reqd complete. |  | 2 | Nos.
1.29 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete. | [53 empty] | 1.29 | Supply & Laying of 40 mm dia, 8Kg / cm², minimum 2.0 mm thick HDPE pipe, ISI mark in following manners as required complete.
1.3 | in ground I/c excavation, sand cushioning, protective covering and refixing the trench etc as reqd |  | 90 | Meter | 521.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46953 | 46953 | INR Forty Six Thousand Nine Hundred & Fifty Three Only | 1.3 | in ground I/c excavation, sand cushioning, protective covering and refixing the trench etc as reqd |  | 90 | Meter
1.31 | On Surface |  | 10 | Meter | 264.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2648 | 2648 | INR Two Thousand Six Hundred & Forty Eight Only | 1.31 | On Surface |  | 10 | Meter
1.32 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. | [53 empty] | 1.32 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
1.33 | 5/6 A switch |  | 4 | No. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 361 | 361 | INR Three Hundred & Sixty One Only | 1.33 | 5/6 A switch |  | 4 | No.
1.34 | 3 pin 5/6 A socket outlet |  | 4 | No. | 106.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 428 | 428 | INR Four Hundred & Twenty Eight Only | 1.34 | 3 pin 5/6 A socket outlet |  | 4 | No.
1.35 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. | [53 empty] | 1.35 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required.
1.36 | 3 Module |  | 4 | No. | 132.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 530 | 530 | INR Five Hundred & Thirty Only | 1.36 | 3 Module |  | 4 | No.
1.37 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required. | [53 empty] | 1.37 | Supplying and fixing following size/ modules, plastic box for modular switches in recess etc as required.
1.38 | 3 Module |  | 4 | Nos. | 312.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1249 | 1249 | INR One Thousand Two Hundred & Forty Nine Only | 1.38 | 3 Module |  | 4 | Nos.
1.39 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required. | [53 empty] | 1.39 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required.
1.4 | 200 mm X 150 mm X 60 mm deep |  | 4 | No. | 311.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1245 | 1245 | INR One Thousand Two Hundred & Forty Five Only | 1.4 | 200 mm X 150 mm X 60 mm deep |  | 4 | No.
Total in Figures | [51 empty] | 289154 | 289154 | Two Lakh Eighty Nine Thousand One Hundred & Fifty Four Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information