## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Complete Design and construction for providing access to G+2 Building with passenger lift and a G+3 Building with freight lift as per specifications at IIT Kanpur (SH: Civil and MEP Works including SITC of Lifts)
NIT No: Composite/28/08/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | EARTH WORK | item no.1 | [52 empty] | 1.01 | EARTH WORK | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.2 | [52 empty] | 1.02 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | item no.2
1.03 | All kinds of soil | item no.3 | 113 | cum | 180.14 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20355.82 | 20355.82 | INR Twenty Thousand Three Hundred & Fifty Five and Paise Eighty Two Only | 1.03 | All kinds of soil | item no.3 | 113 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.4 | 113 | cum | 222.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25161.71 | 25161.71 | INR Twenty Five Thousand One Hundred & Sixty One and Paise Seventy One Only | 1.04 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.4 | 113 | cum
1.05 | CEMENT CONCRETE (CAST IN SITU) | item no.5 | [52 empty] | 1.05 | CEMENT CONCRETE (CAST IN SITU) | item no.5 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.6 | [52 empty] | 1.06 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.6
1.07 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.7 | 2.5 | cum | 5546.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13866.83 | 13866.83 | INR Thirteen Thousand Eight Hundred & Sixty Six and Paise Eighty Three Only | 1.07 | 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.7 | 2.5 | cum
1.08 | REINFORCED CEMENT CONCRETE | item no.8 | [52 empty] | 1.08 | REINFORCED CEMENT CONCRETE | item no.8
1.09 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.9 | [52 empty] | 1.09 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.9
1.1 | Foundations, footings, bases of columns, etc. for mass concrete | item no.10 | 25 | sqm | 270.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6750.25 | 6750.25 | INR Six Thousand Seven Hundred & Fifty and Paise Twenty Five Only | 1.1 | Foundations, footings, bases of columns, etc. for mass concrete | item no.10 | 25 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.11 | 49 | sqm | 587.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28766.43 | 28766.43 | INR Twenty Eight Thousand Seven Hundred & Sixty Six and Paise Forty Three Only | 1.11 | Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | item no.11 | 49 | sqm
1.12 | Suspended floors, roofs, landings, balconies and access platform | item no.12 | 14 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9409.68 | 9409.68 | INR Nine Thousand Four Hundred & Nine and Paise Sixty Eight Only | 1.12 | Suspended floors, roofs, landings, balconies and access platform | item no.12 | 14 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.13 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.13 | 37 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19736.17 | 19736.17 | INR Nineteen Thousand Seven Hundred & Thirty Six and Paise Seventeen Only | 1.13 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.13 | 37 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.14 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.14 | 22 | sqm | 705.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15513.74 | 15513.74 | INR Fifteen Thousand Five Hundred & Thirteen and Paise Seventy Four Only | 1.14 | Columns, Pillars, Piers, Abutments, Posts and Struts | item no.14 | 22 | sqm
1.15 | Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like | item no.15 | 12 | sqm | 270.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3240.12 | 3240.12 | INR Three Thousand Two Hundred & Forty and Paise Twelve Only | 1.15 | Small lintels not exceeding 1.5 m clear span, moulding as in cornices, window sills, string courses, bands, copings, bed plates, anchor blocks and the like | item no.15 | 12 | sqm
1.16 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.16 | [52 empty] | 1.16 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | item no.16
1.17 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.17 | 4120 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 323873.2 | 323873.2 | INR Three Lakh Twenty Three Thousand Eight Hundred & Seventy Three and Paise Twenty Only | 1.17 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.17 | 4120 | kg
1.18 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.18 | [52 empty] | 1.18 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.18
1.19 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.19 | 885 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69569.85 | 69569.85 | INR Sixty Nine Thousand Five Hundred & Sixty Nine and Paise Eighty Five Only | 1.19 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.19 | 885 | kg
1.2 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.20 | [52 empty] | 1.2 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. | item no.20
1.21 | All works upto plinth level | item no.21 | [52 empty] | 1.21 | All works upto plinth level | item no.21
1.22 | Concrete of M30 grade with minimum cement content of 350 kg /cum | item no.22 | 27.5 | cum | 7539.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207349.45 | 207349.45 | INR Two Lakh Seven Thousand Three Hundred & Forty Nine and Paise Forty Five Only | 1.22 | Concrete of M30 grade with minimum cement content of 350 kg /cum | item no.22 | 27.5 | cum
1.23 | All works above plinth level upto floor V level | item no.23 | [52 empty] | 1.23 | All works above plinth level upto floor V level | item no.23
1.24 | Concrete of M30 grade with minimum cement content of 350 kg /cum | item no.24 | 7 | cum | 8962.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 62737.29 | 62737.29 | INR Sixty Two Thousand Seven Hundred & Thirty Seven and Paise Twenty Nine Only | 1.24 | Concrete of M30 grade with minimum cement content of 350 kg /cum | item no.24 | 7 | cum
1.25 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | item no.25 | 11 | quintal | 603.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6640.04 | 6640.04 | INR Six Thousand Six Hundred & Forty and Paise Four Only | 1.25 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | item no.25 | 11 | quintal
1.26 | MASONRY WORK | item no.26 | [52 empty] | 1.26 | MASONRY WORK | item no.26
1.27 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.27 | [52 empty] | 1.27 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.27
1.28 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.28 | 55 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 399701.5 | 399701.5 | INR Three Lakh Ninety Nine Thousand Seven Hundred & One and Paise Fifty Only | 1.28 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.28 | 55 | cum
1.29 | CLADDING WORK | item no.29 | [52 empty] | 1.29 | CLADDING WORK | item no.29
1.3 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.30 | [52 empty] | 1.3 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.30
1.31 | Granite stone slab colour black, Cherry/Ruby red | item no.31 | [52 empty] | 1.31 | Granite stone slab colour black, Cherry/Ruby red | item no.31
1.32 | Area of slab over 0.50 sqm | item no.32 | 52 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 201769.36 | 201769.36 | INR Two Lakh One Thousand Seven Hundred & Sixty Nine and Paise Thirty Six Only | 1.32 | Area of slab over 0.50 sqm | item no.32 | 52 | sqm
1.33 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.33 | [52 empty] | 1.33 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.33
1.34 | Granite work | item no.34 | 26 | metre | 367.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9548.5 | 9548.5 | INR Nine Thousand Five Hundred & Forty Eight and Paise Fifty Only | 1.34 | Granite work | item no.34 | 26 | metre
1.35 | STEEL WORK | item no.35 | [52 empty] | 1.35 | STEEL WORK | item no.35
1.36 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.36 | 18955 | kg | 68.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1299744.35 | 1299744.35 | INR Twelve Lakh Ninety Nine Thousand Seven Hundred & Forty Four and Paise Thirty Five Only | 1.36 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.36 | 18955 | kg
1.37 | FINISHING | item no.37 | [52 empty] | 1.37 | FINISHING | item no.37
1.38 | 12 mm cement plaster of mix : | item no.38 | [52 empty] | 1.38 | 12 mm cement plaster of mix : | item no.38
1.39 | 1:6 (1 cement: 6 coarse sand) | item no.39 | 215 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55489.35 | 55489.35 | INR Fifty Five Thousand Four Hundred & Eighty Nine and Paise Thirty Five Only | 1.39 | 1:6 (1 cement: 6 coarse sand) | item no.39 | 215 | sqm
1.4 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.40 | [52 empty] | 1.4 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.40
1.41 | 1:6 (1 cement: 6 coarse sand) | item no.41 | 187 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55600.71 | 55600.71 | INR Fifty Five Thousand Six Hundred and Paise Seventy One Only | 1.41 | 1:6 (1 cement: 6 coarse sand) | item no.41 | 187 | sqm
1.42 | 6 mm cement plaster of mix : | item no.42 | [52 empty] | 1.42 | 6 mm cement plaster of mix : | item no.42
1.43 | 1:3 (1 cement : 3 fine sand) |  | 27.5 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6101.7 | 6101.7 | INR Six Thousand One Hundred & One and Paise Seventy Only | 1.43 | 1:3 (1 cement : 3 fine sand) |  | 27.5 | sqm
1.44 | White washing with lime to give an even shade : | [53 empty] | 1.44 | White washing with lime to give an even shade :
1.45 | New work (three or more coats) |  | 242 | sqm | 28.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6884.9 | 6884.9 | INR Six Thousand Eight Hundred & Eighty Four and Paise Ninety Only | 1.45 | New work (three or more coats) |  | 242 | sqm
1.46 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | [53 empty] | 1.46 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
1.47 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 187 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26619.45 | 26619.45 | INR Twenty Six Thousand Six Hundred & Nineteen and Paise Forty Five Only | 1.47 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 187 | sqm
1.48 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 1.48 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
1.49 | Two or more coats on new work |  | 250 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28815 | 28815 | INR Twenty Eight Thousand Eight Hundred & Fifteen Only | 1.49 | Two or more coats on new work |  | 250 | sqm
1.5 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 187 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20306.33 | 20306.33 | INR Twenty Thousand Three Hundred & Six and Paise Thirty Three Only | 1.5 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 187 | sqm
1.51 | Dismantling and Demolishing | [53 empty] | 1.51 | Dismantling and Demolishing
1.52 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 1.52 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
1.53 | In cement mortar |  | 1 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1489.22 | 1489.22 | INR One Thousand Four Hundred & Eighty Nine and Paise Twenty Two Only | 1.53 | In cement mortar |  | 1 | cum
1.54 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. |  | 5 | sqm | 192.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 963.4 | 963.4 | INR Nine Hundred & Sixty Three and Paise Forty Only | 1.54 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. |  | 5 | sqm
1.55 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 1 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 192.33 | 192.33 | INR One Hundred & Ninety Two and Paise Thirty Three Only | 1.55 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 1 | cum
1.56 | DRAINAGE | [53 empty] | 1.56 | DRAINAGE
1.57 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : | [53 empty] | 1.57 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design :
1.58 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each | 4900.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4900.88 | 4900.88 | INR Four Thousand Nine Hundred and Paise Eighty Eight Only | 1.58 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 |  | 1 | each
1.59 | WATER PROOFING | [53 empty] | 1.59 | WATER PROOFING
1.6 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. |  | 16 | sqm | 452.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7247.36 | 7247.36 | INR Seven Thousand Two Hundred & Forty Seven and Paise Thirty Six Only | 1.6 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. |  | 16 | sqm
1.61 | Part-A : Supplying, installation, testing & commissioning of 13 passenger elevator as per following techincal specifications, etc. complete as required. | [53 empty] | 1.61 | Part-A : Supplying, installation, testing & commissioning of 13 passenger elevator as per following techincal specifications, etc. complete as required.
1.62 | Number of passengers: 13 Passenger | [53 empty] | 1.62 | Number of passengers: 13 Passenger
1.63 | Rated speed (m/sec): 01 M/Sec. | [53 empty] | 1.63 | Rated speed (m/sec): 01 M/Sec.
1.64 | Rated capacity (kg): 884 kgs (for 13 passenger) | [53 empty] | 1.64 | Rated capacity (kg): 884 kgs (for 13 passenger)
1.65 | Entrance: 03 floors( G+2) | [53 empty] | 1.65 | Entrance: 03 floors( G+2)
1.66 | Interior: Hairline finish Stainless Steel 304(1.5mm) | [53 empty] | 1.66 | Interior: Hairline finish Stainless Steel 304(1.5mm)
1.67 | Flooring: Granite Flooring(color shall be as per Institute approval) | [53 empty] | 1.67 | Flooring: Granite Flooring(color shall be as per Institute approval)
1.68 | Light & Fan: LED light / fan 300mm with grill | [53 empty] | 1.68 | Light & Fan: LED light / fan 300mm with grill
1.69 | Hall position indicators and buttons: Segment LED Indicators, Tactile button along with additional Braille inscriptions | [53 empty] | 1.69 | Hall position indicators and buttons: Segment LED Indicators, Tactile button along with additional Braille inscriptions
1.7 | Floor: G,1,2 | [53 empty] | 1.7 | Floor: G,1,2
1.71 | Handrail system: SS Hand railing one side at rear wall at least 30mm dia. | [53 empty] | 1.71 | Handrail system: SS Hand railing one side at rear wall at least 30mm dia.
1.72 | Travel: As per site. | [53 empty] | 1.72 | Travel: As per site.
1.73 | Stops & Opening: 03 floors( G+2), In front only. | [53 empty] | 1.73 | Stops & Opening: 03 floors( G+2), In front only.
1.74 | Lift well size: 2100mm(W)x2650mm(D)(without plaster) | [53 empty] | 1.74 | Lift well size: 2100mm(W)x2650mm(D)(without plaster)
1.75 | Car size: 1100mm(W)x2000mm(D)x2200mm(H) | [53 empty] | 1.75 | Car size: 1100mm(W)x2000mm(D)x2200mm(H)
1.76 | Clear opening of doors: 900mm(W)x2000mm(H) Lintel2200mm | [53 empty] | 1.76 | Clear opening of doors: 900mm(W)x2000mm(H) Lintel2200mm
1.77 | Ventilation: As per manufacturer | [53 empty] | 1.77 | Ventilation: As per manufacturer
1.78 | Operation: Microprocessor based Simplex Collective Selective Control with/without Attendant. | [53 empty] | 1.78 | Operation: Microprocessor based Simplex Collective Selective Control with/without Attendant.
1.79 | Power Supply: 415 Volts ± 10%, 3 Phase, 50 Hz AC systems. | [53 empty] | 1.79 | Power Supply: 415 Volts ± 10%, 3 Phase, 50 Hz AC systems.
1.8 | Controller type: V3F (Variable Voltage Variable Frequency) | [53 empty] | 1.8 | Controller type: V3F (Variable Voltage Variable Frequency)
1.81 | Type of Machine: Gearless / Machine Room less. | [53 empty] | 1.81 | Type of Machine: Gearless / Machine Room less.
1.82 | Car Enclosure: Stainless steel 304(1.5mm) scratches proof (Hairline Finish) on all sides. | [53 empty] | 1.82 | Car Enclosure: Stainless steel 304(1.5mm) scratches proof (Hairline Finish) on all sides.
1.83 | Car door enclosure: Power operated centre opening sliding door glass with stainless steel 304(1.5mm) hairline finish enveloped door. | [53 empty] | 1.83 | Car door enclosure: Power operated centre opening sliding door glass with stainless steel 304(1.5mm) hairline finish enveloped door.
1.84 | Landing door enclosure: Power operated centre opening sliding door glass with stainless steel 304(1.5mm) hairline finish enveloped door. | [53 empty] | 1.84 | Landing door enclosure: Power operated centre opening sliding door glass with stainless steel 304(1.5mm) hairline finish enveloped door.
1.85 | Indicators (Car Landing): Digital Direction & Position Indicator | [53 empty] | 1.85 | Indicators (Car Landing): Digital Direction & Position Indicator
1.86 | Type of Doors:-(Car: Fire rated upto 120mins Centre Opening) Landing door : Glass with SS hairline finish enveloped door. | [53 empty] | 1.86 | Type of Doors:-(Car: Fire rated upto 120mins Centre Opening) Landing door : Glass with SS hairline finish enveloped door.
1.87 | Construction type: Machine Room less | [53 empty] | 1.87 | Construction type: Machine Room less
1.88 | Emergency Car Lighting: Car lighting which turns on immediately when power fails, providing a minimum level of lighting within the car. | [53 empty] | 1.88 | Emergency Car Lighting: Car lighting which turns on immediately when power fails, providing a minimum level of lighting within the car.
1.89 | Fire Emergency Return: Upon activation of a key switch or a building's fire alarm, all calls are canceled, all cars immediately return to a specified evacuation floor and the doors open to facilitate the safe evacuation of passengers. | [53 empty] | 1.89 | Fire Emergency Return: Upon activation of a key switch or a building's fire alarm, all calls are canceled, all cars immediately return to a specified evacuation floor and the doors open to facilitate the safe evacuation of passengers.
1.9 | Emergency Landing Device (Automatic rescue Device) with audio announcer: Upon power failure, a car equipped with this function automatically moves and stops at the nearest floor using a rechargeable battery, and the doors open to facilitate the safe evacuation of passengers with audio announcer. Dry type Battery (Maintenance Free) should be used for power backup. | [53 empty] | 1.9 | Emergency Landing Device (Automatic rescue Device) with audio announcer: Upon power failure, a car equipped with this function automatically moves and stops at the nearest floor using a rechargeable battery, and the doors open to facilitate the safe evacuation of passengers with audio announcer. Dry type Battery (Maintenance Free) should be used for power backup.
1.91 | Automatic Door Speed Control: Door load on each floor, which can depend on the type of hall doors, is monitored to adjust the door speed, thereby making the door speed consistent throughout all floors. | [53 empty] | 1.91 | Automatic Door Speed Control: Door load on each floor, which can depend on the type of hall doors, is monitored to adjust the door speed, thereby making the door speed consistent throughout all floors.
1.92 | Door Load Detector: When excessive door load has been detected while opening or closing, the doors Door Load Detector immediately reverse. | [53 empty] | 1.92 | Door Load Detector: When excessive door load has been detected while opening or closing, the doors Door Load Detector immediately reverse.
1.93 | Door Nudging Feature — With Buzzer: A buzzer sounds and the doors slowly close when they have remained open for longer than the preset period. | [53 empty] | 1.93 | Door Nudging Feature — With Buzzer: A buzzer sounds and the doors slowly close when they have remained open for longer than the preset period.
1.94 | Multi-beam Door Sensor: Multiple infrared-light beams cover at least 2/3 of the door height of the doors to detect passengers or objects as the doors close. | [53 empty] | 1.94 | Multi-beam Door Sensor: Multiple infrared-light beams cover at least 2/3 of the door height of the doors to detect passengers or objects as the doors close.
1.95 | Reopen with Hall Button: Closing doors can be reopened by pressing the hall button corresponding to the traveling direction of the car. | [53 empty] | 1.95 | Reopen with Hall Button: Closing doors can be reopened by pressing the hall button corresponding to the traveling direction of the car.
1.96 | Repeated Door-close: Should an obstacle prevent the doors from closing, the doors will repeatedly open and close until the obstacle is cleared from the doorway. | [53 empty] | 1.96 | Repeated Door-close: Should an obstacle prevent the doors from closing, the doors will repeatedly open and close until the obstacle is cleared from the doorway.
1.97 | Safety Door Edge: The sensitive door edge detects passengers or objects during door closing. | [53 empty] | 1.97 | Safety Door Edge: The sensitive door edge detects passengers or objects during door closing.
1.98 | Automatic Bypass: A fully-loaded car bypasses hall calls in order to maintain maximum operational efficiency. | [53 empty] | 1.98 | Automatic Bypass: A fully-loaded car bypasses hall calls in order to maintain maximum operational efficiency.
1.99 | Car Fan Shut Off — Automatic: If there are no calls for a specified period, the car ventilation fan will automatically turn off to conserve energy. | [53 empty] | 1.99 | Car Fan Shut Off — Automatic: If there are no calls for a specified period, the car ventilation fan will automatically turn off to conserve energy.
2 | Car Light Shut Off — Automatic: If there are no calls for a specified period, the car lighting will automatically turn off to Conserve energy. | [53 empty] | 2 | Car Light Shut Off — Automatic: If there are no calls for a specified period, the car lighting will automatically turn off to Conserve energy.
2.01 | False Call Canceling— Automatic: If the number of registered car calls does not Correspond to the car load, all calls are canceled to avoid unnecessary stops. | [53 empty] | 2.01 | False Call Canceling— Automatic: If the number of registered car calls does not Correspond to the car load, all calls are canceled to avoid unnecessary stops.
2.02 | False Call Canceling— Car Button Type: If a wrong car button is pressed, it can be canceled by quickly pressing the same button again twice. | [53 empty] | 2.02 | False Call Canceling— Car Button Type: If a wrong car button is pressed, it can be canceled by quickly pressing the same button again twice.
2.03 | Overload Holding Stop: A buzzer sounds to alert the passengers that the car is overloaded. The doors remain open and the car will not leave that floor until enough passengers exit the car. | [53 empty] | 2.03 | Overload Holding Stop: A buzzer sounds to alert the passengers that the car is overloaded. The doors remain open and the car will not leave that floor until enough passengers exit the car.
2.04 | Safe Landing Service: If a car has stopped between floors due to some equipment malfunction, the controller checks the cause, and if it is considered safe to move the car, the car will move to the nearest floor at a low speed and the doors will open. | [53 empty] | 2.04 | Safe Landing Service: If a car has stopped between floors due to some equipment malfunction, the controller checks the cause, and if it is considered safe to move the car, the car will move to the nearest floor at a low speed and the doors will open.
2.05 | Basic Announcement Electronic: A synthetic voice (and/or buzzer) alerts Passengers inside a car that elevator operation has been temporarily interrupted by overloading or a similar cause. (Should be in Hindi & English language.) | [53 empty] | 2.05 | Basic Announcement Electronic: A synthetic voice (and/or buzzer) alerts Passengers inside a car that elevator operation has been temporarily interrupted by overloading or a similar cause. (Should be in Hindi & English language.)
2.06 | LCD / LED Position Indicator: 5-7-inch LCD/LED/ TFT for car operating panels shows the date and time, car position, travel direction and elevator status messages. | [53 empty] | 2.06 | LCD / LED Position Indicator: 5-7-inch LCD/LED/ TFT for car operating panels shows the date and time, car position, travel direction and elevator status messages.
2.07 | Hall LCD / LED Position Indicator: Display 5-7-inch LCD / LED for elevator halls shows the date and time, car position, travel direction and elevator status messages. | [53 empty] | 2.07 | Hall LCD / LED Position Indicator: Display 5-7-inch LCD / LED for elevator halls shows the date and time, car position, travel direction and elevator status messages.
2.08 | Provision of CCTV including wiring: Yes | [53 empty] | 2.08 | Provision of CCTV including wiring: Yes
2.09 | Provision of Intercom including wiring with centralized features.:Yes | [53 empty] | 2.09 | Provision of Intercom including wiring with centralized features.:Yes
2.1 | Confirming to Quality Standard: IS/ISO-9001:2015 | [53 empty] | 2.1 | Confirming to Quality Standard: IS/ISO-9001:2015
2.11 | Provision of Floor announcement with all time music: Yes | [53 empty] | 2.11 | Provision of Floor announcement with all time music: Yes
2.12 | Provision of Single Phase/ phase failure sensing for ARD: Yes | [53 empty] | 2.12 | Provision of Single Phase/ phase failure sensing for ARD: Yes
2.13 | Provision of auto-correction of Phase reversal: Yes | [53 empty] | 2.13 | Provision of auto-correction of Phase reversal: Yes
2.14 | Lift as mentioned above | [53 empty] | 2.14 | Lift as mentioned above
2.15 | (* The bidders have to specify the make of the lift.) |  | 1 | Each | 1822033.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1822033.9 | 1822033.9 | INR Eighteen Lakh Twenty Two Thousand &Thirty Three and Paise Ninety Only | 2.15 | (* The bidders have to specify the make of the lift.) |  | 1 | Each
2.16 | Comprehensive annual maintenance contract of 13 passenger lift for 01 year ( Note: The Annual Maintenance of the lift shall be w.e.f after expiry of defect liability period of one year from the date of completion of work. |  | 1 | No. | 91101.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91101.6 | 91101.6 | INR Ninety One Thousand One Hundred & One and Paise Sixty Only | 2.16 | Comprehensive annual maintenance contract of 13 passenger lift for 01 year ( Note: The Annual Maintenance of the lift shall be w.e.f after expiry of defect liability period of one year from the date of completion of work. |  | 1 | No.
2.17 | Part-A : Supply of 02 Ton Freight elevator as per following techincal specifications, etc. complete as required. | [53 empty] | 2.17 | Part-A : Supply of 02 Ton Freight elevator as per following techincal specifications, etc. complete as required.
2.18 | Rated capacity (kg): 2000 kgs | [53 empty] | 2.18 | Rated capacity (kg): 2000 kgs
2.19 | Rated speed (m/sec): 1.0 M/Sec. | [53 empty] | 2.19 | Rated speed (m/sec): 1.0 M/Sec.
2.2 | Entrance & Opening : 04 floors( G+3) & 2 (Two), On Opposite Side | [53 empty] | 2.2 | Entrance & Opening : 04 floors( G+3) & 2 (Two), On Opposite Side
2.21 | Interior: Hairline finish Stainless Steel 304(1.5mm) | [53 empty] | 2.21 | Interior: Hairline finish Stainless Steel 304(1.5mm)
2.22 | Aluminium Cheq. Plate Flooring | [53 empty] | 2.22 | Aluminium Cheq. Plate Flooring
2.23 | Light & Fan: LED light / fan 300mm with grill 02 Nos | [53 empty] | 2.23 | Light & Fan: LED light / fan 300mm with grill 02 Nos
2.24 | Hall position indicators and buttons: Segment LED Indicators, Tactile button along with additional Braille inscriptions | [53 empty] | 2.24 | Hall position indicators and buttons: Segment LED Indicators, Tactile button along with additional Braille inscriptions
2.25 | Floor: G,1,2,3. | [53 empty] | 2.25 | Floor: G,1,2,3.
2.26 | Handrail system: SS Hand railing one side at left/right wall at least 30mm dia. | [53 empty] | 2.26 | Handrail system: SS Hand railing one side at left/right wall at least 30mm dia.
2.27 | Travel: As per site. | [53 empty] | 2.27 | Travel: As per site.
2.28 | Stops & Access Sides Inline/Thru Type: 04 floors( G+3), 2 (Two), On Opposite Side | [53 empty] | 2.28 | Stops & Access Sides Inline/Thru Type: 04 floors( G+3), 2 (Two), On Opposite Side
2.29 | Lift well size: 2850 mm(W)x 3050 mm(D)(without plaster) | [53 empty] | 2.29 | Lift well size: 2850 mm(W)x 3050 mm(D)(without plaster)
2.3 | Car size: 1750mm (W)x 2450 mm (D)x 2750 mm(H) | [53 empty] | 2.3 | Car size: 1750mm (W)x 2450 mm (D)x 2750 mm(H)
2.31 | Clear Opining of Doors : 1500mm(W) x 2400mm(H) | [53 empty] | 2.31 | Clear Opining of Doors : 1500mm(W) x 2400mm(H)
2.32 | Ventilation: As per manufacturer | [53 empty] | 2.32 | Ventilation: As per manufacturer
2.33 | Operation: Microprocessor based Simplex Collective Selective Control with/without Attendant. | [53 empty] | 2.33 | Operation: Microprocessor based Simplex Collective Selective Control with/without Attendant.
2.34 | Power Supply: 415 Volts ± 10%, 3 Phase, 50 Hz AC systems. | [53 empty] | 2.34 | Power Supply: 415 Volts ± 10%, 3 Phase, 50 Hz AC systems.
2.35 | Controller type: V3F (Variable Voltage Variable Frequency) | [53 empty] | 2.35 | Controller type: V3F (Variable Voltage Variable Frequency)
2.36 | Type of Machine: Gearless / Machine Room less. | [53 empty] | 2.36 | Type of Machine: Gearless / Machine Room less.
2.37 | Car Enclosure: Stainless steel 304(1.5mm) scratches proof (Hairline Finish) on all sides. | [53 empty] | 2.37 | Car Enclosure: Stainless steel 304(1.5mm) scratches proof (Hairline Finish) on all sides.
2.38 | Car door enclosure: Power operated Centre Opening 4 Panel Sliding Door stainless steel 304(1.5mm) hairline finish | [53 empty] | 2.38 | Car door enclosure: Power operated Centre Opening 4 Panel Sliding Door stainless steel 304(1.5mm) hairline finish
2.39 | Landing door enclosure: Power operated Centre Opening 4 Panel Sliding Door stainless steel 304(1.5mm) hairline finish | [53 empty] | 2.39 | Landing door enclosure: Power operated Centre Opening 4 Panel Sliding Door stainless steel 304(1.5mm) hairline finish
2.4 | Indicators (Car Landing): Digital Direction & Position Indicator | [53 empty] | 2.4 | Indicators (Car Landing): Digital Direction & Position Indicator
2.41 | Type of Doors:-(Car: Fire rated upto 120mins Centre Opening), (Landing doors: Fire rated upto 120mins Centre Opening) | [53 empty] | 2.41 | Type of Doors:-(Car: Fire rated upto 120mins Centre Opening), (Landing doors: Fire rated upto 120mins Centre Opening)
2.42 | Construction type: Machine Room less | [53 empty] | 2.42 | Construction type: Machine Room less
2.43 | Emergency Car Lighting: Car lighting which turns on immediately when power fails, providing a minimum level of lighting within the car. | [53 empty] | 2.43 | Emergency Car Lighting: Car lighting which turns on immediately when power fails, providing a minimum level of lighting within the car.
2.44 | Fire Emergency Return: Upon activation of a key switch or a building's fire alarm, all calls are canceled, all cars immediately return to a specified evacuation floor and the doors open to facilitate the safe evacuation of passengers. | [53 empty] | 2.44 | Fire Emergency Return: Upon activation of a key switch or a building's fire alarm, all calls are canceled, all cars immediately return to a specified evacuation floor and the doors open to facilitate the safe evacuation of passengers.
2.45 | Emergency Landing Device (Automatic rescue Device) with audio announcer: Upon power failure, a car equipped with this function automatically moves and stops at the nearest floor using a rechargeable battery, and the doors open to facilitate the safe evacuation of passengers with audio announcer. Dry type Battery (Maintenance Free) should be used for power backup. | [53 empty] | 2.45 | Emergency Landing Device (Automatic rescue Device) with audio announcer: Upon power failure, a car equipped with this function automatically moves and stops at the nearest floor using a rechargeable battery, and the doors open to facilitate the safe evacuation of passengers with audio announcer. Dry type Battery (Maintenance Free) should be used for power backup.
2.46 | Automatic Door Speed Control: Door load on each floor, which can depend on the type of hall doors, is monitored to adjust the door speed, thereby making the door speed consistent throughout all floors. | [53 empty] | 2.46 | Automatic Door Speed Control: Door load on each floor, which can depend on the type of hall doors, is monitored to adjust the door speed, thereby making the door speed consistent throughout all floors.
2.47 | Door Load Detector: When excessive door load has been detected while opening or closing, the doors Door Load Detector immediately reverse. | [53 empty] | 2.47 | Door Load Detector: When excessive door load has been detected while opening or closing, the doors Door Load Detector immediately reverse.
2.48 | Door Nudging Feature — With Buzzer: A buzzer sounds and the doors slowly close when they have remained open for longer than the preset period. | [53 empty] | 2.48 | Door Nudging Feature — With Buzzer: A buzzer sounds and the doors slowly close when they have remained open for longer than the preset period.
2.49 | Multi-beam Door Sensor: Multiple infrared-light beams cover at least 2/3 of the door height of the doors to detect passengers or objects as the doors close. | [53 empty] | 2.49 | Multi-beam Door Sensor: Multiple infrared-light beams cover at least 2/3 of the door height of the doors to detect passengers or objects as the doors close.
2.5 | Reopen with Hall Button: Closing doors can be reopened by pressing the hall button corresponding to the traveling direction of the car. | [53 empty] | 2.5 | Reopen with Hall Button: Closing doors can be reopened by pressing the hall button corresponding to the traveling direction of the car.
2.51 | Repeated Door-close: Should an obstacle prevent the doors from closing, the doors will repeatedly open and close until the obstacle is cleared from the doorway. | [53 empty] | 2.51 | Repeated Door-close: Should an obstacle prevent the doors from closing, the doors will repeatedly open and close until the obstacle is cleared from the doorway.
2.52 | Safety Door Edge: The sensitive door edge detects passengers or objects during door closing. | [53 empty] | 2.52 | Safety Door Edge: The sensitive door edge detects passengers or objects during door closing.
2.53 | Automatic Bypass: A fully-loaded car bypasses hall calls in order to maintain maximum operational efficiency. | [53 empty] | 2.53 | Automatic Bypass: A fully-loaded car bypasses hall calls in order to maintain maximum operational efficiency.
2.54 | Car Fan Shut Off — Automatic: If there are no calls for a specified period, the car ventilation fan will automatically turn off to conserve energy. | [53 empty] | 2.54 | Car Fan Shut Off — Automatic: If there are no calls for a specified period, the car ventilation fan will automatically turn off to conserve energy.
2.55 | Car Light Shut Off — Automatic: If there are no calls for a specified period, the car lighting will automatically turn off to Conserve energy. | [53 empty] | 2.55 | Car Light Shut Off — Automatic: If there are no calls for a specified period, the car lighting will automatically turn off to Conserve energy.
2.56 | False Call Canceling— Automatic: If the number of registered car calls does not Correspond to the car load, all calls are canceled to avoid unnecessary stops. | [53 empty] | 2.56 | False Call Canceling— Automatic: If the number of registered car calls does not Correspond to the car load, all calls are canceled to avoid unnecessary stops.
2.57 | False Call Canceling— Car Button Type: If a wrong car button is pressed, it can be canceled by quickly pressing the same button again twice. | [53 empty] | 2.57 | False Call Canceling— Car Button Type: If a wrong car button is pressed, it can be canceled by quickly pressing the same button again twice.
2.58 | Overload Holding Stop: A buzzer sounds to alert the passengers that the car is overloaded. The doors remain open and the car will not leave that floor until enough passengers exit the car. | [53 empty] | 2.58 | Overload Holding Stop: A buzzer sounds to alert the passengers that the car is overloaded. The doors remain open and the car will not leave that floor until enough passengers exit the car.
2.59 | Safe Landing Service: If a car has stopped between floors due to some equipment malfunction, the controller checks the cause, and if it is considered safe to move the car, the car will move to the nearest floor at a low speed and the doors will open. | [53 empty] | 2.59 | Safe Landing Service: If a car has stopped between floors due to some equipment malfunction, the controller checks the cause, and if it is considered safe to move the car, the car will move to the nearest floor at a low speed and the doors will open.
2.6 | Basic Announcement Electronic: A synthetic voice (and/or buzzer) alerts Passengers inside a car that elevator operation has been temporarily interrupted by overloading or a similar cause. (Should be in Hindi & English language.) | [53 empty] | 2.6 | Basic Announcement Electronic: A synthetic voice (and/or buzzer) alerts Passengers inside a car that elevator operation has been temporarily interrupted by overloading or a similar cause. (Should be in Hindi & English language.)
2.61 | LCD / LED Position Indicator: 5-7-inch LCD / LED for car operating panels shows the date and time, car position, travel direction and elevator status messages. | [53 empty] | 2.61 | LCD / LED Position Indicator: 5-7-inch LCD / LED for car operating panels shows the date and time, car position, travel direction and elevator status messages.
2.62 | Hall LCD / LED Position Indicator: Display 5-7-inch LCD / LED for elevator halls shows the date and time, car position, travel direction and elevator status messages. | [53 empty] | 2.62 | Hall LCD / LED Position Indicator: Display 5-7-inch LCD / LED for elevator halls shows the date and time, car position, travel direction and elevator status messages.
2.63 | Provision of CCTV including wiring: Yes | [53 empty] | 2.63 | Provision of CCTV including wiring: Yes
2.64 | Provision of Intercom including wiring with centralized features.:Yes | [53 empty] | 2.64 | Provision of Intercom including wiring with centralized features.:Yes
2.65 | Confirming to Quality Standard: IS/ISO-9001:2015 | [53 empty] | 2.65 | Confirming to Quality Standard: IS/ISO-9001:2015
2.66 | Provision of Floor announcement with all time music: Yes | [53 empty] | 2.66 | Provision of Floor announcement with all time music: Yes
2.67 | Provision of Single Phase/ phase failure sensing for ARD: Yes | [53 empty] | 2.67 | Provision of Single Phase/ phase failure sensing for ARD: Yes
2.68 | Provision of auto-correction of Phase reversal: Yes | [53 empty] | 2.68 | Provision of auto-correction of Phase reversal: Yes
2.69 | Lift as mentioned above | [53 empty] | 2.69 | Lift as mentioned above
2.7 | (* The bidders have to specify the make of the lift.) |  | 1 | Each | 4110169.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4110169.5 | 4110169.5 | INR Forty One Lakh Ten Thousand One Hundred & Sixty Nine and Paise Fifty Only | 2.7 | (* The bidders have to specify the make of the lift.) |  | 1 | Each
2.71 | Comprehensive annual maintenance contract of 02 Ton freight lift for 01 year ( Note: The Annual Maintenance of the lift shall be w.e.f after expiry of defect liability period of one year from the date of completion of work). |  | 1 | No. | 205508.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 205508.48 | 205508.48 | INR Two Lakh Five Thousand Five Hundred & Eight and Paise Forty Eight Only | 2.71 | Comprehensive annual maintenance contract of 02 Ton freight lift for 01 year ( Note: The Annual Maintenance of the lift shall be w.e.f after expiry of defect liability period of one year from the date of completion of work). |  | 1 | No.
Total in Figures | [51 empty] | 9167158 | 6228813.48 | Ninety One Lakh Sixty Seven Thousand One Hundred & Fifty Eight Only | Total in Figures
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | Quoted Rate in Figures |  |  |  | Select
Quoted Rate in Words |  | INR Zero Only | [52 empty] | Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information