## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Vertical extension of existing gymnasium facility at OSAC, IIT Kanpur (SH: Electrical works)
NIT No: Electrical/21/11/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 Sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 Sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | item no.1 | [52 empty] | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 Sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 Sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | item no.1
2 | Group 'C' | item no.2 | 125 | Pts | 1598.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 199803 | 199803 | INR One Lakh Ninety Nine Thousand Eight Hundred & Three Only | 2 | Group 'C' | item no.2 | 125 | Pts
3 | Wiring for twinn control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS insulated copper conductor single cable etc. as reqd.. |  | 2 | Pts | 1736.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3474 | 3474 | INR Three Thousand Four Hundred & Seventy Four Only | 3 | Wiring for twinn control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS insulated copper conductor single cable etc. as reqd.. |  | 2 | Pts
4 | Rewiring of light point/fan point/ exhaust point/ call bell point with 1.5 sq.mm. PVC insulated flexible copper conductor and earth wires (FR) cable in existing surface/recessed conduit I/c dismantling as reqd. | [53 empty] | 4 | Rewiring of light point/fan point/ exhaust point/ call bell point with 1.5 sq.mm. PVC insulated flexible copper conductor and earth wires (FR) cable in existing surface/recessed conduit I/c dismantling as reqd.
5 | Group 'A' |  | 2 | Pts | 503.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1007 | 1007 | INR One Thousand &Seven Only | 5 | Group 'A' |  | 2 | Pts
6 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor single core cable in / on the existing surface / recessed, PVC / steel conduit as reqd. | [53 empty] | 6 | Supplying & drawing following sizes of FRLS PVC insulated copper conductor single core cable in / on the existing surface / recessed, PVC / steel conduit as reqd.
7 | 1 x 1.5 Sq.mm.. |  | 5 | Mtr. | 39.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 197 | 197 | INR One Hundred & Ninety Seven Only | 7 | 1 x 1.5 Sq.mm.. |  | 5 | Mtr.
8 | 3 x 1.5 Sq.mm.. |  | 100 | Mtr. | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8330 | 8330 | INR Eight Thousand Three Hundred & Thirty Only | 8 | 3 x 1.5 Sq.mm.. |  | 100 | Mtr.
9 | 3 x 4 Sq.mm.. |  | 250 | Mtr. | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45155 | 45155 | INR Forty Five Thousand One Hundred & Fifty Five Only | 9 | 3 x 4 Sq.mm.. |  | 250 | Mtr.
10 | 3 x 6 Sqmm. |  | 60 | Mtr. | 266.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15993 | 15993 | INR Fifteen Thousand Nine Hundred & Ninety Three Only | 10 | 3 x 6 Sqmm. |  | 60 | Mtr.
11 | 6 x 16 Sqmm. |  | 50 | Mtr. | 1087 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 54350 | 54350 | INR Fifty Four Thousand Three Hundred & Fifty Only | 11 | 6 x 16 Sqmm. |  | 50 | Mtr.
12 | Supply and drawing of telephone wire of 2 pair 0.50 mm dia copper conductor FRLS PVC insulated unsheathed twisted wire in existing / surface concealed conduit as reqd. including numbering and connecting the wires at both the ends. |  | 50 | Mtr. | 33.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1666 | 1666 | INR One Thousand Six Hundred & Sixty Six Only | 12 | Supply and drawing of telephone wire of 2 pair 0.50 mm dia copper conductor FRLS PVC insulated unsheathed twisted wire in existing / surface concealed conduit as reqd. including numbering and connecting the wires at both the ends. |  | 50 | Mtr.
13 | S & F of following size of steel conduit along with the accessories in surface/recess I/c painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as reqd. | [53 empty] | 13 | S & F of following size of steel conduit along with the accessories in surface/recess I/c painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as reqd.
14 | 20 mm 16 SWG |  | 100 | Mtr. | 195.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19553 | 19553 | INR Nineteen Thousand Five Hundred & Fifty Three Only | 14 | 20 mm 16 SWG |  | 100 | Mtr.
15 | 25 mm 16 SWG |  | 250 | Mtr. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56115 | 56115 | INR Fifty Six Thousand One Hundred & Fifteen Only | 15 | 25 mm 16 SWG |  | 250 | Mtr.
16 | 32 mm 14 SWG |  | 50 | Mtr. | 285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14292 | 14292 | INR Fourteen Thousand Two Hundred & Ninety Two Only | 16 | 32 mm 14 SWG |  | 50 | Mtr.
17 | 40 mm 14 SWG |  | 10 | Mtr. | 412.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4121 | 4121 | INR Four Thousand One Hundred & Twenty One Only | 17 | 40 mm 14 SWG |  | 10 | Mtr.
18 | S& F following size/module, GI box along with modular base and cover plate for modular switches in recess as required. | [53 empty] | 18 | S& F following size/module, GI box along with modular base and cover plate for modular switches in recess as required.
19 | 1/2 module (1 or 2 module) |  | 5 | Nos. | 261.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1306 | 1306 | INR One Thousand Three Hundred & Six Only | 19 | 1/2 module (1 or 2 module) |  | 5 | Nos.
20 | 3 module |  | 12 | Nos. | 286.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3441 | 3441 | INR Three Thousand Four Hundred & Forty One Only | 20 | 3 module |  | 12 | Nos.
21 | 6 module |  | 20 | Nos. | 352.48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7050 | 7050 | INR Seven Thousand &Fifty Only | 21 | 6 module |  | 20 | Nos.
22 | 8 module |  | 2 | Nos. | 398.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 796 | 796 | INR Seven Hundred & Ninety Six Only | 22 | 8 module |  | 2 | Nos.
23 | 12 module |  | 2 | Nos. | 380.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 761 | 761 | INR Seven Hundred & Sixty One Only | 23 | 12 module |  | 2 | Nos.
24 | Supplyand & fixing following rating modular switch /socket /fan regulator on the existing modular plate / switch box I/c connection etc. but excluding modular plate as reqd. | [53 empty] | 24 | Supplyand & fixing following rating modular switch /socket /fan regulator on the existing modular plate / switch box I/c connection etc. but excluding modular plate as reqd.
25 | 5/6 amp one way switch |  | 35 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3161 | 3161 | INR Three Thousand One Hundred & Sixty One Only | 25 | 5/6 amp one way switch |  | 35 | Nos.
26 | 5/6 amp 2 way switch |  | 2 | Nos. | 129.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 260 | 260 | INR Two Hundred & Sixty Only | 26 | 5/6 amp 2 way switch |  | 2 | Nos.
27 | 15/16 amp one way switch |  | 20 | Nos. | 136.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2736 | 2736 | INR Two Thousand Seven Hundred & Thirty Six Only | 27 | 15/16 amp one way switch |  | 20 | Nos.
28 | 3/5 pin 5/6 Amp. Socket outlet. |  | 32 | Nos. | 106.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3423 | 3423 | INR Three Thousand Four Hundred & Twenty Three Only | 28 | 3/5 pin 5/6 Amp. Socket outlet. |  | 32 | Nos.
29 | 6 pin 15/16 Amp. Socket outlet |  | 20 | Nos. | 172.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3455 | 3455 | INR Three Thousand Four Hundred & Fifty Five Only | 29 | 6 pin 15/16 Amp. Socket outlet |  | 20 | Nos.
30 | Telephone scoket outlet |  | 2 | Nos. | 129.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 260 | 260 | INR Two Hundred & Sixty Only | 30 | Telephone scoket outlet |  | 2 | Nos.
31 | Electronic fan requlator 2 module stepped type |  | 21 | Nos. | 323.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6794 | 6794 | INR Six Thousand Seven Hundred & Ninety Four Only | 31 | Electronic fan requlator 2 module stepped type |  | 21 | Nos.
32 | Blanking |  | 5 | Nos. | 35.07 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175 | 175 | INR One Hundred & Seventy Five Only | 32 | Blanking |  | 5 | Nos.
33 | Ceiling rose 3-Pin, 5A |  | 130 | Nos. | 76.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9916 | 9916 | INR Nine Thousand Nine Hundred & Sixteen Only | 33 | Ceiling rose 3-Pin, 5A |  | 130 | Nos.
34 | Batten Holder/Angle Holder brass/bakelite type |  | 2 | Nos. | 114.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 230 | 230 | INR Two Hundred & Thirty Only | 34 | Batten Holder/Angle Holder brass/bakelite type |  | 2 | Nos.
35 | Supply,Installation,Testing and commissioning LED light fittings integrated (with lamps) or without lamps including connection,nut bolts,washer and screw etc. after removing old complete as requiired. | [53 empty] | 35 | Supply,Installation,Testing and commissioning LED light fittings integrated (with lamps) or without lamps including connection,nut bolts,washer and screw etc. after removing old complete as requiired.
36 | Batten fitting for single LED tube T8 (PC_Body) suitable Make_Crompton-(ECO-I) or approved make) |  | 5 | Nos. | 593 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2965 | 2965 | INR Two Thousand Nine Hundred & Sixty Five Only | 36 | Batten fitting for single LED tube T8 (PC_Body) suitable Make_Crompton-(ECO-I) or approved make) |  | 5 | Nos.
37 | Batten fitting for double LED tube 2xT8 (PC_Body) Make_Crompton-(ECO-I) or approved make) |  | 35 | Nos. | 627 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21945 | 21945 | INR Twenty One Thousand Nine Hundred & Forty Five Only | 37 | Batten fitting for double LED tube 2xT8 (PC_Body) Make_Crompton-(ECO-I) or approved make) |  | 35 | Nos.
38 | LED Ceiling Light 10watt FR-plastic_housing (round/square shape), Make_Crompton-Royal Rimless-R (Cat No. LCRP-10-CDL) or approved Make. |  | 4 | Nos. | 661 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2644 | 2644 | INR Two Thousand Six Hundred & Forty Four Only | 38 | LED Ceiling Light 10watt FR-plastic_housing (round/square shape), Make_Crompton-Royal Rimless-R (Cat No. LCRP-10-CDL) or approved Make. |  | 4 | Nos.
39 | LED Ceiling Light 15watt FR-plastic_housing (round/square shape), Make_Crompton-Royal Rimless-R (Cat No. LCRP-15-CDL) or approved Make. |  | 6 | Nos. | 828 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4968 | 4968 | INR Four Thousand Nine Hundred & Sixty Eight Only | 39 | LED Ceiling Light 15watt FR-plastic_housing (round/square shape), Make_Crompton-Royal Rimless-R (Cat No. LCRP-15-CDL) or approved Make. |  | 6 | Nos.
40 | LED Mirror Light 9 watt, 900lm, 2 ft long, Make_Philips (Astra line) or approved Make. |  | 20 | Nos. | 561 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11220 | 11220 | INR Eleven Thousand Two Hundred & Twenty Only | 40 | LED Mirror Light 9 watt, 900lm, 2 ft long, Make_Philips (Astra line) or approved Make. |  | 20 | Nos.
41 | LED Bulkhead fitting 6.5 -7 watt, 700lm, IP65 Make- Philips(Vistaglow) (Cat No. WT140W LED7S CW PSU S1 PC) or approved Make. |  | 2 | No. | 861 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1722 | 1722 | INR One Thousand Seven Hundred & Twenty Two Only | 41 | LED Bulkhead fitting 6.5 -7 watt, 700lm, IP65 Make- Philips(Vistaglow) (Cat No. WT140W LED7S CW PSU S1 PC) or approved Make. |  | 2 | No.
42 | LED Street light fitting 25 watt (Bracket type), =>100lm/w,IP65 Make_Crompton (CatNo.LSTS-25-CDL/NL-M) or approved Make. |  | 2 | Nos. | 1672 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3344 | 3344 | INR Three Thousand Three Hundred & Forty Four Only | 42 | LED Street light fitting 25 watt (Bracket type), =>100lm/w,IP65 Make_Crompton (CatNo.LSTS-25-CDL/NL-M) or approved Make. |  | 2 | Nos.
43 | Supply, Fixing,Testing and commissioning of following lamps in existing old fittngs including connection etc. complete as required. | [53 empty] | 43 | Supply, Fixing,Testing and commissioning of following lamps in existing old fittngs including connection etc. complete as required.
44 | LED Tube rod 20 watt Make _philips steller Bright or approved |  | 75 | Nos. | 291 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21825 | 21825 | INR Twenty One Thousand Eight Hundred & Twenty Five Only | 44 | LED Tube rod 20 watt Make _philips steller Bright or approved |  | 75 | Nos.
45 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. |  | 200 | Sq.in. | 3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 600 | 600 | INR Six Hundred Only | 45 | S & F 3 mm thick phenolic laminated sheet on existing board with brass screw & cup washer etc as reqd. |  | 200 | Sq.in.
46 | S & F MCB of following pole and rating 240/415 volts 'C' series in the existing MCB DB complete with connection, testing & commissioning etc as reqd.( legrand) | [53 empty] | 46 | S & F MCB of following pole and rating 240/415 volts 'C' series in the existing MCB DB complete with connection, testing & commissioning etc as reqd.( legrand)
47 | Single Pole 6 amp to 32 amp |  | 80 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17957 | 17957 | INR Seventeen Thousand Nine Hundred & Fifty Seven Only | 47 | Single Pole 6 amp to 32 amp |  | 80 | Nos.
48 | TP MCB 40-63 MCB |  | 1 | Nos. | 1230 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1230 | 1230 | INR One Thousand Two Hundred & Thirty Only | 48 | TP MCB 40-63 MCB |  | 1 | Nos.
49 | TPN MCB 40-63 MCB |  | 2 | Nos. | 1572 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3144 | 3144 | INR Three Thousand One Hundred & Forty Four Only | 49 | TPN MCB 40-63 MCB |  | 2 | Nos.
50 | Supplying and fixing following rating and pole, 240/440 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 50 | Supplying and fixing following rating and pole, 240/440 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required.
51 | 25-32 amp double pole RCCB |  | 6 | Nos. | 1895 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11370 | 11370 | INR Eleven Thousand Three Hundred & Seventy Only | 51 | 25-32 amp double pole RCCB |  | 6 | Nos.
52 | 40 amp double pole RCCB |  | 2 | Nos. | 2212 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4424 | 4424 | INR Four Thousand Four Hundred & Twenty Four Only | 52 | 40 amp double pole RCCB |  | 2 | Nos.
53 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | [53 empty] | 53 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
54 | 12-way , Double door |  | 2 | Nos. | 2029.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4060 | 4060 | INR Four Thousand &Sixty Only | 54 | 12-way , Double door |  | 2 | Nos.
55 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) | [53 empty] | 55 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
56 | 12 way (4+36), Double door |  | 2 | No. | 7354 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14708 | 14708 | INR Fourteen Thousand Seven Hundred & Eight Only | 56 | 12 way (4+36), Double door |  | 2 | No.
57 | S & F metal enclosure for DP/FP MCB/ ELCB on surface/recessed etc as reqd. |  | 2 | Nos. | 756 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1512 | 1512 | INR One Thousand Five Hundred & Twelve Only | 57 | S & F metal enclosure for DP/FP MCB/ ELCB on surface/recessed etc as reqd. |  | 2 | Nos.
58 | Supplying and fixing 20 amps 240 volts, SPN industrial type, socket outlet with 2 pole earthing metal enclosure, metal plug top,along with 20 amps, 10 KA,SP MCB on surface or in recess with chained cover for the socket outlet and complete as reqd. |  | 2 | Nos. | 1421.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2843 | 2843 | INR Two Thousand Eight Hundred & Forty Three Only | 58 | Supplying and fixing 20 amps 240 volts, SPN industrial type, socket outlet with 2 pole earthing metal enclosure, metal plug top,along with 20 amps, 10 KA,SP MCB on surface or in recess with chained cover for the socket outlet and complete as reqd. |  | 2 | Nos.
59 | Supply and fizing DP sheet steel metal enclosure on surface recessed alongwith 32 A, 230 volts "C curved DP MCB complete with connections,testing and commsiioing etc. as required. |  | 2 | Nos. | 1024.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2050 | 2050 | INR Two Thousand &Fifty Only | 59 | Supply and fizing DP sheet steel metal enclosure on surface recessed alongwith 32 A, 230 volts "C curved DP MCB complete with connections,testing and commsiioing etc. as required. |  | 2 | Nos.
60 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweeps, alluminium die cast body , copper wound, double bearing, less 70 watts 220 volts 50 Hz without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. ( ISI marked.) | [53 empty] | 60 | Supply, Installation, testing & commissioning of AC ceiling fan of following sweeps, alluminium die cast body , copper wound, double bearing, less 70 watts 220 volts 50 Hz without regulator I/c wiring the down rods of standard length up to 30 cm with 1.5 sq.mm. PVC insulated copper conductor single core cable etc as reqd. ( ISI marked.)
61 | 1200 mm Make_Bajaj Kassels/or approved Make. |  | 3 | Nos. | 1960 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5880 | 5880 | INR Five Thousand Eight Hundred & Eighty Only | 61 | 1200 mm Make_Bajaj Kassels/or approved Make. |  | 3 | Nos.
62 | 1400 mm Make_Bajaj Kassels/or approved Make. |  | 18 | Nos. | 2244 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40392 | 40392 | INR Forty Thousand Three Hundred & Ninety Two Only | 62 | 1400 mm Make_Bajaj Kassels/or approved Make. |  | 18 | Nos.
63 | Supplying, fixing, connecting, commissioning & testing of wall mounted fan 400mm (16") hiflow wave model with rag bolts etc. as reqd. |  | 20 | Nos. | 2519 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50380 | 50380 | INR Fifty Thousand Three Hundred & Eighty Only | 63 | Supplying, fixing, connecting, commissioning & testing of wall mounted fan 400mm (16") hiflow wave model with rag bolts etc. as reqd. |  | 20 | Nos.
64 | Supply, Installation,testing and commissioning of exhaust fan of following sizes,1Ǿ AC power supply,50 Hz in the existing opening I/c connection,rag bolts complete as reqd. | [53 empty] | 64 | Supply, Installation,testing and commissioning of exhaust fan of following sizes,1Ǿ AC power supply,50 Hz in the existing opening I/c connection,rag bolts complete as reqd.
65 | 380 mm 6_pole |  | 2 | Nos. | 3249 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6498 | 6498 | INR Six Thousand Four Hundred & Ninety Eight Only | 65 | 380 mm 6_pole |  | 2 | Nos.
66 | 450 mm 6_pole |  | 8 | Nos. | 4146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33168 | 33168 | INR Thirty Three Thousand One Hundred & Sixty Eight Only | 66 | 450 mm 6_pole |  | 8 | Nos.
67 | Supply and fixing of louver for exhaust fan of following sizes with rag bolts as reqd. | [53 empty] | 67 | Supply and fixing of louver for exhaust fan of following sizes with rag bolts as reqd.
68 | 15" |  | 2 | Nos. | 861 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1722 | 1722 | INR One Thousand Seven Hundred & Twenty Two Only | 68 | 15" |  | 2 | Nos.
69 | 18" |  | 8 | Nos. | 1000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8000 | 8000 | INR Eight Thousand Only | 69 | 18" |  | 8 | Nos.
70 | Supplying and fixing of 32 mm dia X 1.50 metres long G.I. pipe (medium class) bracket for mounting street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. |  | 2 | Nos. | 762 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1524 | 1524 | INR One Thousand Five Hundred & Twenty Four Only | 70 | Supplying and fixing of 32 mm dia X 1.50 metres long G.I. pipe (medium class) bracket for mounting street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. |  | 2 | Nos.
71 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete. |  | 16 | Nos. | 163.04 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2609 | 2609 | INR Two Thousand Six Hundred & Nine Only | 71 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete. |  | 16 | Nos.
72 | Supply installation,testing and commissioning of circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S.sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws,one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard drawing. |  | 5 | Each | 162.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 812 | 812 | INR Eight Hundred & Twelve Only | 72 | Supply installation,testing and commissioning of circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S.sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws,one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard drawing. |  | 5 | Each
73 | Earthing with G.I earth pipe 4.5 metre long 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. |  | 2 | Each | 6010.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12021 | 12021 | INR Twelve Thousand &Twenty One Only | 73 | Earthing with G.I earth pipe 4.5 metre long 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. |  | 2 | Each
74 | Providing & fixing 25mm x 5mm GI earth strip on surface / recessed for conneectons etc. as required. |  | 40 | Mtrs. | 213.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8558 | 8558 | INR Eight Thousand Five Hundred & Fifty Eight Only | 74 | Providing & fixing 25mm x 5mm GI earth strip on surface / recessed for conneectons etc. as required. |  | 40 | Mtrs.
75 | Providing and fixing 25 mm x 5 mm GI strip in 40 mm dia GI pipe from earth electrode with GI nut , bolt,spring washer excavation and refilling etc. as reqd. |  | 15 | Mtrs. | 1359.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20399 | 20399 | INR Twenty Thousand Three Hundred & Ninety Nine Only | 75 | Providing and fixing 25 mm x 5 mm GI strip in 40 mm dia GI pipe from earth electrode with GI nut , bolt,spring washer excavation and refilling etc. as reqd. |  | 15 | Mtrs.
76 | Providing & fixing of size 32 mm x 12.5 mm. DLP mini trunking system with independent cover as reqd. |  | 40 | Mtrs | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5600 | 5600 | INR Five Thousand Six Hundred Only | 76 | Providing & fixing of size 32 mm x 12.5 mm. DLP mini trunking system with independent cover as reqd. |  | 40 | Mtrs
77 | Providing & fixing accessories for 32 mm x 12.5 mm size of DLP mini trunking system as reqd. | [53 empty] | 77 | Providing & fixing accessories for 32 mm x 12.5 mm size of DLP mini trunking system as reqd.
78 | Flat junction |  | 5 | Nos. | 96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 480 | 480 | INR Four Hundred & Eighty Only | 78 | Flat junction |  | 5 | Nos.
79 | Changeable flat angle |  | 15 | Nos. | 74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1110 | 1110 | INR One Thousand One Hundred & Ten Only | 79 | Changeable flat angle |  | 15 | Nos.
80 | Changeable internal /External angle |  | 20 | Nos. | 66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1320 | 1320 | INR One Thousand Three Hundred & Twenty Only | 80 | Changeable internal /External angle |  | 20 | Nos.
81 | End cap left or right |  | 10 | Nos. | 50 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 500 | 500 | INR Five Hundred Only | 81 | End cap left or right |  | 10 | Nos.
82 | Providing & fixing of size 32 mm x 20 mm. DLP mini trunking system with independent cover as reqd. |  | 50 | Mtrs | 179 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8950 | 8950 | INR Eight Thousand Nine Hundred & Fifty Only | 82 | Providing & fixing of size 32 mm x 20 mm. DLP mini trunking system with independent cover as reqd. |  | 50 | Mtrs
83 | Providing & fixing accessories for 32 mm x 20 mm size of DLP mini trunking system as reqd. | [53 empty] | 83 | Providing & fixing accessories for 32 mm x 20 mm size of DLP mini trunking system as reqd.
84 | Flat junction |  | 5 | Nos. | 94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 470 | 470 | INR Four Hundred & Seventy Only | 84 | Flat junction |  | 5 | Nos.
85 | Changeable flat angle |  | 20 | Nos. | 80 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1600 | 1600 | INR One Thousand Six Hundred Only | 85 | Changeable flat angle |  | 20 | Nos.
86 | Changeable internal /External angle |  | 30 | Nos. | 96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2880 | 2880 | INR Two Thousand Eight Hundred & Eighty Only | 86 | Changeable internal /External angle |  | 30 | Nos.
87 | End cap left or right |  | 10 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1000 | 1000 | INR One Thousand Only | 87 | End cap left or right |  | 10 | Nos.
88 | Providing & fixing of 105 mm x 50 mm size of DLP trunking on surface with suitable plug & screws as reqd. |  | 45 | Mtrs. | 735 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 33075 | 33075 | INR Thirty Three Thousand &Seventy Five Only | 88 | Providing & fixing of 105 mm x 50 mm size of DLP trunking on surface with suitable plug & screws as reqd. |  | 45 | Mtrs.
89 | Providing & fixing of accessories for 105 mm x 50 mm size of DLP trunking system as reqd. | [53 empty] | 89 | Providing & fixing of accessories for 105 mm x 50 mm size of DLP trunking system as reqd.
90 | Flexible cover for 85 mm width |  | 45 | Mtr | 334 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15030 | 15030 | INR Fifteen Thousand &Thirty Only | 90 | Flexible cover for 85 mm width |  | 45 | Mtr
91 | Partition |  | 30 | Mtr | 213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6390 | 6390 | INR Six Thousand Three Hundred & Ninety Only | 91 | Partition |  | 30 | Mtr
92 | Flat junction |  | 5 | Nos. | 397 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1985 | 1985 | INR One Thousand Nine Hundred & Eighty Five Only | 92 | Flat junction |  | 5 | Nos.
93 | Flat angle |  | 5 | Nos. | 524 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2620 | 2620 | INR Two Thousand Six Hundred & Twenty Only | 93 | Flat angle |  | 5 | Nos.
94 | Internal angle adjustable from 80 - 100 |  | 5 | Nos. | 383 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1915 | 1915 | INR One Thousand Nine Hundred & Fifteen Only | 94 | Internal angle adjustable from 80 - 100 |  | 5 | Nos.
95 | External angle adjustable from 60 - 120 |  | 5 | Nos. | 374 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1870 | 1870 | INR One Thousand Eight Hundred & Seventy Only | 95 | External angle adjustable from 60 - 120 |  | 5 | Nos.
96 | Base Joint |  | 5 | Nos. | 78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 390 | 390 | INR Three Hundred & Ninety Only | 96 | Base Joint |  | 5 | Nos.
97 | cover Joint for 85 mm width |  | 25 | Nos. | 173 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4325 | 4325 | INR Four Thousand Three Hundred & Twenty Five Only | 97 | cover Joint for 85 mm width |  | 25 | Nos.
98 | Base Clips |  | 50 | Nos. | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3600 | 3600 | INR Three Thousand Six Hundred Only | 98 | Base Clips |  | 50 | Nos.
99 | End Caps |  | 4 | Nos. | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 604 | 604 | INR Six Hundred & Four Only | 99 | End Caps |  | 4 | Nos.
100 | S&L one no. HDPE pipe size inner dia. 32 mm andsuitable for 6 kg pressure as per specification. | [53 empty] | 100 | S&L one no. HDPE pipe size inner dia. 32 mm andsuitable for 6 kg pressure as per specification.
101 | In ground i/c excavation sand cushioning protective covering, refilling of earth as reqd. |  | 5 | Mtr. | 269 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1345 | 1345 | INR One Thousand Three Hundred & Forty Five Only | 101 | In ground i/c excavation sand cushioning protective covering, refilling of earth as reqd. |  | 5 | Mtr.
102 | Fixing on surface with MS clamp |  | 5 | Mtr. | 81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 405 | 405 | INR Four Hundred & Five Only | 102 | Fixing on surface with MS clamp |  | 5 | Mtr.
103 | In existing pipe |  | 5 | Mtr. | 76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 380 | 380 | INR Three Hundred & Eighty Only | 103 | In existing pipe |  | 5 | Mtr.
104 | In existing open duct. |  | 5 | Mtr. | 68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 340 | 340 | INR Three Hundred & Forty Only | 104 | In existing open duct. |  | 5 | Mtr.
105 | Dismantling of switch board/MS/PVC boxes of any size up to 250x300x100 mm on surface/ recessed including making good and painting with enamel paint etc as reqd |  | 3 | Nos. | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207 | 207 | INR Two Hundred & Seven Only | 105 | Dismantling of switch board/MS/PVC boxes of any size up to 250x300x100 mm on surface/ recessed including making good and painting with enamel paint etc as reqd |  | 3 | Nos.
106 | Dismantling the old wood batten/PVC casing caping of all sizes from surface & making good the damages I/c filling the holes of the surface and depositing the same as reqd. |  | 10 | Mtr. | 7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70 | 70 | INR Seventy Only | 106 | Dismantling the old wood batten/PVC casing caping of all sizes from surface & making good the damages I/c filling the holes of the surface and depositing the same as reqd. |  | 10 | Mtr.
107 | Dismantling, disconnecting 3x1.5 /2.5 /4.0 /6.0 /10.0 sqmm wire from existing conduit pipe casing and caping and making role and depositing in store as reqd. |  | 20 | Mtr. | 4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 80 | 80 | INR Eighty Only | 107 | Dismantling, disconnecting 3x1.5 /2.5 /4.0 /6.0 /10.0 sqmm wire from existing conduit pipe casing and caping and making role and depositing in store as reqd. |  | 20 | Mtr.
108 | Drawing of optical/ RG-6 cable / network cable/ wiring cable/ telephone cable in existing surface /concealed conduits reqd. |  | 300 | Mtrs | 19 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5700 | 5700 | INR Five Thousand Seven Hundred Only | 108 | Drawing of optical/ RG-6 cable / network cable/ wiring cable/ telephone cable in existing surface /concealed conduits reqd. |  | 300 | Mtrs
109 | Fixing of PVC / MS / data box/ router of any size on surface/recessed including rag bolts etc. Complete as required. |  | 4 | Nos. | 89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356 | 356 | INR Three Hundred & Fifty Six Only | 109 | Fixing of PVC / MS / data box/ router of any size on surface/recessed including rag bolts etc. Complete as required. |  | 4 | Nos.
110 | Supply and fixing of 24 Hrs Timer Maxirex 4QTB with IP53 Box including connection etc. complete as required. |  | 1 | No. | 4476 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4476 | 4476 | INR Four Thousand Four Hundred & Seventy Six Only | 110 | Supply and fixing of 24 Hrs Timer Maxirex 4QTB with IP53 Box including connection etc. complete as required. |  | 1 | No.
Total in Figures | [51 empty] | 903387 | #REF! | Nine Lakh Three Thousand Three Hundred & Eighty Seven Only | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [52 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information