## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Various renovation and repairing works in Type-3, Type-4 and Type-6 houses at IIT Kanpur
NIT No: Civil/13/12/2023-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1
2 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 2 | By Mechanical Transport including loading,unloading and stacking | item no.2
3 | Lime, moorum, building rubbish Lead - 2 km |  | 10 | cum | 143.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1431 | 1431 | INR One Thousand Four Hundred & Thirty One Only | 3 | Lime, moorum, building rubbish Lead - 2 km |  | 10 | cum
4 | CEMENT CONCRETE (CAST IN SITU) | [53 empty] | 4 | CEMENT CONCRETE (CAST IN SITU)
5 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 5 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
6 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.3 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1937 | 1937 | INR One Thousand Nine Hundred & Thirty Seven Only | 6 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.3 | cum
7 | REINFORCED CEMENT CONCRETE | [53 empty] | 7 | REINFORCED CEMENT CONCRETE
8 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 4.02 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37783 | 37783 | INR Thirty Seven Thousand Seven Hundred & Eighty Three Only | 8 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). |  | 4.02 | cum
9 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 9 | Centering and shuttering including strutting, propping etc. and removal of form for
10 | Suspended floors, roofs, landings, balconies and access platform |  | 29.5 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19828 | 19828 | INR Nineteen Thousand Eight Hundred & Twenty Eight Only | 10 | Suspended floors, roofs, landings, balconies and access platform |  | 29.5 | sqm
11 | Lintels, beams, plinth beams, girders, bressumers and cantilevers |  | 0.2 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 107 | 107 | INR One Hundred & Seven Only | 11 | Lintels, beams, plinth beams, girders, bressumers and cantilevers |  | 0.2 | sqm
12 | Shelves (Cast in situ) |  | 5 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3361 | 3361 | INR Three Thousand Three Hundred & Sixty One Only | 12 | Shelves (Cast in situ) |  | 5 | sqm
13 | Edges of slabs and breaks in floors and walls | [53 empty] | 13 | Edges of slabs and breaks in floors and walls
14 | Under 20 cm wide |  | 14 | metre | 159.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2233 | 2233 | INR Two Thousand Two Hundred & Thirty Three Only | 14 | Under 20 cm wide |  | 14 | metre
15 | Steel reinforcement for R.C.C. work ready to use "cut and bend" rebars of approved make from factory/workshop to construction site including placing in position and binding all complete above plinth level. | [53 empty] | 15 | Steel reinforcement for R.C.C. work ready to use "cut and bend" rebars of approved make from factory/workshop to construction site including placing in position and binding all complete above plinth level.
16 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 60 | kg | 72.91 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4375 | 4375 | INR Four Thousand Three Hundred & Seventy Five Only | 16 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 60 | kg
17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | [53 empty] | 17 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.
18 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 281 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22089 | 22089 | INR Twenty Two Thousand &Eighty Nine Only | 18 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 281 | kg
19 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. |  | 6 | metre | 56.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 340 | 340 | INR Three Hundred & Forty Only | 19 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C. projections. |  | 6 | metre
20 | MASONRY WORK | [53 empty] | 20 | MASONRY WORK
21 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 21 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :
22 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 1.4 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10174 | 10174 | INR Ten Thousand One Hundred & Seventy Four Only | 22 | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 1.4 | cum
23 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 23 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.
24 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 1.5 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1339 | 1339 | INR One Thousand Three Hundred & Thirty Nine Only | 24 | Cement mortar 1:4 (1 cement :4 coarse sand) |  | 1.5 | sqm
25 | STEEL WORK | [53 empty] | 25 | STEEL WORK
26 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. | [53 empty] | 26 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.
27 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 7 | sqm | 4192.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 29345 | 29345 | INR Twenty Nine Thousand Three Hundred & Forty Five Only | 27 | Using M.S. angels 40x40x6 mm for diagonal braces |  | 7 | sqm
28 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 28 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.
29 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 30 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3743 | 3743 | INR Three Thousand Seven Hundred & Forty Three Only | 29 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 30 | kg
30 | CLADDING WORK | [53 empty] | 30 | CLADDING WORK
31 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | [53 empty] | 31 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels.
32 | Granite stone slab colour black, Cherry/Ruby red | [53 empty] | 32 | Granite stone slab colour black, Cherry/Ruby red
33 | Area of slab over 0.50 sqm |  | 6.85 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26579 | 26579 | INR Twenty Six Thousand Five Hundred & Seventy Nine Only | 33 | Area of slab over 0.50 sqm |  | 6.85 | sqm
34 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 23.5 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21912 | 21912 | INR Twenty One Thousand Nine Hundred & Twelve Only | 34 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. |  | 23.5 | sqm
35 | WOOD AND P. V. C. WORK | [53 empty] | 35 | WOOD AND P. V. C. WORK
36 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | [53 empty] | 36 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.
37 | Fixed to steel windows by welding |  | 15 | kg | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2381 | 2381 | INR Two Thousand Three Hundred & Eighty One Only | 37 | Fixed to steel windows by welding |  | 15 | kg
38 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete : | [53 empty] | 38 | Providing and fixing ISI marked oxidised M.S. tower bolt black finish, (Barrel type) with necessary screws etc. complete :
39 | 150x10 mm |  | 1 | each | 46.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47 | 47 | INR Forty Seven Only | 39 | 150x10 mm |  | 1 | each
40 | 100x10 mm |  | 2 | each | 34.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 69 | 69 | INR Sixty Nine Only | 40 | 100x10 mm |  | 2 | each
41 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | [53 empty] | 41 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete :
42 | 100 mm |  | 2 | each | 24.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50 | 50 | INR Fifty Only | 42 | 100 mm |  | 2 | each
43 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 43 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :
44 | 150x10 mm |  | 1 | each | 66.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 66 | 66 | INR Sixty Six Only | 44 | 150x10 mm |  | 1 | each
45 | 100x10 mm |  | 2 | each | 51.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 103 | 103 | INR One Hundred & Three Only | 45 | 100x10 mm |  | 2 | each
46 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 46 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :
47 | 100 mm |  | 2 | each | 46.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 93 | 93 | INR Ninety Three Only | 47 | 100 mm |  | 2 | each
48 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | [53 empty] | 48 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete.
49 | Twin rubber stopper |  | 1 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55 | 55 | INR Fifty Five Only | 49 | Twin rubber stopper |  | 1 | each
50 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. | [53 empty] | 50 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete.
51 | With 2nd class teak wood beading 62X19 mm |  | 3.75 | sqm | 1231.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4617 | 4617 | INR Four Thousand Six Hundred & Seventeen Only | 51 | With 2nd class teak wood beading 62X19 mm |  | 3.75 | sqm
52 | FLOORING | [53 empty] | 52 | FLOORING
53 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. | [53 empty] | 53 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.
54 | Double charge vitrified tile polished finish of size | [53 empty] | 54 | Double charge vitrified tile polished finish of size
55 | Size of Tile 600 x 600 mm |  | 80 | sqm | 1128.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90248 | 90248 | INR Ninety Thousand Two Hundred & Forty Eight Only | 55 | Size of Tile 600 x 600 mm |  | 80 | sqm
56 | Glazed Vitrified tiles Matt/Antiskid finish of size | [53 empty] | 56 | Glazed Vitrified tiles Matt/Antiskid finish of size
57 | Size of Tile 600 x 600 mm |  | 20 | sqm | 1149.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22991 | 22991 | INR Twenty Two Thousand Nine Hundred & Ninety One Only | 57 | Size of Tile 600 x 600 mm |  | 20 | sqm
58 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. | [53 empty] | 58 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete.
59 | Size of Tile 600x600 mm |  | 9.5 | sqm | 1285.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12215 | 12215 | INR Twelve Thousand Two Hundred & Fifteen Only | 59 | Size of Tile 600x600 mm |  | 9.5 | sqm
60 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | [53 empty] | 60 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
61 | 40 mm thick with 20 mm nominal size stone aggregate |  | 36 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17203 | 17203 | INR Seventeen Thousand Two Hundred & Three Only | 61 | 40 mm thick with 20 mm nominal size stone aggregate |  | 36 | sqm
62 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | [53 empty] | 62 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
63 | 18 mm thick |  | 2 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1001 | 1001 | INR One Thousand &One Only | 63 | 18 mm thick |  | 2 | sqm
64 | ROOFING | [53 empty] | 64 | ROOFING
65 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : | [53 empty] | 65 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design :
66 | In 75x75 mm deep chase |  | 9.5 | metre | 228.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2167 | 2167 | INR Two Thousand One Hundred & Sixty Seven Only | 66 | In 75x75 mm deep chase |  | 9.5 | metre
67 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. |  | 2 | each | 233.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 468 | 468 | INR Four Hundred & Sixty Eight Only | 67 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. |  | 2 | each
68 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. | [53 empty] | 68 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.
69 | 110 mm diameter |  | 6 | metre | 280.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1682 | 1682 | INR One Thousand Six Hundred & Eighty Two Only | 69 | 110 mm diameter |  | 6 | metre
70 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. | [53 empty] | 70 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion.
71 | Single tee without door | [53 empty] | 71 | Single tee without door
72 | 110x110x110 mm |  | 2 | each | 167.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 335 | 335 | INR Three Hundred & Thirty Five Only | 72 | 110x110x110 mm |  | 2 | each
73 | Shoe (Plain) | [53 empty] | 73 | Shoe (Plain)
74 | 110 mm Shoe |  | 2 | each | 101.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 203 | 203 | INR Two Hundred & Three Only | 74 | 110 mm Shoe |  | 2 | each
75 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. | [53 empty] | 75 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete.
76 | 110 mm |  | 4 | each | 271.37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1085 | 1085 | INR One Thousand &Eighty Five Only | 76 | 110 mm |  | 4 | each
77 | FINISHING | [53 empty] | 77 | FINISHING
78 | 12 mm cement plaster of mix : | [53 empty] | 78 | 12 mm cement plaster of mix :
79 | 1:6 (1 cement: 6 coarse sand) |  | 12 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3097 | 3097 | INR Three Thousand &Ninety Seven Only | 79 | 1:6 (1 cement: 6 coarse sand) |  | 12 | sqm
80 | 15 mm cement plaster on rough side of single or half brick wall of mix: | [53 empty] | 80 | 15 mm cement plaster on rough side of single or half brick wall of mix:
81 | 1:6 (1 cement: 6 coarse sand) |  | 13 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3865 | 3865 | INR Three Thousand Eight Hundred & Sixty Five Only | 81 | 1:6 (1 cement: 6 coarse sand) |  | 13 | sqm
82 | 6 mm cement plaster of mix : | [53 empty] | 82 | 6 mm cement plaster of mix :
83 | 1:3 (1 cement : 3 fine sand) |  | 35 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7766 | 7766 | INR Seven Thousand Seven Hundred & Sixty Six Only | 83 | 1:3 (1 cement : 3 fine sand) |  | 35 | sqm
84 | 6 mm cement plaster 1:3 (1 cement : 3 fine sand) finished with a floating coat of neat cement and thick coat of Lime wash on top of walls when dry for bearing of R.C.C. slabs and beams. |  | 3.5 | sqm | 293.03 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1026 | 1026 | INR One Thousand &Twenty Six Only | 84 | 6 mm cement plaster 1:3 (1 cement : 3 fine sand) finished with a floating coat of neat cement and thick coat of Lime wash on top of walls when dry for bearing of R.C.C. slabs and beams. |  | 3.5 | sqm
85 | Neat cement punning. |  | 10 | sqm | 59.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 595 | 595 | INR Five Hundred & Ninety Five Only | 85 | Neat cement punning. |  | 10 | sqm
86 | White washing with lime to give an even shade : | [53 empty] | 86 | White washing with lime to give an even shade :
87 | New work (three or more coats) |  | 30 | sqm | 28.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 854 | 854 | INR Eight Hundred & Fifty Four Only | 87 | New work (three or more coats) |  | 30 | sqm
88 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 88 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
89 | Two or more coats on new work |  | 1255 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102057 | 102057 | INR One Lakh Two Thousand &Fifty Seven Only | 89 | Two or more coats on new work |  | 1255 | sqm
90 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: | [53 empty] | 90 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade:
91 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 15 | sqm | 142.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2135 | 2135 | INR Two Thousand One Hundred & Thirty Five Only | 91 | New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) |  | 15 | sqm
92 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 92 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
93 | Two or more coats on new work |  | 16 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1844 | 1844 | INR One Thousand Eight Hundred & Forty Four Only | 93 | Two or more coats on new work |  | 16 | sqm
95 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture |  | 3.2 | sqm | 167.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 537 | 537 | INR Five Hundred & Thirty Seven Only | 95 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture |  | 3.2 | sqm
96 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 421 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 45716 | 45716 | INR Forty Five Thousand Seven Hundred & Sixteen Only | 96 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 421 | sqm
97 | White washing with lime to give an even shade : | [53 empty] | 97 | White washing with lime to give an even shade :
98 | Old work (two or more coats) |  | 621 | sqm | 16.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10346 | 10346 | INR Ten Thousand Three Hundred & Forty Six Only | 98 | Old work (two or more coats) |  | 621 | sqm
99 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete |  | 621 | sqm | 14.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8905 | 8905 | INR Eight Thousand Nine Hundred & Five Only | 99 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete |  | 621 | sqm
100 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | [53 empty] | 100 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :
101 | Old work (one or more coats) |  | 20 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 996 | 996 | INR Nine Hundred & Ninety Six Only | 101 | Old work (one or more coats) |  | 20 | sqm
102 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 421 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7696 | 7696 | INR Seven Thousand Six Hundred & Ninety Six Only | 102 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 421 | sqm
103 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 103 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
104 | One or more coats on old work |  | 634 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48114 | 48114 | INR Forty Eight Thousand One Hundred & Fourteen Only | 104 | One or more coats on old work |  | 634 | sqm
105 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade | [53 empty] | 105 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade
106 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). |  | 190 | sqm | 64.97 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12344 | 12344 | INR Twelve Thousand Three Hundred & Forty Four Only | 106 | Old work (one or more coats applied @ 0.83 ltr/10 sqm). |  | 190 | sqm
107 | REPAIRS TO BUILDING | [53 empty] | 107 | REPAIRS TO BUILDING
108 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 108 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
109 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 20 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8382 | 8382 | INR Eight Thousand Three Hundred & Eighty Two Only | 109 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 20 | sqm
110 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 110 | Fixing chowkhats in existing opening including embedding chowkhats in floors or walls cutting masonry for holdfasts, embedding hold fasts in cement concrete blocks of size 15 x 10 x 10 cm with cement concrete 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size), painting two coats of approved wood preservative to sides of chowkhats and making good the damages to walls and floors as required complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
111 | Window chowkhats |  | 2 | each | 831.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1663 | 1663 | INR One Thousand Six Hundred & Sixty Three Only | 111 | Window chowkhats |  | 2 | each
112 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 100 | sqm | 2.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 218 | 218 | INR Two Hundred & Eighteen Only | 112 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 100 | sqm
113 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 6 | each | 250.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1503 | 1503 | INR One Thousand Five Hundred & Three Only | 113 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 6 | each
114 | Door chowkhats |  | 2 | each | 1319.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2640 | 2640 | INR Two Thousand Six Hundred & Forty Only | 114 | Door chowkhats |  | 2 | each
115 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 36 | sqm | 2.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 90 | 90 | INR Ninety Only | 115 | Hacking of CC flooring including cleaning for surface etc. complete as per direction of the Engineer-in-Charge. |  | 36 | sqm
116 | Dismantling and Demolishing | [53 empty] | 116 | Dismantling and Demolishing
117 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 117 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
118 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 1.51 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2657 | 2657 | INR Two Thousand Six Hundred & Fifty Seven Only | 118 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 1.51 | cum
119 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 0.3 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 326 | 326 | INR Three Hundred & Twenty Six Only | 119 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 0.3 | cum
120 | Demolishing R.B. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in- charge. |  | 3.77 | cum | 2296.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8659 | 8659 | INR Eight Thousand Six Hundred & Fifty Nine Only | 120 | Demolishing R.B. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in- charge. |  | 3.77 | cum
121 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 0.4 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1027 | 1027 | INR One Thousand &Twenty Seven Only | 121 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 0.4 | cum
122 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. |  | 0.8 | sqm | 830.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 664 | 664 | INR Six Hundred & Sixty Four Only | 122 | Extra for cutting reinforcement bars manually/ by mechanical means in R.C.C. or R.B. work (Payment shall be made on the cross sectional area of R.C.C. or R.B. work) as per direction of Engineer- in-charge. |  | 0.8 | sqm
123 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 123 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
124 | In cement mortar |  | 0.4 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 596 | 596 | INR Five Hundred & Ninety Six Only | 124 | In cement mortar |  | 0.4 | cum
125 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. |  | 112 | kg | 26.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2980 | 2980 | INR Two Thousand Nine Hundred & Eighty Only | 125 | Dismantling barbed wire or flexible wire rope in fencing including making rolls and stacking within 50 metres lead. |  | 112 | kg
126 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : | [53 empty] | 126 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead :
127 | Of area 3 sq. metres and below |  | 2 | each | 265.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 531 | 531 | INR Five Hundred & Thirty One Only | 127 | Of area 3 sq. metres and below |  | 2 | each
128 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | [53 empty] | 128 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead :
129 | Of area 3 sq. metres and below |  | 2 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207 | 207 | INR Two Hundred & Seven Only | 129 | Of area 3 sq. metres and below |  | 2 | each
130 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 29 | sqm | 39.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1146 | 1146 | INR One Thousand One Hundred & Forty Six Only | 130 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 29 | sqm
131 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 7 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1346 | 1346 | INR One Thousand Three Hundred & Forty Six Only | 131 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 7 | cum
132 | ROAD WORK | [53 empty] | 132 | ROAD WORK
133 | Fencing with R.C.C. post placed at required distance, embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post one side only, provided with horizontal lines and two diagonals of barbed wire weighing 9.38 kg per 100 metres (minimum), between the two posts fitted and fixed with G.I. staples on wooden plugs or G.I. binding wire tied to 6 mm bar nibs fixed while casting the post (cost of R.C.C. posts, struts, earth work and concrete to be paid for separately) :- Payment to be made per metre cost of total length of barbed wire used. | [53 empty] | 133 | Fencing with R.C.C. post placed at required distance, embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post one side only, provided with horizontal lines and two diagonals of barbed wire weighing 9.38 kg per 100 metres (minimum), between the two posts fitted and fixed with G.I. staples on wooden plugs or G.I. binding wire tied to 6 mm bar nibs fixed while casting the post (cost of R.C.C. posts, struts, earth work and concrete to be paid for separately) :- Payment to be made per metre cost of total length of barbed wire used.
134 | With G.I. barbed wire |  | 1200 | metre | 10.92 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13104 | 13104 | INR Thirteen Thousand One Hundred & Four Only | 134 | With G.I. barbed wire |  | 1200 | metre
135 | SANITARY INSTALLATIONS | [53 empty] | 135 | SANITARY INSTALLATIONS
136 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 136 | Providing and fixing soil, waste and vent pipes :
137 | 100 mm dia | [53 empty] | 137 | 100 mm dia
138 | Sand cast iron S&S pipe as per IS: 1729 |  | 1.8 | metre | 782.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1409 | 1409 | INR One Thousand Four Hundred & Nine Only | 138 | Sand cast iron S&S pipe as per IS: 1729 |  | 1.8 | metre
139 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 139 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :
140 | 100 mm |  | 1 | each | 422.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 423 | 423 | INR Four Hundred & Twenty Three Only | 140 | 100 mm |  | 1 | each
141 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 141 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors :
142 | 100 mm inlet and 100 mm outlet | [53 empty] | 142 | 100 mm inlet and 100 mm outlet
143 | Sand Cast Iron S&S as per IS: 1729 |  | 1 | each | 1078.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1079 | 1079 | INR One Thousand &Seventy Nine Only | 143 | Sand Cast Iron S&S as per IS: 1729 |  | 1 | each
144 | WATER SUPPLY | [53 empty] | 144 | WATER SUPPLY
145 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall | [53 empty] | 145 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall
146 | 20 mm nominal dia Pipes |  | 2.5 | metre | 285.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 713 | 713 | INR Seven Hundred & Thirteen Only | 146 | 20 mm nominal dia Pipes |  | 2.5 | metre
147 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. | [53 empty] | 147 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.
148 | 20 mm nominal dia Pipes |  | 2 | metre | 450.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 901 | 901 | INR Nine Hundred & One Only | 148 | 20 mm nominal dia Pipes |  | 2 | metre
149 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work | [53 empty] | 149 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work
150 | 40 mm nominal dia Pipes |  | 1.5 | metre | 490.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 735 | 735 | INR Seven Hundred & Thirty Five Only | 150 | 40 mm nominal dia Pipes |  | 1.5 | metre
151 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | [53 empty] | 151 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms.
152 | 15 mm nominal bore |  | 2 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1242 | 1242 | INR One Thousand Two Hundred & Forty Two Only | 152 | 15 mm nominal bore |  | 2 | each
153 | Cutting holes up to 30x30 cm in walls including making good the same: | [53 empty] | 153 | Cutting holes up to 30x30 cm in walls including making good the same:
154 | With common burnt clay F.P.S. (non modular) bricks |  | 1 | each | 278.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 279 | 279 | INR Two Hundred & Seventy Nine Only | 154 | With common burnt clay F.P.S. (non modular) bricks |  | 1 | each
155 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. |  | 16 | metre | 150.64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2410 | 2410 | INR Two Thousand Four Hundred & Ten Only | 155 | Making chases up to 7.5x7.5 cm in walls including making good and finishing with matching surface after housing G.I. pipe etc. |  | 16 | metre
156 | ALUMINIUM WORK | [53 empty] | 156 | ALUMINIUM WORK
157 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | [53 empty] | 157 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :
158 | For fixed portion | [53 empty] | 158 | For fixed portion
159 | Powder coated aluminium (minimum thickness of powder coating 50 micron) |  | 20 | kg | 408.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8177 | 8177 | INR Eight Thousand One Hundred & Seventy Seven Only | 159 | Powder coated aluminium (minimum thickness of powder coating 50 micron) |  | 20 | kg
160 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) | [53 empty] | 160 | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately)
161 | Powder coated aluminium (minimum thickness of powder coating 50 micron) |  | 30 | kg | 495.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14857 | 14857 | INR Fourteen Thousand Eight Hundred & Fifty Seven Only | 161 | Powder coated aluminium (minimum thickness of powder coating 50 micron) |  | 30 | kg
162 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | [53 empty] | 162 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):
163 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) |  | 1.75 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2034 | 2034 | INR Two Thousand &Thirty Four Only | 163 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) |  | 1.75 | sqm
164 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete. | [53 empty] | 164 | Providing and fixing stainless steel (SS 304 grade) adjustable friction windows stays of approved quality with necessary stainless steel screws etc. to the side hung windows as per direction of Engineer- in-charge complete.
165 | 255 X 19 mm |  | 6 | each | 288.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1732 | 1732 | INR One Thousand Seven Hundred & Thirty Two Only | 165 | 255 X 19 mm |  | 6 | each
166 | WATER PROOFING | [53 empty] | 166 | WATER PROOFING
167 | Grading roof for water proofing treatment with | [53 empty] | 167 | Grading roof for water proofing treatment with
168 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) |  | 1.4 | cum | 6585.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9220 | 9220 | INR Nine Thousand Two Hundred & Twenty Only | 168 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) |  | 1.4 | cum
169 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  | 505 | sqm | 415.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 209949 | 209949 | INR Two Lakh Nine Thousand Nine Hundred & Forty Nine Only | 169 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. |  | 505 | sqm
170 | MINOR CIVIL MAINTENANCE WORK | [53 empty] | 170 | MINOR CIVIL MAINTENANCE WORK
171 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 0.2 | Cum | 5045.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1009 | 1009 | INR One Thousand &Nine Only | 171 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 0.2 | Cum
172 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 2 | Each | 58.66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 117 | 117 | INR One Hundred & Seventeen Only | 172 | "Providing and fixing C.P. grating with or without hole for waste pipe for floor/ nahani trap 100 mm dia. weight not less than 100 grams. |  | 2 | Each
173 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 2 | Each | 15.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32 | 32 | INR Thirty Two Only | 173 | "Providing and fixing C.P flange for C.P bib cock/C.P angle stop cock. |  | 2 | Each
174 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " |  | 1 | One Job | 99931.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 99932 | 99932 | INR Ninety Nine Thousand Nine Hundred & Thirty Two Only | 174 | "Construction of Modular kitchen in Type - III houses. 1 Meta Drawer 1 each 470*500*86 mm 2 Perforated Cutlery 1 each 470*485*100 mm 3 Thali Basket 1 each 470*485*140 mm 4 Corner 1 each Blank 5 Drawer Basket 2 each 420*485*140 mm 6 Drawer Basket 2 each 420*485*140 mm 7 Rack 1 each 100*485*420 mm 8 Glass & Plate Rack including Drip Tray 1 each 560*230*25/65 mm 9 Marble 12 each 10 Wooden Partition 4 each 11 Full extention ball bearing sliding telescopic 7 set 12 Solid Shutters 6 sqm 13 Glass Shutters 0.4 sqm 14 Auto Closing Concealed Hinges 6 15 Auto Closing Concealed Special Corner Hinges 2 each 16 Handles 16 each 17 Hardware (Screws counter sunk, Connect Fastners, Tags) 18 Fixing & Installation of the complete modular kitchen. " |  | 1 | One Job
175 | Construction of modular kitchen as per approved design in type IV. 1. Base Unit. (Empty Box) 400 mm 2. Base Unit. (Drawer Basket) 380*485*140 mm 3. Base Unit.(Meta Drawer)m 530*500*86 mm Grain Trolly Basket with porter 520*485*190 mm 4. Base Unit ( Perforated Cutlery)380*485*100 mm Drawer Basket 380*485*100 mm Thali Basket 380*485*140 mm 5. Base Unit.(Bottle P. O. 2 S) 100*485*420 mm 6. Base Unit.( Empty Box) 440 mm - 7. Base Unit (Perforated Cutlery) 420*485*100 mm Drawer Basket each 1 420*485*100 mm Drawer Basket each 1 420*485*140 mm 8. Base Unit. Drawer Basket 420*485*140 mm 9. Base Unit Empty Box 440 mm - 10. Base Unit (Rack) 11.Base Unit Empty Box 12. Base Unit Empty Box 13. Marble for Partition 14.Full extention ball bearing sliding telescopic. 15. Wall Unit (Glass & Plate Rack including Drip Tray.) 16. Wall Unit (Glass Shutters) 17. Solid Shutters 18. Auto Closing Concealed Hinges 19. Handles 20. Hardware (Screws counter sunk, Connect Fastners, Tags) 21.Fixing & Installation of the complete modular kitchen. |  | 1 | One | 132266.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 132266 | 132266 | INR One Lakh Thirty Two Thousand Two Hundred & Sixty Six Only | 175 | Construction of modular kitchen as per approved design in type IV. 1. Base Unit. (Empty Box) 400 mm 2. Base Unit. (Drawer Basket) 380*485*140 mm 3. Base Unit.(Meta Drawer)m 530*500*86 mm Grain Trolly Basket with porter 520*485*190 mm 4. Base Unit ( Perforated Cutlery)380*485*100 mm Drawer Basket 380*485*100 mm Thali Basket 380*485*140 mm 5. Base Unit.(Bottle P. O. 2 S) 100*485*420 mm 6. Base Unit.( Empty Box) 440 mm - 7. Base Unit (Perforated Cutlery) 420*485*100 mm Drawer Basket each 1 420*485*100 mm Drawer Basket each 1 420*485*140 mm 8. Base Unit. Drawer Basket 420*485*140 mm 9. Base Unit Empty Box 440 mm - 10. Base Unit (Rack) 11.Base Unit Empty Box 12. Base Unit Empty Box 13. Marble for Partition 14.Full extention ball bearing sliding telescopic. 15. Wall Unit (Glass & Plate Rack including Drip Tray.) 16. Wall Unit (Glass Shutters) 17. Solid Shutters 18. Auto Closing Concealed Hinges 19. Handles 20. Hardware (Screws counter sunk, Connect Fastners, Tags) 21.Fixing & Installation of the complete modular kitchen. |  | 1 | One
176 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. |  | 10 | Each | 325.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3252 | 3252 | INR Three Thousand Two Hundred & Fifty Two Only | 176 | Providing and fixing Single point locking handles "PULSE" (aluminium & zamak) ( PL205H / Model) of LGF Sysmac ( I ) Pvt. Ltd. or equivalent make as approved powder coated to required colour or shade including the cost of screw and other incidental charges complete as per manufacturers specification. |  | 10 | Each
177 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 177 | NEW TECHNOLOGIES AND MATERIALS
178 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge | [53 empty] | 178 | Chipping of unsound/weak concrete material from slabs, beams, columns etc. with manual Chisel and/ or by standard power driven percussion type or of approved make including tapering of all edges, making square shoulders of cavities including cleaning the exposed concrete surface and reinforcement with wire brushes etc. and disposal of debris for all lead and lifts all complete as per direction of Engineer-In-Charge
179 | 25 mm average thickness |  | 8 | sqm | 91.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 734 | 734 | INR Seven Hundred & Thirty Four Only | 179 | 25 mm average thickness |  | 8 | sqm
180 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge. | [53 empty] | 180 | Cleaning of reinforcement from rust from the reinforcing bars to give it a total rust free steel surface by using alkaline chemical rust remover of approved make with paint brush and removing loose particles after 24 hours of its application with wire brush and thoroughly washing with water and allowing it to dry, all complete as per direction of Engineer-In-Charge.
181 | Bars upto 12 mm diameter |  | 30 | metre | 5.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 175 | 175 | INR One Hundred & Seventy Five Only | 181 | Bars upto 12 mm diameter |  | 30 | metre
182 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect. | [53 empty] | 182 | Providing, mixing and applying bonding coat of approved adhesive on chipped portion of RCC as per specifications and direction of Engineer-In-charge complete in all respect.
183 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer |  | 8 | sqm | 103.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 826 | 826 | INR Eight Hundred & Twenty Six Only | 183 | SBR Polymer (@10% of cement weight) modified cementitious bond coat @ 2.2 kg cement per sqm of surface area mixed with specified proportion of approved polymer |  | 8 | sqm
Total in Figures | [51 empty] | 1142790 | #REF! | Eleven Lakh Forty Two Thousand Seven Hundred & Ninety Only | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [52 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information