## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Modification works in the structural lab of Aerospace Engineering, IIT Kanpur (SH: Civil & Electrical)
NIT No: Composite/15/02/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1
2 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 2 | By Mechanical Transport including loading,unloading and stacking | item no.2
3 | Earth Lead - 1 km |  | 23 | cum | 158.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3638 | 3638 | INR Three Thousand Six Hundred & Thirty Eight Only | 3 | Earth Lead - 1 km |  | 23 | cum
4 | Bricks Lead - 1 km |  | 8400 | 1000 Nos | 337.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2834 | 2834 | INR Two Thousand Eight Hundred & Thirty Four Only | 4 | Bricks Lead - 1 km |  | 8400 | 1000 Nos
5 | EARTH WORK | [53 empty] | 5 | EARTH WORK
6 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | [53 empty] | 6 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
7 | All kinds of soil. |  | 23 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5785 | 5785 | INR Five Thousand Seven Hundred & Eighty Five Only | 7 | All kinds of soil. |  | 23 | cum
8 | REINFORCED CEMENT CONCRETE | [53 empty] | 8 | REINFORCED CEMENT CONCRETE
9 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | [53 empty] | 9 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level :
10 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) |  | 14 | cum | 7333.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102673 | 102673 | INR One Lakh Two Thousand Six Hundred & Seventy Three Only | 10 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) |  | 14 | cum
11 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : | [53 empty] | 11 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement :
12 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natu- ral sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.6 | cum | 8930.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5358 | 5358 | INR Five Thousand Three Hundred & Fifty Eight Only | 12 | 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natu- ral sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 0.6 | cum
13 | Centering and shuttering including strutting, propping etc. and removal of form for | [53 empty] | 13 | Centering and shuttering including strutting, propping etc. and removal of form for
14 | Columns, Pillars, Piers, Abutments, Posts and Struts |  | 9 | sqm | 705.17 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6347 | 6347 | INR Six Thousand Three Hundred & Forty Seven Only | 14 | Columns, Pillars, Piers, Abutments, Posts and Struts |  | 9 | sqm
15 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 15 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.
16 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 1063 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83562 | 83562 | INR Eighty Three Thousand Five Hundred & Sixty Two Only | 16 | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 1063 | kg
17 | MASONRY WORK | [53 empty] | 17 | MASONRY WORK
18 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in : | [53 empty] | 18 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in :
19 | cement mortar 1:4 (1 cement : 4 coarse sand) |  | 17.5 | sqm | 734.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12856 | 12856 | INR Twelve Thousand Eight Hundred & Fifty Six Only | 19 | cement mortar 1:4 (1 cement : 4 coarse sand) |  | 17.5 | sqm
20 | FLOORING | [53 empty] | 20 | FLOORING
21 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. |  | 9 | sqm | 750.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6754 | 6754 | INR Six Thousand Seven Hundred & Fifty Four Only | 21 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. |  | 9 | sqm
22 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | [53 empty] | 22 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement.
23 | 18 mm thick |  | 11 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5505 | 5505 | INR Five Thousand Five Hundred & Five Only | 23 | 18 mm thick |  | 11 | sqm
24 | FINISHING | [53 empty] | 24 | FINISHING
25 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | [53 empty] | 25 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification.
26 | Two or more coats on new work |  | 100 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8132 | 8132 | INR Eight Thousand One Hundred & Thirty Two Only | 26 | Two or more coats on new work |  | 100 | sqm
27 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 100 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10859 | 10859 | INR Ten Thousand Eight Hundred & Fifty Nine Only | 27 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. |  | 100 | sqm
28 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | [53 empty] | 28 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade :
29 | Old work (one or more coats) |  | 622 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30976 | 30976 | INR Thirty Thousand Nine Hundred & Seventy Six Only | 29 | Old work (one or more coats) |  | 622 | sqm
30 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 70 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1280 | 1280 | INR One Thousand Two Hundred & Eighty Only | 30 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. |  | 70 | sqm
31 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 31 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade :
32 | One or more coats on old work |  | 50 | sqm | 75.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3795 | 3795 | INR Three Thousand Seven Hundred & Ninety Five Only | 32 | One or more coats on old work |  | 50 | sqm
33 | REPAIRS TO BUILDING | [53 empty] | 33 | REPAIRS TO BUILDING
34 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | [53 empty] | 34 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge.
35 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 30 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12573 | 12573 | INR Twelve Thousand Five Hundred & Seventy Three Only | 35 | With cement mortar 1:4 (1cement: 4 coarse sand) |  | 30 | sqm
36 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 7 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2001 | 2001 | INR Two Thousand &One Only | 36 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. |  | 7 | each
37 | Dismantling and Demolishing | [53 empty] | 37 | Dismantling and Demolishing
38 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 38 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
39 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 9 | cum | 1759.84 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15839 | 15839 | INR Fifteen Thousand Eight Hundred & Thirty Nine Only | 39 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) |  | 9 | cum
40 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 2.2 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2391 | 2391 | INR Two Thousand Three Hundred & Ninety One Only | 40 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) |  | 2.2 | cum
41 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 1.5 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3851 | 3851 | INR Three Thousand Eight Hundred & Fifty One Only | 41 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. |  | 1.5 | cum
42 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 42 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.
43 | In cement mortar |  | 24 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35741 | 35741 | INR Thirty Five Thousand Seven Hundred & Forty One Only | 43 | In cement mortar |  | 24 | cum
44 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 44 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.
45 | For thickness of tiles 10 mm to 25 mm |  | 62 | sqm | 53.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3289 | 3289 | INR Three Thousand Two Hundred & Eighty Nine Only | 45 | For thickness of tiles 10 mm to 25 mm |  | 62 | sqm
46 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. |  | 139 | sqm | 40.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5667 | 5667 | INR Five Thousand Six Hundred & Sixty Seven Only | 46 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. |  | 139 | sqm
47 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 40 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7693 | 7693 | INR Seven Thousand Six Hundred & Ninety Three Only | 47 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. |  | 40 | cum
48 | NEW TECHNOLOGIES AND MATERIALS | [53 empty] | 48 | NEW TECHNOLOGIES AND MATERIALS
49 | Fixing of available aluminium partition, door/window / ventilator including necessary filling up the gaps at junctions, C.P. Brass / Stainless steel screws , all complete as per direction of Engineer-in-Charge. |  | 10 | Sqm | 306.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3069 | 3069 | INR Three Thousand &Sixty Nine Only | 49 | Fixing of available aluminium partition, door/window / ventilator including necessary filling up the gaps at junctions, C.P. Brass / Stainless steel screws , all complete as per direction of Engineer-in-Charge. |  | 10 | Sqm
50 | MINOR CIVIL MAINTENANCE WORK: | [53 empty] | 50 | MINOR CIVIL MAINTENANCE WORK:
51 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 2.25 | Cum | 4985.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11218 | 11218 | INR Eleven Thousand Two Hundred & Eighteen Only | 51 | "Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources: 10 graded brick aggregate 40 mm nominal size derived from natural sources) |  | 2.25 | Cum
52 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. | [53 empty] | 52 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
53 | 3 x 1.5 sq. mm |  | 75 | Metre | 83.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6248 | 6248 | INR Six Thousand Two Hundred & Forty Eight Only | 53 | 3 x 1.5 sq. mm |  | 75 | Metre
54 | 3 x 4 sq. mm |  | 25 | Metre | 180.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4516 | 4516 | INR Four Thousand Five Hundred & Sixteen Only | 54 | 3 x 4 sq. mm |  | 25 | Metre
55 | 6 x 6 sq. mm |  | 360 | Metre | 524.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 188759 | 188759 | INR One Lakh Eighty Eight Thousand Seven Hundred & Fifty Nine Only | 55 | 6 x 6 sq. mm |  | 360 | Metre
56 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. |  | 15 | Meter | 228.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3433 | 3433 | INR Three Thousand Four Hundred & Thirty Three Only | 56 | Supply and fixing of 32 x 20 mm DLP mini- trunking white-system with independent cover etc. as required complete. |  | 15 | Meter
57 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system. | [53 empty] | 57 | Supply and fixing of following accessories suitable for 32 mm x 20 mm size plastic trunking white system.
58 | End cap |  | 2 | Nos. | 151.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 303 | 303 | INR Three Hundred & Three Only | 58 | End cap |  | 2 | Nos.
59 | internal / external angle |  | 4 | Nos. | 146.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 586 | 586 | INR Five Hundred & Eighty Six Only | 59 | internal / external angle |  | 4 | Nos.
60 | changeable flat angle |  | 3 | Nos. | 123.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 371 | 371 | INR Three Hundred & Seventy One Only | 60 | changeable flat angle |  | 3 | Nos.
61 | flat junction |  | 1 | Nos. | 144.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 145 | 145 | INR One Hundred & Forty Five Only | 61 | flat junction |  | 1 | Nos.
62 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. |  | 55 | Meter | 980.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 53915 | 53915 | INR Fifty Three Thousand Nine Hundred & Fifteen Only | 62 | Supply and fixing of 105 x 50 mm DLP trunking white-system but without cover and partition etc. as required complete. |  | 55 | Meter
63 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system. | [53 empty] | 63 | Supply and fixing of following accessories suitable for 105 mm x 50 mm size plastic trunking white system.
64 | 85 mm flexible cover |  | 54 | Meter | 432.27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23343 | 23343 | INR Twenty Three Thousand Three Hundred & Forty Three Only | 64 | 85 mm flexible cover |  | 54 | Meter
65 | End cap |  | 8 | Nos. | 194.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1557 | 1557 | INR One Thousand Five Hundred & Fifty Seven Only | 65 | End cap |  | 8 | Nos.
66 | Internal angles- adjustable from 80°-100° |  | 4 | Nos. | 539.24 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2157 | 2157 | INR Two Thousand One Hundred & Fifty Seven Only | 66 | Internal angles- adjustable from 80°-100° |  | 4 | Nos.
67 | external angles- adjustable from 60°-120° |  | 4 | Nos. | 551.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2206 | 2206 | INR Two Thousand Two Hundred & Six Only | 67 | external angles- adjustable from 60°-120° |  | 4 | Nos.
68 | flat junction |  | 5 | Nos. | 939.06 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4695 | 4695 | INR Four Thousand Six Hundred & Ninety Five Only | 68 | flat junction |  | 5 | Nos.
69 | flat angles |  | 4 | Nos. | 762.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3051 | 3051 | INR Three Thousand &Fifty One Only | 69 | flat angles |  | 4 | Nos.
70 | separation partitions |  | 10 | Meter | 260.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2604 | 2604 | INR Two Thousand Six Hundred & Four Only | 70 | separation partitions |  | 10 | Meter
71 | Joints for 85mm width cover |  | 27 | Nos. | 224.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6060 | 6060 | INR Six Thousand &Sixty Only | 71 | Joints for 85mm width cover |  | 27 | Nos.
72 | base joints |  | 54 | Nos. | 90.31 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4877 | 4877 | INR Four Thousand Eight Hundred & Seventy Seven Only | 72 | base joints |  | 54 | Nos.
73 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. |  | 14 | Nos. | 910.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12742 | 12742 | INR Twelve Thousand Seven Hundred & Forty Two Only | 73 | S & F metal enclosure suitable for DP/TPN MCB / DP ELCB on surface or recessed etc as reqd. |  | 14 | Nos.
74 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | [53 empty] | 74 | Supplying and fixing following rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
75 | Triple pole 5 A to 32 A |  | 14 | No. | 882.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12361 | 12361 | INR Twelve Thousand Three Hundred & Sixty One Only | 75 | Triple pole 5 A to 32 A |  | 14 | No.
76 | Triple pole and neutral 5 A to 32 A |  | 14 | No. | 1076.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15074 | 15074 | INR Fifteen Thousand &Seventy Four Only | 76 | Triple pole and neutral 5 A to 32 A |  | 14 | No.
77 | Dismantling the old conduit pipe/wood batten of all sizes from surface/recessed & making good the damages I/c filling the holes of the surface etc as reqd. and depositing it in sectional store. |  | 70 | Meter | 31.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2210 | 2210 | INR Two Thousand Two Hundred & Ten Only | 77 | Dismantling the old conduit pipe/wood batten of all sizes from surface/recessed & making good the damages I/c filling the holes of the surface etc as reqd. and depositing it in sectional store. |  | 70 | Meter
78 | Fixing 20/25/32 mm conduit pipe/ DLP on surface with clamp/in recessed only conduit pipe supplied by department.(Free of cost) |  | 10 | Meter | 115.74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1157 | 1157 | INR One Thousand One Hundred & Fifty Seven Only | 78 | Fixing 20/25/32 mm conduit pipe/ DLP on surface with clamp/in recessed only conduit pipe supplied by department.(Free of cost) |  | 10 | Meter
79 | Fixing MS Box up to 250 x 300 x100 mm including pole fuse box and painting. with enamel paint as reqd |  | 15 | Nos. | 296.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4445 | 4445 | INR Four Thousand Four Hundred & Forty Five Only | 79 | Fixing MS Box up to 250 x 300 x100 mm including pole fuse box and painting. with enamel paint as reqd |  | 15 | Nos.
80 | Dismantling concealed & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the sectional store repairing the damages as reqd complete. |  | 10 | Nos. | 244.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2446 | 2446 | INR Two Thousand Four Hundred & Forty Six Only | 80 | Dismantling concealed & damaged DB/TPN Switches/starter/ loose wire boxes along with all accessories and depositing the same in the sectional store repairing the damages as reqd complete. |  | 10 | Nos.
81 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd. | [53 empty] | 81 | Supplying, installation of Clip-on frame with finishing plate for 85mm cover for DLP plastic trunking 105mm x 50mm etc. as reqd.
82 | 2 module |  | 3 | Nos. | 226.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 679 | 679 | INR Six Hundred & Seventy Nine Only | 82 | 2 module |  | 3 | Nos.
83 | 3 module |  | 8 | Nos. | 301.62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2413 | 2413 | INR Two Thousand Four Hundred & Thirteen Only | 83 | 3 module |  | 8 | Nos.
84 | 6 module |  | 4 | Nos. | 404.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1617 | 1617 | INR One Thousand Six Hundred & Seventeen Only | 84 | 6 module |  | 4 | Nos.
85 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete. | [53 empty] | 85 | Supplying and fixing following modular switch/ socket on the existing clip-on frame fixed on 85mm cover of 105 x 50 mm DLP plastic trunking including connections etc. as required complete.
86 | 6 A switch |  | 12 | No. | 240.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2883 | 2883 | INR Two Thousand Eight Hundred & Eighty Three Only | 86 | 6 A switch |  | 12 | No.
87 | 20 A switch |  | 7 | No. | 427.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2989 | 2989 | INR Two Thousand Nine Hundred & Eighty Nine Only | 87 | 20 A switch |  | 7 | No.
88 | 6 A pin 2/3 pin socket outlet |  | 9 | No. | 280.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2525 | 2525 | INR Two Thousand Five Hundred & Twenty Five Only | 88 | 6 A pin 2/3 pin socket outlet |  | 9 | No.
89 | 6/16 A 3 pin socket outlet |  | 7 | No. | 547.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3830 | 3830 | INR Three Thousand Eight Hundred & Thirty Only | 89 | 6/16 A 3 pin socket outlet |  | 7 | No.
90 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) |  | 100 | Meter | 19.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1929 | 1929 | INR One Thousand Nine Hundred & Twenty Nine Only | 90 | Laying UTP cable enhanced cat 5/cat 6 cable in existing steel conduit pipe/GI pipe/ raceway / RCC pipe as reqd. the cost shall also include numbering of networking wire from room to rack as reqd. (wire will be supplied by dept) |  | 100 | Meter
91 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) |  | 4 | Nos. | 81.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 326 | 326 | INR Three Hundred & Twenty Six Only | 91 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) |  | 4 | Nos.
92 | Supplying and fixing exhaust fan shutter for following sizes exhaust fan on rag bolts as reqd complete. | [53 empty] | 92 | Supplying and fixing exhaust fan shutter for following sizes exhaust fan on rag bolts as reqd complete.
93 | for 450 mm / 18" sweep |  | 3 | Nos. | 971.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2915 | 2915 | INR Two Thousand Nine Hundred & Fifteen Only | 93 | for 450 mm / 18" sweep |  | 3 | Nos.
94 | Supply, Installation testing and commissioning of following seep, copper wound, 900 RPM, 220 volt AC, 50 Hz exhaust fan in the existing opening etc as required complete. | [53 empty] | 94 | Supply, Installation testing and commissioning of following seep, copper wound, 900 RPM, 220 volt AC, 50 Hz exhaust fan in the existing opening etc as required complete.
95 | 450 mm / 18" sweep |  | 3 | Nos. | 5796.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17390 | 17390 | INR Seventeen Thousand Three Hundred & Ninety Only | 95 | 450 mm / 18" sweep |  | 3 | Nos.
Total in Figures | [51 empty] | 792450 | #REF! | Seven Lakh Ninety Two Thousand Four Hundred & Fifty Only | Total in Figures |  | 29911889
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only | Quoted Rate in Figures |  | Excess (+)
Quoted Rate in Words |  | INR Zero Only | [52 empty] | Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information