## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Construction of unisex toilet near UAV Lab and temporary shed with associated works at Aerospace Engineering Department, IIT Kanpur
NIT No: Civil/01/03/2024-2
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | EARTH WORK | item no.1 | [52 empty] | 1.01 | EARTH WORK | item no.1 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.2 | [52 empty] | 1.02 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: | item no.2 |  |  | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | All kinds of soil | item no.3 | 14 | sqm | 93.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1313 | 1313 | INR One Thousand Three Hundred & Thirteen Only | 1.03 | All kinds of soil | item no.3 | 14 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.4 | [52 empty] | 1.04 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. | item no.4
1.05 | All kinds of soil. | item no.5 | 15.5 | cum | 251.51 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3898 | 3898 | INR Three Thousand Eight Hundred & Ninety Eight Only | 1.05 | All kinds of soil. | item no.5 | 15.5 | cum
1.06 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.6 | [52 empty] | 1.06 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : | item no.6
1.07 | All kinds of soil | item no.7 | [52 empty] | 1.07 | All kinds of soil | item no.7 |  |  | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.08 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.8 | 20 | metre | 365.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7319 | 7319 | INR Seven Thousand Three Hundred & Nineteen Only | 1.08 | Pipes, cables etc. exceeding 80 mm dia. But not exceeding 300 mm dia | item no.8 | 20 | metre
1.09 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.9 | 13 | cum | 222.67 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2895 | 2895 | INR Two Thousand Eight Hundred & Ninety Five Only | 1.09 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | item no.9 | 13 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.10 | 2.5 | cum | 1894.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4737 | 4737 | INR Four Thousand Seven Hundred & Thirty Seven Only | 1.1 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | item no.10 | 2.5 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.11 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.11 | [52 empty] | 1.11 | Surface dressing of the ground including removing vegetation and in-equalities not exceeding 15 cm deep and disposal of rubbish, lead up to 50 m and lift up to 1.5 m. | item no.11 |  |  | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | All kinds of soil | item no.12 | 9 | sqm | 24.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 222 | 222 | INR Two Hundred & Twenty Two Only | 1.12 | All kinds of soil | item no.12 | 9 | sqm
1.13 | Supplying chemical emulsion in sealed containers including delivery as specified | item no.13 | [52 empty] | 1.13 | Supplying chemical emulsion in sealed containers including delivery as specified | item no.13
1.14 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.14 | 11 | litre | 176.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1938 | 1938 | INR One Thousand Nine Hundred & Thirty Eight Only | 1.14 | Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | item no.14 | 11 | litre
1.15 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : | item no.15 | [52 empty] | 1.15 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : | item no.15
1.16 | Along external wall where the apron is not provided using chemical emulsion @ 7.5 litres / sqm of the vertical surface of the substructure to a depth of 300mm including excavation channel along the wall & rodding etc. complete: | item no.16 | [52 empty] | 1.16 | Along external wall where the apron is not provided using chemical emulsion @ 7.5 litres / sqm of the vertical surface of the substructure to a depth of 300mm including excavation channel along the wall & rodding etc. complete: | item no.16
1.17 | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | item no.17 | 52 | metre | 28.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1473 | 1473 | INR One Thousand Four Hundred & Seventy Three Only | 1.17 | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration | item no.17 | 52 | metre
1.18 | CEMENT CONCRETE (CAST IN SITU) | item no.18 | [52 empty] | 1.18 | CEMENT CONCRETE (CAST IN SITU) | item no.18
1.19 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.19 | [52 empty] | 1.19 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item no.19
1.2 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.20 | 3.3 | cum | 6457.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21311 | 21311 | INR Twenty One Thousand Three Hundred & Eleven Only | 1.2 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | item no.20 | 3.3 | cum
1.21 | 1:5:10 (1 cement : 5 fine sand derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.21 | 4 | cum | 4963.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19853 | 19853 | INR Nineteen Thousand Eight Hundred & Fifty Three Only | 1.21 | 1:5:10 (1 cement : 5 fine sand derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | item no.21 | 4 | cum
1.22 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.22 | 6.5 | sqm | 325.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2114 | 2114 | INR Two Thousand One Hundred & Fourteen Only | 1.22 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 12.5mm nominal size derived from natural sources) | item no.22 | 6.5 | sqm
1.23 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.23 | 1 | per 50kg cement | 50.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50 | 50 | INR Fifty Only | 1.23 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | item no.23 | 1 | per 50kg cement
1.24 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.24 | 6.5 | sqm | 99.82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 649 | 649 | INR Six Hundred & Forty Nine Only | 1.24 | Providing & applying a coat of residual petroleum bitumen of grade of VG-10 of approved quality using 1.7kg per square metre on damp proof course after cleaning the surface with brushes and finally with apiece of cloth lightly soaked in kerosene oil. | item no.24 | 6.5 | sqm
1.25 | REINFORCED CEMENT CONCRETE | item no.25 | [52 empty] | 1.25 | REINFORCED CEMENT CONCRETE | item no.25
1.26 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.26 | [52 empty] | 1.26 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.26
1.27 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.27 | 1.5 | cum | 7333.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11001 | 11001 | INR Eleven Thousand &One Only | 1.27 | 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.27 | 1.5 | cum
1.28 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.28 | 0.6 | cum | 9398.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5639 | 5639 | INR Five Thousand Six Hundred & Thirty Nine Only | 1.28 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | item no.28 | 0.6 | cum
1.29 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.29 | [52 empty] | 1.29 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.29
1.3 | Suspended floors, roofs, landings, balconies and access platform | item no.30 | 9 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6049 | 6049 | INR Six Thousand &Forty Nine Only | 1.3 | Suspended floors, roofs, landings, balconies and access platform | item no.30 | 9 | sqm
1.31 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.31 | 4.5 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2400 | 2400 | INR Two Thousand Four Hundred Only | 1.31 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.31 | 4.5 | sqm
1.32 | Edges of slabs and breaks in floors and walls | item no.32 | [52 empty] | 1.32 | Edges of slabs and breaks in floors and walls | item no.32
1.33 | Under 20 cm wide | item no.33 | 13 | metre | 159.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2073 | 2073 | INR Two Thousand &Seventy Three Only | 1.33 | Under 20 cm wide | item no.33 | 13 | metre
1.34 | Weather shade, Chajjas, corbels etc., including edges | item no.34 | 3 | sqm | 714.56 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2144 | 2144 | INR Two Thousand One Hundred & Forty Four Only | 1.34 | Weather shade, Chajjas, corbels etc., including edges | item no.34 | 3 | sqm
1.35 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.35 | [52 empty] | 1.35 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.35
1.36 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.36 | 174 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13678 | 13678 | INR Thirteen Thousand Six Hundred & Seventy Eight Only | 1.36 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.36 | 174 | kg
1.37 | Sub-Total | item no.37 | [52 empty] | 1.37 | Sub-Total | item no.37
1.38 | MASONRY WORK | item no.38 | [52 empty] | 1.38 | MASONRY WORK | item no.38
1.39 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.39 | [52 empty] | 1.39 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | item no.39
1.4 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.40 | 7.3 | cum | 5838.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 42617 | 42617 | INR Forty Two Thousand Six Hundred & Seventeen Only | 1.4 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.40 | 7.3 | cum
1.41 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.41 | [52 empty] | 1.41 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.41
1.42 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.42 | 18.5 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 134445 | 134445 | INR One Lakh Thirty Four Thousand Four Hundred & Forty Five Only | 1.42 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.42 | 18.5 | cum
1.43 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.45 | 12 | metre | 48.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 587 | 587 | INR Five Hundred & Eighty Seven Only | 1.43 | Brick edging 7cm wide 11.4 cm deep to plinth protection with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 including grouting with cement mortar 1:4 (1 cement : 4 fine sand). | item no.45 | 12 | metre
1.44 | CLADDING WORK | item no.43 | [52 empty] | 1.44 | CLADDING WORK | item no.43
1.45 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.44 | 25 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23311 | 23311 | INR Twenty Three Thousand Three Hundred & Eleven Only | 1.45 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.44 | 25 | sqm
1.46 | WOOD AND P. V. C. WORK | item no.46 | [52 empty] | 1.46 | WOOD AND P. V. C. WORK | item no.46
1.47 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : | item no.47 | [52 empty] | 1.47 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : | item no.47
1.48 | Float glass panes | item no.48 | [52 empty] | 1.48 | Float glass panes | item no.48
1.49 | 4 mm thick glass pane (weight not less than 10kg/sqm). | item no.49 | 2 | sqm | 1663.39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3327 | 3327 | INR Three Thousand Three Hundred & Twenty Seven Only | 1.49 | 4 mm thick glass pane (weight not less than 10kg/sqm). | item no.49 | 2 | sqm
1.5 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.50 | [52 empty] | 1.5 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: | item no.50
1.51 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.51 | 7.5 | sqm | 1767.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13256 | 13256 | INR Thirteen Thousand Two Hundred & Fifty Six Only | 1.51 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | item no.51 | 7.5 | sqm
1.52 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.52 | 3.2 | sqm | 82.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 263 | 263 | INR Two Hundred & Sixty Three Only | 1.52 | Extra for cutting rebate in flush door shutters (Total area of the shutter to be measured). | item no.52 | 3.2 | sqm
1.53 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | item no.53 | [52 empty] | 1.53 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | item no.53
1.54 | Fixed to steel windows by welding | item no.54 | 20 | kg | 158.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3174 | 3174 | INR Three Thousand One Hundred & Seventy Four Only | 1.54 | Fixed to steel windows by welding | item no.54 | 20 | kg
1.55 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.55 | [52 empty] | 1.55 | Providing and fixing ISI marked oxidised M.S. handles conforming to IS:4992 with necessary screws etc. complete : | item no.55
1.56 | 100 mm | item no.56 | 2 | each | 24.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 50 | 50 | INR Fifty Only | 1.56 | 100 mm | item no.56 | 2 | each
1.57 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.57 | 3 | each | 899.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2698 | 2698 | INR Two Thousand Six Hundred & Ninety Eight Only | 1.57 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | item no.57 | 3 | each
1.58 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.58 | [52 empty] | 1.58 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | item no.58
1.59 | 300x16 mm | item no.59 | 1 | each | 228.23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 228 | 228 | INR Two Hundred & Twenty Eight Only | 1.59 | 300x16 mm | item no.59 | 1 | each
1.6 | 250x16 mm | item no.60 | 3 | each | 205.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 618 | 618 | INR Six Hundred & Eighteen Only | 1.6 | 250x16 mm | item no.60 | 3 | each
1.61 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.61 | [52 empty] | 1.61 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.61
1.62 | 250x10 mm | item no.62 | 2 | each | 91.54 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 183 | 183 | INR One Hundred & Eighty Three Only | 1.62 | 250x10 mm | item no.62 | 2 | each
1.63 | 200x10 mm | item no.63 | 3 | each | 79.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 239 | 239 | INR Two Hundred & Thirty Nine Only | 1.63 | 200x10 mm | item no.63 | 3 | each
1.64 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.64 | [52 empty] | 1.64 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | item no.64
1.65 | 125 mm | item no.65 | 8 | each | 52.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 421 | 421 | INR Four Hundred & Twenty One Only | 1.65 | 125 mm | item no.65 | 8 | each
1.66 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.66 | [52 empty] | 1.66 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | item no.66
1.67 | Twin rubber stopper | item no.67 | 3 | each | 54.58 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 164 | 164 | INR One Hundred & Sixty Four Only | 1.67 | Twin rubber stopper | item no.67 | 3 | each
1.68 | STEEL WORK | item no.68 | [52 empty] | 1.68 | STEEL WORK | item no.68
1.69 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.69 | 81 | kg | 68.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5554 | 5554 | INR Five Thousand Five Hundred & Fifty Four Only | 1.69 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | item no.69 | 81 | kg
1.7 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.70 | [52 empty] | 1.7 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment). | item no.70
1.71 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.71 | 20 | kg | 154.01 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3080 | 3080 | INR Three Thousand &Eighty Only | 1.71 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | item no.71 | 20 | kg
1.72 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.72 | [52 empty] | 1.72 | Providing and fixing T-iron frames for doors, windows and ventilators of mild steel Tee-sections, joints mitred and welded, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer. | item no.72
1.73 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.73 | 40 | kg | 100.53 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4021 | 4021 | INR Four Thousand &Twenty One Only | 1.73 | Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size). | item no.73 | 40 | kg
1.74 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.74 | [52 empty] | 1.74 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | item no.74
1.75 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.75 | 41 | kg | 124.77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5116 | 5116 | INR Five Thousand One Hundred & Sixteen Only | 1.75 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | item no.75 | 41 | kg
1.76 | FLOORING | item no.76 | [52 empty] | 1.76 | FLOORING | item no.76
1.77 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.77 | [52 empty] | 1.77 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. | item no.77
1.78 | 40 mm thick with 20 mm nominal size stone aggregate | item no.78 | 10 | sqm | 477.86 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4779 | 4779 | INR Four Thousand Seven Hundred & Seventy Nine Only | 1.78 | 40 mm thick with 20 mm nominal size stone aggregate | item no.78 | 10 | sqm
1.79 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.79 | [52 empty] | 1.79 | Cement plaster skirting up to 30 cm height, with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement. | item no.79
1.8 | 18 mm thick | item no.80 | 1.1 | sqm | 500.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 550 | 550 | INR Five Hundred & Fifty Only | 1.8 | 18 mm thick | item no.80 | 1.1 | sqm
1.81 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.81 | 1 | cum | 6978.21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6978 | 6978 | INR Six Thousand Nine Hundred & Seventy Eight Only | 1.81 | Cement concrete pavement with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including finishing complete. | item no.81 | 1 | cum
1.82 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.82 | [52 empty] | 1.82 | Providing and fixing glass strips in joints of terrazo/ cement concrete floors. | item no.82
1.83 | 40 mm wide and 4 mm thick | item no.83 | 17 | metre | 69.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1185 | 1185 | INR One Thousand One Hundred & Eighty Five Only | 1.83 | 40 mm wide and 4 mm thick | item no.83 | 17 | metre
1.84 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.84 | 6 | sqm | 820.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4922 | 4922 | INR Four Thousand Nine Hundred & Twenty Two Only | 1.84 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | item no.84 | 6 | sqm
1.85 | ROOFING | item no.85 | [52 empty] | 1.85 | ROOFING | item no.85
1.86 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.86 | [52 empty] | 1.86 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | item no.86
1.87 | 0.63 mm thick with zinc coating not less than 275 gm/ m² | item no.87 | 15 | sqm | 857.52 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12863 | 12863 | INR Twelve Thousand Eight Hundred & Sixty Three Only | 1.87 | 0.63 mm thick with zinc coating not less than 275 gm/ m² | item no.87 | 15 | sqm
1.88 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.88 | 1 | each | 233.76 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 234 | 234 | INR Two Hundred & Thirty Four Only | 1.88 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | item no.88 | 1 | each
1.89 | FINISHING | item no.89 | [52 empty] | 1.89 | FINISHING | item no.89
1.9 | 12 mm cement plaster of mix : | item no.90 | [52 empty] | 1.9 | 12 mm cement plaster of mix : | item no.90
1.91 | 1:6 (1 cement: 6 coarse sand) | item no.91 | 63 | sqm | 258.09 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16260 | 16260 | INR Sixteen Thousand Two Hundred & Sixty Only | 1.91 | 1:6 (1 cement: 6 coarse sand) | item no.91 | 63 | sqm
1.92 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.92 | [52 empty] | 1.92 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.92
1.93 | 1:6 (1 cement: 6 coarse sand) | item no.93 | 39 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11596 | 11596 | INR Eleven Thousand Five Hundred & Ninety Six Only | 1.93 | 1:6 (1 cement: 6 coarse sand) | item no.93 | 39 | sqm
1.94 | 6 mm cement plaster of mix : | item no.94 | [52 empty] | 1.94 | 6 mm cement plaster of mix : | item no.94
1.95 | 1:3 (1 cement : 3 fine sand) | item no.95 | 22 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4881 | 4881 | INR Four Thousand Eight Hundred & Eighty One Only | 1.95 | 1:3 (1 cement : 3 fine sand) | item no.95 | 22 | sqm
1.96 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.96 | [52 empty] | 1.96 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.96
1.97 | Two or more coats on new work | item no.97 | 38 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3090 | 3090 | INR Three Thousand &Ninety Only | 1.97 | Two or more coats on new work | item no.97 | 38 | sqm
1.98 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.98 | [52 empty] | 1.98 | Finishing walls with Acrylic Smooth exterior paint of required shade : | item no.98
1.99 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.99 | 78 | sqm | 146.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11411 | 11411 | INR Eleven Thousand Four Hundred & Eleven Only | 1.99 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | item no.99 | 78 | sqm
2 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.100 | [52 empty] | 2 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | item no.100
2.01 | Two or more coats on new work | item no.101 | 27 | sqm | 115.26 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3112 | 3112 | INR Three Thousand One Hundred & Twelve Only | 2.01 | Two or more coats on new work | item no.101 | 27 | sqm
2.02 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.102 | 72 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7818 | 7818 | INR Seven Thousand Eight Hundred & Eighteen Only | 2.02 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.102 | 72 | sqm
2.03 | DISMANTLING AND DEMOLISHING | item no.103 | [52 empty] | 2.03 | DISMANTLING AND DEMOLISHING | item no.103
2.04 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.104 | 0.5 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96 | 96 | INR Ninety Six Only | 2.04 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.104 | 0.5 | cum
2.05 | SANITARY INSTALLATIONS | item no.105 | [52 empty] | 2.05 | SANITARY INSTALLATIONS | item no.105
2.06 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.106 | [52 empty] | 2.06 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | item no.106
2.07 | W.C. pan with ISI marked white solid plastic seat and lid | item no.107 | 1 | each | 4858 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4858 | 4858 | INR Four Thousand Eight Hundred & Fifty Eight Only | 2.07 | W.C. pan with ISI marked white solid plastic seat and lid | item no.107 | 1 | each
2.08 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | item no.108 | [52 empty] | 2.08 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | item no.108
2.09 | White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | item no.109 | 1 | each | 2974.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2975 | 2975 | INR Two Thousand Nine Hundred & Seventy Five Only | 2.09 | White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | item no.109 | 1 | each
2.1 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | item no.110 | 1 | each | 262.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 262 | 262 | INR Two Hundred & Sixty Two Only | 2.1 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | item no.110 | 1 | each
2.11 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.111 | [52 empty] | 2.11 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | item no.111
2.12 | Flexible pipe | item no.112 | [52 empty] | 2.12 | Flexible pipe | item no.112
2.13 | 32 mm dia | item no.113 | 3 | each | 91.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 274 | 274 | INR Two Hundred & Seventy Four Only | 2.13 | 32 mm dia | item no.113 | 3 | each
2.14 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | item no.114 | [52 empty] | 2.14 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | item no.114
2.15 | Rectangular shape 453x357 mm | item no.115 | 1 | each | 1016.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1016 | 1016 | INR One Thousand &Sixteen Only | 2.15 | Rectangular shape 453x357 mm | item no.115 | 1 | each
2.16 | Providing and fixing toilet paper holder : | item no.116 | [52 empty] | 2.16 | Providing and fixing toilet paper holder : | item no.116
2.17 | C.P. brass | item no.117 | 1 | each | 596.93 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 597 | 597 | INR Five Hundred & Ninety Seven Only | 2.17 | C.P. brass | item no.117 | 1 | each
2.18 | Providing and fixing soil, waste and vent pipes : | item no.118 | [52 empty] | 2.18 | Providing and fixing soil, waste and vent pipes : | item no.118
2.19 | 100 mm dia | item no.119 | [52 empty] | 2.19 | 100 mm dia | item no.119
2.2 | Sand cast iron S&S pipe as per IS: 1729 | item no.120 | 20 | metre | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17853 | 17853 | INR Seventeen Thousand Eight Hundred & Fifty Three Only | 2.2 | Sand cast iron S&S pipe as per IS: 1729 | item no.120 | 20 | metre
2.21 | Providing and fixing plain bend of required degree | item no.121 | [52 empty] | 2.21 | Providing and fixing plain bend of required degree | item no.121
2.22 | 100 mm dia | item no.122 | [52 empty] | 2.22 | 100 mm dia | item no.122
2.23 | Sand cast iron S&S as per IS - 1729 | item no.123 | 5 | each | 362.08 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1810 | 1810 | INR One Thousand Eight Hundred & Ten Only | 2.23 | Sand cast iron S&S as per IS - 1729 | item no.123 | 5 | each
2.24 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.124 | [52 empty] | 2.24 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | item no.124
2.25 | 100 mm | item no.125 | 20 | each | 481.94 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9639 | 9639 | INR Nine Thousand Six Hundred & Thirty Nine Only | 2.25 | 100 mm | item no.125 | 20 | each
2.26 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.126 | [52 empty] | 2.26 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | item no.126
2.27 | 100 mm inlet and 100 mm outlet | item no.127 | [52 empty] | 2.27 | 100 mm inlet and 100 mm outlet | item no.127
2.28 | Sand cast iron S&S as per IS: 3989 | item no.128 | 2 | each | 1406.49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2813 | 2813 | INR Two Thousand Eight Hundred & Thirteen Only | 2.28 | Sand cast iron S&S as per IS: 3989 | item no.128 | 2 | each
2.29 | Providing & fixing white vitreous china water less urinal of size 600 x 330 x 315 mm having antibacterial /germs free ceramic surface, fixed with cartridge having debris catcher and hygiene seal. | item no.129 | 1 | each | 14001.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14001 | 14001 | INR Fourteen Thousand &One Only | 2.29 | Providing & fixing white vitreous china water less urinal of size 600 x 330 x 315 mm having antibacterial /germs free ceramic surface, fixed with cartridge having debris catcher and hygiene seal. | item no.129 | 1 | each
2.3 | WATER SUPPLY | item no.130 | [52 empty] | 2.3 | WATER SUPPLY | item no.130
2.31 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.131 | [52 empty] | 2.31 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : | item no.131
2.32 | 15 mm dia nominal bore | item no.132 | 20 | metre | 425.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8509 | 8509 | INR Eight Thousand Five Hundred & Nine Only | 2.32 | 15 mm dia nominal bore | item no.132 | 20 | metre
2.33 | 20 mm dia nominal bore | item no.133 | 20 | metre | 474.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9489 | 9489 | INR Nine Thousand Four Hundred & Eighty Nine Only | 2.33 | 20 mm dia nominal bore | item no.133 | 20 | metre
2.34 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.134 | [52 empty] | 2.34 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | item no.134
2.35 | 25 to 40 mm nominal bore | item no.135 | 1 | each | 663.83 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 664 | 664 | INR Six Hundred & Sixty Four Only | 2.35 | 25 to 40 mm nominal bore | item no.135 | 1 | each
2.36 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.136 | [52 empty] | 2.36 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : | item no.136
2.37 | 20 mm nominal bore | item no.137 | 1 | each | 404.87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 405 | 405 | INR Four Hundred & Five Only | 2.37 | 20 mm nominal bore | item no.137 | 1 | each
2.38 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.138 | [52 empty] | 2.38 | Providing and fixing uplasticised PVC connection pipe with brass unions : | item no.138
2.39 | 30 cm length | item no.139 | [52 empty] | 2.39 | 30 cm length | item no.139
2.4 | 15 mm nominal bore | item no.140 | 2 | each | 65.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 131 | 131 | INR One Hundred & Thirty One Only | 2.4 | 15 mm nominal bore | item no.140 | 2 | each
2.41 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.141 | [52 empty] | 2.41 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : | item no.141
2.42 | 15 mm nominal bore | item no.142 | 2 | each | 229.99 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 460 | 460 | INR Four Hundred & Sixty Only | 2.42 | 15 mm nominal bore | item no.142 | 2 | each
2.43 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.143 | [52 empty] | 2.43 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. | item no.143
2.44 | 15 mm nominal bore | item no.144 | 2 | each | 621.13 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1242 | 1242 | INR One Thousand Two Hundred & Forty Two Only | 2.44 | 15 mm nominal bore | item no.144 | 2 | each
2.45 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.145 | [52 empty] | 2.45 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 | item no.145
2.46 | 15mm nominal bore | item no.146 | 3 | each | 438.71 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1316 | 1316 | INR One Thousand Three Hundred & Sixteen Only | 2.46 | 15mm nominal bore | item no.146 | 3 | each
2.47 | DRAINAGE | item no.147 | [52 empty] | 2.47 | DRAINAGE | item no.147
2.48 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.148 | [52 empty] | 2.48 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: | item no.148
2.49 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.149 | 2 | each | 2151.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4303 | 4303 | INR Four Thousand Three Hundred & Three Only | 2.49 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.149 | 2 | each
2.5 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.150 | [52 empty] | 2.5 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : | item no.150
2.51 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.151 | [52 empty] | 2.51 | Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : | item no.151
2.52 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.152 | 2 | each | 10247.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20495 | 20495 | INR Twenty Thousand Four Hundred & Ninety Five Only | 2.52 | With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | item no.152 | 2 | each
2.53 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.153 | [52 empty] | 2.53 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | item no.153
2.54 | For pipes 100 to 250 mm diameter | item no.154 | 1 | each | 599.47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 599 | 599 | INR Five Hundred & Ninety Nine Only | 2.54 | For pipes 100 to 250 mm diameter | item no.154 | 1 | each
2.55 | WATER PROOFING | item no.155 | [52 empty] | 2.55 | WATER PROOFING | item no.155
2.56 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations:(a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.156 | [52 empty] | 2.56 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations:(a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : | item no.156
2.57 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.157 | 9 | sqm | 1335.34 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12018 | 12018 | INR Twelve Thousand &Eighteen Only | 2.57 | With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | item no.157 | 9 | sqm
2.58 | MINOR CIVIL MAINTENANCE WORK | item no.158 | [52 empty] | 2.58 | MINOR CIVIL MAINTENANCE WORK | item no.158
2.59 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work upto plinth level: 1:5:10 (1 cement:5 coarse sand (zone III) derived from natural sources :10graded brick aggregate 40 mm nominal size derived from natural sources) | item no.159 | 4.3 | Cum | 3939.72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16941 | 16941 | INR Sixteen Thousand Nine Hundred & Forty One Only | 2.59 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work upto plinth level: 1:5:10 (1 cement:5 coarse sand (zone III) derived from natural sources :10graded brick aggregate 40 mm nominal size derived from natural sources) | item no.159 | 4.3 | Cum
Total in Figures | [51 empty] | 576553 | 576553 | Five Lakh Seventy Six Thousand Five Hundred & Fifty Three Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K136: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K148: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K157: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K165: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information