## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Supplying and fixing of CCTV camera and associated works in CC building,IIT Kanpur
NIT No: Electrical/21/03/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Component | [53 empty] | 1 | Component
1.01 | Supply, Installation, Testing and commissioning of IP 2 MP Dome/Bullet Camera (as required) 1/2.8" Progressive CMOS, ICR, 1920x1080:25fps(P)/30fps(N), H.265+/H.264, 3D DNR, BLC, IR range: up to 20m, DC12V. | item no.1 | 21 | Nos | 3000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 63000 | 63000 | INR Sixty Three Thousand Only | 1.01 | Supply, Installation, Testing and commissioning of IP 2 MP Dome/Bullet Camera (as required) 1/2.8" Progressive CMOS, ICR, 1920x1080:25fps(P)/30fps(N), H.265+/H.264, 3D DNR, BLC, IR range: up to 20m, DC12V. | item no.1 | 21 | Nos | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.02 | Supply, Installation, Testing and commissioning of IP 2 MP Dome/Bullet Camera (as required) 1/2.8" Progressive CMOS, ICR, 1920x1080:25fps(P)/30fps(N), H.265+/H.264, 3D DNR, BLC, IR range: up to 20m, DC12V. | item no.2 | 5 | Nos | 3000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15000 | 15000 | INR Fifteen Thousand Only | 1.02 | Supply, Installation, Testing and commissioning of IP 2 MP Dome/Bullet Camera (as required) 1/2.8" Progressive CMOS, ICR, 1920x1080:25fps(P)/30fps(N), H.265+/H.264, 3D DNR, BLC, IR range: up to 20m, DC12V. | item no.2 | 5 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | Supply & Installation of 4TB HDD,Connectivity Technology- eSATA,Data Recovery Service Feature Hard Disk Form Factor 3.5 Inches Cache Size- 4 Hardware Interface, min 5400 rpm (WD Surveillance) | item no.3 | 1 | Nos | 15206 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15206 | 15206 | INR Fifteen Thousand Two Hundred & Six Only | 1.03 | Supply & Installation of 4TB HDD,Connectivity Technology- eSATA,Data Recovery Service Feature Hard Disk Form Factor 3.5 Inches Cache Size- 4 Hardware Interface, min 5400 rpm (WD Surveillance) | item no.3 | 1 | Nos
1.04 | Supply & Installation of 55" Display, wall mounted with smart connection | item no.4 | 1 | Nos | 46868 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46868 | 46868 | INR Forty Six Thousand Eight Hundred & Sixty Eight Only | 1.04 | Supply & Installation of 55" Display, wall mounted with smart connection | item no.4 | 1 | Nos
1.05 | Supply & Installation of 32 Ch NVR 160 MBPS Bitrates, Input Max (upto 32 Ch IP Video) 4 SATA Interface. 2 RJ-45 10/100/1000 Mbps self-adaptive Ethernet interfaces. | item no.5 | 1 | Nos | 46500 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 46500 | 46500 | INR Forty Six Thousand Five Hundred Only | 1.05 | Supply & Installation of 32 Ch NVR 160 MBPS Bitrates, Input Max (upto 32 Ch IP Video) 4 SATA Interface. 2 RJ-45 10/100/1000 Mbps self-adaptive Ethernet interfaces. | item no.5 | 1 | Nos
1.06 | Installation of POE Switch 32 Port Lighting Proof Level, 10/100 Mbps. | item no.6 | 1 | Nos | 41550 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41550 | 41550 | INR Forty One Thousand Five Hundred & Fifty Only | 1.06 | Installation of POE Switch 32 Port Lighting Proof Level, 10/100 Mbps. | item no.6 | 1 | Nos
1.07 | Supply & drawing of LAN Cable CAT-6 optical cable in existing steel conduit pipe/GI /HDPE pipe including numbering of networking wire with RJ-45 connectors.(D-link/equivalent) | item no.7 | 1500 | Mtr | 48 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 72000 | 72000 | INR Seventy Two Thousand Only | 1.07 | Supply & drawing of LAN Cable CAT-6 optical cable in existing steel conduit pipe/GI /HDPE pipe including numbering of networking wire with RJ-45 connectors.(D-link/equivalent) | item no.7 | 1500 | Mtr
1.08 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.8 | 1 | Nos. | 77.16 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 77 | 77 | INR Seventy Seven Only | 1.08 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item no.8 | 1 | Nos.
1.09 | Supply & fixing of following size of medium class PVC conduit along with accessories in surface /recess including cutting the wall and making good the same in case of recessed conduit as required. | item no.9 | [52 empty] | 1.09 | Supply & fixing of following size of medium class PVC conduit along with accessories in surface /recess including cutting the wall and making good the same in case of recessed conduit as required. | item no.9
1.1 | 25 mm | item no.10 | 1000 | Mtr | 129.46 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 129460 | 129460 | INR One Lakh Twenty Nine Thousand Four Hundred & Sixty Only | 1.1 | 25 mm | item no.10 | 1000 | Mtr
1.11 | 32 mm | item no.11 | 200 | Mtr | 164.29 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32858 | 32858 | INR Thirty Two Thousand Eight Hundred & Fifty Eight Only | 1.11 | 32 mm | item no.11 | 200 | Mtr
1.12 | 40 mm | item no.12 | 200 | Mtr | 203.57 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40714 | 40714 | INR Forty Thousand Seven Hundred & Fourteen Only | 1.12 | 40 mm | item no.12 | 200 | Mtr
Total in Figures | [51 empty] | 503233 | 503233 | Five Lakh Three Thousand Two Hundred & Thirty Three Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information