## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: DOIP, IIT Kanpur
Name of Work: Civil renovation works of optics UG lab, New Core Lab Building, IIT Kanpur
NIT No: Civil/22/03/2024-1
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of Materials | item no.1 | [52 empty] | 1 | Carriage of Materials | item no.1
2 | By Mechanical Transport including loading,unloading and stacking | item no.2 | [52 empty] | 2 | By Mechanical Transport including loading,unloading and stacking | item no.2
3 | Bricks Lead - 2 km | item no.3 | 4050 | 1000 Nos | 381.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1545 | 1545 | INR One Thousand Five Hundred & Forty Five Only | 3 | Bricks Lead - 2 km | item no.3 | 4050 | 1000 Nos
4 | REINFORCED CEMENT CONCRETE | item no.4 | [52 empty] | 4 | REINFORCED CEMENT CONCRETE | item no.4
5 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.5 | [52 empty] | 5 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | item no.5
6 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.6 | 3.1 | cum | 6966.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21597 | 21597 | INR Twenty One Thousand Five Hundred & Ninety Seven Only | 6 | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size de rived from natural sources) | item no.6 | 3.1 | cum
7 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.7 | [52 empty] | 7 | Centering and shuttering including strutting, propping etc. and removal of form for | item no.7
8 | Suspended floors, roofs, landings, balconies and access platform | item no.8 | 49 | sqm | 672.12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 32934 | 32934 | INR Thirty Two Thousand Nine Hundred & Thirty Four Only | 8 | Suspended floors, roofs, landings, balconies and access platform | item no.8 | 49 | sqm
9 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.9 | 1 | sqm | 533.41 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 533 | 533 | INR Five Hundred & Thirty Three Only | 9 | Lintels, beams, plinth beams, girders, bressumers and cantilevers | item no.9 | 1 | sqm
10 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.10 | [52 empty] | 10 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. | item no.10
11 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.11 | 335 | kg | 78.61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26334 | 26334 | INR Twenty Six Thousand Three Hundred & Thirty Four Only | 11 | Thermo-Mechanically Treated bars of grade Fe-500D or more. | item no.11 | 335 | kg
12 | MASONRY WORK | item no.12 | [52 empty] | 12 | MASONRY WORK | item no.12
13 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.13 | [52 empty] | 13 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | item no.13
14 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.14 | 3.6 | cum | 7267.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26162 | 26162 | INR Twenty Six Thousand One Hundred & Sixty Two Only | 14 | Cement mortar 1:6 (1 cement : 6 coarse sand) | item no.14 | 3.6 | cum
15 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.15 | [52 empty] | 15 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | item no.15
16 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.16 | 11 | sqm | 892.63 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9819 | 9819 | INR Nine Thousand Eight Hundred & Nineteen Only | 16 | Cement mortar 1:4 (1 cement :4 coarse sand) | item no.16 | 11 | sqm
17 | CLADDING WORK | item no.17 | [52 empty] | 17 | CLADDING WORK | item no.17
18 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.18 | [52 empty] | 18 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. | item no.18
19 | Granite stone slab colour black, Cherry/Ruby red | item no.19 | [52 empty] | 19 | Granite stone slab colour black, Cherry/Ruby red | item no.19
20 | Area of slab over 0.50 sqm | item no.20 | 26 | sqm | 3880.18 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 100885 | 100885 | INR One Lakh Eight Hundred & Eighty Five Only | 20 | Area of slab over 0.50 sqm | item no.20 | 26 | sqm
21 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.21 | [52 empty] | 21 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. | item no.21
22 | Granite work | item no.22 | 75 | metre | 367.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27544 | 27544 | INR Twenty Seven Thousand Five Hundred & Forty Four Only | 22 | Granite work | item no.22 | 75 | metre
23 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.23 | 65 | sqm | 932.44 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 60609 | 60609 | INR Sixty Thousand Six Hundred & Nine Only | 23 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | item no.23 | 65 | sqm
24 | FLOORING | item no.24 | [52 empty] | 24 | FLOORING | item no.24
25 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.25 | [52 empty] | 25 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : | item no.25
26 | 25 mm thick | item no.26 | 40 | sqm | 1496.36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59854 | 59854 | INR Fifty Nine Thousand Eight Hundred & Fifty Four Only | 26 | 25 mm thick | item no.26 | 40 | sqm
27 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.27 | 8 | sqm | 1787.42 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14299 | 14299 | INR Fourteen Thousand Two Hundred & Ninety Nine Only | 27 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | item no.27 | 8 | sqm
28 | FINISHING | item no.28 | [52 empty] | 28 | FINISHING | item no.28
29 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.29 | [52 empty] | 29 | 15 mm cement plaster on rough side of single or half brick wall of mix: | item no.29
30 | 1:6 (1 cement: 6 coarse sand) | item no.30 | 14 | sqm | 297.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4163 | 4163 | INR Four Thousand One Hundred & Sixty Three Only | 30 | 1:6 (1 cement: 6 coarse sand) | item no.30 | 14 | sqm
31 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.31 | [52 empty] | 31 | 12 mm cement plaster finished with a floating coat of neat cement of mix : | item no.31
32 | 1:4 (1 cement: 4 fine sand) | item no.32 | 15 | sqm | 316.79 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4752 | 4752 | INR Four Thousand Seven Hundred & Fifty Two Only | 32 | 1:4 (1 cement: 4 fine sand) | item no.32 | 15 | sqm
33 | 6 mm cement plaster of mix : | item no.33 | [52 empty] | 33 | 6 mm cement plaster of mix : | item no.33
34 | 1:3 (1 cement : 3 fine sand) | item no.34 | 40 | sqm | 221.88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8875 | 8875 | INR Eight Thousand Eight Hundred & Seventy Five Only | 34 | 1:3 (1 cement : 3 fine sand) | item no.34 | 40 | sqm
35 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.35 | [52 empty] | 35 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gms/litre, of approved manufacturer, of required shade and colour complete, as per manufacturer's specification. | item no.35
36 | Two or more coats on new work | item no.36 | 106 | sqm | 81.32 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8620 | 8620 | INR Eight Thousand Six Hundred & Twenty Only | 36 | Two or more coats on new work | item no.36 | 106 | sqm
37 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.37 | 106 | sqm | 108.59 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11511 | 11511 | INR Eleven Thousand Five Hundred & Eleven Only | 37 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | item no.37 | 106 | sqm
38 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.38 | [52 empty] | 38 | Distempering with 1st quality acrylic distember (Ready mix) having VOC content less than 50 grams/ litre of approved brand and manufacture to give an even shade : | item no.38
39 | Old work (one or more coats) | item no.39 | 820 | sqm | 49.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 40836 | 40836 | INR Forty Thousand Eight Hundred & Thirty Six Only | 39 | Old work (one or more coats) | item no.39 | 820 | sqm
40 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.40 | 40 | sqm | 18.28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 731 | 731 | INR Seven Hundred & Thirty One Only | 40 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | item no.40 | 40 | sqm
41 | REPAIRS TO BUILDING | item no.41 | [52 empty] | 41 | REPAIRS TO BUILDING | item no.41
42 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.42 | [52 empty] | 42 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. | item no.42
43 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.43 | 10 | sqm | 419.11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4191 | 4191 | INR Four Thousand One Hundred & Ninety One Only | 43 | With cement mortar 1:4 (1cement: 4 coarse sand) | item no.43 | 10 | sqm
44 | Fixing chowkhat in existing opening in brick/ RCC wall with dash fasteners/Chemical fasteners of appropriate size (3 nos on each vertical member of door chowkhat and 2 nos on each vertical member of window chowkhats), including Cost of dash fasteners/ chemical fastener. | item no.44 | 1 | each | 166.81 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 167 | 167 | INR One Hundred & Sixty Seven Only | 44 | Fixing chowkhat in existing opening in brick/ RCC wall with dash fasteners/Chemical fasteners of appropriate size (3 nos on each vertical member of door chowkhat and 2 nos on each vertical member of window chowkhats), including Cost of dash fasteners/ chemical fastener. | item no.44 | 1 | each
45 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | item no.45 | 5 | each | 213.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1066 | 1066 | INR One Thousand &Sixty Six Only | 45 | Cutting holes of required size in brick masonry wall for fixing of exhaust fan including providing and fixing 300 mm dia PVC pipe conforming BIS-12818 and making good the same etc. complete as per direction of Engineer-in-charge. | item no.45 | 5 | each
46 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.46 | 2 | each | 285.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 572 | 572 | INR Five Hundred & Seventy Two Only | 46 | Taking out existing wooden door shutter, repair by cutting, painting etc. and refixing of repaired door shutters to existing door frames, including replacement of hinges with screws, etc. as required, all complete as per the direction of the Engineer-in-charge. | item no.46 | 2 | each
47 | Dismantling and Demolishing | item no.47 | [52 empty] | 47 | Dismantling and Demolishing | item no.47
48 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.48 | [52 empty] | 48 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | item no.48
49 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.49 | 1.5 | cum | 1086.89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1630 | 1630 | INR One Thousand Six Hundred & Thirty Only | 49 | Nominal concrete 1:4:8 or leaner mix (i/c equivalent design mix) | item no.49 | 1.5 | cum
50 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.50 | 1 | cum | 2567.38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2567 | 2567 | INR Two Thousand Five Hundred & Sixty Seven Only | 50 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | item no.50 | 1 | cum
51 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.51 | [52 empty] | 51 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | item no.51
52 | In cement mortar | item no.52 | 13.5 | cum | 1489.22 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20104 | 20104 | INR Twenty Thousand One Hundred & Four Only | 52 | In cement mortar | item no.52 | 13.5 | cum
53 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.53 | [52 empty] | 53 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : | item no.53
54 | Of area 3 sq. metres and below | item no.54 | 2 | each | 103.73 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 207 | 207 | INR Two Hundred & Seven Only | 54 | Of area 3 sq. metres and below | item no.54 | 2 | each
55 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.55 | 65 | sqm | 192.68 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12524 | 12524 | INR Twelve Thousand Five Hundred & Twenty Four Only | 55 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | item no.55 | 65 | sqm
56 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.56 | 12 | cum | 192.33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2308 | 2308 | INR Two Thousand Three Hundred & Eight Only | 56 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | item no.56 | 12 | cum
57 | ALUMINIUM WORK | item no.57 | [52 empty] | 57 | ALUMINIUM WORK | item no.57
58 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.58 | [52 empty] | 58 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | item no.58
59 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.59 | 5 | sqm | 1162.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5811 | 5811 | INR Five Thousand Eight Hundred & Eleven Only | 59 | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | item no.59 | 5 | sqm
60 | MINOR CIVIL MAINTENANCE WORK | item no.60 | [52 empty] | 60 | MINOR CIVIL MAINTENANCE WORK | item no.60
61 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work upto plinth level: 1:5:10 (1 cement:5 coarse sand (zone III) derived from natural sources :10graded brick aggregate 40 mm nominal size derived from natural sources) | item no.61 | 1.5 | Cum | 5270.98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7906 | 7906 | INR Seven Thousand Nine Hundred & Six Only | 61 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering-All work upto plinth level: 1:5:10 (1 cement:5 coarse sand (zone III) derived from natural sources :10graded brick aggregate 40 mm nominal size derived from natural sources) | item no.61 | 1.5 | Cum
62 | Providing and Fixing Sun Control 100% blckeout film in windows of Garware or approved equivalent make & quality complete as per direction of Engineer-In-Charge | item no.62 | 17 | Sqm | 1057.43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17976 | 17976 | INR Seventeen Thousand Nine Hundred & Seventy Six Only | 62 | Providing and Fixing Sun Control 100% blckeout film in windows of Garware or approved equivalent make & quality complete as per direction of Engineer-In-Charge | item no.62 | 17 | Sqm
63 | Providing and Fixing Roolar Blinds Serene of VISTA or approved equivalent make & quality complate ar per direction of Engineer-In-Charge. | item no.63 | 43 | Sqm | 2862.78 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 123100 | 123100 | INR One Lakh Twenty Three Thousand One Hundred Only | 63 | Providing and Fixing Roolar Blinds Serene of VISTA or approved equivalent make & quality complate ar per direction of Engineer-In-Charge. | item no.63 | 43 | Sqm
64 | Providing and Fixing EPDM/ Neoprene rubber gasket approved equivalnet make & quailty in existing window glasses i/c removing the glass from the window and refixing the same with gasket etc. complete in all respect as per direction of Engineer-In-Charge. | item no.64 | 145 | Meter | 99.96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14494 | 14494 | INR Fourteen Thousand Four Hundred & Ninety Four Only | 64 | Providing and Fixing EPDM/ Neoprene rubber gasket approved equivalnet make & quailty in existing window glasses i/c removing the glass from the window and refixing the same with gasket etc. complete in all respect as per direction of Engineer-In-Charge. | item no.64 | 145 | Meter
65 | Repairing of wall cracks with premixed ultra high strength non-shrink cementitious CICO grout - V1/100 mixed with Smartcare repairmax 200 of asian paints in required proportion as per manufacturer spacifications i/c making the crack/surface suitable for repairing with required T&P etc. complete in all respect as per the direction of Engineer-in-Charge. | item no.65 | 21 | Meter | 215.69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4529 | 4529 | INR Four Thousand Five Hundred & Twenty Nine Only | 65 | Repairing of wall cracks with premixed ultra high strength non-shrink cementitious CICO grout - V1/100 mixed with Smartcare repairmax 200 of asian paints in required proportion as per manufacturer spacifications i/c making the crack/surface suitable for repairing with required T&P etc. complete in all respect as per the direction of Engineer-in-Charge. | item no.65 | 21 | Meter
Total in Figures | [51 empty] | 680755 | #REF! | Six Lakh Eighty Thousand Seven Hundred & Fifty Five Only
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information