## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer
Name of Work: Construction of new 11kV/0.433 kV substation with 2x2500KVA transformers near SS No.9 for cater upcoming loads of NSM data Centre extension at IIT Kanpur (SH:Electrical works)
Contract No: 24/EE/Elect/2025-26
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Transformer & panels | item1 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | Supply,installation, testing and commissioning of LT distribution Transformer 2500 KVA, 11/0.433 kV oil immersed outdoor type, energy efficent (level-2) having following specifications and confirming to IS 1180 and IS 2026, complete with all accessories as reqd. | item2 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | Rating :2500kVA | item3 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.03 | Type : Outdoor Distrubution Transformer | item4 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | IS Standard: IS 1180 & IS 2026 (Level-2) | item5 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | Cooling Type : ONAN (oil natural and air natural) | item6 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | No. of Winding : Two | item7 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.07 | No. of phases : Three | item8 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.08 | Voltage Ratio : 11/0.433 kV | item9 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.09 | Vector Group Reference : Dyn 11 | item10 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.1 | Insulation Class : F | item11 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.11 | OTI, WTI & low oil level with marshaling box with alarm and trip contacts. | item12 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.12 | Manual tap changer + 7.5% to - 7.5% in steps of 2.5% OCTC. | item13 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.13 | Buchholz relay with alarm and trip contacts and valve on conservator side connection. HV side cable box 2R x 3 C x 240 sq.mm. box and LV side box arrangement for 4000 A bus duct connection as reqd. complete. | item14 | 2 | Set | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Supply installation , testing & commissioning of 4000 A FP aluminium busduct with 100 % neutral, 70KA, IP 55 with 2 mm MS enclosure, including 4000 A copper flexibles connection at both ends of transfromer and LT panels. busduct both side having 2 runs of 50x10 mm GI strip for earthing connection, space heater, silica gel breather and shall be panted with black mat finish paint with MTG arrangment, spcifications confirming to IS 8623, IEC 60529 as reqd. complete. | item15 | 30 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Supply, installation, testing and commissioning of indoor type, metal clad switchgear with fabricated from 2 mm thick CRCA/ Aluzinc material, Maximum system voltage 12 kV and rated 11 kV, 1250 amp, 25kA/1Sec VCB panel with 8 no's VCBs with integrated operating handle, totally enclosed and fully interlocked with self support copper busbar, horizontal draw out breaker with all compartments type tested for internal arc for 25 kA for 1 sec as per IS 13118, IS 12729 IEC 62271-100, as amended up to date, breakers should be interchangeable between incomers & feeders, having earthing switch / truck, following specifications complete as reqd. | item16 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.01 | Incoming (2 set, incomer-1 from 33kV ss & incomer -2 from SS 4)- 3P 1250 A VCB electrically operated, draw out type with completely encapsulated poles and continuous rated closing & tripping coils. | item17 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | Three nos 800-400/5-5 ratio, 2.5VA, class 1.0 Resin Cast Current Transformer for metering purposes and class 5P10 Resin Cast Current Transformer for protection purposes. | item18 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | Three nos. Potential Transformer 11kV/110V epoxy cast resin,class I for metering and class 3P for protection withdrawable type with HT fuse | item19 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.04 | Numerical relay with LCD Display - 3 over current + Earth Fault with instantaneous element with IDMT/ DMT characteristics selectable at site , master trip relay hand reset type trip circuit supervision function, inrush protection, record and store at least 100 Events with Date and Time Stamp, Last Five Fault Records stored in Non-volatile memory , Self Supervision function, Minimum 4 Digital Binary Inputs and 6 Digital output Contacts, Modbus communication Protocol with RS-485 Port, Breaker Control (ON/OFF) ,Modbus protocol for communication., Antipumping relay. | item20 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.05 | Multifunction Meter with RS485 communication port scada compateble. | item21 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.06 | One Set of Red / Green / Indication Lamps for close and open position. One Amber indicating lamp for trip circuit healthy. One Set of white phase indication lamps for phase. | item22 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.07 | Outgoing (7 set, O/G-1 for TR-1,O/G 2 for TR-2,O/G3 for TR-1 ss9,O/G4 for TR-2 ss9,O/G5 TR-1 SS11, O/G6&7 spare) - Eight nos, 3 pole 1250A VCB electrically operated, draw out type with completely encapsulated poles, and continuous rated closing & tripping coils. | item23 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.08 | Three Nos. 300-150/5-5 ratio, 2.5 VA, Class 1.0 Resin Cast Current Transformers for metering purposes and Class 5P10 Resin Cast Current Transformers for Protection Purposes. | item24 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.09 | Instrument & Protection Panel - Numerical relay with LCD display- 3 OC+ 1 E/F with instetenious element IDMT/DMT characteristics selectable at site , master trip relay hand reset type trip circuit supervision function, inrush protection, record and store at least 100 Events with Date and Time Stamp, Last Five Fault Records stored in non-volatile memory, Self Supervision function, Minimum 4 Digital Binary Inputs and 6 Digital output Contacts, Modbus Communication Protocol with RS-485 Port, scada compateble remote Breaker Control (ON/OFF) feature over Modbus. | item25 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.1 | Auxiliary relay for fault (OTI, WTI, Buchholz-Alarm and Trip | item26 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.11 | Each feeder having Multifunction Meter with RS485 communication port, scada compateble. Elite 446 or equivalent multi -line phase digital panel meter for accurate and reliable measurement of electric parameters(V,I,W,F..etc.) for industrial and commercialapplications. Ithas a large multi line backlit display which enables four parameters to be displayed simultaneously.Modbus communication capability allows easy integration with energy monitorir system.Expansion modules can be fitted for enhane system integration(Pulse input/output or eathernet) Connection tyep:HV3/HV4/LV4 aplications, measurement Voltage:57.7/100V to 240/415V AC, Standards: IS13779,IS14697,IEC62052-11,IEC62053-21,IEC62053-23,IEC62053-22,IEC61010,IEC62053-31,Dimensions:96mmx96mmx65mm, Ingress Protection:IP-54, Load Survey: 6 parameters for 40days,at 30 minutes integration, Addiional Plug in modules: 2 pulse inputs,2pulse outputs module,4 analogue output module,Ethernet gateway module. | item27 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.12 | One Set of Red / Green / Indication Lamps for close and open position. One Amber indicating lamp for trip circuit healthy. One Set of white phase indication lamps for phase. | item28 | 1 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Supply installation testing and commissioning of cubical type LT panel PTTA type, approved make OEM only, suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy 4000A Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 70 KA for 1 sec. | item29 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.01 | bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. As per OEM standard, busbar shall be designed with rise over temperature of 55 deg C above ambient temperature of 40 deg C. | item30 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.02 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications conforming to IS 8623 and IEC 61439 amended up to date complete as reqd. | item31 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.03 | Incoming from 2500 kVA Transformer( TR-1) | item32 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.04 | Incomer 1 No's 4000A, FP, EDO,70 kA, ACB with micro processor based release for O/C,S/C& E/F protection with LCD display 2NO+2NC Aux. Contact. Trip contact T&C. etc. and 1 No. Buscoupler (Between TR-1 & TR-2/DG) 4000A, FP, EDO,70 kA, ACB with micro processor based release for O/C,S/C& E/F protection with LCD display 2NO+2NC Aux. Contact. Trip contact T&C. etc. and revised SLD is enclosed. | item33 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.05 | With ON,OFF,Trip ,RYB, indication. Digital multifunction KWH meter. Digital Amp and volt meter with selector switches etc. | item34 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.06 | Out Going: supplying and fixing of following ACB and MCCB as outgoings in panel. | item35 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.07 | 2 nos.2500 A, FP, EDO, 50 kA ACB with microprocessor based O/C,S/C,& E/F protection. Safety Shutter. 2NO+2NC Aux. Contact etc. 2 Nos with T-N-C. | item36 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.08 | 2 nos.1600 A, FP, EDO, 50 kA ACB with microprocessor based O/C,S/C,& E/F protection. Safety Shutter. 2NO+2NC Aux. Contact etc. 2 Nos with T-N-C. | item37 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.09 | 2 nos. 800 A, TPN, EDO, 50 kA ACB with microprocessor based O/C,S/C,& E/F protection. Safety Shutter. 2NO+2NC Aux. Contact etc. 2 Nos with T-N-C. | item38 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.1 | 2 nos. 630 A, TPN, 50 kA,MCCB with Microprocessor based O/C,S/C,&E/F, LSI Protection with rotary handle. | item39 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.11 | 4 nos. 400 A, TPN, 50 kA,MCCB with Microprocessor based O/C,S/C,&E/, LSI Protection with rotary handle. | item40 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.12 | 2 nos. 250 A, TPN, 50 kA,MCCB with Microprocessor based O/C,S/C,&E/F, LSI Protection with rotary handle. | item41 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.13 | 2 nos. 100 A, TPN, 50 kA,MCCB with Microprocessor based O/C,S/C,&E/F, LSI Protection with rotary handle. | item42 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.14 | all out goings with ON.OFF, indication. Digital multifunction meter . Digital Amp meter with selector switches etc. Complete as required & as per SLN enclosed in tender. | item43 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.15 | Each feeder having Multifunction Meter with RS485 communication port, Elite 446 or equivalent is multi -line phase didgital panel meter for accurate and reliable measurement of electric parameters(V,I,W,F..etc.) for industrial and commercialapplications. Ithas a large multi line backlit display which enables four parameters to be displayed simultaneously.Modbus communication capability allows easy integration with energy monitorir system.Expansion modules can be fitted for enhane system integration(Pulse input/output or eathernet) Connection tyep:HV3/HV4/LV4 aplications, measurement Voltage:57.7/100V to 240/415V AC, Standards: IS13779,IS14697,IEC62052-11,IEC62053-21,IEC62053-23,IEC62053-22,IEC61010,IEC62053-31,Dimensions:96mmx96mmx65mm, Ingress Protection:IP-54, Load Survey: 6 parameters for 40days,at 30 minutes integration, Addiional Plug in modules: 2 pulse inputs,2pulse outputs module,4 analogue output module,Ethernet gateway module. | item44 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.16 | Bus Bar | item45 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.17 | 4000A 415V, 3 phase 4 wire busbar (100% neutral) 50Hz Aluminium bus bar | item46 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.18 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired up to terminal block. | item47 | 1 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supply, Installation, testing and commisssioning of cubical type LT panel incoming from DG synchronizing panel & TR-2 suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferbly) design from CRCA sheet steel of 2mm thick for frame work and covers, 3mm thick for gland plated i/c cleaning & finshing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type TPN Aluminium allloy Bus bars of high conductivity , DMC.SMC bus bar supports, with short circuit withstand capacity of 50 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of size 25mm x 6mm at the rear with 2 Nos. earth stud solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant insulated copper condutor s/c cable, cable alleys, cable gland plate in two half. | item48 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.01 | The panel shall be eqipped with relays, timers set of CTs for metering & protection and energy analyzer to indicate current phase, line voltage, frequency, power factor, KWH, KVARH, Provisionof over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended conforming to IS 8623 and IEC 60439 and competibility to PLC system (IEC 61131-3) amended up to date complete as reqd. | item49 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.02 | Incoming -1 form DG Synchronized panel | item50 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.03 | 1 No. 4000A 50 kA 4Pole EDO ACB with MP Based Release For O/C, S/C & E/F Protection, Motor 230Vac, Closing Coil 230Vac, S/T and Safety Shutter, 2NO+2NC Aux. Contact, Trip contact , T & C.etc. | item51 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.04 | with ON,OFF,Trip ,RYB, indication, Digital KWH meter, Digital Amp and volt meter with selector switches etc. | item52 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.05 | Incoming-2 from 2500KVA Transformer -2 | item53 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.06 | 1 No. 4000A 50 kA 4Pole EDO ACB with MP Based Release For O/C, S/C & E/F Protection, Motor 230Vac, Closing Coil 230Vac, S/T and Safety Shutter, 2NO+2NC Aux. Contact, Trip contact , T & C. etc. | item54 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.07 | with ON,OFF,Trip ,RYB, indication, Digital KWH meter, Digital Amp and volt meter with selector switches etc. | item55 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.08 | with ON,OFF,Trip ,RYB, indication etc | item56 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.09 | Out Going: supplying and fixing of following ACB and MCCB as outgoings | item57 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.1 | a) 2 No's 2500A 50kA 4Pole MDO ACB with MP Based Release For O/C, S/C & E/F protection, Safety Shutter, 2NO+2NC Aux. Contact etc. with T & C. | item58 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.11 | b) 3 No's 800A 50 kA 4Pole MDO ACB with MP Based Release For O/C, S/C & E/F Protection, Safety Shutter, 2NO+2NC Aux. Contact etc. with T & C. | item59 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.12 | c) 3 nos. 400 A, TPN, 50 kA,MCCB with Microprocessor based O/C,S/C,&E/F, LSI Protection with rotary handle. | item60 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.13 | d) 3 nos. 250 A, TPN, 50 kA,MCCB with Microprocessor based O/C,S/C,&E/F LSI Protection with rotary handle. | item61 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.14 | e) 3 nos. 100 A, TPN, 50 kA,MCCB with Microprocessor based O/C,S/C,&E/F LSI Protection with rotary handle. | item62 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.15 | all out goings with ON.OFF, indication. Digital multifunction meter . Digital Amp meter with selector switches etc. | item63 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
5.16 | Each feeder having Multifunction Meter with RS485 communication port, Elite 446 is multi -line phase didgital panel meter for accurate and reliable measurement of electric parameters(V,I,W,F..etc.) for industrial and commercialapplications. Ithas a large multi line backlit display which enables four parameters to be displayed simultaneously.Modbus communication capability allows easy integration with energy monitorir system.Expansion modules can be fitted for enhane system integration(Pulse input/output or eathernet) Connection tyep:HV3/HV4/LV4 aplications, measurement Voltage:57.7/100V to 240/415V AC, Standards: IS13779,IS14697,IEC62052-11,IEC62053-21,IEC62053-23,IEC62053-22,IEC61010,IEC62053-31,Dimensions:96mmx96mmx65mm, Ingress Protection:IP-54, Load Survey: 6 parameters for 40days,at 30 minutes integration, Addiional Plug in modules: 2 pulse inputs,2pulse outputs module,4 analogue output module,Ethernet gateway module complete as reqd. | item64 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5.17 | Bus Bar | item65 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5.18 | 4000A 415V, 3 phase 4 wire busbar (100% neutral) 50Hz Aluminium bus bar | item66 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5.19 | Note : All ACBs and MCCB's aux. contacts for ON/OFF and trip spare contacts to be wired upto terminal block. | item67 | 1 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | PLC Panel (PLC based manual & Auto over-ride) | item68 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.01 | Supply, Installation, testing and commissioning of auto main failure (AMF), auto synchronizing, auto load sharing, auto load management based on demand feedback. PLC shall collect demand feedback from MFM in ATS panels/ transformer incomers & nececcasry wiring & communication from meter to PLC, auto change over/ inter locking DG control and operation programmable logic panel cubicle type made of 2mm thick CRCA sheet enclosure, powder coated, free standing, floor mounted, dust vermin proof, indoor suitable for 3x750 KVA DG sets complete with all measuring instruments, protective devices, alarm etc. as required for above functions rated & analogue input & output modules, input/ output racks, power supplies communication with PLC with communication cables etc. as required and degree of protection IP:52 & all relays shall be microprocessor based comprising,conforming to ( IEC 61131-3) and IS 8623 and IEC 60439 as complete reqd. | item69 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.02 | Metering/ Monitoring (Synchronizing Equipment) | item70 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.03 | Double Voltmeter 0-500 PTR 415/110V - Analog - 1No. | item71 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.04 | Double frequency meter PTR 415V/110V-REED - 1No. | item72 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.05 | Dark lamp / bright lamp- 2 Nos. | item73 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.06 | 3 Line Display Multifunction Meter - 6 Nos. | item74 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.07 | Switch /selector/ PB | item75 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.08 | Sychronizing Switch - 1 No. | item76 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.09 | Set Selector Switch - 1No. | item77 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.1 | Manual / Auto switch - 1 No. | item78 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.11 | Test push Button Yellow with 1 No. Contact - 1No. | item79 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.12 | Accept Push Button Blue with 1 No. Contact - 1No. | item80 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.13 | Reset push Button Black with 1 No. Contact - 1No. | item81 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.14 | Engine Start Push Button Green with 2 Nos. Contact - 3 Nos. | item82 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.15 | Engine Stop Push Green with 2 Nos. Contact - 3 Nos. | item83 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.16 | Circuit Breaker close Push Button Green with 1 No. Contact - 4 Nos. | item84 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.17 | Circuit Breaker Trip Push Button Red with 2 Nos. Contact - 4 Nos. | item85 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.18 | Emergency Stop Push Button Mushroom Red with 1 No. Contact - 3 Nos. | item86 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.19 | Voltage Raise / Lower Joysticks with 2 Nos. Contact - 3 Nos. | item87 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.2 | Speed Raise/ Lower Joysticks with 2 Nos. Contact - 3 Nos. | item88 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.21 | LED - 1 set | item89 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.22 | PLC Hardware (Sychronizing Equipment) | item90 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.23 | PLC-CPU-Battery Free CPU with on board profibus/ ethernet part - 1 No. | item91 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.24 | On line 2 KVA UPS for PLC & CPU for 30 minute backup | item92 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.25 | PC based HMI (human machine interface) with core 2 Dup processor, 500 GB HDD, 2 GB RAM, DVD Writer, Optical Mouse Multimedia Key Board, 43" LED Monitor with Licensed Windows Operating System or Latest updated available hardware and software at the time of purchase. | item93 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.26 | Digital Input Module - Minimum 16 CH per DG. | item94 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.27 | Digital Output Module - Minimum 16 CH per DG. | item95 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.28 | MMC (Micro Memory Card) 128 KB - 1 No. | item96 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.29 | Software for PLC programming (licenced) with mimic diagram - 1 Set | item97 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.3 | Licenced software for runtime application - 1 set | item98 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.31 | PLC Sychronisations with following annunciation/ control features - 3 sets (1 for each DG set) | item99 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.32 | Engine Fault Relay | item100 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.33 | LLOP ON Delay | item101 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.34 | Fuel Solenoid Relay | item102 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.35 | Speed Lower Relay | item103 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.36 | Speed Raise Relay | item104 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.37 | Voltage Lower Relay | item105 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.38 | Voltage Raise Relay | item106 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.39 | Under Voltage Aux. Relay | item107 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.4 | Trip Command Relay | item108 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.41 | DC Failure Relay | item109 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.42 | Reverse Power Relay | item110 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.43 | Rotor Earth Fault Relay | item111 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.44 | Loss of Excitation Relay | item112 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.45 | check Synchronizing Relay (Synchromax of Conzerve or equivalent) | item113 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.46 | Pilot Lights / Indications | item114 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.47 | Pilot Light Amber 230V AC (DC Failure) - LED type - 1 No. | item115 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.48 | Pilot Light Red 24V AC (on) - LED type - 6 Nos. (for DG set, TR I/C & B/C) | item116 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.49 | Pilot Light Red 24V AC (off) - LED type - 6 Nos. (for DG set, TR I/C & B/C) | item117 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.5 | Annunciator 12 channel for - 24V DC - 1 No. for synchronizing | item118 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.51 | Power Supply | item119 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.52 | 230V AC / 24V DC, 10A, Stablises power Supplies with voltage trimmer - 1 set | item120 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.53 | Maintenance Free Batter 12 V, 40AH - 2 Nos. | item121 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.54 | Micellaneous Components | item122 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.55 | Exhaust fan - 6" - 2 Nos. | item123 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.56 | Control MCB - 1 Set | item124 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.57 | Panel Light - 11W CFL - 2 Nos. | item125 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.58 | Door Switch - 6A - 2 Nos. | item126 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.59 | Space Heater - 65W - 1 No. | item127 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.6 | Switch Socket - 5A / 15A, 6 pin - 1 No. | item128 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.61 | Solid State Alarm 24V DC - 1 No. | item129 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.62 | Terminals - 2.5 sqmm - 1 set | item130 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.63 | Panel + Hardware | item131 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.64 | Earth Bus - Copper - set | item132 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.65 | Earth Links for Door Earthing | item133 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.66 | Enclosure - 1 Set | item134 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.67 | Filters - 1 Set | item135 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.68 | Terminal Mounting Track - 1 Set | item136 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.69 | Terminal Anchor End - 1 Set | item137 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.7 | DG/ Bus monitoring PT's - 1 Set | item138 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.71 | Suitable for 3 no's Incomer form (DG-1,DG-2,DG-3), 3 no's 1600A 50 kA 4Pole EDO ACB with MP Based Release For O/C, S/C & E/F Protection, Motor 230Vac, Closing Coil 230Vac, S/T and Safety Shutter, 2NO+2NC Aux. Contact, Trip contact etc. | item139 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.72 | Out going 4000A 50 kA 4Pole EDO ACB with MP Based Release For O/C, S/C & E/F Protection, Motor 230Vac, Closing Coil 230Vac, S/T and Safety Shutter, 2NO+2NC Aux. Contact, Trip contact etc | item140 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.73 | Suitable for Bus Bar 4000A/50 kA, 3 Ph, 4-wire, 50Hz, 4P Aluminium Busbar with Colour Coded Heat Shrinkable sleeves | item141 | 1 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supply installation testing and commissioning of cubical type DG synchronising panel (PLC based synchronising panel i.e through item no.5) for 3 x 750 KVA DG sets.suitable for 415V, 3 phase, 4 wire 50 Hz AC supply system fabricated in compartmentalized (preferable) design from CRCA sheet steel of 2mm thick for frame work and covers. 3mm thick for gland plated i/c cleaning & finishing complete with 7 tank process for powder coating in approved shade, having suitable capacity extensible type FP Aluminium alloy Bus bars of high conductivity. DMC.SMC bus bar supports, with short circuit withstand capacity of 70 KA for 1 sec. bottom base channel of MS section not less than 100mm x 50mm x 5mm thick, fabrication shall be done in transportable sections, entire panel shall have a common earth bar of suitable size at the rear with 2 Nos earth solid connections from main bus bar to switch gears with required 1.5 sqmm zero halogen fire retardant low smoke insulated copper conductor s/c cable, cable alleys, cable gland plate in two half. | item142 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.01 | The panel shall be equipped with relays, timers set of CT's for metering & protection and energy analyser to indicate current phase, line voltage, frequency, power factor, KWH, KVARH. Provision of over load, short circuit, restricted earth fault, under frequency control cabling and interlocking, suitable cable termination chambers/ bus bars extension and providing indicating lamps of phases for all feeders complete with foundation as per drawing and specifications amended up to date complete. and attached specification conforming to IS 8623 and IEC 60439 complete as reqd. | item143 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.02 | 3 no's Incomer form DG-1,DG-2,DG-3, 1600A 50 kA 3 Pole EDO ACB & Neutral contactor with MP Based Release For O/C, S/C & E/F Protection, Motor 230Vac, Closing Coil 230Vac, S/T and Safety Shutter, 2NO+2NC Aux. Contact, Trip contact etc. | item144 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.03 | 4000A,50 kA, 3 Ph, 4-wire, 50Hz, 4P Aluminium Busbar with Colour Coded Heat Shrinkable sleeves | item145 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.04 | Out going 4000A 50kA 4Pole EDO ACB with MP Based Release For O/C, S/C & E/F Protection, Motor 230Vac, Closing Coil 230Vac, S/T and Safety Shutter, 2NO+2NC Aux. Contact, Trip contact etc. | item146 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.05 | DG Synchroning through PLC panel (Auto/Mannual) . scope of this contract is excluding DG sets . However required inputs shall be provided for commissioning of DG sync panel before drawing approval. | item147 | 1 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | APFC & AHF panel | item148 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.01 | Supplying , installation , testing and commissioning of 2 mm thick CRCA sheet cubical type floor mounted Activecomp - Hybrid series Hybrid Harmonic Filter and power mangement System panel (Capacitor Banks & Active Harmonic Filters) . as per specifications conforming to IS 16636 and IESC 61921 and IEC 61439 comlete as reqd. | item149 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.02 | Controller | item150 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.03 | 3 Phase 3 CT Controller with inbuit load and Harmonic Analyser | item151 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.04 | Modular Active Filter Unit | item152 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.05 | IGBT Fired Modular (for Harmonic Mitigation) | item153 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.06 | Switching | item154 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.07 | SCR-SCR Type Solid State,trasnsient free switching module for capacitor Reactor Filter Banks | item155 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.08 | Inductors | item156 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.09 | Class - H insulation and exceptionally low temperature rise | item157 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.1 | Capacitors | item158 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.11 | Low loss DUCA power super Heavy Duty type in a 3 phase cylindrical aluminium case | item159 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.12 | IGBT Fired Modular Active Filter Units | item160 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.13 | Thyristor/Contactor Switched Tunde / Detuned Filter Units | item161 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.14 | Touch Screen Display Unit for AHF | item162 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.15 | High Filtration Efficiency | item163 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.16 | Hybrid Technology | item164 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.17 | Low Operational Cost | item165 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.18 | Long Operational Life | item166 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.19 | IGBT Fired Modular Active Filter Units | item167 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.2 | Thyristor/Contactor Switched Tunde / Detuned Filter Units | item168 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.21 | Touch Screen Display Unit for AHF | item169 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.22 | High Filtration Efficiency | item170 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.23 | Hybrid Technology | item171 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.24 | Low Operational Cost | item172 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.25 | Long Operational Life | item173 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.26 | Enclosure Design: standardized bolted Modular Sheet Steel Eclosure - Non Compartmentalized | item174 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.27 | Enclosure Finish: Epoxy Poweder Coated, in grey (RAL 7035) Structure finish | item175 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.28 | Rated Design Voltage: 415V -440V, 50Hz,3 phase 3 wire | item176 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.29 | Output Rating: 600 KVAR | item177 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.3 | Duty: Continuous | item178 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.31 | Capacitors: DUCA POWER Super Heavy Duty series | item179 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.32 | Reactors : H-Class,Single layer Wound 200% Linearity, Al, high RMS current capability | item180 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.33 | Switching:Heavy Duty Thyristor Switched,SCR-SCR type for 415V network | item181 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.34 | Active Harmonic Filter:IGBT Fired modular AHF unit | item182 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.35 | Display:Touch Screen/ Graphic Display with Power Quality Parameters | item183 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.36 | Incoming: 3 pole ACB | item184 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.37 | Outgoing:MCCB | item185 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.38 | Ambient Temperature: 50° C max short time, 40° C average in 24 Hrs, 35° annual average. -10° C low limit | item186 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.39 | Protection Class: IP 42 | item187 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.4 | Instruments & Indications: Real time power factor comtroller with Dual P.F Control & capable to show lag lead Kvah,display waveforms,RS-485,HMI unit for Modular AHF Units, SMPS supply,protection n each relay output,Auo manual selector switch | item188 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.41 | Bus Bars: 0.8Amp Per Sq.mm, FP,Electrolytic grade AL. bus bar | item189 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.42 | Capacity : 600 KVAR | item190 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.43 | Incomer : ACB 1250 A, 3 P, 50 kA with microprocessor based O/C,S/C protection. | item191 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.44 | Out Goings for Banks: | item192 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.45 | For 2 No. 25 KVAR : MCCB 63 A, 3 P, 36 kA with adjustable O/L, S/C, release & ROH and 63 A TP capacitor duty contactor with 2NO+2NC. | item193 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.46 | For 3 no's 50 KVAR : MCCB 125 A, 3 P, 36 kA with adjustable O/L, S/C, release & ROH and 110 A TP capacitor duty contactor with 2NO+2NC. | item194 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.47 | For 4 no's 100 KVAR : MCCB 250 A, 3 P, 36 kA with adjustable O/L, S/C, release & ROH and 250 A TP capacitor duty contactor with 2NO+2NC. | item195 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.48 | Banks: 2No's 25 kVAR, 3 No.s 50 kVAR, ,4 Nos. 100 kVAR with APP heavy duty Capacitors and seven percent copper wound reactors. | item196 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.49 | APFC Relay : 12 stage | item197 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.5 | Outgoings (Active Filter Section) (i) 630A TP MCCB,36 kA with O/L & S/C protection, On OFF,Trip Indication. (ii) 400A Active filter 3P 4W with suitable rating of Modules in IP-30 emclosure with provision of adding 125A future each module should have individual protection. | item198 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.51 | Metering: Digital Volt and Amp meter, exhaust fan, LED type indicating lamp, controlling system etc.Each feeder having Multifunction Meter with RS485 communication port, Elite 446 is multi -line phase didgital panel meter for accurate and reliable measurement of electric parameters(V,I,W,F..etc.) for industrial and commercialapplications. Ithas a large multi line backlit display which enables four parameters to be displayed simultaneously.Modbus communication capability allows easy integration with energy monitorir system.Expansion modules can be fitted for enhane system integration(Pulse input/output or eathernet) Connection tyep:HV3/HV4/LV4 aplications, measurement Voltage:57.7/100V to 240/415V AC, Standards: IS13779,IS14697,IEC62052-11,IEC62053-21,IEC62053-23,IEC62053-22,IEC61010,IEC62053-31,Dimensions:96mmx96mmx65mm, Ingress Protection:IP-54, Load Survey: 6 parameters for 40days,at 30 minutes integration, Addiional Plug in modules: 2 pulse inputs,2pulse outputs module,4 analogue output module,Ethernet gateway modu | item199 | 2 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | Earthing | item200 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.01 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item201 | 20 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Supplying & fixing 50mm x 6mm thick GI earth strip in ground / surface or in recess for connection etc. as reqd. | item202 | 500 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11 | Providing and fixing earth bus of 50 mm X 5 mm copper strip on surface for connections etc. as required. | item203 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | item204 | 8 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
13 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | item205 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | HT & LT cable | item206 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.01 | Supply of one no. 3 core 240sq.mm A2XFY, XLPE insulated PVC sheathed 11kV (E) /6.6 kV(UE) grade XLPE HT power cables (heavy Duty) aluminium conductor,steel armoured cable, as per IS 7098 part-2 complete as required. | item207 | 4500 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supply of one no. 3 core 95sq.mm A2XFY,XLPE insulated,PVC sheathed 11kV (E) /6.6 kV (UE) grade XLPE HT power cables (heavy Duty) aluminium conductor,steel armoured cable as per IS 7098 part-2 complete as required. | item208 | 300 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11kV (E) /6.6 kV(UE) grade of following size direct in ground including excavation, sand cushioning,protective covering and refilling the trench etc as required. | item209 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.01 | upto 120 sq. mm | item210 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16.02 | Above 120 sq. mm and upto 400 sq. mm | item211 | 1210 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 11 kV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required | item212 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
17.01 | upto 120 sq. mm | item213 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.02 | Above 120 sq. mm and upto 400 sq. mm | item214 | 2270 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. | item215 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18.01 | upto 120 sq. mm | item216 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
18.02 | Above 120 sq. mm and upto 400 sq. mm | item217 | 665 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11kV grade of following size in the existing masonry open duct as required. | item218 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.01 | upto 120 sq. mm | item219 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.02 | Above 120 sq. mm and upto 400 sq. mm | item220 | 355 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
20 | Supplying of one No. 3½C x 400 sq.mm. A2XFY, XLPE insulated steel armoured aluminium conductor power cable of grade 1.1 kV PVC sheathed power cables (heavy duty) confirming to IS 7098 (Part-1) aluminium conductor, steel armoured cable as reqd complete in following manners. | item221 | 5000 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21 | Supplying of one No. 3½C x 240 sq.mm. A2XFY, XLPE insulated steel armoured aluminium conductor power cable of grade 1.1 kV PVC sheathed power cables (heavy duty) confirming to IS:7098 (Part-1) aluminium conductor, steel armoured cable as reqd complete in following manners. | item222 | 200 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Supplying of one No. 3½C x 95sq.mm. A2XFY, XLPE insulated steel armoured aluminium conductor power cable of grade 1.1 kV PVC sheathed power cables (heavy duty) confirming to IS:7098 (Part-1) aluminium conductor, steel armoured cable as reqd complete in following manners. | item223 | 300 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
23 | Supplying of one No. 3½C x 35sq.mm. XLPE steel armoured aluminium conductor power cable of grade 1.1 kV PVC sheathed power cables (heavy duty) confirming to IS:7098 (Part-1) aluminium conductor, steel armoured cable as reqd complete in following manners. | item224 | 200 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24 | Supplying of one No. 2C x 10sq.mm. A2XFY, XLPE insulated steel armoured aluminium conductor power cable of grade 1.1 kV PVC sheathed power cables (heavy duty) confirming to IS: 7098 (Part-1) aluminium conductor, steel armoured cable as reqd complete in following manners. | item225 | 250 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Supply of the 7 core x 2.5 sq.mm control cable of 1.1Kv grade armoured XLPE insulated sheathed copper Conductor as per IS 7098 part-1. | item226 | 250 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
26 | Laying of one no. number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground i/c excavation, sand cushioning, protective covering and refilling the trench etc as reqd. | item227 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26.01 | Upto 35 sq. mm | item228 | 275 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26.02 | Above 35 sq. mm and upto 95 sq. mm Metre | item229 | 120 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26.03 | Above 185 sq. mm and upto 400 sq. mm | item230 | 2175 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required | item231 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27.01 | Upto 35 sq. mm | item232 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27.02 | Above 35 sq. mm and upto 95 sq. mm Metre | item233 | 45 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27.03 | Above 185 sq. mm and upto 400 sq. mm | item234 | 2000 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
28 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required | item235 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28.01 | Upto 35 sq. mm | item236 | 130 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
28.02 | Above 35 sq. mm and upto 95 sq. mm Metre | item237 | 45 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28.03 | Above 185 sq. mm and upto 400 sq. mm | item238 | 500 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
29 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required | item239 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29.01 | Upto 35 sq. mm | item240 | 95 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
29.02 | Above 35 sq. mm and upto 95 sq. mm Metre | item241 | 45 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29.03 | Above 185 sq. mm and upto 400 sq. mm | item242 | 500 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required | item243 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30.01 | Upto 35 sq. mm | item244 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30.02 | Above 35 sq. mm and upto 95 sq. mm Metre | item245 | 45 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
30.03 | Above 185 sq. mm and upto 400 sq. mm | item246 | 25 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
31 | Providing, laying and fixing following dia RCC pipe NP2 class (light duty) in ground complete with RCC collars, jointing with cement mortar 1:2 (1 cement : 2 fine sand) including trenching (75 cm deep) and refilling etc. as required. | item247 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31.01 | 150 mm dia | item248 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
32 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc. as required | item249 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32.01 | 50 mm Dia | item250 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32.02 | 80 mm Dia | item251 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32.03 | 100 mm Dia | item252 | 1200 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
33 | Supplying and laying Insulating mat "Shock safe" in front of electrical panels, complete as requied rubber mat of standard size 3.0 mm thick for up to 22 kV class B confirming to IS 15652 as required complete. | item253 | 30 | Sq. Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
34 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 11 kV grade as required | item254 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34.01 | 95 Sq.mm | item255 | 12 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34.02 | 240 sq.mm. | item256 | 18 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
35 | Supplying and making end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable/control cable of 1.1kV grade as required. | item257 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35.01 | 2 x 10 Sq.mm (with Aluminium Lugs) | item258 | 25 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35.02 | 3½ C x 35 sq.mm. (with Aluminium Lugs) | item259 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35.03 | 3½ C x 95 sq.mm. (with Aluminium Lugs) | item260 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
35.04 | 3½ C x 240 sq.mm. (with Aluminium Lugs) | item261 | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35.05 | 3½ C x 400 sq.mm. (with aluminium Lugs) | item262 | 60 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35.06 | 7 C x 2.5 sqmm (with copper Lugs) | item263 | 20 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Digging trench for taking out cable and refilling , watering ,ramming the sameafter taking out cable as reqd complete.cable size up to 400Sq.mm | item264 | 300 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | Lifting removing cable up to 400 sq.mm. size from trench/clamps, making role & depositing the same in departmental store I/c cartage. | item265 | 300 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38 | Dismentling of brass compression type gland up to 400 sq. mm. Cable | item266 | 15 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Supplying and fixing carbon diaoxide ( CO2) type fire extingushers confirming to IS 2878:1976 and cylinder fully charged of following capacity. | item267 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39.01 | 4.5 Kg. fire extinguisher wall mounted | item268 | 30 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
39.02 | 9 Kg. fire extinguisher trolly mounted | item269 | 30 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
40 | Supply,fixing of 4 no's FIRE bucket 9.5 liters capacity GI bucket i/c filling sand, painted in post office red clour with prior coat of red oxide paint and writte with white paint 'FIRE' and mounted on MS angle iron frame with bracket with 35 x 35x 5 mm size angle in required shape,1.5mm MS sheet shed covered i/c cutting, welding, as standard specified suitable for Electrical substations & as directed by EIC. | item270 | 5 | Set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
41 | Fixtures & fittings | item271 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41.01 | Supplying and fixing exhaust fan 450 mm sweep (18") with louvers/ shutter in existing opening including connections, testing & commissioning etc. as reqd. | item272 | 3 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
42 | Supply and fixing of 1 X 20W LED fitting, IP20 , 2000 lumen output, 6500k, aluminium housing, polycarbonate cover, surface mounted, 140V-270V operating Volt. etc. complete with all fixing accessories approved make as required complete. | item273 | 10 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
43 | Supply and installation testing and commissioning of 36W LED 2'x2' fittings surface mounted, IP20, 3300 Lumens colour temperature 6500 K, with metallic CRCA powder coated housing cover high efficiency diffuser, THD less than10, power factor above 0.9. approved make as required complete. | item274 | 60 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
44 | Supply and fixing testing and commissioning of 40 Watt garden light/ postop lanterndecorative post top for 360 degree indirect light with IP65 protection resistance to impact and corrosion Gkare free and better uiniformity with high power LEDs, luminaires on the existing pole, approved make as required complete. | item275 | 10 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
45 | Supply and installation testing and commissioning of 18W LED round and square surface mounted LED panel PDC alluminium housing and high transiucent, IP20, 2000 Lumens colour temperature 6500 K, with metallic CRCA powder coated housing cover high efficiency diffuser, THD less than10, power factor above 0.9 approved make complete as required. | item276 | 20 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
46 | S/F testing commissioning of street light Luminures. Endura sundown 45W LED , die-cast aluminium IP66,make:havells or its equvalent, on the existing street light pole,approved make complete as required. | item277 | 10 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
47 | Supplying and fixing of 32 mm dia X 2.00 metres long G.I. pipe (medium class) bracket for mounting of fluorescent / HPMV / HPSV street light fitting on pole including bending the pipe to the required shape, 2 nos 40 mm X 3 mm flat iron clamps with nuts, bolts and washer, painting the flat iron with primer and finish paint etc. as required. | item278 | 10 | Each | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
48 | Supply, installation testing and commissioning of 5 star rating ceiling fan 1200mm sweep, 320 rpm, 230 CMM air delivery full copper wound motor, white powder coated, without regulator with down rod of standard length (up to 30cm) with 1.5 sqmm PVC copper single core wire. etc as required complete. | item279 | 40 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
49 | Numbering of ceiling fan/exhaust fan / street light poles fitting/ as reqd. | item280 | 150 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
50 | S&F extra down rod of 10 cm length seam less conduit pipe, 15 mm dia heavy gauge, I/c painting etc. as reqd. (Note: More than 5cm length shall be rounded off to the nearest 10 cm and 5 cm or less shall be ignored). | item281 | 25 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
51 | Supply & fixing of 65 mm dia.'B' class GI pole 4.5 mtr. Long for post top lantern i/c bas plate 300 x 300 x 3mm GI reducer & nipple for mounting the fitting with painting etc. grouting in cement concrete 1: 3: 6 (1 cement : 3 coarse sand : 6 grade stone aggregate 40mm complete as reqd. | item282 | 10 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
52 | Internal wiring | item283 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52.01 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and Earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | item284 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
52.02 | Group B | item285 | 70 | Points | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
52.03 | Group C | item286 | 70 | Points | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
53 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit,2 way modular type switch, modular plate, suitable GI box and Earthing the point with 1.5sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. | item287 | 5 | Points | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
54 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and Earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | item288 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
54.01 | Group B | item289 | 50 | Points | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
54.02 | Group C | item290 | 50 | Points | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
55 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required | item291 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55.01 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | item292 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
55.02 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | item293 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | item294 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
55.04 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | item295 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
55.05 | 4 X 10 sq. mm + 2 X 6 sq. mm earth wire | item296 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel / PVC conduit as required. | item297 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56.01 | 1x 1.5 sqmm | item298 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
56.02 | 4 x 1.5 sqmm | item299 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56.03 | 4 x 4.0 sqmm | item300 | 100 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
56.04 | 6 x 6 sq. mm | item301 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57 | Supplying and drawing of following sizes of FRLSH PVC insulated copper conductor, 3 core round cable of following size in the existing surface/ recessed steel/ PVC conduit as required. | item302 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
57.01 | 1.5 sq. mm | item303 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | S & F 40 amp to 63 amp rating 240 volts 'C' curve 10 kA MCB of following pole in the existing MCB DB complete with connection, testing & commissioning etc as reqd. ( legrand) | item304 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
58.01 | Triple Pole | item305 | 4 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
58.02 | Four Pole | item306 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
59 | Providing and fixing circular/ Hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S. sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/ M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard drawing. | item307 | 40 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60 | Supplying and fixing of following sizes of steel conduit along with accessories in surface / recess including painting in case of surface conduct, or cutting the wall and making good the same in case of recessed conduit as required. | item308 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
60.01 | 20mm dia 16 SWG | item309 | 100 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60.02 | 25mm dia 16 SWG | item310 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
60.03 | 32 mm dia 16 SWG | item311 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
61.01 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. | item312 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
61.02 | 3 Module (100mmX75mm) | item313 | 50 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
61.03 | 6 Module (200mmX75mm) | item314 | 50 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
62 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as reqd. | item315 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
62.01 | 180 x 100 x 60 mm deep | item316 | 10 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
62.02 | 200 x 250 x 75 mm deep | item317 | 10 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
62.03 | 250 x 300 x 100mm deep | item318 | 10 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required | item319 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
63.01 | 5/6 amp switch | item320 | 50 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
63.02 | 15/16 amp switch | item321 | 50 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63.03 | 3 pin 5/6 amp socket outlet | item322 | 50 | Each | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
63.04 | 6 pin 15/16 Amp. Socket outlet | item323 | 50 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
63.05 | Telephone socket outlet | item324 | 5 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
63.06 | stepped type fan regulator | item325 | 40 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
63.07 | modular blanking plate | item326 | 50 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
64 | Supplying and fixing 3 pin, 5 amp. ceiling rose on the existing junction box/wooden block I/c connection etc. as reqd. | item327 | 50 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
65 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | item328 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
65.01 | Single Pole | item329 | 72 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
65.02 | Single Pole & Neutral | item330 | 8 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
66 | Supplying and fixing following way prewired vertical type TP&N MCB distribution board of steel sheet for 415 volts on surface/ recess complete with loose wire box of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s, terminal connectors for all incoming and outgoing circuits, duly prewired with adequate size of FRLS PVC insulated copper conductor up to the terminal connector/ neutral link, Earthing etc. as required (But without MCB/ RCCB/ Isolator). (Note : Prewired vertical type MCB TPDB is normally used where 3 phase outlets are required.) | item331 | [52 empty] | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
66.01 | 12 way double door (4+36) | item332 | 2 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
67 | Providing & fixing MV danger notice plate of 200mm x 150mm make of mild steel at least 2mm thick vitreous enamelled white on both sides and with inscriptions in signal red colours in front side as reqd. | item333 | 4 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
68 | Providing & fixing HT danger notice plate of 250mm x 200mm make of mild steel at least 2mm thick vitreous enamelled white on both sides and with inscriptions in signal red colours in front side as reqd. | item334 | 4 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
69 | Supplying and laying chequered plate in cut pcs of 6mm thick with handle cutting/ welding as required complete. | item335 | 50 | Sq. Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
70 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete up to plinth level. Cold twisted bars | item336 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
70.01 | Cold twisted bars | item337 | 100 | Kg. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
71 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | item338 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
72 | 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural nsources : 6 graded stone aggregate 40 mm nominal size derived from natural sources) | item339 | 5 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
73 | Brick work with common burnt clay F.P.S (non modular) bricks of class designation 7.5 in foundation and plinth in; | item340 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
73.01 | cement mortar 1:4 (1 cement : 4 coarse sand) | item341 | 5 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
74 | 15 mm thick cement plaster on the rough side of single or half wall of mix; | item342 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
74.01 | 1:4 (1 cement : 4 fine sand) | item343 | 10 | Sq.mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
75 | Supplying and fixing 'C' Channel of size 100 x 50 mm ISMC in cut sizes i/c cutting/ welding as required complete. | item344 | 70 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
76 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift up to 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | item345 | 10 | cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
77 | Supplying and laying of 32mm (8Kg / cm²) HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, Part II complete with fitting and cutting, jointing etc. in the existing open duct, complete as required. | item346 | 200 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
78 | Supplying and laying of 63mm (8Kg / cm²) HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, Part II complete with fitting and cutting, jointing etc. in the existing open duct, complete as required. | item347 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
79 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | item348 | 200 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
80 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | item349 | 50 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
81 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | item350 | 200 | Sqmtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
82 | Supplying and drawing of UTP 4 pair CAT 6 LAN cable in the existing surface/recessed steel/PVC conduit as required. | item351 | [52 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
82.01 | 1 run of cable | item352 | 250 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
82.02 | 2 run of cable | item353 | 250 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
83 | Drawing of optical cable enhanced CAT6 cable in existing steel conduit pipe/GI pipe/raceway/RCC pipe as required. The cost shall also include numbering of networking wire from room to rack as required (Cat 6 cable supplied by the department) | item354 | 250 | Mtr | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
84 | Fixing of RJ-45 modular box with cover plate or I/o box for internet on surface/ recessed cutting the wall making good the same as required. ( box and cover plate will be supplied by dept.) | item355 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
85 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required. | item356 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
85.01 | 125 A,16KA,TP MCCB | item357 | 2 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
86 | Supplying and fixing of light class G.I. pipe of 50 mm dia. (nominal) 3 metres length along the pole for protection of under ground cable as required. | item358 | 3 | Each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
87 | S&F, connecting and commissioning looping type cable end control box with 2mm fabricated CRCA sheet of size 200 mm x 200 mm x 125 mm having 1 no. 6amp to 32 amp SPMCB 250 volt and 2 nos. brass neutral link square rod 6 way and fixed on 3mm thick bakelite sheet. Box shall have almirah type hing and panel key type lock front door duly painted with earthing strud etc. complete as required | item359 | 10 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
88 | Supply & fixing shock treatment chart duly mounted on a wooden frame with 5mm thick glass approximate frontara 1.20 sq.meter. | item360 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
89 | Supply & fixing safety instruction chart duly mounted on a wooden frame with 5mm thick glass approximate frontara 1.20 sq.meter. | item361 | 5 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
90 | Supply & fixing of 35x35x5mm or higher size angle iorn in required shape and size including cutting,welding,painting complete required as directed by the Engineer Incharge | item362 | 50 | Kg | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information