RESULTS OF THE WATER QUALITY PARAMETERS OF the institute

(SAMPLING DATE 24/06/20)

| Parameters | Permissible Limit | Maximum Limit | P2 | P3 | P7 | P8 | P11 | P12 | P13 | P14 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| pH | 6.5 to 8.5 | No relaxation | 8.53 | 8.54 | 8.48 | 8.49 | 8.41 | 8.17 | 8.54 | 8.51 |
| TDS (mg/l) | 500 | 2000 | 540 | 442 | 633 | 725 | 610 | 383 | 566 | 605 |
| Hardness (as CaCO3) (mg/l) | 200 | 600 | 100 | 90 | 80 | 120 | 100 | 80 | 120 | 100 |
| Alkalinity(as CaCO3) (mg/l) | 200 | 600 | 560 | 400 | 300 | 220 | 280 | 380 | 320 | 310 |
| Nitrate (mg/l) | 45 | No relaxation | 0.34 | 0.07 | 0.08 | 0.06 | 0.28 | 0.16 | 0.14 | 0.06 |
| Sulfate (mg/l) | 200 | 400 | 30.10 | 45.89 | 51.47 | 38.54 | 48.75 | 43.05 | 46.31 | 25.62 |
| Fluoride (mg/l) | 1 | 1.5 | 1.04 | 0.924 | 0.685 | 0.629 | 0.882 | 0.939 | 0.816 | 0.882 |
| Chloride (mg/l) | 250 | 1000 | 120 | 125 | 275 | 290 | 255 | 100 | 190 | 245 |
| Turbidity (NTU) | 5 | 10 | 0.001 | 0.002 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 |
| Arsenic (mg/l) | 0.01 | 0.05 | 0.0018 | 0.0021 | 0.0014 | 0.0017 | 0.0028 | 0.0024 | 0.0025 | 0.0026 |
| Copper (mg/l) | 0.05 | 1.5 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL |
| Cadmium (mg/l) | 0.003 | No relaxation | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL |
| Chromium (mg/l) | 0.05 | No relaxation | 0.0064 | 0.0058 | 0.0042 | 0.0051 | 0.0038 | 0.0056 | 0.0049 | 0.0042 |
| Lead (mg/l) | 0.01 | No relaxation | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL |
| Iron (mg/l) | 0.3 | No relaxation | 0.16 | 0.23 | 0.18 | 0.25 | 0.21 | 0.17 | 0.20 | 0.14 |
| Zinc (mg/l) | 5 | 15 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL |
| Fecal Coliform (cfu) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| E. Coli (cfu) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |

Sampling Locations:  P2- End of lane 37 near house 4098, P3 – Behind Helicopter building, P7 -  Near water tank and main entrance of  VH-Extension , type-1,  P-8 Near Health Centre, P-11 Hall 10 back side,  P-12 - Near about 150 M of  P-2 (end of lane-36), P13 – Near Visiting Faculty Apartment, P14 Near Hall 12,

BDL Below Detection Limit;  NTU – Nephelometric Turbidity Unit; cfu-  Colony forming Units in 100 ml of the sample

Detection Limits Pb 0.0001 mg/l, Cu 0.0001 mg/l , Cr 0.0005 mg/l ,Fe 0.0001 mg/l , Cd 0.0004 mg/l, As 0.0001 mg/l, Zn 0.0005 mg/l